## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 620 | 14 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 15:06 | a
2 | 1591 | 7 | Revision | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:27 | a
3 | 1592 | 6 | Revision | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:13 | a
4 | 1960 | 6 | Revision | TAMKO Building Products, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 17:25 | a
5 | 4081 | 3 | Revision | Onduline North America, Inc. | Roofing | Products Introduced as a Result of New Technology | Recommend Approval | 2016-02-29 15:40 | a
6 | 4622 | 7 | Revision | Schlage Lock Company, LLC | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 15:14 | a
7 | 5587 | 9 | Revision | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 07:12 | a
8 | 7237 | 7 | Revision | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 17:26 | a
9 | 8786 | 8 | Revision | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-01-20 10:24 | a
10 | 8787 | 6 | Revision | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-19 14:19 | a
11 | 8889 | 2 | Revision | Ideal Steel Building & Components | Structural Components | Roof Deck | Recommend Approval | 2016-02-19 14:23 | a
12 | 9612 | 4 | Revision | Morin - a Kingspan Company | Structural Components | Roof Deck | Recommend Approval | 2016-02-19 14:25 | a
13 | 9909 | 12 | Revision | Associated Materials Inc. | Windows | Fixed | Recommend Approval | 2016-01-20 10:43 | a
14 | 10124 | 19 | Revision | GAF | Roofing | Asphalt Shingles | Recommend Approval | 2016-02-25 10:59 | a
15 | 10465 | 9 | Revision | Associated Materials Inc. | Windows | Single Hung | Recommend Approval | 2016-02-15 14:28 | a
16 | 11141 | 15 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval | 2016-02-16 15:49 | a
17 | 11453 | 2 | Revision | Prestige Iron Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:43 | a
18 | 11720 | 15 | Revision | Associated Materials Inc. | Windows | Double Hung | Recommend Approval | 2016-02-15 14:31 | a
19 | 12228 | 2 | Revision | Morin - a Kingspan Company | Structural Components | Structural Wall | Recommend Approval | 2016-02-16 11:38 | a
20 | 12286 | 4 | Revision | YKK AP America Residential | Windows | Horizontal Slider | Recommend Approval | 2016-02-19 19:25 | a
21 | 12328 | 7 | Revision | TAMKO Building Products, Inc. | Roofing | Underlayments | Recommend Approval | 2016-02-17 15:15 | a
22 | 12805 | 3 | Revision | Metallic Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-16 15:05 | a
23 | 12895 | 3 | Revision | KST Coatings, A Business Unit of the Sherwin-Williams Company | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-18 23:00 | a
24 | 13280 | 6 | Revision | KML Windows, Inc. | Windows | Fixed | Recommend Approval | 2016-02-16 15:51 | a
25 | 13624 | 6 | Revision | CAL-ROYAL PRODUCTS INC. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-01-15 13:31 | a
26 | 13660 | 2 | Editorial Change | Marianna Metal Roofing, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-14 14:39 | a
27 | 13727 | 4 | Revision | AFCO Industries, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-19 14:09 | a
28 | 14017 | 2 | Revision | Alpine Overhead Doors, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | 2016-02-15 12:25 | a
29 | 14083 | 13 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 15:03 | a
30 | 14165 | 6 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-08 11:04 | a
31 | 14207 | 13 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 07:21 | a
32 | 14318 | 6 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-09 14:43 | a
33 | 14595 | 3 | Revision | YKK AP America Residential | Windows | Horizontal Slider | Recommend Approval | 2016-02-16 15:09 | a
34 | 14904 | 4 | Revision | Fleetwood Windows and Doors | Windows | Casement | Recommend Approval | 2016-02-19 14:01 | a
35 | 14907 | 6 | Revision | Fleetwood Windows and Doors | Windows | Awning | Recommend Approval | 2016-02-16 15:11 | a
36 | 15149 | 2 | Revision | Sika Sarnafil, Inc. | Roofing | Waterproofing | Recommend Approval | 2016-02-19 21:28 | a
37 | 15164 | 2 | Revision | Kistler McDougall Corporation | Panel Walls | Siding | Recommend Approval | 2016-02-18 09:58 | a
38 | 15219 | 2 | Revision | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 17:24 | a
39 | 15419 | 2 | Revision | RSL, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-14 10:45 | a
40 | 15493 | 2 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-03 10:07 | a
41 | 15539 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-29 16:57 | a
42 | 15542 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 19:48 | a
43 | 15544 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:54 | a
44 | 15560 | 7 | Revision | Fleetwood Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:56 | a
45 | 15892 | 9 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-24 15:19 | a
46 | 15894 | 10 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-01-24 15:32 | a
47 | 15922 | 4 | Revision | Andersen Corporation | Windows | Mullions | Recommend Approval | 2016-02-08 21:31 | a
48 | 16039 | 9 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 09:53 | a
49 | 16272 | 1 | Revision | Loadmaster Systems, Inc. | Structural Components | Roof Deck | Recommend Approval | 2016-02-02 21:16 | a
50 | 16438 | 3 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:01 | a
51 | 16440 | 9 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:04 | a
52 | 16442 | 3 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:13 | a
53 | 16443 | 9 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:22 | a
54 | 16454 | 1 | Revision | Morin - a Kingspan Company | Panel Walls | Siding | Recommend Approval | 2016-02-05 16:46 | a
55 | 16460 | 3 | Revision | JELD-WEN | Windows | Fixed | Recommend Approval | 2016-02-02 21:36 | a
56 | 16464 | 2 | Revision | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 1899-12-31 | a
57 | 16468 | 9 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 21:04 | a
58 | 16650 | 3 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-15 21:11 | a
59 | 16660 | 6 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-01 10:12 | a
60 | 16708 | 5 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:58 | a
61 | 16724 | 4 | Revision | Henry Company LLC | Roofing | Underlayments | Recommend Approval | 2016-02-16 12:56 | a
62 | 16925 | 3 | Revision | Fleetwood Windows and Doors | Windows | Fixed | Recommend Approval | 2016-02-16 12:50 | a
63 | 17003 | 4 | Revision | Town and Country Industries, | Shutters | Fabric Storm Panel | Recommend Approval | 2016-02-10 20:43 | a
64 | 17112 | 2 | Revision | Goldbrecht USA, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:31 | a
65 | 17191 | 2 | Revision | Tubelite Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-18 18:47 | a
66 | 17200 | 4 | Revision | Eagle View Windows | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-19 13:03 | a
67 | 17430 | 3 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-08 21:22 | a
68 | 17500 | 1 | Editorial Change | Tremco Incorporated | Structural Components | Structural Wall | Recommend Approval | 2016-02-29 10:20 | a
69 | 17568 | 2 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 21:29 | a
70 | 17714 | 1 | Editorial Change | Special-Lite, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 21:30 | a
71 | 17954 | 2 | Revision | Fleetwood Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-18 15:42 | a
72 | 17989 | 1 | Revision | Atlas Roofing Corporation | Roofing | Roofing Insulation | Recommend Approval | 2016-02-19 14:05 | a
73 | 18393 | 1 | Revision | AWP Windows and Doors, LLC/ formerlyTrulite | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:10 | a
74 | 18505 | 0 | New | Continental Glass Systems, LLC | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 15:12 | a
75 | 18507 | 2 | Revision | La Finestra, LC | Windows | Fixed | Recommend Approval | 2016-01-05 11:27 | a
76 | 18655 | 1 | Revision | Brombal Italy | Windows | Casement | Recommend Approval | 2016-02-25 12:39 | a
77 | 18656 | 1 | Revision | Brombal Italy | Windows | Fixed | Recommend Approval | 2016-02-15 14:30 | a
78 | 19130 | 1 | Revision | Royal Building Products | Panel Walls | Siding | Recommend Approval | 2016-02-16 15:08 | a
79 | 19607 | 1 | Revision | AWP Windows and Doors, LLC/ formerlyTrulite | Windows | Fixed | Recommend Approval | 2016-02-19 14:06 | a
80 | 19665 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-01-14 22:00 | a
81 | 19673 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-01-19 19:18 | a
82 | 19675 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-01-14 22:23 | a
83 | 19676 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-01-19 18:59 | a
84 | 19683 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-01-24 15:15 | a
85 | 19685 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-02-15 14:33 | a
86 | 19731 | 1 | Revision | Miami Tech, Inc. | Structural Components | Anchors | Recommend Approval | 2016-02-17 15:18 | a
87 | 19999 | 2 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-08 21:30 | a
88 | 20149 | 0 | New | N.R. Architectural Products, Inc. | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 11:48 | a
89 | 20374 | 1 | Revision | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:25 | a
90 | 20403 | 1 | Revision | Grayne-The Tapco Group | Panel Walls | Siding | Recommend Approval | 2016-02-19 12:40 | a
91 | 20665 | 0 | New | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Storefronts | Recommend Approval | 2016-02-29 18:48 | a
92 | 20717 | 0 | New | Carolina Carports,Inc. | Structural Components | Roof Deck | Recommend Approval | 2015-12-31 14:24 | a
93 | 20727 | 0 | New | Carolina Carports,Inc. | Structural Components | Structural Wall | Recommend Approval | 2016-02-16 08:23 | a
94 | 20767 | 0 | New | VEER Plastics Private Limited | Roofing | Underlayments | Recommend Approval | 2016-02-19 14:35 | a
95 | 20800 | 0 | New | International Wood Trade | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 08:37 | a
96 | 20804 | 0 | New | Sol-A-Trol Aluminum Products | Windows | Fixed | Recommend Approval | 2016-02-12 15:47 | a
97 | 20805 | 0 | New | Sol-A-Trol Aluminum Products | Windows | Single Hung | Recommend Approval | 2016-02-18 20:06 | a
98 | 20814 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-09 12:07 | a
99 | 20822 | 0 | New | Sierra Pacific Windows (Formerly known as Hurd Windows & Doors) | Windows | Mullions | Recommend Approval | 2016-01-04 15:00 | a
100 | 20867 | 0 | New | Trinity Glass International | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 12:26 | a
101 | 20868 | 0 | New | Vi-Lux Building Products Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-19 12:31 | a
102 | 20869 | 0 | New | Reilly Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-23 11:53 | a
103 | 20872 | 0 | New | USP Structural Connectors, a MiTek Company | Structural Components | Anchors | Recommend Approval | 2016-02-19 12:44 | a
104 | 20873 | 0 | New | Novatech Doors Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 12:50 | a
105 | 20877 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | Recommend Approval | 2016-02-12 10:40 | a
106 | 20887 | 0 | New | Raynor Garage Doors | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | 2016-02-25 12:31 | a
107 | 21035 | 0 | New | Abby Iron Doors | Windows | Fixed | Recommend Approval | 2016-02-03 21:22 | a
108 | 21039 | 0 | New | National Nail Corp. | Roofing | Underlayments | Recommend Approval | 2016-02-03 21:19 | a
109 | 21041 | 0 | New | Brombal Italy | Windows | Mullions | Recommend Approval | 2016-02-19 10:06 | a
110 | 21042 | 0 | New | MQ Window and Door | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 12:02 | a
111 | 21043 | 0 | New | Tracy Cantley & Company, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-01-28 08:21 | a
112 | 21044 | 0 | New | Kolbe Windows and Doors - Manawa | Windows | Mullions | Recommend Approval | 2016-02-16 13:01 | a
113 | 21045 | 0 | New | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 13:16 | a
114 | 21046 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-16 13:04 | a
115 | 21051 | 0 | New | Pottorff | Panel Walls | Wall Louver | Recommend Approval | 2016-02-16 12:12 | a
116 | 21055 | 0 | New | Sunshine Metal Supply, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-16 13:07 | a
117 | 21057 | 0 | New | Aluminum Fabricators USA inc. | Shutters | Roll-up | Recommend Approval |  | a
118 | 21058 | 0 | New | Nystrom, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
119 | 21060 | 0 | New | JELD-WEN | Windows | Mullions | Recommend Approval |  | a
120 | 21061 | 0 | New | Brombal Italy | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
121 | 21062 | 0 | New | Tubelite Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
122 | 21064 | 0 | New | Tremco Incorporated | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
123 | 21066 | 0 | New | E.S. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
124 | 21067 | 0 | New | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
125 | 21068 | 0 | New | Nan Ya Plastics Corporation USA | Windows | Mullions | Recommend Approval |  | a
126 | 21069 | 0 | New | Royal Building Products | Panel Walls | Siding | Recommend Approval |  | a
127 | 21070 | 0 | New | Atlantic Shutters, Inc. | Shutters | Storm Panels | Recommend Approval |  | a
128 | 21074 | 0 | New | Ridged Systems, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-12 08:10 | a
129 | 21079 | 0 | New | Continental Glass Systems, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-10 20:26 | a
130 | 21082 | 0 | New | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval | 2016-02-11 10:57 | a
131 | 21083 | 0 | New | MAPA Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-15 14:43 | a
132 | 21091 | 0 | New | PanoramAH! America | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-11 12:30 | a
Test Report
133 | 20111 | 0 | New | Continental Glass Systems, LLC | Windows | Fixed | Recommend Approval | 2016-02-16 15:58 | a
134 | 20667 | 1 | Editorial Change | Fidelity Manufacturing | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval | 2016-01-30 09:43 | a
134 | 20821 | 0 | New | ATAS International, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
135 | 20828 | 0 | New | GlassCraft Door Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
136 | 21050 | 0 | New | Fidelity Manufacturing | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
COMMENTS