## Commission
| FL# | Revision # | Type | Manufacturer | Category | Subcategory | Recommendations | Validated Date | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
1 | 620 | 14 | Revision | GAF | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 15:06 | a
2 | 1591 | 7 | Revision | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:27 | a
3 | 1592 | 6 | Revision | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:13 | a
4 | 1960 | 6 | Revision | TAMKO Building Products, Inc. | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-16 17:25 | a
5 | 4081 | 3 | Revision | Onduline North America, Inc. | Roofing | Products Introduced as a Result of New Technology | Recommend Approval | 2016-02-29 15:40 | a
6 | 4622 | 7 | Revision | Schlage Lock Company, LLC | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 15:14 | a
7 | 5587 | 9 | Revision | Wayne-Dalton, a division of Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-19 07:12 | a
8 | 7237 | 7 | Revision | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-16 17:26 | a
9 | 8786 | 8 | Revision | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-01-20 10:24 | a
10 | 8787 | 6 | Revision | Kawneer Company, Inc. | Panel Walls | Storefronts | Recommend Approval | 2016-02-19 14:19 | a
11 | 8889 | 2 | Revision | Ideal Steel Building & Components | Structural Components | Roof Deck | Recommend Approval | 2016-02-19 14:23 | a
12 | 9612 | 4 | Revision | Morin - a Kingspan Company | Structural Components | Roof Deck | Recommend Approval | 2016-02-19 14:25 | a
13 | 9909 | 12 | Revision | Associated Materials Inc. | Windows | Fixed | Recommend Approval | 2016-01-20 10:43 | a
14 | 10124 | 19 | Revision | GAF | Roofing | Asphalt Shingles | Recommend Approval | 2016-02-25 10:59 | a
15 | 10465 | 9 | Revision | Associated Materials Inc. | Windows | Single Hung | Recommend Approval | 2016-02-15 14:28 | a
16 | 11141 | 15 | Revision | Associated Materials Inc. | Windows | Horizontal Slider | Recommend Approval | 2016-02-16 15:49 | a
17 | 11453 | 2 | Revision | Prestige Iron Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:43 | a
18 | 11720 | 15 | Revision | Associated Materials Inc. | Windows | Double Hung | Recommend Approval | 2016-02-15 14:31 | a
19 | 12228 | 2 | Revision | Morin - a Kingspan Company | Structural Components | Structural Wall | Recommend Approval | 2016-02-16 11:38 | a
20 | 12286 | 4 | Revision | YKK AP America Residential | Windows | Horizontal Slider | Recommend Approval | 2016-02-19 19:25 | a
21 | 12328 | 7 | Revision | TAMKO Building Products, Inc. | Roofing | Underlayments | Recommend Approval | 2016-02-17 15:15 | a
22 | 12805 | 3 | Revision | Metallic Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-16 15:05 | a
23 | 12895 | 3 | Revision | KST Coatings, A Business Unit of the Sherwin-Williams Company | Roofing | Cements-Adhesives-Coatings | Recommend Approval | 2016-02-18 23:00 | a
24 | 13660 | 2 | Editorial Change | Marianna Metal Roofing, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-14 14:39 | a
25 | 13727 | 4 | Revision | AFCO Industries, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-19 14:09 | a
26 | 14017 | 2 | Revision | Alpine Overhead Doors, Inc. | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | 2016-02-15 12:25 | a
27 | 14083 | 13 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 15:03 | a
28 | 14165 | 6 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-08 11:04 | a
29 | 14207 | 13 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 07:21 | a
30 | 14318 | 6 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-09 14:43 | a
31 | 14595 | 3 | Revision | YKK AP America Residential | Windows | Horizontal Slider | Recommend Approval | 2016-02-16 15:09 | a
32 | 14904 | 4 | Revision | Fleetwood Windows and Doors | Windows | Casement | Recommend Approval | 2016-02-19 14:01 | a
33 | 14907 | 6 | Revision | Fleetwood Windows and Doors | Windows | Awning | Recommend Approval | 2016-02-16 15:11 | a
34 | 15149 | 2 | Revision | Sika Sarnafil, Inc. | Roofing | Waterproofing | Recommend Approval | 2016-02-19 21:28 | a
35 | 15164 | 2 | Revision | Kistler McDougall Corporation | Panel Walls | Siding | Recommend Approval | 2016-02-18 09:58 | a
36 | 15219 | 2 | Revision | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 17:24 | a
37 | 15419 | 2 | Revision | RSL, Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-14 10:45 | a
38 | 15539 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-29 16:57 | a
39 | 15542 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 19:48 | a
40 | 15544 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:54 | a
41 | 15892 | 9 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | 2016-01-24 15:19 | a
42 | 15894 | 10 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-01-24 15:32 | a
43 | 15922 | 4 | Revision | Andersen Corporation | Windows | Mullions | Recommend Approval | 2016-02-08 21:31 | a
44 | 16039 | 9 | Revision | Duro-Last Roofing Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 09:53 | a
45 | 16272 | 1 | Revision | Loadmaster Systems, Inc. | Structural Components | Roof Deck | Recommend Approval | 2016-02-02 21:16 | a
46 | 16438 | 3 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:01 | a
47 | 16440 | 9 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-19 19:04 | a
48 | 16442 | 3 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:13 | a
49 | 16443 | 9 | Revision | Versico Roofing Systems | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-05 16:22 | a
50 | 16454 | 1 | Revision | Morin - a Kingspan Company | Panel Walls | Siding | Recommend Approval | 2016-02-05 16:46 | a
51 | 16460 | 3 | Revision | JELD-WEN | Windows | Fixed | Recommend Approval | 2016-02-02 21:36 | a
52 | 16464 | 2 | Revision | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 1899-12-31 | a
53 | 16468 | 9 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-15 21:04 | a
54 | 16650 | 3 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-15 21:11 | a
55 | 16660 | 6 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-01 10:12 | a
56 | 16708 | 5 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 11:58 | a
57 | 16724 | 4 | Revision | Henry Company LLC | Roofing | Underlayments | Recommend Approval | 2016-02-16 12:56 | a
58 | 17003 | 4 | Revision | Town and Country Industries, | Shutters | Fabric Storm Panel | Recommend Approval | 2016-02-10 20:43 | a
59 | 17200 | 4 | Revision | Eagle View Windows | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-19 13:03 | a
60 | 17430 | 3 | Revision | Haas Door Company | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-08 21:22 | a
61 | 17500 | 1 | Editorial Change | Tremco Incorporated | Structural Components | Structural Wall | Recommend Approval | 2016-02-29 10:20 | a
62 | 17568 | 2 | Revision | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 21:29 | a
63 | 17714 | 1 | Editorial Change | Special-Lite, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 21:30 | a
64 | 17954 | 2 | Revision | Fleetwood Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-18 15:42 | a
65 | 17989 | 1 | Revision | Atlas Roofing Corporation | Roofing | Roofing Insulation | Recommend Approval | 2016-02-19 14:05 | a
66 | 18393 | 1 | Revision | AWP Windows and Doors, LLC/ formerlyTrulite | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 15:10 | a
67 | 18505 | 0 | New | Continental Glass Systems, LLC | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 15:12 | a
68 | 18507 | 2 | Revision | La Finestra, LC | Windows | Fixed | Recommend Approval | 2016-01-05 11:27 | a
69 | 18655 | 1 | Revision | Brombal Italy | Windows | Casement | Recommend Approval | 2016-02-25 12:39 | a
70 | 18656 | 1 | Revision | Brombal Italy | Windows | Fixed | Recommend Approval | 2016-02-15 14:30 | a
71 | 19130 | 1 | Revision | Royal Building Products | Panel Walls | Siding | Recommend Approval | 2016-02-16 15:08 | a
72 | 19607 | 1 | Revision | AWP Windows and Doors, LLC/ formerlyTrulite | Windows | Fixed | Recommend Approval | 2016-02-19 14:06 | a
73 | 19675 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2016-01-14 22:23 | a
74 | 19676 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2016-01-19 18:59 | a
75 | 19731 | 1 | Revision | Miami Tech, Inc. | Structural Components | Anchors | Recommend Approval | 2016-02-17 15:18 | a
76 | 19999 | 2 | Revision | Berridge Manufacturing Co. | Roofing | Metal Roofing | Recommend Approval | 2016-02-08 21:30 | a
77 | 20149 | 0 | New | N.R. Architectural Products, Inc. | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-16 11:48 | a
78 | 20374 | 1 | Revision | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-15 14:25 | a
79 | 20403 | 1 | Revision | Grayne-The Tapco Group | Panel Walls | Siding | Recommend Approval | 2016-02-19 12:40 | a
80 | 20665 | 0 | New | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Storefronts | Recommend Approval | 2016-02-29 18:48 | a
81 | 20717 | 0 | New | Carolina Carports,Inc. | Structural Components | Roof Deck | Recommend Approval | 2015-12-31 14:24 | a
82 | 20727 | 0 | New | Carolina Carports,Inc. | Structural Components | Structural Wall | Recommend Approval | 2016-02-16 08:23 | a
83 | 20767 | 0 | New | VEER Plastics Private Limited | Roofing | Underlayments | Recommend Approval | 2016-02-19 14:35 | a
84 | 20800 | 0 | New | International Wood Trade | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-16 08:37 | a
85 | 20804 | 0 | New | Sol-A-Trol Aluminum Products | Windows | Fixed | Recommend Approval | 2016-02-12 15:47 | a
86 | 20805 | 0 | New | Sol-A-Trol Aluminum Products | Windows | Single Hung | Recommend Approval | 2016-02-18 20:06 | a
87 | 20814 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Curtain Walls | Recommend Approval | 2016-02-09 12:07 | a
88 | 20822 | 0 | New | Sierra Pacific Windows (Formerly known as Hurd Windows & Doors) | Windows | Mullions | Recommend Approval | 2016-01-04 15:00 | a
89 | 20868 | 0 | New | Vi-Lux Building Products Inc. | Exterior Doors | Exterior Door Components | Recommend Approval | 2016-02-19 12:31 | a
90 | 20869 | 0 | New | Reilly Windows & Doors | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-23 11:53 | a
91 | 20872 | 0 | New | USP Structural Connectors, a MiTek Company | Structural Components | Anchors | Recommend Approval | 2016-02-19 12:44 | a
92 | 20873 | 0 | New | Novatech Doors Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2016-02-19 12:50 | a
93 | 20887 | 0 | New | Raynor Garage Doors | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | 2016-02-25 12:31 | a
94 | 21035 | 0 | New | Abby Iron Doors | Windows | Fixed | Recommend Approval | 2016-02-03 21:22 | a
95 | 21039 | 0 | New | National Nail Corp. | Roofing | Underlayments | Recommend Approval | 2016-02-03 21:19 | a
96 | 21042 | 0 | New | MQ Window and Door | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-16 12:02 | a
97 | 21043 | 0 | New | Tracy Cantley & Company, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-01-28 08:21 | a
98 | 21044 | 0 | New | Kolbe Windows and Doors - Manawa | Windows | Mullions | Recommend Approval | 2016-02-16 13:01 | a
99 | 21045 | 0 | New | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | 2016-02-16 13:16 | a
100 | 21046 | 0 | New | Amarr Garage Doors/Entrematic | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | 2016-02-16 13:04 | a
101 | 21055 | 0 | New | Sunshine Metal Supply, Inc. | Roofing | Metal Roofing | Recommend Approval | 2016-02-16 13:07 | a
102 | 21057 | 0 | New | Aluminum Fabricators USA inc. | Shutters | Roll-up | Recommend Approval |  | a
103 | 21060 | 0 | New | JELD-WEN | Windows | Mullions | Recommend Approval |  | a
104 | 21061 | 0 | New | Brombal Italy | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
105 | 21062 | 0 | New | Tubelite Inc. | Panel Walls | Storefronts | Recommend Approval |  | a
106 | 21064 | 0 | New | Tremco Incorporated | Roofing | Cements-Adhesives-Coatings | Recommend Approval |  | a
107 | 21066 | 0 | New | E.S. Windows, Inc. | Panel Walls | Curtain Walls | Recommend Approval |  | a
108 | 21067 | 0 | New | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval |  | a
109 | 21068 | 0 | New | Nan Ya Plastics Corporation USA | Windows | Mullions | Recommend Approval |  | a
110 | 21069 | 0 | New | Royal Building Products | Panel Walls | Siding | Recommend Approval |  | a
111 | 21070 | 0 | New | Atlantic Shutters, Inc. | Shutters | Storm Panels | Recommend Approval |  | a
112 | 21074 | 0 | New | Ridged Systems, LLC | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-12 08:10 | a
113 | 21079 | 0 | New | Continental Glass Systems, LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-10 20:26 | a
114 | 21082 | 0 | New | Dynamic Metals | Roofing | Metal Roofing | Recommend Approval | 2016-02-11 10:57 | a
115 | 21083 | 0 | New | MAPA Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | 2016-02-15 14:43 | a
116 | 21091 | 0 | New | PanoramAH! America | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2016-02-11 12:30 | a
Test Report
117 | 20111 | 0 | New | Continental Glass Systems, LLC | Windows | Fixed | Recommend Approval | 2016-02-16 15:58 | a
118 | 20667 | 1 | Editorial Change | Fidelity Manufacturing | Panel Walls | Products Introduced as a Result of New Technology | Recommend Approval | 2016-01-30 09:43 | a
119 | 20821 | 0 | New | ATAS International, Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval |  | a
120 | 20828 | 0 | New | GlassCraft Door Corporation | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
121 | 21050 | 0 | New | Fidelity Manufacturing | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval |  | a
COMMENTS
Architect and Engineer Evaluation Method
122 | 13280 | 6 | Revision | KML Windows, Inc. | Windows | Fixed | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar comment | For FL 13280.1 and FL13280.2 and FL13280.3;Glazing Type 3 not permitted at installations above 30'. Conflicts with small missile impact rating shown on Sheet 1. Section 2411.3.3.7 (FBC 2014)
|  |  | S.Moore's comment | We would like to clarify that the installation instructions are appropriate as-is and no revisions to the application would be necessary. Glazing Type 3 uses an annealed glass sacrificial lite in the IG makeup which wouldn’t be qualified for SMI resistance as shown, but immediately below the glazing details is a stipulation that installation higher than 30’ above grade are required to be safety glazed per the requirements of the Florida Building Code. The intention of the note is to specify that Glazing Type 3 must use a tempered sacrificial lite in a SMI application. Per ASTM E1996 an increase in the temper of a sacrificial lite in an impact resistant insulating glass makeup is an allowable substitution that requires no additional testing. Therefore the specification as stated on the installation instructions requires that all glazing for use over 30’ above grade be safety glazed complies with the intent of the building code.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
123 | 13624 | 6 | Revision | CAL-ROYAL PRODUCTS INC. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar comment | For FL13624.4 and FL13624.6;Limit panic bar use to outswing doors only.
|  |  | R.Wright response | Please note that the Panic Bar is currently not shown as being available for inswing use.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
124 | 15493 | 2 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | Clarify that door is not rated for Air infiltration
|  |  | S.Moore's Response | We would like to request the conditional approval of FL15493-R2 to allow the installation instructions to be revised to clarify that this louver door is not rated for air infiltration per the public comment.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the installation instructions to clarify that this louver door is not rated for air infiltration per the public comment.(Energy requirement)
125 | 15539 | 1 | Revision | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | For the transom Horizontal mullion Welding, clarify the Spot weld spec (Size, spacing, weld strength).
|  |  | S.Moore's Response | We would like to request the conditional approval of FL15539-R1 such that the spot weld specification may be added to the installation instructions per the public comment.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the installation instructions to add the spot weld specification as per comment.
126 | 15560 | 7 | Revision | Fleetwood Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies
|  |  | H. Makar's comment | For FL15560.1, FL15560.2, FL15560.3,FL15560.4, FL15560.5, FL15560.17, FL15560.18, FL15560.21 and FL15560.22; Maximum frame width/size not indicated. Section 2411.3.2.4(i)(1).
|  |  | R.Wright's Response | Please set the approval to “Conditional” and we will add a “Max Frame Width Dimension” based on Panel configuration as shown for additional clarity.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the installation instruction to add clarification for Max frame width dimension as per comment.(Please note that the 1.5 Max Frame Width dimension is not a code requirement)
127 | 16925 | 3 | Revision | Fleetwood Windows and Doors | Windows | Fixed | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | For FL16925.1 and FL16925.2; Maximum frame width/size not indicated. Section 2411.3.2.4(ii)(1).
|  |  | R.Wright's Response | Currently the DLO is shown on the drawing. Please set the approval to “Conditional” and we will add a “Max Frame Width Dimension” for additional clarity.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the installation instructions to add “Max Frame Width Dimension” for additional clarity as per comment.(Please note that the 1.5 Max Frame Width dimension is not a code requirement)
128 | 17112 | 2 | Revision | Goldbrecht USA, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | Maximum frame width/size not indicated. Section 2411.3.2.4(i)(1).
|  |  | S.Wolter's Response | We request a conditional approval for this submittal based on the following conditions: In the HVHZ, we will limit the doors without reinforcing to 9 panels wide (6 were tested), and add the maximum dimensions as requested. In the HVHZ, we will reduce the design pressures for the reinforced doors to +60/-65 psf, meeting the L/180 deflection criteria required by Miami-Dade for unlimited panels.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the installation instructions to limit the doors to 9 panels wide in the HVHZ and add the maximum frame dimensions for the HVHZ as per comment.(Please note that the 1.5 Max Frame Width dimension is not a code requirement)
129 | 17191 | 2 | Revision | Tubelite Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | L.Turner's comment | I’d like to submit a public comment on this application, with the intent to request that this be considered for Conditional Approval by the POC at their next meeting to allow for a change in the documents. The change will be that for 17191.2, the non-HVHZ single pane door, that Detail 6/3 on sheet 3 of the installation instructions (the threshold clip detail) will be removed since threshold clips are not required. I had copied detail 6/3 over from another door where the clip was needed, but the monolithic impact door was fully tested without the threshold clips so that detail should be removed. This will be the only change to any of the documents, except to update them to today’s date (9/15/2016) for consistency with the installation instructions.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the FL17191.2, the non-HVHZ single pane door, that Detail 6/3 on sheet 3 of the installation instructions (the threshold clip detail) will be removed.
130 | 19665 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | For FL19665.1 and FL19665.2; Testing performed per AMCA 540 not applicable for HVHZ.
|  |  | M. Steele's Response | Dear Product Oversite Committee, I represent Greenheck Fan Corporation as well as its subsidiary The Airolite Company, LLC., and this reply is regarding identical comments made to four of our FPA applications. The FPA applications are for wall louvers that are rated for wind resistance and impact resistance. The FPA applications are 19655.1/.2, 19673.1/.2, 19683.1, and 19685.1. The following, public comment was made to all four applications: “Testing performed per AMCA 540 not applicable for HVHZ.” I agree that at this time the AMCA 540 impact standard is not a requirement or option for impact testing of a louver located within the HVHZ. However, all of the above louvers were specifically tested to TAS-201 (impact) and TAS-203 (cyclic pressure) as required for louvers located within the HVHZ per FBC, Building, Ch. 16 (Structural), Section 1626 (High-Velocity Hurricane Zones – Impact Tests for Wind-borne Debris), Sub Sec. 1626.2 (Large missile impact tests) that states in part: “This test shall be conducted on three test specimens per test protocols TAS 201 and TAS 203.”
|  |  | M. Steele's Response | The AMCA 540 impact was done as an additional impact test to satisfy customers who require the AMCA 540 impact testing. The AMCA 540 impact testing stratifies the FBC impact requirement for louvers located outside of the HVHZ as per FBC, Building, Ch. 16 (Structural), Section 1609 (Wind Loads), Sub Sec. 1609.2.1 (Louvers) that states: “Louvers protecting intake and exhaust ventilation ducts not assumed to be open that are located within 30 feet (9144 mm) of grade shall meet the requirements of ANSI/AMCA 540 or shall be protected by an impact-resistant cover complying with the large missile test of ASTM E 1996 or an approved impact-resistance standard. Louvers required to be open for life safety purposes such as providing a breathable atmosphere shall meet the requirements of AMCA 540.” If I had only listed the TAS-201/202/203 testing on the application, then there would be no question as to the acceptable qualification of the louvers for use within the HVHZ. Therefore, the addition qualification of an another impact test standard of AMCA 540 as an alternate requirement for when the louver is located outside of the HVHZ is acceptable. In conclusion, the louvers are clearly acceptable for use both outside and inside the HVHZ and can be rated as such. All four of the above FPA applications do have “yes” for approved for use outside of the HVHZ (where AMCA 540 applies), and also have “yes” for approved for use within the HVHZ (where TAS-201/203) applies.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
131 | 19673 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | For FL19673.1 and FL19673.2; Testing performed per AMCA 540 not applicable for HVHZ.
|  |  | M. Steele's Response | Dear Product Oversite Committee, I represent Greenheck Fan Corporation as well as its subsidiary The Airolite Company, LLC., and this reply is regarding identical comments made to four of our FPA applications. The FPA applications are for wall louvers that are rated for wind resistance and impact resistance. The FPA applications are 19655.1/.2, 19673.1/.2, 19683.1, and 19685.1. The following, public comment was made to all four applications: “Testing performed per AMCA 540 not applicable for HVHZ.” I agree that at this time the AMCA 540 impact standard is not a requirement or option for impact testing of a louver located within the HVHZ. However, all of the above louvers were specifically tested to TAS-201 (impact) and TAS-203 (cyclic pressure) as required for louvers located within the HVHZ per FBC, Building, Ch. 16 (Structural), Section 1626 (High-Velocity Hurricane Zones – Impact Tests for Wind-borne Debris), Sub Sec. 1626.2 (Large missile impact tests) that states in part: “This test shall be conducted on three test specimens per test protocols TAS 201 and TAS 203.”
|  |  | M. Steele's Response | The AMCA 540 impact was done as an additional impact test to satisfy customers who require the AMCA 540 impact testing. The AMCA 540 impact testing stratifies the FBC impact requirement for louvers located outside of the HVHZ as per FBC, Building, Ch. 16 (Structural), Section 1609 (Wind Loads), Sub Sec. 1609.2.1 (Louvers) that states: “Louvers protecting intake and exhaust ventilation ducts not assumed to be open that are located within 30 feet (9144 mm) of grade shall meet the requirements of ANSI/AMCA 540 or shall be protected by an impact-resistant cover complying with the large missile test of ASTM E 1996 or an approved impact-resistance standard. Louvers required to be open for life safety purposes such as providing a breathable atmosphere shall meet the requirements of AMCA 540.” If I had only listed the TAS-201/202/203 testing on the application, then there would be no question as to the acceptable qualification of the louvers for use within the HVHZ. Therefore, the addition qualification of an another impact test standard of AMCA 540 as an alternate requirement for when the louver is located outside of the HVHZ is acceptable. In conclusion, the louvers are clearly acceptable for use both outside and inside the HVHZ and can be rated as such. All four of the above FPA applications do have “yes” for approved for use outside of the HVHZ (where AMCA 540 applies), and also have “yes” for approved for use within the HVHZ (where TAS-201/203) applies.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
132 | 19683 | 1 | Revision | Greenheck Fan Corporation | Panel Walls | Wall Louver | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | Testing performed per AMCA 540 not applicable for HVHZ.
|  |  | M. Steele's Response | Dear Product Oversite Committee, I represent Greenheck Fan Corporation as well as its subsidiary The Airolite Company, LLC., and this reply is regarding identical comments made to four of our FPA applications. The FPA applications are for wall louvers that are rated for wind resistance and impact resistance. The FPA applications are 19655.1/.2, 19673.1/.2, 19683.1, and 19685.1. The following, public comment was made to all four applications: “Testing performed per AMCA 540 not applicable for HVHZ.” I agree that at this time the AMCA 540 impact standard is not a requirement or option for impact testing of a louver located within the HVHZ. However, all of the above louvers were specifically tested to TAS-201 (impact) and TAS-203 (cyclic pressure) as required for louvers located within the HVHZ per FBC, Building, Ch. 16 (Structural), Section 1626 (High-Velocity Hurricane Zones – Impact Tests for Wind-borne Debris), Sub Sec. 1626.2 (Large missile impact tests) that states in part: “This test shall be conducted on three test specimens per test protocols TAS 201 and TAS 203.”
|  |  | M. Steele's Response | The AMCA 540 impact was done as an additional impact test to satisfy customers who require the AMCA 540 impact testing. The AMCA 540 impact testing stratifies the FBC impact requirement for louvers located outside of the HVHZ as per FBC, Building, Ch. 16 (Structural), Section 1609 (Wind Loads), Sub Sec. 1609.2.1 (Louvers) that states: “Louvers protecting intake and exhaust ventilation ducts not assumed to be open that are located within 30 feet (9144 mm) of grade shall meet the requirements of ANSI/AMCA 540 or shall be protected by an impact-resistant cover complying with the large missile test of ASTM E 1996 or an approved impact-resistance standard. Louvers required to be open for life safety purposes such as providing a breathable atmosphere shall meet the requirements of AMCA 540.” If I had only listed the TAS-201/202/203 testing on the application, then there would be no question as to the acceptable qualification of the louvers for use within the HVHZ. Therefore, the addition qualification of an another impact test standard of AMCA 540 as an alternate requirement for when the louver is located outside of the HVHZ is acceptable. In conclusion, the louvers are clearly acceptable for use both outside and inside the HVHZ and can be rated as such. All four of the above FPA applications do have “yes” for approved for use outside of the HVHZ (where AMCA 540 applies), and also have “yes” for approved for use within the HVHZ (where TAS-201/203) applies.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
133 | 19685 | 1 | Revision | The Airolite Company, LLC | Panel Walls | Wall Louver | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | Testing performed per AMCA 540 not applicable for HVHZ.
|  |  | M. Steele's Response | Dear Product Oversite Committee, I represent Greenheck Fan Corporation as well as its subsidiary The Airolite Company, LLC., and this reply is regarding identical comments made to four of our FPA applications. The FPA applications are for wall louvers that are rated for wind resistance and impact resistance. The FPA applications are 19655.1/.2, 19673.1/.2, 19683.1, and 19685.1. The following, public comment was made to all four applications: “Testing performed per AMCA 540 not applicable for HVHZ.” I agree that at this time the AMCA 540 impact standard is not a requirement or option for impact testing of a louver located within the HVHZ. However, all of the above louvers were specifically tested to TAS-201 (impact) and TAS-203 (cyclic pressure) as required for louvers located within the HVHZ per FBC, Building, Ch. 16 (Structural), Section 1626 (High-Velocity Hurricane Zones – Impact Tests for Wind-borne Debris), Sub Sec. 1626.2 (Large missile impact tests) that states in part: “This test shall be conducted on three test specimens per test protocols TAS 201 and TAS 203.”
|  |  | M. Steele's Response | The AMCA 540 impact was done as an additional impact test to satisfy customers who require the AMCA 540 impact testing. The AMCA 540 impact testing stratifies the FBC impact requirement for louvers located outside of the HVHZ as per FBC, Building, Ch. 16 (Structural), Section 1609 (Wind Loads), Sub Sec. 1609.2.1 (Louvers) that states: “Louvers protecting intake and exhaust ventilation ducts not assumed to be open that are located within 30 feet (9144 mm) of grade shall meet the requirements of ANSI/AMCA 540 or shall be protected by an impact-resistant cover complying with the large missile test of ASTM E 1996 or an approved impact-resistance standard. Louvers required to be open for life safety purposes such as providing a breathable atmosphere shall meet the requirements of AMCA 540.” If I had only listed the TAS-201/202/203 testing on the application, then there would be no question as to the acceptable qualification of the louvers for use within the HVHZ. Therefore, the addition qualification of an another impact test standard of AMCA 540 as an alternate requirement for when the louver is located outside of the HVHZ is acceptable. In conclusion, the louvers are clearly acceptable for use both outside and inside the HVHZ and can be rated as such. All four of the above FPA applications do have “yes” for approved for use outside of the HVHZ (where AMCA 540 applies), and also have “yes” for approved for use within the HVHZ (where TAS-201/203) applies.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.
134 | 20867 | 0 | New | Trinity Glass International | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | For FL20867.3, FL20867.4, FL20867.5 and FL20867.6; Remove TAS 201, 203 from General Note 1.
|  |  | S.Moore's Response | We would like to request a conditional approval of FL20867 such that TAS 201, 203 is removed from General Note 1 for subsections .3, .4, .5 and .6.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to remove TAS 201, 203 from General note for subsections .3, .4, .5 and .6 on the installation instructions.
135 | 20877 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Storefronts | Recommend Approval | 2015-12-18 23:27 | a
|  |  | T.Berman's comment | Application FL20877 has been validated by a validation entity that is not a Florida Professional Engineer. The application is based on an evaluation report by a Florida Professional Engineer. In accordance with directive by the Florida Board of Professional Engineers only a Florida Professional Engineer may validate the evaluation report.
|  |  | T.Groves's Response | We hereby give consent to be considered for conditional approval. We will make the corrections to the validation entity as necessary.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the application to change the validation entity by an engineer.
136 | 21041 | 0 | New | Brombal Italy | Windows | Mullions | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | Evaluation report limit of use note #1, specify exclusion from HVHZ.
|  |  | S.Moore's Reponse | We would like to request a conditional approval of FL21041-R0 to allow the application to be revised to non-HVHZ to match the current installation instructions and evaluation report.
|  |  | Staff analysis | Staff agrees and recommends conditional approval based on condition requested by the applicant to revise the application to non-HVHZ to match the current installation instructions and evaluation report.
137 | 21051 | 0 | New | Pottorff | Panel Walls | Wall Louver | Recommend Approval | 2015-12-18 23:27 | a
|  |  | M.Steele's comment | Public Comment #1 on FPA 21051: Under the Reference Year and Standard section of the application it lists a standard of “AMCA”. However, there is no such standard and would be equivalent to showing a standard of “ASTM” or “TAS” without any numerical numbers after it to reference a specific ASTM or TAS standard. The applicant’s PE Evaluation report’s Section 5, Testing, does reference “AMCA 540”. AMCA (AMCA 540-08) is referenced in the FBC, Building, Ch. 35 Referenced Standards. It is suggested that conditional approval be based on the condition that the applicant revises the Reference Year and Standard section to show “AMCA 540” instead of “AMCA”. Public Comment #2 on FPA 21051: Under the Reference Year and Standard section of the application it lists a standard year of “2013” for the shown “AMCA” standard. However, the current FBC only references the 2008 year of the standard. The applicant does provide an equivalency of standards for AMCA 540-08 and AMCA 540-13, but it is understood that the shown year on the FPA application needs to match the year listed in the FBC. AMCA (AMCA 540-08) is referenced in the FBC, Building, Ch. 35 Referenced Standards. It is suggested that conditional approval be based on the condition that the applicant revises the Reference Year and Standard section to show “2008” instead of “2013”.
Public Comment #3 on FPA 21051: The Instillation Drawings give a misleading impression that the product is an Approved Miami-Dade Notice of Acceptance (NOA) product when it is not NOA Approved. The drawing’s areas of concern along with two from the PE Evaluation Report are: 1) Drawing page 1, note 1, states “This NOA drawing…”. 2) The “Drawing Number” as sown on the lower right of each page notes the model name followed by “NOA”. 3) The drawing file location on the applicant’s computer as sown on the left margin of every drawing page notes the drawing to be under a file folder named “[model name] NOA”. 4) The PE Evaluation Report lists in Section 5, drawings that were submitted as “[model name] NOA sheets”. 5) The PE Evaluation Report lists in Section 5, calculations that were submitted as “[model name] Louver NOA”. It is assumed that the applicant will be or is in the process of seeking an NOA Approval of this product, but has elected to apply for FPA before the product is NOA Approved. As such, the applicant used the PE Evaluation report method to instead of approval via a Certification Mark or Listing (the NOA) to gain FPA status. This is acceptable, however, the customer may make the assumption based on the above five listed NOA references that the product is also NOA Approved when it is actually not an NOA approved product. It is known that the product does not have an NOA as the drawings do not have the “Miami-Dade NOA Approved” stamp on every page and the product cannot be found on the Miami-Dade’s website of approved NOA products.
It is suggested that conditional approval be based on the condition that the applicant add “Not Miami-Dade NOA Approved” under the Limits of Use section of the FPA or upload revised installation drawings with the above 1, 2, and 3 noted NOA references removed (the PE Evaluation Report can be left as is).
Public Comment #4 on FPA 21051: The applicant states on the Installation Drawings in Table 2 (upper right corner of page 1) and also on page 9 that the product is allowed to be installed in a multi high setup (uses a horizontal joint between frame sections). It is suggested that the PE of the PE Evaluation report confirm the as-tested setups due to the rarity of testing a multi-high configuration in the louver industry (as compared to a vertical joint or multi-wide setup). It is suggested that conditional approval be based on the condition that the applicant’s PE confirm to the FPA POC committee that both the TAS-201 and AMCA 540 impact test reports listed in the PE Evaluation Report do indicate that a multi-high setup was tested and passed all required mid-span horizontal joint impacts as well as any required post impact TAS-203 cyclic pressure testing. If the above testing and passing cannot be verified then the applicant needs to add “Not approved for multi-high assemblies” under the Limits of Use section of the FPA.
|  |  | T.Berman's Response | These are our responses to public comments Public Comment # 1 The standard number was omitted and we request a conditional approval to have on the face of application Standard AMCA 540. Public Comment #2 When an applicant is filling up the required information on the on-line application the following instruction is shown on-line: “If standard and/or Standard Year entered above, is not in the code, then certify equivalency using one of the following entities.” Following the instruction we filled the standard and the year as tested: AMCA 540-13. One of the entities listed that can provide a certificate of equivalency is a Florida Professional Engineer. We as a Florida Professional Engineer provided he required certificate to certify the equivalency between the tested standard AMCA 540-13 to the adopted standard on Chapter 35 of the current FBC AMCA 540-08. Therefore we consider the action taken in compliance with the requirement for product approval application. No action should be required
|  |  | T.Berman's Response | Public Comment # 3 The drawings for this application were submitted to Miami Dade County for a NOA simultaneously with the application for Florida Product Approval. The manufacturer is not indicating that this is a Miami Dade County approval and would like the drawings to be identical. No action should be required. Public Comment # 4 The unlimited height is not a tested condition. Page 1 Note 9. indicates: “Multi-Section wide and high louver systems are allowable provided the individual sections are supported per the details on this drawing and a suitable support structure is analyzed and approved by a professional Engineer.” The notes on page 1 and details on page 9 are added conditions that the user would need to provide to use the assembly on multi-high configurations. Manufacturer would like to revise Note 9 to read: “Multi-sections wide and high louver systems….. Request conditional approval to revise Page 1 Note 9 to read: "Multi-sections wide and high louver systems are allowable provided the individual sections are supported per the details on this drawing and a suitable support structure is analyzed and approved by a Professional Engineer."
|  |  | Staff analysis | Staff agrees with the reponses to Public comment 2 and 3 as no action is required and recommends conditional approval based on condition requested by the applicant to have the AMCA 540 on the application and to revise Page 1 Note 9 to read: "Multi-sections wide and high louver systems are allowable provided the individual sections are supported per the details on this drawing and a suitable support structure is analyzed and approved by a Professional Engineer.
| 21058 | 0 | New | Nystrom, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | 2015-12-18 23:27 | a
|  |  | H. Makar's comment | Signed/sealed drawings not provided.
|  |  | V.La Rue's response | We do at this time request a conditional approval to upload the drawings to meet the public comments.
|  |  | Staff analysis | Staff agrees and recommends approval based on the applicant's clarification.