## WeeklyCommisionReport (38)
| FL# | Revision # | Category | Subcategory | Manufacturer | Application Type | DBPR | POC | FBC | Comments
Certification Mark or Listing
1 | 331 | 14 | EXTDOORS | Swinging Exterior Door Assemblies | PGT Industries | REV | a
2 | 1435 | 21 | WINDOWS | Single Hung | PGT Industries | REV | a
3 | 5012 | 20 | WINDOWS | Fixed | PGT Industries | REV | a
4 | 5584 | 4 | ROOFING | Roofing Insulation | Concrecel International, Inc. | REV | a
5 | 6529 | 8 | WINDOWS | Horizontal Slider | Marvin Windows and Doors | REV | a
6 | 10431 | 2 | STRUCT | Insulation Form Systems | Aqua-Pak Industries Ltd. | REV | a
7 | 10520 | 4 | PANEL | Products Introduced as a Result of New Technology | Mitsubishi Chemical Composites America | REV | a
8 | 11350 | 5 | PANEL | Wall Louver | Greenheck Fan Corporation | REV | a
9 | 11357 | 5 | PANEL | Wall Louver | The Airolite Company, LLC | REV | a
10 | 11821 | 5 | WINDOWS | Casement | Atrium Windows & Doors | EDIT_CHG | a
11 | 12648 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | Next Door Company | REV | a
12 | 12820 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Eagan Manufacturing, Inc. | REV | a
13 | 12898 | 3 | WINDOWS | Single Hung | Eagan Manufacturing, Inc. | REV | a
14 | 13145 | 13 | WINDOWS | Casement | Marvin Windows and Doors | REV | a
15 | 13303 | 5 | SKY_LITE | Skylight | VELUX America LLC | REV | a
16 | 13966 | 5 | EXTDOORS | Swinging Exterior Door Assemblies | LIF Industries | REV | a
17 | 14071 | 6 | WINDOWS | Horizontal Slider | Quaker Window Products Co. Inc. | REV | a
18 | 14252 | 5 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
19 | 14407 | 6 | WINDOWS | Fixed | Marvin Windows and Doors | REV | a
20 | 14499 | 3 | ROOFING | Liquid Applied Roof Systems | Neptune Coatings, a division of Harco Americas Inc. | REV | a
21 | 14671 | 6 | WINDOWS | Double Hung | Pella Corporation | EDIT_CHG | a
22 | 14673 | 6 | WINDOWS | Fixed | Pella Corporation | EDIT_CHG | a
23 | 14673 | 7 | WINDOWS | Fixed | Pella Corporation | REV | a
24 | 14685 | 5 | WINDOWS | Awning | Pella Corporation | EDIT_CHG | a
25 | 14685 | 6 | WINDOWS | Awning | Pella Corporation | REV | a
26 | 14686 | 5 | WINDOWS | Casement | Pella Corporation | EDIT_CHG | a
27 | 14706 | 6 | WINDOWS | Single Hung | Pella Corporation | EDIT_CHG | a
28 | 14718 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | Next Door Company | REV | a
29 | 14743 | 5 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
30 | 14744 | 5 | WINDOWS | Fixed | Ply Gem Windows | REV | a
31 | 14857 | 8 | WINDOWS | Casement | Kolbe Windows and Doors | REV | a
32 | 14858 | 2 | WINDOWS | Casement | Windsor Windows and Doors | REV | a
33 | 14863 | 5 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
34 | 15317 | 5 | WINDOWS | Casement | Ply Gem Windows | REV | a
35 | 15372 | 5 | WINDOWS | Casement | Simonton/Ply Gem Windows | REV | a
36 | 15412 | 4 | WINDOWS | Single Hung | Lawson Industries | REV | a
37 | 15422 | 9 | WINDOWS | Double Hung | Window Craftsmen Inc. | EDIT_CHG | a
38 | 15578 | 6 | WINDOWS | Fixed | Viwinco Inc. | REV | a
39 | 16060 | 5 | WINDOWS | Awning | Pella Corporation | EDIT_CHG | a
40 | 16102 | 6 | WINDOWS | Horizontal Slider | Ply Gem Windows | REV | a
41 | 16103 | 11 | WINDOWS | Single Hung | Ply Gem Windows | REV | a
42 | 16744 | 2 | EXTDOORS | Swinging Exterior Door Assemblies | Kolbe Windows and Doors | REV | a
43 | 16902 | 6 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
44 | 16904 | 7 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
45 | 17289 | 2 | WINDOWS | Casement | Kolbe Windows and Doors | REV | a
46 | 17317 | 2 | WINDOWS | Fixed | Kolbe Windows and Doors | REV | a
47 | 17444 | 5 | WINDOWS | Casement | Ventana USA | REV | a
48 | 17455 | 3 | WINDOWS | Awning | UNILUX GmbH | EDIT_CHG | a
49 | 17676 | 7 | WINDOWS | Single Hung | MI Windows and Doors | REV | a
50 | 19269 | 2 | WINDOWS | Projected | Winco Window Company | REV | a
51 | 19703 | 3 | WINDOWS | Horizontal Slider | Atrium Windows & Doors | EDIT_CHG | a
52 | 19710 | 1 | WINDOWS | Fixed | Winco Window Company | REV | a
53 | 20100 | 7 | WINDOWS | Single Hung | Atrium Windows & Doors | EDIT_CHG | a
54 | 20100 | 8 | WINDOWS | Single Hung | Atrium Windows & Doors | EDIT_CHG | a
55 | 20455 | 1 | EXTDOORS | Sectional Exterior Door Assemblies | J.B. Garage Doors, Inc. | REV | a
56 | 20471 | 5 | WINDOWS | Fixed | Atrium Windows & Doors | EDIT_CHG | a
57 | 20471 | 6 | WINDOWS | Fixed | Atrium Windows & Doors | EDIT_CHG | a
58 | 20473 | 4 | WINDOWS | Double Hung | Atrium Windows & Doors | EDIT_CHG | a
59 | 21420 | 1 | WINDOWS | Casement | Winco Window Company | REV | a
60 | 21662 | 4 | STRUCT | Anchors | OMG - FastenMaster | EDIT_CHG | a
61 | 21837 | 4 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
62 | 22001 | 2 | WINDOWS | Casement | Kolbe Windows and Doors | REV | a
63 | 22242 | 6 | WINDOWS | Fixed | Kolbe Windows and Doors - Manawa | REV | a
64 | 22292 | 3 | EXTDOORS | Sliding Exterior Door Assemblies | JELD-WEN | REV | a
65 | 22655 | 2 | WINDOWS | Double Hung | Kolbe Windows and Doors - Manawa | REV | a
66 | 23998 | 2 | WINDOWS | Fixed | Quaker Window Products Co. Inc. | REV | a
67 | 25951 | 1 | WINDOWS | Fixed | JELD-WEN | REV | a
68 | 26371 | 0 | WINDOWS | Fixed | N.R. Architectural Products, Inc. | NEW | a
69 | 26372 | 0 | WINDOWS | Casement | N.R. Architectural Products, Inc. | NEW | a
70 | 26373 | 0 | WINDOWS | Projected | N.R. Architectural Products, Inc. | NEW | a
71 | 26373 | 1 | WINDOWS | Projected | N.R. Architectural Products, Inc. | REV | a
72 | 26585 | 0 | ROOFING | Metal Roofing | Mid Florida Metals, LLC | NEW | a
73 | 26905 | 1 | EXTDOORS | Sliding Exterior Door Assemblies | Kolbe Windows and Doors | REV | a
74 | 27151 | 0 | IMPPROSY | Removable | Storm Panels S.A. DE C.V. | NEW | a
75 | 27580 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | TRIMLITE | NEW | a
76 | 27616 | 0 | WINDOWS | Fixed | Sierra Pacific Windows | NEW | a
77 | 27628 | 0 | EXTDOORS | Sliding Exterior Door Assemblies | Novatech Patio doors | NEW | a
78 | 27661 | 0 | WINDOWS | Fixed | Sierra Pacific Windows | NEW | a
79 | 27664 | 0 | WINDOWS | Horizontal Slider | Sierra Pacific Windows | NEW | a
80 | 27665 | 0 | WINDOWS | Single Hung | Sierra Pacific Windows | NEW | a
81 | 27673 | 0 | WINDOWS | Casement | Quaker Window Products Co. Inc. | NEW | a
82 | 27676 | 0 | WINDOWS | Awning | Quaker Window Products Co. Inc. | NEW | a
83 | 27678 | 0 | WINDOWS | Double Hung | Sierra Pacific Windows | NEW | a
84 | 27680 | 0 | EXTDOORS | Swinging Exterior Door Assemblies | Kolbe Windows and Doors | NEW | a
85 | 27695 | 0 | WINDOWS | Fixed | MI Windows and Doors | NEW | a
86 | 27944 | 0 | ROOFING | Products Introduced as a Result of New Technology | V2T IP, LLC | NEW | a
Evaluation Report from a Product Evaluation Entity
87 | 814 | 5 | STRUCT | Insulation Form Systems | Amvic Building System | REV | a
88 | 3423 | 8 | PANEL | Exterior Insulation Finish System | Dryvit Systems, Inc | REV | a
89 | 12488 | 2 | PANEL | Exterior Insulation Finish System | PAREX USA, INC. | REV | a
90 | 15287 | 0 | STRUCT | Structural Wall | AFM Corporation | NEW | a
91 | 17789 | 2 | PANEL | Siding | Derby Building Products LLC | REV | a
92 | 21968 | 2 | PANEL | Wall Louver | Construction Specialties, Inc. | REV | a
Certification and Evaluation Entity Method
93 | 14237 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Fleming-Baron Door Products | REV | a
| H.Makar's comment-Miami-DADE |  | Impact w 350 ft-# is not valid. LMI required. Louver doors to limit NOT approved where air and water infiltration is required
| T.Berman's response |  | A note on the application should clarify that the products were retested to LMI and that the louvre option shall not be used on applications requiring wind and air infiltration testing.
| Staff analysis |  | As per the applicant’s response the application is being revised to add a note on the application to clarify that the products were retested to LMI and that the louvre option shall not be used on applications requiring wind and air infiltration testing to address the public comment. No further action is needed.
94 | 15134 | 3 | WINDOWS | Awning | Windsor Windows and Doors | REV | a
| H.Makar's comment-Miami-DADE |  | Does not comply with FBC Section 2411.1.11 and contains proprietary note forbidding the reproduction of a public document
| S.Moore's response |  | Drawing indicates safety glazing requirements of FBC shall be met. If installed over 30' in HVHZ the manufacturer supplies tempered sacrificial lite as allowed by ASTM E1996. The proprietary note in the title block is just so no changes are made to the drawing without our consent. The drawing may be printed and copies distributed, but the document should not be altered or reproduced partially by others. We understand this is a document for public record and the documents are available to be downloaded, printed and distributed. For future reference we may alter the wording on this note for the purposes of making this interpretation clearer.
| Staff analysis |  | As per the applicant’s response the application is being revised to alter the wording on this note for the purposes of making this interpretation clearer to address the public comment. No further action is needed.
95 | 15970 | 5 | WINDOWS | Horizontal Slider | Eastern Architectural Systems | EDIT_CHG | a
| H.Makar's comment-Miami-DADE |  | Does not comply with FBC Section 2411.1.11 and contains proprietary note forbidding the reproduction of a public document
| H.Makar's comment-Miami-DADE |  | I apologize,FL 15970-R5 does not have the note that “forbidding the reproduction of a public document“.
| R.Amoruso's response |  | Public comment on the FL15970 application states: “Does not comply with FBC Section 2411.1.11” I have reproduced section 2411.1.11 below. In it, it states that that for the HVHZ, large missile impact-resistant glazed assemblies shall be safety glazed. As indicated in the Performance Rating Table on sheet 1 of the approval drawings, the impact rating is Large Missile Impact. Thus, the exception applies. Additionally, each approval drawings states in General Note 6.1 the following: For installation 30 ft. above grade, all units must be safety glazed or covered by an impact protective system meeting the requirements of the current edition of the Florida Building Code.
| R.Amoruso's response |  | Installations above 30 ft. require at minimum small missile impact testing, where large missile impact testing envelopes small missile testing. Therefore, this note would require that the exterior lite be safety glazing where SMI glazing is acceptable. The installation drawings currently calls out annealed glazing as the exterior sacrificial lite. Note 6.1 would require the exterior sacrificial lite to be safety glazing, i.e., tempered glass. In the past, this manner of addressing Section 2411.1.11 requirements have been acceptable to MD for HVHZ approvals. 2411.1.11 Exterior lite of glass in an insulated glass unit shall be safety glazed. Exceptions: 1. Large missile impact-resistant glazed assemblies. 2. Nonmissile impact units protected with shutters.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
96 | 17350 | 9 | EXTDOORS | Swinging Exterior Door Assemblies | UNILUX GmbH | EDIT_CHG | a
| H.Makar's comment-Miami-DADE |  | specify setting block per FBC 2411.3.3.1
| R.Amoruso's response |  | The following General Note 5 is included in each drawing part of FL17350. Therefore 2017 FBC Code section 2411.3.3.1 is covered. 5. ALL SETTING BLOCKS AND GASKET MATERIALS SHALL BE IN COMPLIANCE WITH THE CURRENT EDITION OF THE FLORIDA BUILDING CODE. SETTING BLOCKS SHALL BE NEOPRENE WITH A 70 TO 90 SHORE A DUROMETER. GASKET MATERIALS SHALL BE EDPM WITH A MINIMUM 60 SHORE A DUROMETER.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
97 | 17565 | 4 | EXTDOORS | Sliding Exterior Door Assemblies | UNILUX GmbH | EDIT_CHG | a
| H.Makar's comment-Miami-DADE |  | specify setting block per FBC 2411.3.3.1
| R.Amoruso's response |  | The following General Note 5 is included in each drawing part of FL17565. Therefore 2017 FBC Code section 2411.3.3.1 is covered. 5. ALL SETTING BLOCKS AND GASKET MATERIALS SHALL BE IN COMPLIANCE WITH THE CURRENT EDITION OF THE FLORIDA BUILDING CODE. SETTING BLOCKS SHALL BE NEOPRENE WITH A 70 TO 90 SHORE A DUROMETER. GASKET MATERIALS SHALL BE EDPM WITH A MINIMUM 60 SHORE A DUROMETER.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
98 | 21829 | 2 | PANEL | Wall Louver | Ruskin Company | REV | a
| Mike Steele's comment |  | Public Comment on FL21829-R2 For 21829.1 thru 21829.3, the product’s “Limits of Use: Other” statement of “Tested to AMCA 540 - Missile Level D - 50 fps” is not substantiated by the product’s Certification Agency Certificate (a Miami-Dade NOA), nor by an evaluation report. Miami-Dade DRER does not recognize AMCA 540 as being acceptable or equivalent to TAS-201 and does not allow the AMCA 540 test to be on a product’s NOA nor an FPA that Miami-Dade DRER Validates (note, this FPA was not validated by Miami-Dade DRER). Also, the AMCA 540 standard is not listed in the applicant’s “Reference Standard and Year” section of the FPA application, leaving the as-tested standard year an unknown.
| Mike Steele's comment |  | The above is also true for 21829.7, with the exception of changing the missile impact speed to “Level E - 80 fps”. It is assumed that Miami-Dade DRER is ok with listing the AMCA 540 information on this application. I propose that the applicant upload evaluation reports as evidence to the AMCA 540 impact speeds, and to also provide the AMCA 540 standard year(s). Note there are several different standard years for the AMCA 540 standard. As every product in this application was tested to AMCA 540, I also propose that the AMCA 540 and year be listed in the Referenced Standard and Year section of the application. Completing the above propositions will allow customers to know if the above louver products conform to 6th Ed. FBC, Building, Chapter 16, 1609.1.2.1 for impact resistance requirements of louver products, which specifically requires AMCA 540 impact resistance
| T.Berman's response |  | FL21829-R2 to remove references to AMCA 540.
| Staff analysis |  | As per the applicant’s response the application is being revised to remove references to AMCA 540 to address the public comment. No further action is needed.
99 | 22312 | 0 | WINDOWS | Fixed | Weather Shield Mfg., Inc. | NEW | a
| H.Makar's comment-Miami-DADE |  | Does not comply with FBC Section 2411.1.11 and contains proprietary note forbidding the reproduction of a public document.
| V.Bach's response |  | As you can see by the snip-it of our installation detail below, our general notes state if a consumer is required to meet Small Missile Impact Resistance, they must order the product with the inside lite tempered. This statement does comply with Section 2411.1.11. Please let me know if there is anything else needed to address these public comments. Thank you.
V.Bach's response
| V.Bach's response |  | We are in the process of having our title block revised to remove the proprietary note forbidding reproduction of a public document.
| Staff analysis |  | As per the applicant’s response the application is being revised to remove the proprietary note forbidding reproduction of a public document on the title block on the application to address the public comment. No further action is needed.
100 | 22378 | 3 | EXTDOORS | Swinging Exterior Door Assemblies | Masonite International | REV | a
| H.Makar's comment-Miami-DADE |  | specify spacer material
| S.Schreiber's response |  | I will add the requested details to FL22378.
| Staff analysis |  | As per the applicant’s response the application is being revised to add the air spacer material on the application to address the public comment. No further action is needed.
101 | 26840 | 1 | EXTDOORS | Swinging Exterior Door Assemblies | JELD-WEN | REV | a
| H.Makar's comment-Miami-DADE |  | specify not rated for water. Specify F/g thickness and material properties
| J. KANTOLA's response (Jeld-Wen) |  | The water rating is specified on the certification agency certificate (0 psf). JELD-WEN does not specify the fiberglass skin thickness and other material properties on the application as that is proprietary information. Material makeup are confirmed during inspections by our third party certification/inspection agency against test reports on file and listed in the certification agency certificate.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.
102 | 17241 | 3 | STRUCT | Wood Connectors | USP Structural Connectors, a MiTek Company | REV | a
| H.Makar's comment-Miami-DADE |  | ESR-3444 does not state complicance with the 2017 FBC
| E.Walden's response (Mi Tek USA, inc.) |  | Letter from Erin Walden is below.
| Staff analysis |  | Staff agrees with the applicant's response. No further action is needed.