Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 1 of 3
11/3/2010
Code Change Cycle:
2010 Triennial Original Modification 3/1/2010 ‑ 4/2/2010
Total Mods for this TAC:
Plumbing
TAC:
 6 
SubCode:
Existing Building
6‑Alterations Level 1
New 613 and 613.1
 4339 
Add language to address residential swimming pool and spa issues
Duren Gary
6
Comment
X⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [ G1 ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [A2 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [plG1/Y7-N1, swG1/Y7-N0,   swA2/Y5-N2   plA2/Y4-N4  ]

Proponent
Summary
Mod #
Section
Chapter
Approved as Modified
SubCode:
Building
2711‑Administrative Provisions (Reserved)
New appendix
 4391 
Add a new Appendix “XX” (Designation to be assigned)
Doug Harvey
2711
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [     ]

x⁭3. No comment is needed.     [ G3 , G4 ]						⁭4. Straw poll:     [    ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Fuel Gas
1‑Scope and Administration
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 2 of 3
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 6 
All
 4381 
Replace the Florida Building Code‑Fuel Gas with the 2009 International Fuel Gas Code in its entirety.
Doug Harvey
1
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ A1,G2 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [plA1/Y3-N5, plG2/Y3-N5 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Plumbing
5‑Water Heaters
504.6
 3603 
Add exception to this section of code for a solar system that can have multiple PRV's. Discharging a 1/2&quot; relief device in the solar loop into the T&amp;P tank discharge should be acceptable.
Ben Bentley
5
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [G1,G2 ]

⁭3. No comment is needed.     [     ]						⁭4. Straw poll:     [ pl G1/Y0-N8,  G2/Y0-N8 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
SubCode:
Residential
28‑Water Heaters
P2803.6.1.2
 3648 
Add exception to this section of code for a solar system that can have multiple PRV's. Discharging a 1/2&quot; relief device from the solar loop into the T&amp;P tank discharge should be acceptable.
Ben Bentley
28
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1    ]

X⁭3. No comment is needed.     [  G2   ]						⁭4. Straw poll:     [pG1/ Y0- N8     ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations

Florida Department of Community Affairs
Building Codes and Standards
TAC & Commission Tracking Chart
Page 3 of 3
11/3/2010
Total Mods for this TAC:
Plumbing
TAC:
 6 
P2803.6.2.1
 3647 
An exception needs to be added to the code to clarify proper discharge of open loop potable water systems where the relief device is located on the roof near the solar collector(s).
Ben Bentley
28
Comment
⁭1. Support comment.  Comment sufficiently addresses the TAC's concern(s).    [     ]	X⁭2. Do not support comment.  Comment does not address TAC's concerns(s)     [ G1 ]

X⁭3. No comment is needed.     [ G2 ,G3 ]						⁭4. Straw poll:     [G1/Y0-N8 ]

Proponent
Summary
Mod #
Section
Chapter
No Affirmative Recommendation with a Second
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2010
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted
AM = Approved as Modified
NAR = No Affirmative Recommendation
W = Withdrawn
I = Insufficient (incomplete or does not meet criteria)
TAC Recommendations