## Commission (2)
Applications for approval for the December 2014 Cycle
Architect / Engineer and Test Report Method
FL# | Revision # | Type | Manufacturer | Category | Subcategory | Comment | DBPR | POC | FBC | Comments
Evaluation Report from a Florida Registered Architect or a Licensed Florida Professional Engineer
2533 | 12 | Revision | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a
4031 | 6 | Revision | Schlage Lock Company, LLC | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a
4500 | 2 | Revision | Altenloh, Brinck and Co. U.S., Inc. | Roofing | Roofing Fasteners | Recommend Approval | a | a
6080 | 2 | Revision | Nor-Lake, Incorporated | Structural Components | Exterior Coolers-Freezers | Recommend Approval | a | a
9274 | 5 | Revision | Sika Sarnafil, Inc. | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
10264 | 10 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
11288 | 12 | Revision | CertainTeed Corporation-Roofing | Roofing | Underlayments | Recommend Approval | a | a
12328 | 4 | Revision | TAMKO Building Products, Inc. | Roofing | Underlayments | Recommend Approval | a | a
12830 | 4 | Revision | Tapco,Inc | Shutters | Storm Panels | Recommend Approval | a | a
13013 | 3 | Revision | Schlage Lock Company, LLC | Exterior Doors | Exterior Door Components | Recommend Approval | a | a
13168 | 2 | Revision | TRU TECH DOORS USA | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a
14083 | 7 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
14164 | 3 | Editorial Change | Kingspan Insulation LLC | Roofing | Roofing Insulation | Recommend Approval | a | a
14313 | 2 | Revision | Crawford Tracey Corporation | Panel Walls | Curtain Walls | Recommend Approval | a | a
14391 | 1 | Revision | TEPCO Contract Glazing, Inc | Windows | Products Introduced as a Result of New Technology | Recommend Approval | a | a
14426 | 4 | Revision | SR Products | Roofing | Built up Roofing | Recommend Approval | a | a
15552 | 1 | Revision | Andersen Corporation | Windows | Awning | Recommend Approval | a | a
15885 | 1 | Revision | GenFlex Roofing Systems, A Division of Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
15892 | 5 | Revision | Firestone Building Products Company, LLC. | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a
15894 | 4 | Revision | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
16440 | 3 | Revision | Carlisle SynTec Systems | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
16578 | 0 | New | Chief Industries, Inc | Structural Components | Structural Wall | Recommend Approval | a | a
16583 | 0 | New | Chief Industries, Inc | Structural Components | Roof Deck | Recommend Approval | a | a
16607 | 0 | New | ACI Building Systems, LLC | Structural Components | Structural Wall | Recommend Approval | a | a
16630 | 2 | Revision | CGI Windows and Doors | Windows | Horizontal Slider | Recommend Approval | a | a
16631 | 2 | Revision | CGI Windows and Doors | Windows | Casement | Recommend Approval | a | a
16632 | 2 | Revision | CGI Windows and Doors | Windows | Projected | Recommend Approval | a | a
16633 | 2 | Revision | CGI Windows and Doors | Windows | Fixed | Recommend Approval | a | a
16709 | 1 | Revision | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | Recommend Approval | a | a
16758 | 3 | Revision | Johns Manville | Roofing | Single Ply Roof Systems | Recommend Approval | a | a
16780 | 0 | New | Royal Building Products | Panel Walls | Siding | Recommend Approval | a | a
16903 | 2 | Revision | American Shutter Systems Association, Inc. | Shutters | Roll-up | Recommend Approval | a | a
16981 | 1 | Revision | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a
16994 | 2 | Revision | Southeastern Metals Mfg. Co. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | Recommend Approval | a | a
17022 | 1 | Revision | Extreme Metal Fabricators, LLC. | Roofing | Metal Roofing | Recommend Approval | a | a
17101 | 1 | Revision | KST Coatings, A Business Unit of the Sherwin-Williams Company | Roofing | Liquid Applied Roof Systems | Recommend Approval | a | a
17190 | 0 | New | Acrylife, Inc. | Roofing | Products Introduced as a Result of New Technology | Recommend Approval | a | a
17200 | 1 | Revision | Eagle View Windows | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | a | a
17204 | 1 | Revision | American Shutter Systems Association, Inc. | Impact Protective Systems | Operable | Recommend Approval | a | a
17215 | 0 | New | Solatube International, Inc | Sky Lights | Skylight | Recommend Approval | a | a
17217 | 0 | New | Berridge Manufacturing Co. | Structural Components | Roof Deck | Recommend Approval | a | a
17222 | 0 | New | Signature Door Inc | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | a | a
17226 | 0 | New | TRULITE GLASS & ALUMINUM SOLUTIONS | Panel Walls | Curtain Walls | Recommend Approval | a | a
17228 | 0 | New | Unilux AG | Panel Walls | Curtain Walls | Recommend Approval | a | a
17257 | 0 | New | SOUTH FLORIDA ROLLING DOOR, INC. | Exterior Doors | Roll-Up Exterior Door Assemblies | Recommend Approval | a | a
17273 | 0 | New | Vi Win Tech | Windows | Mullions | Recommend Approval | a | a
17291 | 0 | New | Shwinco Architectural Products, LLC. | Windows | Single Hung | Recommend Approval | a | a
17312 | 0 | New | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | Recommend Approval | a | a
17314 | 0 | New | Peak Building Products | Roofing | Cements-Adhesives-Coatings | Recommend Approval | a | a
17315 | 0 | New | Peak Building Products | Roofing | Roofing Fasteners | Recommend Approval | a | a
17316 | 0 | New | ALUCOM, LLC | Roofing | Metal Roofing | Recommend Approval | a | a
17319 | 0 | New | EFCO Corporation | Windows | Projected | Recommend Approval | a | a
17320 | 0 | New | EFCO Corporation | Windows | Casement | Recommend Approval | a | a
17321 | 0 | New | EFCO Corporation | Windows | Fixed | Recommend Approval | a | a
17322 | 0 | New | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval | a | a
17323 | 0 | New | SR Products | Roofing | Liquid Applied Roof Systems | Recommend Approval | a | a
17324 | 0 | New | USP Structural Connectors, a MiTek Company | Structural Components | Wood Connectors | Recommend Approval | a | a
17325 | 0 | New | USP Structural Connectors, a MiTek Company | Structural Components | Wood Connectors | Recommend Approval | a | a
17326 | 0 | New | EAGLE ROOFING PRODUCTS FLORIDA LLC | Roofing | Roofing Tiles | Recommend Approval | a | a
17328 | 0 | New | T M Windows LLC | Exterior Doors | Sliding Exterior Door Assemblies | Recommend Approval | a | a
17329 | 0 | New | AIM Metals LLC | Structural Components | Roof Deck | Recommend Approval | a | a
17330 | 0 | New | Crown Building Products of Florida LLC | Roofing | Roofing Tiles | Recommend Approval | a | a
Test Report
17297 | 0 | New | Cupa Pizarras | Roofing | Roofing Slate | Recommend Approval | a | a
17327 | 0 | New | Central States Manufacturing, Inc. | Roofing | Metal Roofing | Recommend Approval | a | a
COMMENTS
11915 | 4 | Revision | Atlas Roofing Corporation | Roofing | Underlayments | Recommend Approval | a c
|  |  | Comment By Gascon | Gascon-Comment 1- There are discrepancies between section 4 and 5 of evaluation report. WeatherMaster Polyseal SE and WeatherMaster TU Ultra SE must be specified to be in full compliance with TAS 103 for use as a self-adhered underlayment in HVHZ Tile Roof Systems. Comment 2-#55 Smooth Roll Roofing must be specified to be in full compliance with ASTM D226 or ASTM D2626 (not just the performance requirements) for use as an anchor sheet underlayment in HVHZ Roof Coverings.
|  |  | Niemenen Response to comment #1: | The applicant has submitted compliance documentation from an accredited testing laboratory showing that WeatherMaster Polyseal SE and WeatherMaster TU Ultra SE are indeed TAS 103 compliant roof underlayments. We see nothing in Section 4 that would lead anyone to believe otherwise. To that end, we need clarification as to this concern. However, we agree to make specific reference to TAS 103 in-line with the product descriptions.
|  |  | Niemenen Response to comment #2: | We will remove this product from this Evaluation Reports and request Conditional Approval of the file to facilitate its removal.
|  |  | POC Recommendation: | Recommends conditional approval to allow applicant to correct the evaluation report to provide for specific refrerence to TAS 103 in-line with the product descriptions and to remove #55 smooth roll roofing product from the evaluation report.
17214 | 0 | New | Solatube International, Inc | Sky Lights | Products Introduced as a Result of New Technology | Recommend Approval | a
|  |  | Gascon Comment: | Gascon - For HVHZ compliance, FBC section 1715.5.2.1.2 and R308.6.9 require testing to TAS202. The evaluation report does not indicate this was done. Therefore, indicate not for use in the HVHZ.
|  |  | Anderson Response | Following is our rebuttal to the public comments regarding our M74DS Daylight Collector product: “For HVHZ compliance, FBC section 1715.5.2.1.2 and R308.6.9 require testing to TAS202. The evaluation report does not indicate this was done. Therefore, indicate not for use in the HVHZ.” Rebuttal: 1. The M74 DS Daylight Collector is an add-on optical device mounted externally to an M74 DS Tubular Daylighting Devise (TDD). a. As implied in the name, the M74 DS Daylight Collector is comprised of mirror and lens features designed to collect and redirect sunlight into the building through the M74 DS TDD. 2. The M74 DS Daylight Collector is not a Fenestration, Skylight, or TDD and does not penetrate, degrade, or conversely help to maintain the integrity of the building envelope. a. The Scope of TAS 202 states, “1.1 This protocol covers procedures for conducting a uniform static air pressure test for materials and products such as wall cladding, glass block, exterior doors, garage doors, skylights, exterior windows, storm shutters, and any other external component which helps to maintain the integrity of the building envelope.” i. Since the M74 DS Daylight Collector does not help to maintain the integrity of the building envelope it falls outside the scope of TAS 202 3. However, for HVHZ applications, the TAS 202 performance requirement referenced in FBC Section 1715.5.2.1.1 is met by the M74 DS TDD that the M74 DS Daylight Collector mounts onto. a. See FL17214 Report No 1003 Section 6.2 “For reference to Skylight Performance see Report No’s 1001 and 1002”. i. FL17214 Report No 1003: https://www.floridabuilding.org/upload/PR_Tech_Docs/FL17214_R0_AE_M74%20DS%20Daylight%20Collector%20Eval.pdf ii. Report No 1001: https://www.floridabuilding.org/upload/PR_Tech_Docs/FL17215_R0_AE_M74%20DS%20Single%20and%20Dual%20Glazed%20Eval.pdf iii. Report No 1002: https://www.floridabuilding.org/upload/PR_Tech_Docs/FL17215_R0_AE_M%2074%20DS%20Single%20and%20Dual%20Glazed%20with%20Amplifier%20Eval.pdf
|  |  | Gascon Response | Since the device is not a skylight nor comprises the building’s envelope, then how does it qualify for State approval under Rule 61G20-3?
|  |  | Anderson Response | Response: 1. The device (which itself does not comprise the building envelope) is associated with and attached to the base of a TDD-Skylight (which does comprise the building envelope) and has been approved for Florida HVHZ applications. 2. To qualify the Add-On device for HVHZ applications we followed 61G20-3.005(b) 61G20-3.005 Evaluation and Quality Assurance for State Approval. (2) Method 2. Products for which there are no specific standardized tests or comparative or rational analysis methods of evaluation established as required by the Code shall demonstrate compliance with the intent of the Code through one of the following: (a) An evaluation report from an approved product evaluation entity and provides verifiable documentation indicating the product complies with the intent of the Code. (b) An evaluation report from a Florida Registered Architect or a licensed Florida Professional Engineer based on testing or comparative or rational analysis or combination thereof, which provides verifiable documentation indicating the product complies with the intent of the Code. a. Therefore, we contracted with the Florida PE to arrange for a Test in accordance with FBC Section 1715.3 3. In this way, we address the intent of the code according to 61G20-3.005(b) to show that the devise is stably mounted and is of such construction that it will not become wind-blown debris within its rated DP in HVHZ applications.
|  |  | POC Recommendation: | Staff agree with Mr. Anderson's response to the public comment. No further action is needed.
17290 | 0 | New | OLDCASTLE BUILDING ENVELOPE | Exterior Doors | Swinging Exterior Door Assemblies | Recommend Approval | ac
|  |  | Comment By Kathy Blays | Please note the incorrect expiration date for the QA contract, it should be 12-31-15 not 12-31-14.
|  |  | POC Recommendation: | Recommend Conditional Approval to allow the manufacturer to correct QA expiration date to 12-31-15.
17300 | 0 | New | OLDCASTLE BUILDING ENVELOPE | Panel Walls | Storefronts | Recommend Approval | ac
|  |  | Comment By Kathy Blays | Please note the incorrect expiration date for the QA contract, it should be 12-31-15 not 12-31-14.
|  |  | POC Recommendation: | Recommend Conditional Approval to allow the manufacturer to correct QA expiration date to 12-31-15
a=approved
c= conditional
d=deferral