## Results
2017 Florida eRatio test |  |  |  | Software Name:
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Test Case | eRatio | Baseline Home End Use Loads (REUL) |  |  | Baseline Home End Use Energy Consumption (EC_r) |  |  | Proposed Home End Use Energy Consumption (EC_x) |  |  | eRatio Tests | Manufacturer's Equipment Performance Rating (MEPR)
|  | Winter | Summer | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water |  | Heating |  | Cooling |  | Hot Water
|  | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) | (MBtu) |  | Fuel | MEPR | Fuel | MEPR | Fuel | MEPR
L130AO-01 | [10 empty] | #DIV/0! | elec | 7.7 | elec | 13 | elec | 0.92
L130AO-02 | [10 empty] | #DIV/0! | elec | 7.7 | elec | 13 | gas | 0.82
L130AO-03 | [10 empty] | #DIV/0! | gas | 78% | elec | 13 | elec | 0.92
L130AO-04 | [10 empty] | #DIV/0! | elec | 10 | elec | 17 | elec | 0.92
L130AO-05 | [10 empty] | #DIV/0! | gas | 96% | elec | 13 | elec | 0.92
| REUL Tests: | #DIV/0! | #DIV/0! | #DIV/0!

## Worksheet
Test Case | Coefficients | [5 empty] | DSE_r |  |  | EEC_x |  |  | EEC_r |  |  | nEC_x |  |  | nMEUL |  |  | Total Loads |  | eRatio
| Heating |  | Cooling |  | Hot Water |  | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | Heating | Cooling | Hot Water | TnML | TRL
| a | b | a | b | a | b
1 | 2.4026 | 0 | 4.102 | 0 | 0.95 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.44325 | 0.26254 | 1.087 | 0.41622 | 0.24379 | 1.0526 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
2 | 2.4026 | 0 | 4.102 | 0 | 1.3774 | 1.2217 | #DIV/0! | #DIV/0! | #DIV/0! | 0.44325 | 0.26254 | 1.3256 | 0.41622 | 0.24379 | 1.6129 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
3 | 1.037 | 0.2962 | 4.102 | 0 | 0.95 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 1.2821 | 0.26254 | 1.087 | 1.25 | 0.24379 | 1.0526 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
4 | 2.4026 | 0 | 4.102 | 0 | 0.95 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 0.3413 | 0.20076 | 1.087 | 0.41622 | 0.24379 | 1.0526 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!
5 | 1.037 | 0.2962 | 4.102 | 0 | 0.95 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | 1.0417 | 0.26254 | 1.087 | 1.25 | 0.24379 | 1.0526 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0!