## Result_data
DSE Test Suite Results |  |  |  |  | Software Name:
User input data fields indicated by pale yellow
Test result fields indicated by pale green
Results:
Base Cases |  | Heat/cool | Fan | Total | % change
| HVAC-3a |  |  | 0 | --- | base for cases 3b - 3d
| HVAC-3e |  |  | 0 | --- | base for cases 3f - 3h
Criteria:
Test Cases |  | Heat/cool | Fan | Total | % change | max | avg | min | Pass/Fail
| HVAC-3b |  |  | 0 | #DIV/0! | 31.4% | 26.4% | 21.4% | #DIV/0!
| HVAC-3c |  |  | 0 | #DIV/0! | 12.5% | 7.5% | 2.5% | #DIV/0!
| HVAC-3d |  |  | 0 | #DIV/0! | 25% | 20% | 15% | #DIV/0!
| HVAC-3f |  |  | 0 | #DIV/0! | 36.2% | 31.2% | 26.2% | #DIV/0!
| HVAC-3g |  |  | 0 | #DIV/0! | 16.5% | 11.5% | 6.5% | #DIV/0!
| HVAC-3h |  |  | 0 | #DIV/0! | 31.1% | 26.1% | 21.1% | #DIV/0!

## DSE_chart
Attic Cooling Tests
Basement Heating Tests