Validation Checklist for State Approval,

Form No. 9B-72.130(3)(a)

CERTIFICATION METHOD

## Validation Checklist for the Certification Method

- Verify Product Manufacturer’s name on the state application matches that in the Certification program

- Verify all products identified on the state application are listed in the certification program

- Verify Testing Standards on the application and the uploaded Certification Certificate match, and are as certified.

- Verify compliance documentation is current, not expired, suspended or revoked

- Verify Limitations of Use noted on the application are in accordance with the Certification

- Verify Installation Instructions, including anchorage requirements are provided for the same product performance documented in the uploaded Certification Certificate or that the manufacturer’s licensed design professional has performed this verification.

- Verify Status of certification agency.

- Verify Application lists proper category and subcategory of product.

- Verify The testing standards are as adopted and required by the Florida Building Code.

- Verify The product is properly described.

- Verify The limits of use are included as certified.

- If the documentation indicates that rational analysis was used, verify that an Professtional Engineer validated the analysis. evaluation report is submitted for this analysis. (i.e. installation instructions) [This is in conflict with PAVWG PAGE #3]  Staff recommendation:  Use checklist item from test report method [“Verify that no rational analysis is conducted under this method. Otherwise must use another compliance method to seek product approval”]

- Verify that no rational analysis is conducted under this method. Otherwise must use another compliance method to seek product approval

To the best of my/our knowledge, this application is complete, the items in the checklist above have been verified, and the Certification documentation submitted with this application indicates that the product, method, or system described in this application meets or exceeds the Florida Building Code requirements and reference standards listed in the application.