## Porduct Approval Report1
Text78 | Method | ID | Manufacturer | Category | Subcategory | Other | Staff | POC | Com | Comments | Status
Certification Mark or Listing | Certification Method - June/August Deferrals - Staff Recommends Approval
| cert | 2192 | Metal-Era, Inc. | Roofing | Other | metal roof edge | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 2489 | Whirlwind Building Systems | Panel Walls | Siding |  | a |  |  | Recommend approval. (Deferred June 04.) | d
| cert | 2549 | Taylor Building Products | Exterior Doors | Swinging |  | a |  |  | Recommend approval. (Deferred Aug 04.) | d
| cert | 2586 | Resolite A Division of Stabilit America | Sky Lights | Skylight |  | a |  |  | Recommend approval. (Deferred June and Aug 04.) | d
| cert | 2774 | United Structures of America, Inc. | Roofing | Non-structural Metal Roofing |  | a |  |  | Recommend approval. (Deferred Aug 04.) | d
| cert | 2823 | Kolbe and Kolbe Millwork | Windows | Double Hung |  | a |  |  | Recommend approval. (Deferred Aug 04.) | d
| cert | 2824 | Kolbe and Kolbe Millwork | Windows | Single Hung |  | a |  |  | Recommend approval. (Deferred Aug 04.) | d
| cert | 2825 | Kolbe and Kolbe Millwork | Exterior Doors | Swinging |  | a |  |  | Recommend approval. (Deferred Aug 04.) | d
| cert | 2932 | Metal Sales Manufacturing Corporation | Roofing | Other | Structural panels | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 3031 | Seasonshield Incorporated | Windows | Single Hung |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 3059 | Seasonshield Incorporated | Windows | Fixed |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 3192 | CURRIES | Exterior Doors | Swinging |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 3204 | Atlas Window Systems Inc. | Exterior Doors | Swinging |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 3214 | Seasonshield Incorporated | Windows | Horizontal Slider |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| cert | 3215 | Seasonshield Incorporated | Windows | Casement |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
Certification Mark or Listing | Certification Method - August Deferrals - Staff Recommends Conditional Approval
| cert | 2804 | Architectural Building Components | Roofing | Non-structural Metal Roofing |  | c |  |  | Recommend conditional approval. Complied with the comments per the August 04 deferral however need to change FBC references from 2003 to 2001. | d
| cert | 2807 | Ruffin Building Systems | Structural Components | Deck-Roof |  | c |  |  | Recommend conditional approval. Complied with the comments from the August 04 meeting however, need to change 2003 FBC references to 2001 FBC. | d
Certification Mark or Listing
Certification Method - June/August Deferrals - Staff Recommends Denial
| cert | 1925 | Owens Corning | Roofing | Roofing Insulation |  | y |  |  | Recommend denial. UL declining certification. (Deferred June 04) | d
| cert | 3096 | Tritex ICF Products, Inc. | Structural Components | Insulation Forms |  | y |  |  | Recommend denial. ASTM E 84 should be 1997 instead of 1995, and ACI 318 1999 should be 2002. Did not correct application per August 04 deferral. | d
| cert | 3130 | Velux-America, Inc. | Sky Lights | Skylight |  | y |  |  | Recommend denial. Did not correct application per August 04 deferral. ASTM E 1996 should be 1999 instead of 2002. The other references are missing part of their names. | d
| cert | 3131 | Pella Corporation | Exterior Doors | Sliding |  | y |  |  | Recommend denial. Did not correct application per August 04 deferral. ASTM E 1996 should be 1999 and not 01, 02, or 03. | d
| cert | 3234 | ODL, Inc. | Exterior Doors | Swinging |  | y |  |  | Recommend denial. Did not correct application per August 04 deferral. Need to provide weathering data as requested by the Commission in August 04. | d
Evaluation Architect/Engineer Method - June/August Deferrals - Staff Recommends Approval
| ea | 2641 | Alcoa Home Exteriors, Inc. | Panel Walls | Soffits |  | a |  |  | Recommend approval. (Deferred June 04 and Aug 04) | d
| ea | 2662 | Butler Manufacturing Company | Panel Walls | Other | Steel Panels | a |  |  | Recommend approval. (Deferred June 04) | d
| ea | 2664 | CENTRIA | Panel Walls | Other | Insulated Wall Panel | a |  |  | Recommend approval. (Deferred June 04 and Aug 04) | d
| ea | 2671 | United States Aluminum Corp. | Panel Walls | Storefronts |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| ea | 2672 | United States Aluminum Corp. | Panel Walls | Curtain Walls |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| ea | 2685 | JORDAN WINDOWS and DOORS | Windows | Mullions |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| ea | 2694 | Superior Walls of America, Ltd. | Structural Components | Wall |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
Evaluation Architect/Engineer Method - June/August Deferrals - Staff Recommends Denial
| ea | 2399 | United States Aluminum Corp. | Exterior Doors | Swinging |  | y |  |  | Recommend denial. Did not correct the application per the August 04 deferral. Year of reference standard does not match the code for ASTME 330-90 (2002 in code) [ASTM E 1996-02 should be 1999] | d
| ea | 2558 | ATAS International, Inc. | Roofing | Non-structural Metal Roofing |  | y |  |  | Recommend denial. Wrong year of code, should be 2001. Missing limits of use. Did not correct the application per the June 04 deferral. | d
Evaluation by Evaluation Entity - June/August Deferrals - Staff Recommends Approval
| eval | 2039 | ThermaSteel Corporation | Structural Components | Other | preinsulated LG stee | a |  |  | Recommend approval. (Deferred June 04) | d
| eval | 2516 | Crawford Tracey Corporation | Panel Walls | Curtain Walls |  | a |  |  | Recommend conditional approval. All corrections made except "Not for use in HVHZ". (Deferred Aug 04) | d
Evaluation by Evaluation Entity - August Deferrals - Staff Recommends Conditional Approval
| eval | 2772 | Kadant Composites | Roofing | Other | Plastic Composite | c |  |  | Recommend conditional approval. Certificate of Independence is from QA and not from evaluation entity. (Deferred Aug 04) | d
| eval | 3124 | RGM Products, Inc. | Roofing | Asphalt Shingles |  | c |  |  | Recommend conditional approval. Wrong certificate of independence (should be from ICC). (Deferred Aug 04) | d
Evaluation by Evaluation Entity - August Deferrals - Staff Recommends Denial
| eval | 2820 | American PolySteel, LLC | Structural Components | Insulation Forms |  | y |  |  | Recommend denial. Only correction made was limits of use, standards still wrong. (Deferred Aug 04) | d
Testing Method - August Deferrals - Staff Recommends Approval
| test | 2376 | Tarco | Roofing | Built up Roofing |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2401 | Winco Window Company | Windows | Fixed |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2779 | Tarco | Roofing | Underlayments |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2780 | Tarco | Roofing | Underlayments |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2781 | Tarco | Roofing | Underlayments |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2783 | Tarco | Roofing | Underlayments |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2957 | ACCU-WELD LLC | Windows | Double Hung |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2965 | United Roofing | Roofing | Underlayments |  | a |  |  | Recommend approval. (Deferred Aug 04) | d
| test | 2999 | Wausau Window and Wall Systems | Windows | Other | Fixed and Projected | a |  |  | Recommend approval. (Deferred Aug 04) | d
Testing Method - August Deferrals - Staff Recommends Denial
| test | 3161 | Four Seasons Solar | Envelope Products Structural Components | Dec-Roof |  | y |  |  | Recommend denial. Did not correct the application per the August 04 deferral. | d
Certification Method - New Applications - Staff Recommends Approval
| cert | 2218 | NORTHERN ELASTOMERIC INC | Roofing | Underlayments |  | a |  |  | Recommend approval. | n
| cert | 2848 | Baron Metal Ind. Inc. | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 2935 | American Building Components, Inc. | Windows | Single Hung |  | a |  |  | Recommend approval. | n
| cert | 2964 | United Roofing | Roofing | Underlayments |  | a |  |  | Recommend approval. | n
| cert | 3077 | Super Sky Products, Inc. | Sky Lights | Skylight |  | a |  |  | Recommend approval. | n
| cert | 3255 | Hermex Southeast, Inc. | Shutters | Roll-up |  | a |  |  | Recommend approval. | n
| cert | 3256 | Winco Window Company | Windows | Projected |  | a |  |  | Recommend approval. | n
| cert | 3259 | Diebold | Windows | Fixed |  | a |  |  | Recommend approval. | n
| cert | 3265 | Ingersoll-Rand | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 3273 | Alenco | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| cert | 3277 | Neogard division of Jones Blair | Roofing | Waterproofing |  | a |  |  | Recommend approval. | n
| cert | 3281 | United Enertech | Panel Walls | Wall Louver |  | a |  |  | Recommend approval. | n
| cert | 3284 | United Enertech | Panel Walls | Wall Louver |  | a |  |  | Recommend approval. | n
| cert | 3288 | Resiver Patio Doors | Exterior Doors | Sliding |  | a |  |  | Recommend approval. | n
| cert | 3298 | D V FYRE-TEC INC | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| cert | 3299 | D V FYRE-TEC INC | Windows | Single Hung |  | a |  |  | Recommend approval. | n
| cert | 3301 | D V FYRE-TEC INC | Windows | Fixed |  | a |  |  | Recommend approval. | n
| cert | 3307 | PHILIPS PRODUCTS INC. | Windows | Single Hung |  | a |  |  | Recommend approval. | n
| cert | 3310 | PHILIPS PRODUCTS INC. | Windows | Fixed |  | a |  |  | Recommend approval. | n
| cert | 3311 | PHILIPS PRODUCTS INC. | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| cert | 3319 | MI Home Products INC | Exterior Doors | Sliding |  | a |  |  | Recommend approval. | n
| cert | 3325 | Johns Manville | Roofing | Single Ply Roof Systems |  | a |  |  | Recommend approval. | n
| cert | 3329 | Henry Company | Roofing | Cements-Adhesives-Coatings |  | a |  |  | Recommend approval. | n
| cert | 3341 | Fleming Door Products Ltd. | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 3353 | Marvin Windows and Doors | Windows | Awning |  | a |  |  | Recommend approval. | n
| cert | 3355 | Marvin Windows and Doors | Windows | Casement |  | a |  |  | Recommend approval | n
| cert | 3356 | Marvin Windows and Doors | Windows | Double Hung |  | a |  |  | Recommend approval. | n
| cert | 3357 | Marvin Windows and Doors | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| cert | 3358 | Marvin Windows and Doors | Windows | Fixed |  | a |  |  | Recommend approval. | n
| cert | 3362 | Marvin Windows and Doors | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 3363 | Marvin Windows and Doors | Exterior Doors | Sliding |  | a |  |  | Recommend approval. | n
| cert | 3367 | Ingersoll-Rand | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 3372 | Select Security Screen Co, LTD | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| cert | 3374 | Kennedy Skylights, LLC | Sky Lights | Skylight |  | a |  |  | Recommend approval. | n
| cert | 3384 | Simonton Windows | Windows | Awning |  | a |  |  | Recommend approval. | n
| cert | 3387 | Simonton Windows | Windows | Casement |  | a |  |  | Recommend approval. | n
| cert | 3389 | Simonton Windows | Windows | Double Hung |  | a |  |  | Recommend approval. | n
| cert | 3391 | Simonton Windows | Windows | Casement |  | a |  |  | Recommend approval. | n
| cert | 3392 | Kemper System | Roofing | Liquid Applied Roof Systems |  | a |  |  | Recommend approval. | n
| cert | 3396 | RC Aluminum Industries, Inc. | Panel Walls | Curtain Walls |  | a |  |  | Recommend approval. | n
| cert | 3397 | Avcoa | Structural Components | Other | A/C frame and stands | a |  |  | Recommend approval. | n
| cert | 3398 | RC Aluminum Industries, Inc. | Windows | Single Hung |  | a |  |  | Recommend approval. | n
| cert | 3410 | Ceco Door Products | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 3421 | RC Aluminum Industries, Inc. | Windows | Casement |  | a |  |  | Recommend approval. | n
| cert | 3427 | RC Aluminum Industries, Inc. | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| cert | 3435 | RC Aluminum Industries, Inc. | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| cert | 3438 | RC Aluminum Industries, Inc. | Windows | Mullions |  | a |  |  | Recommend approval. | n
| cert | 3442 | Shutter Solutions, Inc. | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| cert | 3450 | Diversified Window Solutions, Inc. | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| cert | 3477 | Traco Windows and Doors, Inc. | Exterior Doors | Sliding |  | a |  |  | Recommend approval. | n
| cert | 3478 | Traco Windows and Doors, Inc. | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| cert | 3479 | Traco Windows and Doors, Inc. | Windows | Awning |  | a |  |  | Recommend approval. | n
| cert | 3480 | Traco Windows and Doors, Inc. | Windows | Fixed |  | a |  |  | Recommend approval. | n
| cert | 3482 | Traco Windows and Doors, Inc. | Windows | Dual Action |  | a |  |  | Recommend approval. | n
| cert | 3494 | Innovative Metals Company, Inc. | Roofing | Non-structural Metal Roofing |  | a |  |  | Recommend approval. | n
| cert | 3495 | Innovative Metals Company, Inc. | Roofing | Other | Structural Roofing | a |  |  | Recommend approval. | n
| cert | 3504 | Sun Metals Systems, Inc. | Windows | Single Hung |  | a |  |  | Recommend approval. | n
| cert | 3509 | Pella Corporation | Windows | Single Hung |  | a |  |  | Recommend approval. | n
Certification Method - New Applications - Staff Recommends Conditional Approval
| cert | 1658 | Bell-View, Inc. | Windows | Single Hung |  | c |  |  | Recommend conditional approval. Need to clarify limits of use. | n
| cert | 2036 | Bell-View, Inc. | Windows | Horizontal Slider |  | c |  |  | Recommend conditional approval. Need to clarify limits of use. Limitations of use indicate compliance with HVHZ, but standards for HVHZ have not been provided. Not tested to HVHZ. | n
| cert | 3148 | CertainTeed Corporation Siding Products | New/Innovative Envelope Products | Other | Siding and Soffit | c |  |  | Recommend conditional approval. Need to list standards per NOA and code. | n
| cert | 3242 | Capitol | Windows | Single Hung |  | c |  |  | Recommend conditional approval. No limits of use provided. | n
| cert | 3244 | Capitol | Windows | Fixed |  | c |  |  | Recommend conditional approval. No limits of use provided. | n
| cert | 3246 | MI Home Products INC | Exterior Doors | Sliding |  | c |  |  | Recommend conditional approval. No limits of use provided. | n
| cert | 3248 | BetterBilt | Windows | Single Hung |  | c |  |  | Recommend conditional approval. No limits of use provided. | n
| cert | 3249 | BetterBilt | Windows | Fixed |  | c |  |  | Recommend conditational approval. No limits of use provided. | n
| cert | 3264 | protective glass products, inc. | Windows | Fixed |  | c |  |  | Recommend conditional approval. No limits of use provided. | n
| cert | 3266 | York Manufacturing, Inc | Roofing | Underlayments |  | c |  |  | Recommend conditional approval. NOA shows North Elastyomeric. | n
| cert | 3283 | Ruskin Company | Panel Walls | Wall Louver |  | c |  |  | Recommend conditional approval, needs to list standards as per NOA. | n
| cert | 3285 | Ruskin Company | Panel Walls | Wall Louver |  | c |  |  | Recommend conditional approval, needs to list applicable standards. | n
| cert | 3286 | Ruskin Company | Panel Walls | Wall Louver |  | c |  |  | Recommend conditional approval, needs to list applicable standards. | n
| cert | 3287 | Ruskin Company | Panel Walls | Other | Louvered Penthouses | c |  |  | Recommend conditional approval, needs to list applicable standards. | n
| cert | 3390 | RC Aluminum Industries, Inc. | Exterior Doors | Sliding |  | c |  |  | Recommend conditional approval. Need to correct the standard year edition from 2001 to 1994. | n
| cert | 3411 | The Garland Company, Inc. | Roofing | Other | Structural Mtl Roof | c |  |  | Recommend conditional approval. Need to correct the standard year edition for TAS 110 from 1995 to 2000. | n
| cert | 3429 | Kolbe Vinyl Windows | Windows | Casement |  | c |  |  | Recommend conditional approval. Need to provide limitations of use in the box. | n
| cert | 3430 | Kolbe Vinyl Windows | Windows | Double Hung |  | c |  |  | Recommend conditional approval. Need to provide limitations of use in the box. | n
| cert | 3431 | Kolbe Vinyl Windows | Windows | Single Hung |  | c |  |  | Recommend conditional approval. Need to provide limitations of use in the box. | n
| cert | 3432 | Kolbe Vinyl Windows | Windows | Horizontal Slider |  | c |  |  | Recommend conditional approval. Need to provide limitations of use in the box. | n
| cert | 3475 | Traco Windows and Doors, Inc. | Windows | Fixed |  | c |  |  | Recommend conditional approval. Limits of use needs to be clarified as requested by applicant to allow use of the product in HVHZ. | n
| cert | 3476 | Traco Windows and Doors, Inc. | Exterior Doors | Sliding |  | c |  |  | Recommend conditional approval. Limits of use needs to be clarified as requested by applicant to allow use of the product in HVHZ. | n
| cert | 3492 | IKO Production Inc | Roofing | Asphalt Shingles |  | c |  |  | Recommend conditional approval. Needs to correct standard reference to add "modified to 110 mph wind velocity. Product will be used in areas where wind speed is 110 mph or greater." | n
| cert | 3506 | Hanson Roof Tile | Roofing | Roofing Tiles |  | c |  |  | Recommend conditional approval. Needs to provide limits of use. | n
| cert | 3508 | Pella Corporation | Windows | Fixed |  | c |  |  | Recommend conditional approval. Needs to provide the correct title for standards. | n
| cert | 3512 | Admiral Sunroom Corp. | Windows | Horizontal Slider |  | c |  |  | Recommend conditional approval. Certification is to AAMA/AWWDA 101/IS2-97 which needs to be listed as the standard. | n
| cert | 3515 | PGT Industries | Exterior Doors | Sliding |  | c |  |  | Recommend conditional approval. Change TAS 202-1997 to 1994 to be consistent with the code. | n
Certification Method - New Applications - Staff Recommends Deferral
| cert | 3217 | Seasonshield Incorporated | Exterior Doors | Swinging |  | d |  |  | Recommend deferral. Standard edition referenced not consistent with FBC. | n
| cert | 3303 | York Manufacturing, Inc | Roofing | Underlayments |  | d |  |  | Recommend deferral. Product tested to ASTM D 4601-1986 when code requires ASTM D 4601-1995 | n
| cert | 3328 | CertainTeed Corporation-Roofing | Roofing | Asphalt Shingles |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. Product tested to ASTM D 3462-2002 and the code requires ASTM D 3462-98. | n
| cert | 3406 | RC Aluminum Industries, Inc. | Windows | Fixed |  | d |  |  | Recommend defer. Code references ASTM E 1300-94 and the application references ASTM E 1300-97. | n
| cert | 3445 | NCFI Div. of Barnhardt Mfg. Co. | Roofing | Spray Applied Polyurethane Roof System |  | d |  |  | Recommend deferral. For use in the HVHZ, need to comply with RAS 109 and TAS 114 in addition to PA 110. The application needs to list standards applicable and sections of the code instead of the evaluation report. | n
| cert | 3463 | MBTechnology | Roofing | Underlayments |  | d |  |  | Recommend deferral. The standard year edition not consistent with the code (should be 1995). | n
| cert | 3464 | MBTechnology | Roofing | Modified Bitumen Roof System |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. ASTM D 2178 should be 1989 and ASTM D 4601 should be 1995. | n
| cert | 3465 | MBTechnology | Roofing | Modified Bitumen Roof System |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. Need to clarify limitations of use. | n
| cert | 3483 | Traco Windows and Doors, Inc. | Exterior Doors | Sliding |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. | n
| cert | 3484 | Traco Windows and Doors, Inc. | Windows | Single Hung |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. | n
| cert | 3485 | Traco Windows and Doors, Inc. | Windows | Horizontal Slider |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. | n
| cert | 3486 | Traco Windows and Doors, Inc. | Windows | Awning |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. | n
| cert | 3487 | Traco Windows and Doors, Inc. | Windows | Fixed |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. | n
Evaluation by Architect/Engineer - New Applications - Staff Recommends Approval
| ea | 2626 | Great Lakes Window, Inc. | Windows | Horizontal Slider |  | a |  |  | Recommend approval. (Deferred Aug 04) | n
| ea | 3115 | Fabral | Roofing | Other | Metal Roofing | a |  |  | Recommend approval. | n
| ea | 3267 | Transparent Protection Systems, Inc. | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| ea | 3278 | Mitsubishi Chemical America | Panel Walls | Other | Metal Composites | a |  |  | Recommend approval. | n
| ea | 3342 | Ocean Shutters Manufacturing, Inc. | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| ea | 3380 | Dixieland Metals, Inc. | Structural Components | Deck-Roof |  | a |  |  | Recommend approval. | n
| ea | 3381 | Dixieland Metals, Inc. | Roofing | Non-structural Metal Roofing |  | a |  |  | Recommend approval. | n
| ea | 3399 | Eastern Metal Supply | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| ea | 3402 | Hurst Awning Company Inc. | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| ea | 3403 | Shutter Solutions, Inc. | Shutters | Storm Panels |  | a |  |  | Recommend approval. | n
| ea | 3405 | Erez Thermoplastic Products | Roofing | Single Ply Roof Systems |  | a |  |  | Recommend approval. | n
| ea | 3407 | Vulcan Steel Structures, Inc. | Roofing | Other | Struct Metal Roofing | a |  |  | Recommend approval. | n
| ea | 3408 | Vulcan Steel Structures, Inc. | Panel Walls | Other | Struct Metal Panel | a |  |  | Recommend approval. | n
| ea | 3457 | Weaver Precast of Florida LLC | Structural Components | Wall |  | a |  |  | Recommend approval. | n
| ea | 3472 | Schuco Homecraft, L.P. | Windows | Awning |  | a |  |  | Recommend approval. | n
| ea | 3474 | Schuco Homecraft, L.P. | Windows | Casement |  | a |  |  | Recommend approval. | n
| ea | 3481 | CENTRIA | Panel Walls | Other | Struc. Metal Panels | a |  |  | Recommend approval. | n
| ea | 3496 | Trakloc International, LLC | Structural Components | Wall |  | a |  |  | Recommend approval. | n
| ea | 3497 | Schuco Homecraft, L.P. | Windows | Double Hung |  | a |  |  | Recommend approval. | n
| ea | 3498 | Schuco Homecraft, L.P. | Windows | Double Hung |  | a |  |  | Recommend approval. | n
| ea | 3499 | Schuco Homecraft, L.P. | Windows | Fixed |  | a |  |  | Recommend approval. | n
| ea | 3501 | Contractors Supply, Inc | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| ea | 3502 | Contractors Supply, Inc | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| ea | 3507 | Engineered Glass Systems, Inc. | Exterior Doors | Sliding |  | a |  |  | Recommend approval. | n
| ea | 3510 | Select Security Screen Co, LTD | Shutters | Other | Impact Screen | a |  |  | Recommend approval. | n
| ea | 3513 | Miller Glass and Glazing, Inc | Panel Walls | Storefronts |  | a |  |  | Recommend approval. | n
| ea | 3514 | M W Manufacturers Inc. | Windows | Double Hung |  | a |  |  | Recommend approval. | n
| ea | 3517 | ACI Building Systems | Roofing | Other | Struc. Metal Roofing | a |  |  | Recommend approval. | n
Evaluation by Architect/Engineer - New Applications - Staff Recommends Conditional Approval
| ea | 2457 | DBCI | Exterior Doors | Roll-up |  | c |  |  | Recommend conditional approval. Wrong information in limits of use. | n
| ea | 3263 | Contractors Supply, Inc | Exterior Doors | Swinging |  | c |  |  | Recommend conditional approval. Reference code sections should also include section 1626. | n
| ea | 3346 | MBCI, L.P. | Roofing | Non-structural Metal Roofing |  | c |  |  | Recommend conditional approval. Incorrect referenced standard. ASTM G 53 is no longer referenced. | n
| ea | 3395 | Vistawall Group | Exterior Doors | Swinging |  | c |  |  | Recommend conditional approval. Missing certificate of independence. Limitations of use were incomplete. Not valid for HVHZ. | n
| ea | 3400 | E.F. Bavis and Associates, Inc. | Windows | Fixed |  | c |  |  | Recommend conditional approval. Need to correct the date of te Florida Building Code to 2001. | n
| ea | 3452 | Clopay Building Products Company | Exterior Doors | Sectional |  | c |  |  | Recommend conditional approval. Limits of use should indicate non-HVHZ. The evaluation report indicates outside HVHZ. | n
| ea | 3462 | Fimbel Door Company | Exterior Doors | Sectional |  | c |  |  | Recommend conditional approval. Need to correct the date of the Florida Building Code to 2001. | n
Evaluation by Architect/Engineer - New Applications - Staff Recommends Deferral
| ea | 2894 | G.A.P. Roofing | Roofing | Underlayments |  | d |  |  | Recommend deferral. Year in standard inconsistent with code. Need to provide installation instructions. The evaluation report was based on ASTM D 226-97 and ASTM D 249-97. The FBC references ASTM D 226-95 and ASTM D 249-89. | n
| ea | 3275 | BetterBilt | Windows | Mullions |  | d |  |  | Recommend deferral. Nonconforming Report. Limits of use refers to web site and references. The evaluation report does not provide any calculations to support the spans and capacities tabulated. The report does not provide engineering documentation for proof of compliance with 1707.4.5.2 1707.4.5.3, or 1707.4.5.4. The limitations of use refer to manufacturer's installation instructions and web site. | n
| ea | 3276 | Capitol | Windows | Mullions |  | d |  |  | Recommend deferral. Nonconforming Report. Limits of use refers to web site and references. The evaluation report does not provide any calculations to support the spans and capacities tabulated. The report does not provide engineering documentation for proof of compliance with 1707.4.5.2 1707.4.5.3, or 1707.4.5.4. The limitations of use refer to manufacturer's installation instructions and web site. | n
| ea | 3293 | Pella Entry Systems | Exterior Doors | Swinging |  | d |  |  | Recommend deferral. Installation instructions not provided. Evaluation report was not signed nor sealed. The evaluation report used a comparison of performance of similar doors with different lite configurations to qualify other doors rather than using engineering calculations or testing. The evaluation report provides no indication nor confirmation of testing in accordance with ASTME 330-84. Limits of use were not provided. Not for use in HVHZ or where used as opening protective devices in non-HVHZ. | n
| ea | 3344 | Royal Millwork, Inc. | Exterior Doors | Swinging |  | d |  |  | Recommend deferral. AMA1302-91 is not in the code. The evaluation report appears to use comparison analysis in stead of testing of materials per 2411.3.2.5 for a wood door. Referenced code sections and standards were incomplete. The evaluation report for the transom indictes the worst case is Exporsure C while the worst case for the wood door indicates the Exposure B. The evaluation report for the transom indicated an initial product design then a comparison from a referenced test was used to qualify the product. The report on the door indicated the transom would be shuttered. | n
| ea | 3393 | Vistawall Group | Panel Walls | Storefronts |  | d |  |  | Recommend deferral. Need certificate of independence. Year for ASTM E 330-90 not consistent with the code. | n
| ea | 3443 | GAF Materials Corporation | Roofing | Single Ply Roof Systems |  | d |  |  | Recommend deferral. ASTM G 154-02 does not match code (2000). TAS 110-95 is 2000 in code. | n
| ea | 3473 | Weatherguard Building Products | Shutters | Storm Panels |  | d |  |  | Recommend deferral. AITC does not have stormpanels included in their accreditation for Quality Assurance Entity. | n
Evaluation by Evaluation Entity - New Applications - Staff Recommends Approval
| eval | 3451 | Dixie-Pacific Mfg. Co. | Structural Components | Plastics |  | a |  |  | Recommend approval. | n
Evaluation by Evaluation Entity - New Applications - Staff Recommends Deferral
| eval | 2572 | Homasote Company | Panel Walls | Other | Fiberboard | d |  |  | Recommend deferral. Evaluation report form ICBO has expired. Evaluation report does not indicate compliance with ANSI/AHA A194.1 which is indicated on the application. The evaluation report appears to indicate that the Homasote 440 is non-structural except for conventional construction provisions (only permitted where the basic wind speed is less than or equal to 100 mph). | n
| eval | 2573 | Homasote Company | Panel Walls | Other | Fiberboard | d |  |  | Recommend deferral. Certification if independence was not provided. Limitations of use were not complete (indicates product not tested for bracing). The application and report are inconsistent. The report does not indicate compliance with ANSI/AHA A194.1 which is indicated on the application. | n
| eval | 2805 | United Structures of America, Inc. | Panel Walls | Siding |  | d |  |  | Recommend deferral. Did not provide code sections. Only listed AISI. Code references should include 2204.1, certification of independence was not provided, and the evaluation report was for a pre-engineered metal building and not for a specific wall panel. | n
| eval | 2928 | TAMKO Roofing Products, Inc. | Roofing | Other | Steel Shingles | d |  |  | Recommend deferral. The certification of independence is missing, no code sections or standard references were provided, and the allowable wind speeds were based on ASCE 7-95. | n
| eval | 3219 | Simpson Strong-Tie Co. | Structural Components | Wood Connectors Anchors |  | d |  |  | Recommend deferral. Missing certificate of independence. Evaluation report does not support compliance with referenced code sections or standards ASTM D 1761, DNS, or AISI specifications. No installation details were provided. | n
| eval | 3394 | T. Clear Corporation | Structural Components | Other | Concrete Panels | d |  |  | Recommend deferral. Missing certificate of independence. Referenced standards should include ASTM E 72. | n
| eval | 3453 | Elk Corporation | Roofing | Underlayments |  | d |  |  | Recommend deferral. Evaluation report indicates compliance with ASTM D 226-97a while the FBC references ASTM D 226-95. Missing certification of independence, the limitations of use are in the report. | n
| eval | 3505 | Hanson Roof Tile | Roofing | Roofing Tiles |  | d |  |  | Recommend deferral. Missing certification of independence. The evaluation reports indicate compliance with HVHZ but the application does not. Application lists FRSA/NTRMA 07320 while FBC lists FRSA/RTI 07320/6-01. | n
Test Method - New Applications - Staff Recommends Approval
| test | 1313 | Infiniti Products Company | Roofing | Liquid Applied Roof Systems |  | a |  |  | Recommend approval. | n
| test | 1498 | Moulding Associates Incorporated | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| test | 2547 | Winco Window Company | Windows | Horizontal Slider |  | a |  |  | Recommend approval. | n
| test | 2548 | Winco Window Company | Windows | Single Hung |  | a |  |  | Recommend approval. | n
| test | 2703 | Winco Window Company | Windows | Casement |  | a |  |  | Recommend approval. | n
| test | 2704 | Winco Window Company | Windows | Projected |  | a |  |  | Recommend approval. | n
| test | 3171 | DAYBAR INDUSTRIES LIMITED | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| test | 3235 | GlassCraft Door Corporation | Exterior Doors | Swinging |  | a |  |  | Recommend approval. | n
| test | 3245 | GlassCraft Door Corporation | Exterior Doors | Other | Transoms | a |  |  | Recommend approval. | n
| test | 3247 | GlassCraft Door Corporation | Windows | Fixed |  | a |  |  | Recommend approval. | n
| test | 3269 | Solatube International, Inc | Roofing | Other | Ventilation | a |  |  | Recommend approval. | n
| test | 3366 | System Components Corporation | Roofing | Underlayments |  | a |  |  | Recommend approval. | n
| test | 3368 | Tarco | Roofing | Underlayments |  | a |  |  | Recommend approval. | n
| test | 3455 | CertainTeed Corporation-Roofing | Roofing | Underlayments |  | a |  |  | Recommend approval. | n
| test | 3458 | Artistic Doors and Windows, Inc. | Windows | Casement |  | a |  |  | Recommend approval. | n
| test | 3459 | Artistic Doors and Windows, Inc. | Windows | Double Hung |  | a |  |  | Recommend approval. | n
| test | 3460 | Artistic Doors and Windows, Inc. | Windows | Fixed |  | a |  |  | Recommend approval. | n
| test | 3461 | Elk Corporation | Roofing | Underlayments |  | a |  |  | Recommend approval. | n
Test Method - New Applications - Staff Recommends Conditional Approval
| test | 540 | LOOKOUT SHUTTERS, INC. | Shutters | Other | COLONIAL AND BAHAMA | c |  |  | Recommend conditional approval. Missing certificate of independence. | n
| test | 3254 | Pella Entry Systems | Exterior Doors | Swinging |  | c |  |  | Recommend conditional approval. No certificate of independence. | n
| test | 3491 | ThermaSteel Corporation | Structural Components | Other | Structural Panels | c |  |  | Recommend conditional approval. Missing certificate of independence. | n
Test Method - New Applications - Staff Recommends Deferral
| test | 2962 | Westshore Glass Corp. | Exterior Doors | Swinging |  | d |  |  | Recommend deferral. Standard edition not consistent with the code. | n
| test | 2969 | Westshore Glass Corp. | Panel Walls | Storefronts |  | d |  |  | Recommend deferral. Standard editions not consistent with the code. No certificate of independence. | n
Certification Method - Revision of Approved Application - Staff Recommends Approval
| cert | 229R1 | Simonton Windows | Exterior Doors | Swinging |  | a |  |  | Recommend approval. Revised model number and name, description, and limits of use as allowed by Rule. | r
| cert | 42R1 | Florida Extruders International, Inc. | Windows | Single Hung |  | a |  |  | Recommend approval. Revised model number and name, description, and limits of use as allowed by Rule. | r
| cert | 43R1 | Florida Extruders International, Inc. | Windows | Horizontal Slider |  | a |  |  | Recommend approval. Revised model number and name, description, and limits of use as allowed by Rule. | r
| cert | 44R1 | Florida Extruders International, Inc. | Windows | Fixed |  | a |  |  | Recommend approval. Revised model number and name, description, and limits of use as allowed by Rule. | r
| cert | 45R1 | Florida Extruders International, Inc. | Exterior Doors | Sliding |  | a |  |  | Recommend approval. Revised model number and name, description, and limits of use as allowed by Rule. | r
Certification Method - Revision of Approved Application - Staff Recommends Denial
| cert | 143R1 | Simonton Windows | Windows | Double Hung |  | y |  |  | Recommend denial. Revised model number and name, description and limits of use. Added new product in 143.5. Deleted 143.7, 143.8 and 143.9. Rule does not allow additional products. | r
| cert | 178R1 | Simonton Windows | Windows | Fixed |  | y |  |  | Recommend denial. Revised model number and name, description, and limits of use. Added new products in 178.6, 178.11, 178.12, 178.13, 178.14, 178.15.. Deleted 178.5, 178.6, 178.9, and 178.10. Rule does not allow additional products. | r
| cert | 203R1 | Simonton Windows | Windows | Horizontal Slider |  | y |  |  | Recommend denial. Revised model number and name, description, and limits of use. Added new products in 203.7, 203.8, 203.9. Rule does not allow additional products. | r
| cert | 228R1 | Simonton Windows | Windows | Fixed |  | y |  |  | Recommend denial. Revised model number and name, description, and limites of use. Added new product in 228.2. Rule does not allow additional products. | r
Evaluation by Architect/Engineer - Revision of Approved Application - Staff Recommends Approval
| ea | 1370R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging |  | a |  |  | Recommend approval. Revised test reports and limits of use as allowed by Rule. | r
| ea | 3030R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging |  | a |  |  | Recommend approval. Revised test reports and limits of use as allowed by Rule. | r