## Product Approval Report1
Text78 | ID | Manufacturer | Category | Subcategory | A&A | POC | FBC | Comments | Stat.
Certification Method - Commission Vote - Approval
| 166-R1 | Eastern Metal Supply | Shutters | Storm Panels | a | a | a | Recommend Approval. | r
| 599-R1 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval. | r
| 784-R1 | Atlas Roofing Corporation | Roofing | Asphalt Shingles | a | a | a | Recommend Approval - Deferred from the Jan 2005 meeting. Complied with requirements. | d
| 1286-R1 | Weather Shield | Windows | Double Hung | a | a | a | Recommend Approval. | r
| 1287-R1 | Weather Shield | Windows | Single Hung | a | a | a | Recommend Approval. | r
| 1288-R1 | Weather Shield | Windows | Fixed | a | a | a | Recommend Approval. | r
| 1293-R1 | Weather Shield | Windows | Horizontal Slider | a | a | a | Recommend Approval. | r
eng | 1327-R1 | Weather Shield | Exterior Doors | Sliding | a | a | a | Recommend Approval. | r
| 1363-R1 | Pittsburgh Corning Corporation | Windows | Fixed | a | a | a | Recommend Approval | r
| 1366-R1 | Pittsburgh Corning Corporation | Windows | Fixed | a | a | a | Recommend Approval | r
| 1442-R1 | SNE Enterprises | Exterior Doors | Sliding | a | a | a | Recommend Approval | r
| 1443-R1 | SNE Enterprises | Exterior Doors | Swinging | a | a | a | Recommend Approval | r
| 1445-R1 | SNE Enterprises | Windows | Fixed | a | a | a | Recommend Approval | r
| 1446-R1 | SNE Enterprises | Windows | Horizontal Slider | a | a | a | Recommend Approval | r
| 1450-R1 | Peachtree Doors and Windows | Exterior Doors | Sliding | a | a | a | Recommend Approval | r
| 2425 | Architectural Integrated Metals Inc. | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n
eng | 2870 | Atlantic Shutter Systems | Shutters | Colonial | a | a | a | Recommend Approval | n
| 2871 | Atlantic Shutter Systems | Shutters | Colonial | a | a | a | Recommend Approval | n
| 2875 | Atlantic Shutter Systems | Shutters | Bahama | a | a | a | Recommend Approval | n
| 3089-R1 | SNE Enterprises | Windows | Fixed | a | a | a | Recommend Approval | r
| 3092-R1 | SNE Enterprises | Windows | Single Hung | a | a | a | Recommend Approval | r
i | 3553-R1 | Tritex ICF Products, Inc. | Structural Components | Insulation Forms | a | a | a | Recommend Approval - Deferred from Jan. 2005 meeting. Complied with conditions. Added test reports for ASTM D1929-77 from suppliers of product. Suppliers are listed. | r
| 3717 | Hydro Stop Inc | Roofing | Waterproofing | a | a | a | Recommend Approval - Deferred from Jan. 2005 meeting. Complied with condition of liting the model. | d
| 3800 | Window Mart | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 3801 | Window Mart | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 3822 | Weather Shield | Windows | Casement | a | a | a | Recommend Approval | n
| 3956 | Loewen Windows | Windows | Awning | a | a | a | Recommend approval - Deferred from Jan 2005 meeting. Complied with conditions. | d
| 3963 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Awning | a | a | a | Recommend Approval - Deferred from Jan 2005. Was not listed presented certifications. | d
| 3976 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Fixed | a | a | a | Recommend Approval - Deferred from Jan 2005. Was not listed presented certifications. | d
| 3992 | Buffelen Woodworking Co. | Exterior Doors | Swinging | d | a | a | Recommend Approval - Certification Agency listing has no performance grade on ASTM E330. Rely on DPs | n
| 4001 | Stormwise Solutions, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | n
r | 4003 | Precision Windows | Windows | Double Hung | a | a | a | Recommend Approval | n
| 4018 | Glass Block Warehouse, L.C. | Windows | Other - Glass Block Window | a | a | a | Recommend Approval | n
| 4029 | BetterBilt | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4031 | Ingersoll-Rand | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 4032 | Elegant Systems | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 4036 | SNE Enterprises | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4047 | General Aluminum Company | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4051 | Madison Ind., Inc. of Georgia | Roofing | Other - Panel for Canopy | a | a | a | Recommend Approval | n
| 4052 | Cherokee Metals Company | Roofing | Other - Canopy Deck Panels | a | a | a | Recommend Approval | n
| 4062 | Florida Extruders International, Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4064 | Atlas Roofing Corporation | Roofing | Underlayments | a | a | a | Recommend Approval | n
| 4068 | Masonite International | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 4082 | Thermal Windows Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | n
| 4085 | Masonite International | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 4087 | TAMKO Roofing Products, Inc. | Roofing | Other - Composite Shake | a | a | a | Recommend Approval | n
| 4091 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4092 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | n
| 4093 | Custom Window Systems, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n
| 4103 | TAMKO Roofing Products, Inc. | Roofing | Other - Ventilation | a | a | a | Recommend Approval | n
| 4106 | Builders First Source | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4107 | Builders First Source | Windows | Horizontal Slider | a | a | a | Recommend Approval | n
| 4108 | Builders First Source | Windows | Fixed | a | a | a | Recommend Approval | n
| 4118 | Galvacer America Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4129 | Florida Extruders International, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4130 | Florida Extruders International, Inc. | Windows | Casement | a | a | a | Recommend Approval | n
| 4131 | Florida Extruders International, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | n
| 4132 | Florida Extruders International, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n
| 4135 | Energy Saving Products of Florida | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4140 | Architectural Integrated Metals Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4146 | Flesher Windows, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4147 | Flesher Windows, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | n
| 4148 | Energy Saving Products of Florida | Windows | Casement | a | a | a | Recommend Approval | n
| 4151 | Energy Saving Products of Florida | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4158 | Flesher Windows, Inc. | Windows | Fixed | a | a | a | Recommend Approval | n
| 4161 | Flesher Windows, Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4166 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors Anchors | a | a | a | Recommend Approval | n
| 4177 | ODL, Inc. | Exterior Doors | Other - Glass Panels | a | a | a | Recommend Approval | n
Certification Method - Commission Vote - Conditional Approval
| 3252 | MEGA Industries Corporation | Roofing | Cements-Adhesives-Coatings | a | c | c | Recommend Conditional Approval - Product is used to repair existing built roofing. Indicate "not be used in HVHZ." or comply with TAS 110, TAS 121, & FBC 1523.6.5.2.12. | n
| 3820 | Glass Block Warehouse, L.C. | Windows | Other - Glass Block Window | c | c | c | Recommend Conditional Approval - Product listed. Drawings on application have larger sizes and performance grade than in certification. To be removed. | n
| 3942 | JELD-WEN | Exterior Doors | Swinging | a | c | c | Recommend Conditional Approval - Clarify test pressure, glazing and listing. | d
| 3952 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Casement | a | c | c | Recommend Conditional Approval - Deferred from Jan 2005. Was not listed presented certifications. Verify ASTM E1300. No "Daylight Opening" in test report. Verify DP. | d
| 3960 | Bell View, Inc.. | Windows | Double Hung | c | c | c | Recommend Conditional Approval - Conditional approval from Jan 2005. Fixed standards. Limits of use shows tested pressure not the performance grade. | n
| 3969 | Solatube International, Inc | Sky Lights | Skylight | c | c | c | Recommend Conditional Approval - Deferred from Jan 2005 - Complied with condition of testing. Need to add on the conditions of use "Not to be used in HVHZ" | d
| 4056 | Maple Leaf Shake and Shingle Ltd. | Roofing | Wood Shingles and Shakes | y (A&A c) | c | c | Recommend Conditional Approval - Cond Appr if "not for HVHZ" is added. | n
| 4125 | Reynolds Metals Company (D/B/A) ALCOA | Panel Walls | Siding | c | c | c | Recommend Conditional Approval - Needs to indicate years of standards instead of year of the code. | n
| 4169 | H-R Windows | Windows | Fixed | c | c | c | Recommend Conditional Approval - During review modified glass configuration. CA to confirm listing. Show HVHZ qualifications, or state "not for HVHZ" and I.G. glass not shown on CA | n
| 4171 | H-R Windows | Windows | Single Hung | c | c | c | Recommend Conditional Approval - During review modified glass configuration. CA to confirm listing. Show HVHZ qualifications, or state "not for HVHZ" and I.G. glass not shown on CA, and indicate spacing of fasteners | n
| 4178 | Four Seasons Solar Products LLC | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval - Has letter from ALI but AAMA has not completed certification. | n
Certification Method - Commission Vote - Deferral
| 2705-R1 | NuAir Windows and Doors | Windows | Awning | d | d | d | Recommend Deferral - Deferred from Jan. 2005. Application requested deferral. Application needs extensive rework that could not be completed in time. | d
| 2708 | NuAir Windows and Doors | Windows | Fixed | d | d | d | Recommend Deferral - Deferred from Jan. 2005. Application requested deferral. Application needs extensive rework that could not be completed in time. | d
| 2709-R1 | NuAir Windows and Doors | Windows | Horizontal Slider | d | d | d | Recommend Deferral - Deferred from Jan. 2005. Application requested deferral. Application needs extensive rework that could not be completed in time. | d
| 2710-R1 | NuAir Windows and Doors | Windows | Single Hung | d | d | d | Recommend Deferral - Deferred from Jan. 2005. Application requested deferral. Application needs extensive rework that could not be completed in time. | d
| 2712-R1 | NuAir Windows and Doors | Exterior Doors | Sliding | d | d | d | Recommend Deferral - Deferred from Jan. 2005. Application requested deferral. Application needs extensive rework that could not be completed in time. | d
| 4126 | BAY CITY WINDOW COMPANY | Windows | Single Hung | d | d | d | Recommend Deferral - Drawing on application is not for this product. Limits of use refers to a test report that was not uploaded. There is no indication of compliance with ASTM E1300. | n
| 4150 | Energy Saving Products of Florida | Windows | Fixed | d | d | d | Recommend Deferral - Certification agency does not list impact tests for these products. | n
| 4163 | Simonton Windows | Windows | Double Hung | d | d | d | Recommend Deferral - Application should have model series on separate model lines. Impact tests provided for one of the models. This should be indicated. Impact testing not for adopted standard, equivalency should be certified. | n
Certification Method - Commission Vote - Denial
| 2149-R1 | Winco Window Company | Windows | Casement | y | y | y | Recommend Denial - Added a product not in the original application. Models 1100, 2250 and 950 are not listed. | r
| 3849 | Bell-View, Inc. | Windows | Horizontal Slider | y | y | y | Recommend Denial - Conditional from Jan 2005. 3849.1 and 3849.2 have wrong performance grade. 3849.3 is not listed. | c
| 3910 | Douglas Metal Roofing | Roofing | Non-structural Metal Roofing | y | y | y | Recommend Denial - Previous deferred Jan 2005. Requires testing. FBC voted to be set to re-apply until tested. Was by evalution by engineer. Changed method to certification agency. Not listed with CA. | d
| 3962 | Bell-View, Inc. | Exterior Doors | Sliding | y | y | y | Recommend Denial. - Conditional from Jan. 2005. Product not listed with Certification Agency. | c
| 3965 | Bell-View, Inc. | Windows | Fixed | y | y | y | Recommend Denial - Deferred from Jan. 2005. Did not comply with conditions of: Remove standards not adopted. 3965.2 not listed. 3965.1 rating higher than listed. | d
| 4030 | Florida Metal Products Inc. | Roofing | Other - Venting | y | y | y | Recommend Denial - Certification agency does not certify this product. | n
| 4059 | Precision Window Industries LLC | Windows | Double Hung | y | y | y | Recommend Denial - Certification agency does not certify this product. | n
| 4070 | Wasco Products, Inc. | Sky Lights | Skylight | y | y | y | Recommend Denial - Certification agency does not certify this product. | n
| 4152 | BetterBilt | Windows | Single Hung | y | y | y | Recommend Denial - Presented some ALI reports, not certified by AAMA and for a different company name. | n
| 4156 | BetterBilt | Windows | Fixed | y | y | y | Recommend Denial - Presented ALI reports, not certified by AAMA and for a different company name. Products do not comply with ASTM E1300 | n
| 4172 | Capitol | Windows | Horizontal Slider | d (A&A y) | y | y | Recommend Denial - Has letter from ALI, for a different named company, and AAMA has not completed certification. Delete repeated model lines. | n
| 4173 | Insight | Windows | Fixed | d (A&A y) | y | y | Recommend Denial - Has letter from ALI, for a different named company, and AAMA has not completed certification. | n
| 4175 | Insight | Windows | Casement | d (A&A y) | y | y | Recommend Denial - Has letter from ALI, for a different named company, and AAMA has not completed certification. Verify ASTM E1300 | n
Evaluation by Engineer/ Architect - Commission Vote - Approval
| 847-R1 | USDoor And Building Components | Exterior Doors | Roll-up | a | a | a | Recommend Approval | r
| 891-R1 | USDoor And Building Components | Exterior Doors | Roll-up | a | a | a | Recommend Approval | r
| 2678-R1 | Wayne-Dalton Corp. | Exterior Doors | Sectional | a | a | a | Recommend Approval | r
| 3076-R1 | Wayne-Dalton Corp. | Exterior Doors | Sectional | a | a | a | Recommend Approval | r
| 3448 | Overhead Door Corporation | Exterior Doors | Sectional | a | a | a | Recommend approval - Conditional approval from Dec. 2004 and deferred from Jan 2005. Complied by testing. | d
| 3589 | Imperial Products by Homeshield | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 3610 | C.H.I. Overhead Doors | Exterior Doors | Sectional | a | a | a | Recommend Approval | n
| 3709 | Florida Metal Sales | Roofing | Non-structural Metal Roofing | c (A&A a) | a | a | Recommend Approval - Deferred from Jan. 2005. Complied by: Uploaded new files with testing reports. Limit of Use to include: The use of this panel for shear diaphragm is outside the scope of this product approval." | d
| 3863 | Silverline Building Products Corp. | Windows | Single Hung | a | a | a | Recommend Approval. - Deferred from Jan 2005. Complied with requirements: Indicate white plastic. Size of vertical dimension of drawings exceed the evaluation. Number of lock location not specified. Sash retention devices not specified. Weep holes not specified. | d
| 3890 | Agriboard Industries | Structural Components | Other - Structural Wall Panel | a | a | a | Recommend Approval - Deferred from Jan 2005. Changed evaluation method, as requested, to eval by PE. Removed contradictory information. | d
| 3906 | Jones-Groff Industries, Inc. | Roofing | Other - Patio-Screen Panel | a | a | a | Recommend Approval | n
| 3908-R1 | Englert Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | r
| 3911 | Berridge Manufacturing Co. | Panel Walls | Siding | a | a | a | Recommend Approval - Conditional from Jan 2005. Provided testing. | c
| 3912 | USDoor And Building Components | Exterior Doors | Roll-up | a | a | a | Recommend Approval | n
| 3914 | Silverline Building Products Corp. | Windows | Single Hung | a | a | a | Recommend Approval. Deferred from Jan 2005. Complied with conditions: Indicate white plastic. Number of lock location not specified. Sash retention devices not specified. Weep holes not specified. Fin frame not part of this window. Check sash drawings. | d
| 3924 | ATAS International, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval. Deferred from Jan 2005. Complied with conditions. Removed standards not adopted. | d
| 3982 | Englert Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 3993 | Schuco, USA L.P. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 3996 | United Structures of America, Inc. | Panel Walls | Siding | a | a | a | Recommend Approval | n
| 3997 | Mid-America Door | Exterior Doors | Sectional | a | a | a | Recommend Approval | n
| 3999 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4012 | Schuco, USA L.P. | Windows | Other - Tilt Turn - Fixed | a | a | a | Recommend Approval | n
| 4013 | Schuco, USA L.P. | Windows | Other - Tilt-Turn | a | a | a | Recommend Approval | n
| 4053 | Silverline Building Products Corp. | Windows | Awning | a | a | a | Recommend Approval | n
| 4054 | Gulf States Manufacturers | Structural Components | Deck-Roof | a | a | a | Recommend Approval | n
| 4055 | Gulf States Manufacturers | Panel Walls | Siding | a | a | a | Recommend Approval | n
| 4057 | Silverline Building Products Corp. | Windows | Casement | a | a | a | Recommend Approval | n
| 4058 | Overhead Door Corporation | Exterior Doors | Sectional | a | a | a | Recommend Approval | n
| 4065 | Silverline Building Products Corp. | Windows | Single Hung | a | a | a | Recommend Approval | n
| 4069 | Novatech Glass | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4090 | General American Door | Exterior Doors | Sectional | a | a | a | Recommend Approval | n
| 4104 | JV Construction | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4113 | VEKA Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4114 | Englert Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4115 | VEKA Inc. | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 4127 | Englert Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4138 | Mesker Door, Inc. | Exterior Doors | Swinging | a | a | a | Recommend Approval | n
| 4149 | Dixieland Metals, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4154 | Contractors Supply, Inc | Windows | Fixed | a | a | a | Recommend Approval | n
| 4180 | Polyfoam Products, Inc | Roofing | Cements and Coatings | a | a | a | Recommend Approval - POC ADD | n
Evaluation by Engineer / Architect - Commission Vote - Conditional Approval
| 3413 | ROLLINGSHIELD INC | Shutters | Roll-up | c | c | c | Recommend Conditional Approval - Combine model lines into a single model line. | n
| 3414 | ROLLINGSHIELD INC | Shutters | Roll-up | c | c | c | Recommend Conditional Approval - Combine model lines into a single model line. | n
| 3416 | ROLLINGSHIELD INC | Shutters | Roll-up | c | c | c | Recommend Conditional Approval - Combine model lines into a single model line. | n
| 3417 | ROLLINGSHIELD INC | Shutters | Roll-up | c | c | c | Recommend Conditional Approval - Combine model lines into a single model line. | n
| 3418 | ROLLINGSHIELD INC | Shutters | Accordion | c | c | c | Recommend Conditional Approval - Combine model lines into a single model line. | n
| 3840 | Clopay Building Products Company | Exterior Doors | Sectional | a | c | c | Recommend Conditional Approval - on 3840.9 and 3840.10 - Min thick. 24 ga. and should be galvanized to min of G90, therefore, add to Limits of Use: "Not for HVHZ" on products .9 and .10 | n
| 3967 | Westshore Glass Corp. | Exterior Doors | Swinging | c | c | c | Recommend Conditional Approval (Partial) - Deferred from Jan 2005. Only 3967.4 and 3967.6 that are NOAs to be approved. Both NOA files to be uploaded. - Condition: Remove all non NOA'd products and change to Cert. Method. | d
| 3918 | Window Technologies, LLC | Windows | Mullions | c | c | c | Recommend Conditional Approval - Did not provide for impact conditions. On limits of use indicate: "Not for use in impact conditions". | n
| 4063 | Florida Extruders International, Inc. | Windows | Mullions | c | c | c | Recommend Conditional Approval - Did not provide for impact conditions. On limits of use indicate: "Not for use in impact conditions". | n
| 4088 | Clopay Building Products Company | Exterior Doors | Sectional | c | c | c | Recommend Conditional Approval - Products 4088.9, 4088.10, 4088.12 do not comply with Sec. 2222.4.3 (metal thickness thinner than 24 ga.) and products 4088.9 thru 4088.14 do not comply with Sec. 2220.2 or 2220.3 (corrosion protection). These products should have on limits of use "Not to use in HVHZ". | n
| 4116 | Kolbe and Kolbe Millwork | Structural Components | Other | c | c | c | Recommend Conditional Approval - Did not provide for impact conditions. On limits of use indicate: "Not for use in impact conditions". Should change subcategory to mullions. Not tested to HVHZ requirements, limits of use shall say "Not to be used in HVHZ". | n
| 4133 | CENTRIA | Structural Components | Deck-Roof | d | c | c | Recommend Conditional Approval - Conditions: Include slope of 2 in 12 or greater in limits of use, and add "not for use in HVHZ". | n
Evaluation by Engineer / Architect - Commission Vote - Deferral
| 4112 | Elixir Industries | Roofing | Other - Aluminum Roof | d | y | d | Recommend Deferral - Does not have an evaluation, certificate of independence, tests, or identifies loads. | n
| 4122 | Wheeling Corrugating Company | Structural Components | Deck-Roof | d | d | d | Recommend Deferral - Provided impact testing, there was no testing for transverse loads in accordance with Sec. 1706. | n
Evaluation by Engineer / Architect - Commission Vote - Denial
| 3981 | Westshore Glass Corp. | Panel Walls | Storefronts | y | y | y | Recommend Denial - Deferred from Jan 2005. There are no descriptions of products. Products can not be identified. There is no evidence of ASTM E1300 compliance. | d
| 3977 | BMP Metal Products | Roofing | Non-structural Metal Roofing | d | y | y | Recommend Denial - Previous deferred Jan 2005. Required testing. | d
Evaluation by Test Report - Commission Vote - Approval
| 2278 | Ashland Specialty Chemical | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval. Deferred from Jan 2005. Complied with condition. | d
| 3471 | Gerrell Fam Enter dba ABC Seamless Siding | Panel Walls | Siding | a | a | a | Recommend Approval | n
| 3547 | Window Mart | Exterior Doors | Sliding | a | a | a | Recommend Approval | n
| 3923 | United Steel Products Company | Structural Components | Wood Connectors Anchors | a | a | a | Recommend approval. Deferred from Jan 2005. Complied by indicating loads on evaluation. | d
| 4077 | Edco Products, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 4121 | GAF Materials Corporation | Roofing | Underlayments | a | a | a | Recommend Approval | n
Evaluation by Test Report - Commission Vote - Conditional Approval
| 4120 | Artistic Doors and Windows, Inc. | Exterior Doors | Other - Inswing French Doors | a (A&A c) | c | c | Recommend Conditional Approval - Specify silicone type used with impact rating, and detail of slope sill, that meets thickness requirements for HVHZ. or add "not for HVHZ" | n
| 4141 | Modtech Holdings, Inc. | Panel Walls | Other - Glass Fiber Reinforced Mesh | a | c | c | Recommend Conditional Approval - Applicant requested a "conditional" so they can change to "Evaluation method" | n
Evaluation by Test Report - Commission Vote - Deferral
| 3988 | Central Windows-SoftLite | Windows | Single Hung | d | d | d | Recommend Deferral - Deferred from Jan. 2005. Complied on removing multiple categories. On application 3988.2 tests report does not indicate glass type. If annealed, HS-R40 72X48, HS-R35 84X48 and HS-R20 140X63 do not comply with ASTM E1300. | d
| 4066 | Custom Window | Windows | Fixed | d | d | d | Recommend Deferral - There is no evidence of compliance with ASTM E1300. | n
| 4067 | Custom Window | Windows | Projected | d | d | d | Recommend Deferral - There is no evidence of compliance with ASTM E1300. | n
Evaluation by Test Report - Commission Vote - Denial
| 3938 | Marty Robbins Roofing | Roofing | Non-structural Metal Roofing | y | y | y | Recommend Denial - Presented summary test reports only. Tests are for a company different from applicant. There is no hard evidence of the connection of the test owner to the applicant. | d
| 3979 | Durable Roofing | Roofing | Non-structural Metal Roofing | y | y | y | Recommend Denial - Presented summary test reports only. Tests are for a company different from applicant. There is no hard evidence of the connection of the test owner to the applicant. | d
Evaluation by Evaluation Entity - Commission Vote - Approval
| 3313 | Custom Bilt Metals | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 3423 | Dryvit Systems, Inc | Panel Walls | Exterior Insulation Finish System | a | a | a | Recommend Approval | n
| 3802 | Met-Tile, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval | n
| 3901 | TAMKO Roofing Products, Inc. | Roofing | Non-structural Metal Roofing | a | a | a | Recommend Approval - Deferred from Jan 2005 meeting. Complied with conditions. | d
| 4143 | Alcoa Architectural Products | Panel Walls | Siding | a | a | a | Recommend Approval | n
Evaluation by Evaluation Entity - Commission Vote - Conditional Approval
| 1849-R1 | International Paper | Structural Components | Engineered Lumber | a | c | c | Recommend Conditional Approval. The revision added limits of use. Demonstrate compliance with Section 2315.1.11, or "not for HVHZ" | r
| 3635 | Aerosmith Fastening Systems | Structural Components | Wood Connectors Anchors | d | c | c | Recommend Conditional Approval - Testing standards to be on application. Applicant will change application to match evaluation report product models. | n
| 4081 | Tallant Industries | Roofing | Asphalt Shingles | a | c | c | Recommend Conditional Approval - Condition: "not for use in HVHZ" | n
Evaluation by Evaluation Entity - Commission Vote - Deferral
| 3643 | FischerSIPS, LLC | Panel Walls | Siding | d | d | d | Recommend Deferral - Separate application for roof panels. Testing standards are not on application. Limits of use shall include: "design of attachment to structure by licensed professional". | n
| 4117 | Reddi Form | Structural Components | Insulation Forms | d | d | d | Recommend Deferral - POC ADD - Make sure that requirements in Ch 26 for HVHZ and impact testing are considered. | n