## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments | Stat.
Certification Method - FBC Voted Approval
229-R4 | Simonton Windows | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
239-R13 | PGT Industries | Windows | Single Hung | a | a | a | Recommend Approval | Revision
242-R9 | PGT Industries | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
243-R8 | PGT Industries | Windows | Fixed | a | a | a | Recommend Approval | Revision
251-R12 | PGT Industries | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
451-R4 | VELUX America Inc. | Sky Lights | Skylight | a | a | a | Recommend Approval | Revision
477-R3 | CertainTeed Corporation-Roofing | Roofing | Built up Roofing | a | a | a | Recommend Approval | Revision
479-R3 | CertainTeed Corporation-Roofing | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | Revision
996-R2 | Kinro, Inc | Windows | Double Hung | a | a | a | Recommend Approval | Revision
1097-R3 | Andersen Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1424-R3 | Citation Manufacturing Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1500-R2 | Naturalite Skylights | Sky Lights | Skylight | a | a | a | Recommend Approval | Revision
1747-R3 | McElroy Metal, Inc. | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
1824-R4 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1832-R2 | McElroy Metal, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
2019-R4 | Santafe Tile Corp | Roofing | Roofing Tiles | a | a | a | Recommend Approval | Revision
2646-R5 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
2647-R4 | VELUX America Inc. | Sky Lights | Skylight | a | a | a | Recommend Approval | Revision
2670-R2 | Peerless Products, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
2717-R2 | Peerless Products, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
2722-R3 | Peerless Products, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
2725-R3 | Peerless Products, Inc. | Windows | Awning | a | a | a | Recommend Approval | Revision
2865-R3 | Kinro, Inc | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
4553-R2 | Ceco Door Products | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
5177-R3 | Simonton Windows | Windows | Fixed | a | a | a | Recommend Approval | Revision
5261-R2 | Paragon Plastic Sheet, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
5358-R4 | PHILIPS PRODUCTS INC. | Windows | Fixed | a | a | a | Recommend Approval | Revision
5573-R1 | PGI Fabrene Inc | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
5954-R2 | Benjamin Obdyke Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
5979-R3 | Simonton Windows | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6183-R2 | VELUX America Inc. | Sky Lights | Skylight | a | a | a | Recommend Approval | Revision
6210-R3 | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6228-R2 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
6393-R1 | VELUX America Inc. | Sky Lights | Skylight | a | a | a | Recommend Approval | Revision
6453-R2 | Shwinco Industries Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
6525-R3 | Marvin Windows and Doors | Windows | Double Hung | a | a | a | Recommend Approval | Revision
6623-R1 | Hydro Stop Inc | Roofing | Liquid Applied Roof Systems | a | a | a | Recommend Approval | Revision
6694-R3 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | Revision
6822-R1 | United Coatings Manufacturing Company | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | Revision
7027-R2 | Southeastern Door Company | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
7080-R2 | Alenco | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
7237-R3 | Kawneer Company, Inc. | Panel Walls | Storefronts | a | a | a | Recommend Approval | Revision
7686-R1 | Twin Windows Corporation | Windows | Fixed | a | a | a | Recommend Approval | Revision
7992-R1 | Thermo Green Windows LLC | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
8229-R3 | PHILIPS PRODUCTS INC. | Windows | Fixed | a | a | a | Recommend Approval | Revision
8424-R1 | Peerless Products, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
8428-R1 | Peerless Products, Inc. | Windows | Awning | a | a | a | Recommend Approval | Revision
8431-R1 | Peerless Products, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
8785-R1 | Vi Win Tech | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
8786-R3 | Kawneer Company, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9063-R2 | CGI - Construction Glass Industries | Windows | Fixed | a | a | a | Recommend Approval | Revision
9064-R2 | CGI - Construction Glass Industries | Windows | Single Hung | a | a | a | Recommend Approval | Revision
9186-R1 | CGI - Construction Glass Industries | Windows | Fixed | a | a | a | Recommend Approval | Revision
9252-R1 | Complex Industries | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9335-R1 | Vi Win Tech | Windows | Single Hung | a | a | a | Recommend Approval | Revision
9481 | Hager Companies | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
9577-R2 | Benjamin Obdyke Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
9562-R2 | Pella Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9583-R2 | Pella Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9633-R2 | Pella Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9837-R1 | Kolbe and Kolbe Millwork | Windows | Casement | a | a | a | Recommend Approval | Revision
9885-R4 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
9915-R1 | Peerless Products, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
9934-R1 | Pella Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10129-R1 | Peerless Products, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
10188-R2 | Marvin Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | Revision
10287-R2 | PGT Industries | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10288-R3 | PGT Industries | Windows | Double Hung | a | a | a | Recommend Approval | Revision
10350-R2 | MI Windows and Doors | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10366-R1 | Vi Win Tech | Windows | Fixed | a | a | a | Recommend Approval | Revision
10367-R1 | Vi Win Tech | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10368-R1 | Vi Win Tech | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10428 | Wayne-Dalton Corp. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
10680-R1 | McElroy Metal, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
10692-R1 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | Revision
11206-R1 | Pella Corporation | Windows | Single Hung | a | a | a | Recommend Approval | Revision
11233-R2 | Wayne-Dalton Corp. | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11252-R1 | Hurd Windows and Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Editorial Change
11296-R1 | PGT Industries | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11297-R1 | PGT Industries | Panel Walls | Storefronts | a | a | a | Recommend Approval | Revision
11373-R1 | MI Windows and Doors | Windows | Double Hung | a | a | a | Recommend Approval | Editorial Change
11423-R1 | Citation Manufacturing Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11425 | Stonehenge Roofing Products, LLC. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
11469-R1 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11482 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
11585-R1 | Hurd Windows and Doors, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Editorial Change
11587-R1 | Hurd Windows and Doors, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | Editorial Change
11591-R1 | Hurd Windows and Doors, Inc. | Windows | Awning | a | a | a | Recommend Approval | Editorial Change
11594-R1 | Hurd Windows and Doors, Inc. | Windows | Casement | a | a | a | Recommend Approval | Editorial Change
11598-R1 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | Revision
11655-R1 | Hurd Windows and Doors, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Editorial Change
11736 | Anemostat Products | Exterior Doors | Exterior Door Component Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
11757 | Anemostat Products | Exterior Doors | Exterior Door Component Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
11774 | Window Craftsmen Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11825-R1 | MI Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | Revision
11874 | Weather Shield Mfg., Inc. | Windows | Casement | a | a | a | Recommend Approval | New
11875 | Peachtree Doors and Windows | Windows | Casement | a | a | a | Recommend Approval | New
11876 | SNE Enterprises | Windows | Casement | a | a | a | Recommend Approval | New
11949-R1 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11956-R1 | MI Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11993 | Windoor Incorporated | Windows | Fixed | a | a | a | Recommend Approval | New
11994 | Windoor Incorporated | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12002 | Vent Covers, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | New
12015 | Peerless Products, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12031 | Kinro, Inc | Windows | Fixed | a | a | a | Recommend Approval | New
12044-R1 | Hurd Windows and Doors, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Editorial Change
12053 | Kinro, Inc | Windows | Single Hung | a | a | a | Recommend Approval | New
12075 | Dean Steel Buildings, Inc | Structural Components | Roof Deck | a | a | a | Recommend Approval | New
12100 | Shwinco Industries Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12147-R1 | Atlantic Vinyl Windows and Doors, inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
12149-R1 | Atlantic Vinyl Windows and Doors, inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
12207 | Hurd Windows and Doors, Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
12235-R1 | MI Windows and Doors | Windows | Casement | a | a | a | Recommend Approval | Revision
12250-R1 | MI Windows and Doors | Windows | Single Hung | a | a | a | Recommend Approval | Revision
12251-R1 | MI Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | Revision
12269-R1 | JELD-WEN | Windows | Single Hung | a | a | a | Recommend Approval | Revision
12282 | Flesher Windows, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | New
12283 | Flesher Windows, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
12285 | Flesher Windows, Inc. | Windows | Casement | a | a | a | Recommend Approval | New
12290 | JELD-WEN | Windows | Double Hung | a | a | a | Recommend Approval | New
12299 | Four Seasons Solar Products LLC | Windows | Casement | a | a | a | Recommend Approval | New
12316 | Captiveaire Systems | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | New
12327 | Resiver Patio Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12332 | Traco Windows and Doors, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
12344 | Uralitas Tejados S.A. | Roofing | Roofing Tiles | a | a | a | Recommend Approval | New
12348 | Gorell Enterprises Inc. | Windows | Double Hung | a | a | a | Recommend Approval | New
12355 | Gorell Enterprises Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12361 | Hurst Awning Company Inc. | Shutters | Accordion | a | a | a | Recommend Approval | New
12369 | Arcadia Architectural Products Inc | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12381 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12382 | Windsor Windows and Doors | Windows | Casement | a | a | a | Recommend Approval | New
12383 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12384 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12385 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12386 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12387 | Windsor Windows and Doors | Windows | Casement | a | a | a | Recommend Approval | New
12392 | Krestmark Ind. L.P. | Windows | Fixed | a | a | a | Recommend Approval | New
12394 | Krestmark Ind. L.P. | Windows | Fixed | a | a | a | Recommend Approval | New
12396 | Krestmark Ind. L.P. | Windows | Single Hung | a | a | a | Recommend Approval | New
12397 | Krestmark Ind. L.P. | Windows | Single Hung | a | a | a | Recommend Approval | New
12398 | Krestmark Ind. L.P. | Windows | Single Hung | a | a | a | Recommend Approval | New
12404 | CGI - Construction Glass Industries | Windows | Single Hung | a | a | a | Recommend Approval | New
12408 | Peerless Products, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | New
12411 | Steel Tile Co. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12420 | Traco Windows and Doors, Inc. | Windows | Casement | a | a | a | Recommend Approval | New
12421 | Traco Windows and Doors, Inc. | Windows | Casement | a | a | a | Recommend Approval | New
12425 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12426 | JELD-WEN | Windows | Casement | a | a | a | Recommend Approval | New
12430 | Traco Windows and Doors, Inc. | Windows | Projected | a | a | a | Recommend Approval | New
12431 | Traco Windows and Doors, Inc. | Windows | Projected | a | a | a | Recommend Approval | New
12440 | Traco Windows and Doors, Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
12434 | Simpson Door Company | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12437 | MI Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12438 | MI Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12442 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12445 | Eurotech Industries, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
12446 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
12448 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
12452 | Kolbe and Kolbe Millwork | Windows | Casement | a | a | a | Recommend Approval | New
12456 | YKK AP America | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
12458 | Alenco | Windows | Fixed | a | a | a | Recommend Approval | New
12463 | ProVia Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12464 | Windsor Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12472 | MI Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12475 | MI Windows and Doors | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
12476 | MI Windows and Doors | Windows | Double Hung | a | a | a | Recommend Approval | New
12484 | MARITECH WINDOWS | Windows | Fixed | a | a | a | Recommend Approval | New
12499 | Neogard division of Jones Blair | Roofing | Liquid Applied Roof Systems | a | a | a | Recommend Approval | New
12502 | Neogard division of Jones Blair | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | New
12504 | ECO WINDOW SYSTEMS LLC | Windows | Single Hung | a | a | a | Recommend Approval | New
12508 | Kolbe and Kolbe Millwork | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12509 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12512 | AlphaProTech Engineered Products, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | New
12519 | Shwinco Industries Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12520 | Alenco | Windows | Single Hung | a | a | a | Recommend Approval | New
12525 | MARITECH WINDOWS | Windows | Single Hung | a | a | a | Recommend Approval | New
12526 | Wincore Window Company, LLC | Windows | Fixed | a | a | a | Recommend Approval | New
12527 | Wincore Window Company, LLC | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
12531 | Loewen Windows | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12533 | Dow Roofing Systems | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | New
12535 | Wincore Window Company, LLC | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12536 | Owens Corning | Roofing | Underlayments | a | a | a | Recommend Approval | New
12537 | CURRIES | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
12558 | JELD-WEN | Windows | Mullions | a | a | a | Recommend Approval | New
12562 | Gilkey Window Company, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
12569 | Locklando Door & M.W. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12576 | Alenco | Windows | Fixed | a | a | a | Recommend Approval | New
12577 | Hurd Windows and Doors, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
12580 | Hurricane Screens & Security Inc. DBA Fort Hurricane Products | Shutters | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
12585 | Peerless Products, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12586 | MI Windows and Doors | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
12587 | MI Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
12588 | MI Windows and Doors | Windows | Single Hung | a | a | a | Recommend Approval | New
12589 | MI Windows and Doors | Windows | Awning | a | a | a | Recommend Approval | New
12598 | Peachtree Doors and Windows | Windows | Awning | a | a | a | Recommend Approval | New
12600 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
12603 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | New
12606 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12607 | Weather Shield Mfg., Inc. | Windows | Casement | a | a | a | Recommend Approval | New
12609 | Diebold Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
Evaluation by Engineer/ Architect - FBC Voted Approval
161-R3 | Custom Window Systems, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
400-R2 | American Shutter Systems Association, Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
1587-R4 | Flex Membrane International, Inc. | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | Revision
1779-R2 | Metals USA Building Products | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
1791-R1 | Metals USA Building Products | Panel Walls | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
1793-R2 | Metals USA Building Products | Panel Walls | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
2672-R2 | United States Aluminum Corp. | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | Revision
2833-R2 | Firestone Metal Products, LLC. | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
2948-R3 | Johns Manville | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | Revision
2905-R2 | ATAS International, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
3162-R2 | ATAS International, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
3504-R3 | Sun Metals Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
3556-R2 | ATAS International, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
3915-R3 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | Revision
4091-R4 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
4092-R3 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
4093-R3 | Custom Window Systems, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
4459-R2 | ALSCO METALS CORPORATION | Panel Walls | Soffits | a | a | a | Recommend Approval | Revision
4574-R1 | RPS Rollformers | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
4614-R1 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | Revision
4733-R1 | Hollow Metal, Inc | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
4804-R2 | Alufab Hurricane Shutters Inc | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
4866-R2 | MILLENNIUM METALS INC. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
4942-R1 | Jeff Kuhnert Enterprises | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
4943-R2 | Johns Manville | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | Revision
4944-R1 | Umicore Building Products USA, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
5211-R2 | MILLENNIUM METALS INC. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
5213-R3 | Corrugated Industries of Florida, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
5214-R4 | Corrugated Industries of Florida, Inc. | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
5231-R1 | Rollac Shutter of Texas, Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
5286-R2 | J. Mila Enterprises, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
5327-R1 | Bell-View, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
5443-R1 | Rigid Building Systems | Structural Components | Structural Wall | a | a | a | Recommend Approval | Revision
5491-R1 | Centurion Security Screen Co, LTD | Shutters | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
5555-R2 | Corrugated Industries of Florida, Inc. | Structural Components | Structural Wall | a | a | a | Recommend Approval | Revision
5614-R1 | Glasteel | Structural Components | Structural Wall | a | a | a | Recommend Approval | Revision
5777-R1 | Custom Window Systems, Inc. | Windows | Mullions | a | a | a | Recommend Approval | Revision
5790-R3 | American Shutter Systems Association, Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
5818-R3 | Corrugated Industries of Florida, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
5896-R1 | Amerimax Home Products | Panel Walls | Soffits | a | a | a | Recommend Approval | Revision
5919-R2 | Bell-View, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
5945-R3 | Structall Building Systems, Inc. | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
6093-R1 | Hope's Windows, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
6094-R1 | Hope's Windows, Inc. | Windows | Projected | a | a | a | Recommend Approval | Revision
6095-R1 | RPS Rollformers | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
6231-R3 | Structall Building Systems, Inc. | Structural Components | Structural Wall | a | a | a | Recommend Approval | Revision
6267-R2 | GAF Materials Corporation | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
6362-R4 | Alside Window Company | Windows | Mullions | a | a | a | Recommend Approval | Revision
6931-R2 | J. Mila Enterprises, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
6952-R1 | B & T Metal Works | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
7013-R2 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
7052-R1 | Alenco Windows | Windows | Mullions | a | a | a | Recommend Approval | Revision
7395-R1 | ACI Building Systems | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
7396-R1 | ACI Building Systems | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
7559-R2 | MILLENNIUM METALS INC. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
7852-R2 | Custom Window Systems, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
7946-R1 | Dixie Door and Window | Windows | Single Hung | a | a | a | Recommend Approval | Revision
8128-R1 | Summit Roofing | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
8248-R5 | Wayne-Dalton Corp. | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8390-R3 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8693-R1 | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
9100-R1 | A.R.B.S. alternative blocking | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
9174-R4 | Wayne-Dalton Corp. | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9250-R2 | Hope's Windows, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
9520-R2 | Custom Window Systems, Inc. | Windows | Mullions | a | a | a | Recommend Approval | Revision
9757-R2 | JHRG LLC | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
9779-R2 | Soprema, Inc. | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | Revision
9798-R2 | Flex Membrane International, Inc. | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | Revision
9898-R2 | Comfort View Products LLC | Windows | Mullions | a | a | a | Recommend Approval | Revision
9955-R1 | Vi Win Tech | Windows | Fixed | a | a | a | Recommend Approval | Revision
9975-R2 | NCFI Div. of Barnhardt Mfg. Co. | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | Revision
10245-R1 | Shwinco Industries Inc. | Windows | Mullions | a | a | a | Recommend Approval | Revision
10500-R1 | Concrecel International, Inc. | Roofing | Roofing Insulation | a | a | a | Recommend Approval | Revision
10537 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
10626-R1 | GAF Materials Corporation | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
10749-R2 | Pro-Crete Precast, Inc. | Structural Components | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
10757-R2 | F & F Assemblies, Inc. | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
11111-R2 | Silverline Building Products Corp. | Windows | Awning | a | a | a | Recommend Approval | Revision
11159-R1 | Berridge Manufacturing Co. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
11174-R1 | Trinity Glass International | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11203-R1 | Force V Environmental, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11221 | Crest Metal Doors, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11359 | DISC Village, Inc. | Structural Components | Roof Deck | a | a | a | Recommend Approval | New
11446-R1 | Stanek Vinyl Windows | Windows | Double Hung | a | a | a | Recommend Approval | Revision
11447-R1 | Stanek Vinyl Windows | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
11448-R1 | Stanek Vinyl Windows | Windows | Fixed | a | a | a | Recommend Approval | Revision
11451-R1 | Stanek Vinyl Windows | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11526-R1 | Roller Star USA | Shutters | Accordion | a | a | a | Recommend Approval | Revision
11602-R1 | InterWrap, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
11638-R2 | Vistawall Group | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11915-R1 | Atlas Roofing Corporation | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
11977 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12019-R1 | American Construction Metals | Panel Walls | Soffits | a | a | a | Recommend Approva | Revision
12074 | Florida Hurricane Clamp Inc. | Structural Components | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
12078 | Associated Materials Inc. | Windows | Mullions | a | a | a | Recommend Approval | New
12079-R1 | Gentek Building Products | Windows | Mullions | a | a | a | Recommend Approval | Revision
12080-R1 | Revere Building Products | Windows | Mullions | a | a | a | Recommend Approval | Revision
12088 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
12133 | Vistawall Group | Panel Walls | Storefronts | a | a | a | Recommend Approval - Deferred on April 2009 meeting. Complied with conditions of: Provide complete set of installation drawings. Drawings shall include Bill of Materials identifying panel wall components. | Deferred
12162 | EFCO Corporation | Windows | Fixed | a | a | a | Recommend Approval | New
12226 | Ruskin Company | Panel Walls | Wall Louver | a | a | a | Recommend Approval | New
12230 | USDoor And Building Components | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a | a | Recommend Approval | New
12231 | Style Crest Inc. | Panel Walls | Siding | a | a | a | Recommend Approval | New
12238 | YKK AP America | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
12240 | Vistawall Group | Panel Walls | Storefronts | a | a | a | Recommend Approval | New
12245 | Bell-View, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12246 | Expert Shutter Services, Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | New
12249 | Window Craftsmen Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12253-R1 | Metallic Products | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
12305 | Bonneville Windows and Doors | Windows | Double Hung | a | a | a | Recommend Approval | New
12308 | Rainier Industries, Ltd. | Shutters | Fabric Storm Panel | a | a | a | Recommend Approval | New
12320 | Alside Window Company | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12321 | Gentek Building Products | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12322 | Revere Building Products | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12323 | Associated Materials Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12334 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12337 | Windsor Republic Doors, Inc. Little Rock, AR | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
12352 | PHILIPS PRODUCTS INC. | Windows | Mullions | a | a | a | Recommend Approval | New
12366 | GAF Materials Corporation | Roofing | Roofing Slate | a | a | a | Recommend Approval | New
12373 | Sun Metals Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12375 | Innovative Metals Company, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12377 | The Garland Company, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12402 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12403 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12412 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
12413 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12418 | St. Cloud Window, Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
12419 | St. Cloud Window, Inc. | Windows | Mullions | a | a | a | Recommend Approval | New
12433 | MI Windows and Doors | Windows | Mullions | a | a | a | Recommend Approval | New
12436 | Atrium Companies Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
12443 | Berridge Manufacturing Co. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12444 | Bonneville Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12449 | Metal Sales Manufacturing Corporation | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12457 | Berridge Manufacturing Co. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12468 | The Hurricane Window and Door Factory | Windows | Double Hung | a | a | a | Recommend Approval | New
12470 | Raynor Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
12471 | Morin - a Kingspan Company | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12483 | CertainTeed Corporation Siding Products | Panel Walls | Siding | a | a | a | Recommend Approval | New
12486 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
12490 | Soprema, Inc. | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | New
12498 | Dow Roofing Systems | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | New
12500 | Norandex Building Materials Distribution | Panel Walls | Siding | a | a | a | Recommend Approval | New
12505 | Norandex Building Materials Distribution | Panel Walls | Soffits | a | a | a | Recommend Approval | New
12507 | AWP, LLC | Windows | Single Hung | a | a | a | Recommend Approval | New
12513 | CENTRIA | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
12514 | Speyer Door and Window, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12515 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
12517 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
12518 | wind-O-Shield | Shutters | Storm Panels | a | a | a | Recommend Approval | New
12521 | Tecpol | Shutters | Storm Panels | a | a | a | Recommend Approval | New
12522 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12528 | Rollac Shutter of Texas, Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | New
12529 | Alhambra Art Glass | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
12530 | Rollac Shutter of Texas, Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | New
12532 | Alhambra Art Glass | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12539 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12540 | Atrium Companies Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | New
12543 | YKK AP America | Panel Walls | Storefronts | a | a | a | Recommend Approval | New
12544 | RSL, Inc. | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
12546 | CROCI NORTH AMERICA | Shutters | Roll-up | a | a | a | Recommend Approval | New
12547 | YKK AP America | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
12548 | Association of Shutter Professionals, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | New
12549 | Impact Technology, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | New
12550 | Advance Hurricane Technology Inc. | Shutters | Roll-up | a | a | a | Recommend Approval | New
12551 | Commercial Innovations, INC. | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | New
12552 | High Velocity Hurricane Protection Systems | Shutters | Roll-up | a | a | a | Recommend Approval | New
12553 | Dri-Design | Panel Walls | Siding | a | a | a | Recommend Approval | New
12561 | Regal Industries, LLC | Structural Components | Roof Deck | a | a | a | Recommend Approval | New
12566 | Janus International Corporation | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a | a | Recommend Approval | New
12568 | JELD-WEN | Windows | Mullions | a | a | a | Recommend Approval | New
12573 | Hurricane Fabric .com | Shutters | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
12574 | Corrim Company | Windows | Fixed | a | a | a | Recommend Approval | New
12582 | Hurricane Protection System | Shutters | Storm Panels | a | a | a | Recommend Approval | New
12583 | Florida Extruders International, Inc. | Windows | Mullions | a | a | a | Recommend Approval | New
12590 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12596 | Alhambra Art Glass | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12605 | Atlantic Metal Extrusions, LLC | Shutters | Accordion | a | a | a | Recommend Approval | New
12610 | YKK AP America | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
Evaluation by Test Report - FBC Voted Approval
2074-R2 | Black Warrior Roofing | Roofing | Built up Roofing | a | a | a | Recommend Approval | Revision
2077-R2 | Black Warrior Roofing | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
2894-R2 | G.A.P. Roofing | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
5325-R3 | SDP Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
12311 | Petersen Aluminum Corporation | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
12328 | TAMKO Building Products, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | New
12465 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12466 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12477 | United Roofing | Roofing | Underlayments | a | a | a | Recommend Approval | New
12510 | PrimeSource Building Products, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | New
12542 | YKK AP America | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12619 | MonierLifetile | Roofing | Underlayments | a | a | a | Recommend Approval | New
Evaluation by Evaluation Entity - FBC Voted Approval
859-R4 | United Steel Products Company | Structural Components | Wood Connectors | a | a | a | Recommend Approval | Revision
1644-R2 | Boise Engineered Wood Products | Structural Components | Engineered Lumber | a | a | a | Recommend Approval | Revision
3505-R2 | Hanson Roof Tile | Roofing | Roofing Tiles | a | a | a | Recommend Approval | Revision
6297-R2 | Arch Aluminum and Glass Co., Inc. | Panel Walls | Storefronts | a | a | a | Recommend Approval | Revision
6304-R1 | Arch Aluminum and Glass Co., Inc. | Panel Walls | Storefronts | a | a | a | Recommend Approval | Revision
6354-R1 | Arch Aluminum and Glass Co., Inc. | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | Revision
7700-R1 | Total Wall | Panel Walls | Exterior Insulation Finish System | a | a | a | Recommend Approval | Revision
7751-R1 | Benjamin Obdyke Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
7849-R1 | MonierLifetile | Roofing | Roofing Tiles | a | a | a | Recommend Approval | Revision
9095-R2 | EcoStar - A Division of Carlisle-Syntec Inc. | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
11748 | United Steel Products Company | Structural Components | Anchors | a | a | a | Recommend Approval | New
11910 | United Steel Products Company | Structural Components | Wood Connectors | a | a | a | Recommend Approval | New
12339 | PennBarry | Roofing | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
12427 | ParexLahabra, Incorporated | Panel Walls | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
12479 | Ultimate Door | Windows | Fixed | a | a | a | Recommend Approval | New
12481 | Ultimate Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
12482 | Ultimate Door | Windows | Mullions | a | a | a | Recommend Approval | New
12485 | ParexLahabra, Incorporated | Panel Walls | Exterior Insulation Finish System | a | a | a | Recommend Approval | New
12487 | ParexLahabra, Incorporated | Panel Walls | Exterior Insulation Finish System | a | a | a | Recommend Approval | New
12488 | ParexLahabra, Incorporated | Panel Walls | Exterior Insulation Finish System | a | a | a | Recommend Approval | New
12567 | Durable Woods Products USA, Inc. | Roofing | Wood Shingles and Shakes | a | a | a | Recommend Approval | New
Entities - FBC Voted Approval
CER-1497 | Intertek Testing Services NA Inc. - ETL/Warnock Hersey | Product Certification Agency |  | a | a | a | Recommend Approval | Revision
CER-1508 | Window and Door Manufacturers Association | Product Certification Agency |  | a | a | a | Recommend Approval | Revision
CER-1840 | FM Approvals - CER | Product Certification Agency |  | a | a | a | Recommend Approval | Revision
CER-6750 | Architectural Testing, Inc. | Product Certification Agency |  | a | a | a | Recommend Approval | Revision
TST-1509 | Intertek Testing Services NA Ltd. | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST-1987 | RADCO, Inc. | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST-1999 | Construction Testing Corporation | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST-2542 | Terrapin Testing, Inc. | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TS-T8039 | Quast Conslting and Testing, Inc. | Product Testing Laboratory |  | a | a | a | Recommend Approval | New
QUA-3096 | CI Professional Services, Inc. | Product Quality Assrance |  | a | a | a | Recommend Approval | Revision
Request to Defer by Applicant
6223-R1 | United Steel Products Company | Structural Components | Wood Connectors | a | d |  | Deferral requested by applicant | Revision
7809-R2 | MILLENNIUM METALS INC. | Roofing | Metal Roofing |  | d |  | Deferral requested by applicant | Revision
Discussion Items
11484-R1 | Pella Corporation | Windows | Fixed |  | c | c | The Certification Agency Certificate provides a listing of products that are not a part of this application. The POC has previously indicated that this is not acceptable and the Certification Agency Certificate shall include only the producton the application. Recommend Conditional Approval with condition: Remove listing of products and provide single certificate for the product on application. | Revision
12459 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies |  | c | c | The Certification Agency Certificate provides a listing of products that are not a part of this application. The POC has previously indicated that this is not acceptable and the Certification Agency Certificate shall include only the producton the application. Recommend Conditional Approval with condition: Remove listing of products and provide single certificate for the product on application. | New
12599 | Pella Corporation | Windows | Fixed |  | a | a | Installation Instructions show sizes larger than certified. For 12599.1 and 12599.2 certified sizes of 36" and 60" show a dimension of "72 in. max. frame width". Recommend Approval | New
12602 | Pella Corporation | Windows | Single Hung |  | a | a | Installation Instructions show sizes larger than certified. Windows of diferent certified sizes indicate on the installation instructions dimensions indicated as "N.T.E. 48 in. X N.T.E. 96 in." when the certified window could be as small as 36 in. X 60 in. Recommend Approval | New
12017 | USA Shutter Company LLC | Shutters | Roll-up |  | y | y | Application received Conditional Approval at the April 2009 meeting with condition of: Provide details of storm bars as tested. Remove mullion details or provide test of mullion impact. Test reports were presented (some performed after the April2009 meeting). These test reports for mullions and stormbars were either to spans smaller or thicker walls than on evaluation report. Some corrections were made to allow for the new data, but other instructions remain that are not supported by the tested specimens. The details of the anchors for the storm bars and mullions are not complete. Recommend Denial for not complying with the conditions of the conditional approval. | Conditional
12523 | United Steel Products Company | Structural Components | Wood Connectors |  | w |  | Application number substituted by FL822-R2. Original application FL12523 contained over 600 products. The same products were consolidated using 77 group of similar family of products into application FL822-R2. Withdrawn by Applicant | New
822-R2 | United Steel Products Company | Structural Components | Wood Connectors | a | a | a | Recommend Approval | Revision
Public Comments
Certification Method
9362-R2 | Flesher Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | Revision
9362-R2 | Comment by Jaime Gascon | [5 empty] | Product 9362.1 Certification does not include I.G. glass as intended in "other" notes on the BCIS. Revise note to match certification.
9362-R2 | Response by Brandy Young | [5 empty] | I tried to respond to this comment on the FBC site, but could not locate the appropriate section. I tried to modify the application and remove the glazing detail pertaining to insulated glass, but cannot do so until it set to reapply. Please accept this as my response in acknowledgement of the recommendation to remove the insulated glazing and revise note to match certification.
9362-R2 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Remove note for Product 9362.1 on use of I.G. glass on application to match certification.
10791-R1 | Traco Windows and Doors, Inc. | Windows | Projected | a | a | a | Recommend Approval | Revision
10791-R1 | Comment by Jaime Gascon | [5 empty] | Laminated glass interlayer brand and thickness 'as tested' needs to be specified.
10791-R1 | Response by Abhishek Vaidya | [5 empty] | Laminated glass interlayer brand and thickness is specified on installation instruction I-LM3500-002 in Notes section (Point 3) as well as in Missile Impact Test Report T191-08 on Page 3 under Glazing System description.
12422 | Traco Windows and Doors, Inc. | Windows | Projected | a |  |  | Recommend Approval | New
12422 | Comment and Recommendation by Administrator |  |  | c | c | c | Application indicates "No" for both inside and outside HVHZ. Recommend Conditional Approval with condition of: Indicate "Yes" for use outside HVHZ.
12423 | Traco Windows and Doors, Inc. | Windows | Projected | a |  |  | Recommend Approval | New
12423 | Comment and Recommendation by Administrator |  |  | c | c | c | Application indicates "No" for both inside and outside HVHZ. Recommend Conditional Approval with condition of: Indicate "Yes" for use outside HVHZ.
12424 | Traco Windows and Doors, Inc. | Windows | Fixed | a |  |  | Recommend Approval | New
12424 | Comment and Recommendation by Administrator |  |  | c | c | c | Application indicates "No" for both inside and outside HVHZ. Recommend Conditional Approval with condition of: Indicate "Yes" for use outside HVHZ.
12429 | Traco Windows and Doors, Inc. | Windows | Casement | a |  |  | Recommend Approval | New
12429 | Comment and Recommendation by Administrator |  |  | c | c | c | Application indicates "No" for both inside and outside HVHZ. Recommend Conditional Approval with condition of: Indicate "Yes" for use outside HVHZ.
12497 | Loewen Windows | Windows | Fixed | a |  |  | Recommend Approval | New
12497 | Comment by Jaime Gascon | [5 empty] | Limit to large missile only in HVHZ per FBC 2411.3.3.7
12497 | Recommendation by Administrator |  |  |  | c |  | Section 2411.3.3.7 exempts "Large missile impact-resistant glazed assemblies." The assembly is a large missile impact assembly and the application should be approved.
12497 | Response by Gary Blad | [5 empty] | I request that this approval be accepted as a conditional approval based on the appropriate documentation being revised to meet the requirements of Jaime Gascon's comments.
12497 |  |  |  |  | c | c | Recommend Conditional Approval with condition of: On limits of use indicate: For use within HVHZ product shall not be used above 30 ft height.
Evaluation by Engineer/ Architect
3848-R3 | Bell-View, Inc. | Windows | Horizontal Slider | a |  |  | Recommend Approval | Revision
3848-R3 | Comment by Jaime Gascon | [5 empty] | Products 3848.1 and .2 glazing note on sheet 4 of 5 of evaluation indicates 'glass thickness and type may vary according to ASTM E1300 glass chart requirements". This is not applicable in the HVHZ.
3848-R3 | Response by Darrel Hidlebaugh Jr | [5 empty] | This product was already approved once under R2. (Comments have been included that are outside the scope of Rule 9B-72).
3848-R3 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: For Products 3848.1 and 3848.2 remove note indicating "glass thickness may vary according to ASTM E1300 glass chart requirements" for HVHZ or indicate "No" for use within HVHZ.
5368-R1 | Neogard division of Jones Blair | Roofing | Cements-Adhesives-Coatings | a |  |  | Recommend Approval | Revision
5368-R1 | Recommendation by Administrator |  |  | c | c | c | QA Agency selected by applicant informed that applicant does not have a QA contract. Recommend Conditional Approval with condition of: Provide QA Agency contract.
5889-R1 | Shwinco Industries Inc. | Windows | Mullions | a |  |  | Recommend Approval | Revision
5889-R1 | Comment by Jaime Gascon | [5 empty] | Product 5889.3 evaluation describes a PVC mullion and drawings describe an aluminum mullion?
5889-R1 | Response by Kristina S. Daugherty | [5 empty] | Upon your approval, we will revise the title page of the Evaluation Reports #729 & #730 to refer to the material of the mullion, not the material of the window frame.
5889-R1 | Recommendation by Administrator |  |  | c | c | c | Recommnend Conditional Approval with condition of: Provide installation drawings with the mullion material as tested and evaluated.
8947-R1 | Palram Americas, Inc. | Shutters | Storm Panels | a |  |  | Recommend Approval | Revision
8947-R1 | Comment by Jaime Gascon | [5 empty] | Note 6.1 on drawings must be qualified per FBC 2612 or indicate that panel is not to be left exposed or permanently attached.
8947-R1 | Response by Jesus Gonzalez | [5 empty] | We will revise our approval to include the following statement in the “Limits of Use” section to address Mr. Gascon’s comments: “This panel is not to be left exposed or permanently attached to the structure”
8947-R1 | Recommendation by Administrator |  |  |  | c | c | Recommend Conditional Approval with condition of: On Installation Drawings Note 6.1 indicate: This panel is not to be exposed or permanently attached to structure.
11656 | Graham Architectural Products | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
11656 | Comment by Jaime Gascon, PE | [5 empty] | Product 11656.1 glazing detail on sheet 4 of installation drawings must detail the sealant type as tested.
11656 | Response by Kristina S. Daugherty, PE | [5 empty] | We will revise the glazing detail and bill of materials to include the glazing sealant, Dow 995, as tested.
11656 | Recommendation by Administrator |  |  |  | c | c | Recommend Conditional Approval with condition of: Revise glazing detail and bill of materials to indicate sealant type as tested.
12455 | Applied Solar, Inc. | Roofing | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
12455 | Comment by Jaime Gascon | [5 empty] | 1. There are no drawings of the panel including overall dimensions. 2. Picture is indicative of a size exceeding the limit of width listed in section 1518.8.4.2 . and therfore cannot use the coefficients listed in section 1518.8.5 to determine the aerodynamic multiplier. TAS108 testing will be required to obtain the applicable aerodynamic multiplier for this size of tile. 3. Needs ASTM E 108 fire test. Else, indicate not for use in the HVHZ.
12455 | Response by Jeremy DeWitt, PE | [5 empty] | After communications with Mr. Gascon, we will implement the following changes to the Evaluation Report and application. 1. Drawings will be uploaded to the evaluation outlining the dimensions. 2. Calculations will be evaluated as an uplift system through RAS 127. 3. References will be made to the existing E-108 reports.
12455 | Recommendation by Administrator |  |  | d | c | c | Recommend Conditional Approval with conditions of: 1. Upload drawings to the evaluation outlining the dimensions. 2. Provide calculations as an uplift system through RAS 127. 3. Provide evidence of testing to ASTM E-108.
12450 | Lookout Shutters Incorporated | Shutters | Storm Panels | a |  |  | Recommend Approval | New
12450 | Comment by Scott Kuntz | [5 empty] | After reviewing the Engineering/Installation document as part of pending Approval FL12450, I have some serious concerns about Spans and Applications as shown. Having found extensive shortcomings on previous applications of a similar nature (that I was allowed to Review), I would like to have an opportunity to see what Tests were performed to allow for such extreme differences, compared to what is now found in the Industry. My concerns are not just from a competitive aspect, but from a life/safety issue as well. In the event that shortcomings are found, I will be glad to share my expert analysis with you and your Staff. In the event that I am unable to receive Test Reports for my review (with little time left), I am going to provide you with an updated “Public Comment” that will detail what I have determined as the necessary tests (substantiation) that should be found as integral parts of the Test Report in question. Any lack of these tests may provide adequate evidence that sufficient testing has not been performed to allow for the Installation Drawings that correspond to approval FL12450.
12450 | Comment by Scott Kuntz (Cont.) | [5 empty] | Public Comment #2 First, I would like to preface this updated “Public Comment” by mentioning that there is a certain Industry Standard for Clear Panels that has been established over recent years. This so called Standard is based upon Companies having similar applications and limitations as found in their Installation Drawings. For this new approval (FL12450 pending) to go above and beyond that Standard by almost 50% in some cases, is alarming and reason for concern. Especially, since there are no design changes that can be found. As a manufacturer, we not only hope there is a level playing field where nobody has an unfair advantage, but we also hope that these products are not used in a manner that puts anyone’s well being at risk. If we look at TABLE 1 on Sheet 3 – Here we find the use of H-header and U-header applications. The U-header is typically the weaker system, so all related tests should include these 2 components or a minimum of U-header as the default, which could qualify the H-header. Test substantiation should include the following: ASTM E1886-1996 (Impact & Cycle) – 3 tall (108”)samples @ 26 PSF, 3 short (48”) samples @ 104 PSF Do the Impact locations as part of E1886-1996, include the top corners since this is the weakest point and is part of the protocol? ASTM E330 (Static Wind Loads) – 1 @ 108” , 1@ 48” Are there other E330 tests to verify intermediate sizes as listed? Especially where the panel will typically become disengaged at top header due to loading at 50% above design pressure. This is even more problematic when using a U-header.
12450 | Comment by Scott Kuntz (Cont.) | [5 empty] | TABLE 3 on Sheet3 – This shows applications involving positive connections at top & bottom. Test substantiation should include the following: ASTM E1886-1996 (Impact & Cycle)–3 tall (144”) samples @ 26 PSF,3 short (48”) samples @ 104 PSF ASTM E330 (Static Wind Load) – 1 @ 144” – 26PSF, 1 @ 144” – 75 PSF, 1 @ 48” – 104 PSF Are there other E330 tests to verify intermediate sizes as listed? This shows extremely high pressures and will be problematic when Catanary Loading is addressed and or Anchors with a 4-1 Safety Factor. Has Catanary Loading been factored into testing, such as 3 tall (144”) samples @ 75 PSF? The list of tests shown above is a good Summary of what should be found in the Test Report – any lack thereof, should be grounds for deferral or denial of Product Approval.
12450 | Response by Steve Tinklepaugh | [5 empty] | I apologize for my delay in responding to your e-mail. I was out of town until late Friday. Being new to the product approval procedure I am not sure of what my response should be. I spoke with Mr Kuntz last week when he requested a copy of my test report for review. He shared he was receiving pressure from his customers and owners to respond to my new spans. Again being new to the procedure, I spoke to my engineer of record, along with the validating engineer, and a third engineer to see how they recommend I proceed. They jointly agreed for me not to turn my test lab report to one of my competitors.Unless my competitor was willing to release all of his information to Lookout Shutters. Seeing I have no interest in their test reports or contesting their claims I see no reason for their review. In as much as I appreciate Mr. Kuntz's past experience, we have complied to all test criteria required for submitting a product for approval. The testing we did over the last 5 months, the 30 something pages of test report, along with the analysis of two qualified engineers over adhering to test protocol is more than sufficient for approval. This is not a new product, but a revision of a product that has been proven to provide hurricane protection. (fl5389,fl5394)) As much as I share Mr. Kuntz's concern for public safety, I believe his concern is more competitive driven.
12450 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Provide test reports to Administrator to verify that product was tested in accordance with evaluation.
12469 | Centurion Security Screen Co, LTD | Shutters | Products Introduced as a Result of New Technology | a |  |  | Recommend Approval | New
12469 | Comment by Jaime Gascon | [5 empty] | Test reports indentified in evaluation report are by non-accredited labs. Indicate not for use in the HVHZ.
12469 | Response by Frank L. Bennardo | [5 empty] | We inadvertently mixed two test lab names together when creating the evaluation. The lab is ‘Certified Testing Laboratories’ (CTLA) and is accredited (08-0528.05).
12469 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Revise evaluation report to provide proper testing laboratory name.
12516 | Speyer Door and Window, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
12516 | Comment by Rick Wright | [5 empty] | The evals for .1 and .2 are showing Product sub-category as Sliding Exterior Door Assemblies and should read Swinging Exterior Door Assemblies. We would like a conditional to allow for correction.
12516 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Revise evaluation reports for to provide proper subcategory.
Evaluation by Test Report
12109 | Four Seasons Solar Products LLC | Structural Components | Structural Wall | a |  |  | Recommend Approval - Deferred from April meeting and complied with condition of: Provide completed application. | Deferred
12109 | Comment by Jaime Gascon | [5 empty] | For use in the HVHZ, do not reference 1609.1.2; instead, reference FBC 2413 on limits in the BCIS.
12109 | Response by Alex Spyrou | [5 empty] | We referenced 1609.1.2 as this was the section that called out where protection of openings is required. On Page 5 of 9, we clearly indicate that for use in HVHZ area, full height hurricane shutters are required. In an effort to be clearer on the subject, we will be happy to change the note under “Limits of Use” to the following: “This product may be used in HVHZ provided the requirements of Section 1609.1.2 and 2413 of the 2007 FBC are met.”
12109 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Revise application to indicate “This product may be used in HVHZ provided the requirements of Section 1609.1.2 and 2413 of the 2007 FBC are met.”
Evaluation by Evaluation Entity
10495-R1 | Automatic Stamping, LLC | Structural Components | Truss Plates | a | a | a | Recommend Approval | Revision
10495-R1 | Comment by Stuart L. Lewis, P.E. | [5 empty] | I have a comment on FL 10495 R1 which was included in the submittals referenced in the email below. This submittal includes information that is not in compliance with the Florida Building Code, namely steel design values that were determined without the minimum cross-section of the truss plate over the joint. This requirement is defined in Section 2303.4.2 and 2319.17.2.1.1 of the 2007 Florida Building Code. Those sections require metal-plate-connected wood trusses for the non-HVHZ and prefabricated wood trusses for the HVHZ to comply with the TPI 1-2002 standard. The TPI 1 standard, in section 5.4.4.2, requires that plates tested in tension "...shall be positioned with the minimum net section of the metal connector plate directly over the joint...." Table 2 of the ESR-2762 evaluation report specifically identifies these values as deviating from TPI 1-2002.
10495-R1 | Comment by Stuart L. Lewis, P.E. (Cont.) | [5 empty] | These values should therefore be excluded from FL10495 R1. While Chapter 1 of both the Florida Building Code and the TPI 1 standard include provisions to accept alternatives to the recognized standards, it does require those alternatives to comply with the intent of the provisions in the Code (or Standard). This is not met in this case as described in the next paragraph.
10495-R1 | Comment by Stuart L. Lewis, P.E. (Cont.) | [5 empty] | The deviation recognized in Table 2 of ESR-2762 results in a steel tension design value at 0 degrees and a steel shear design value at 90 degrees that exceed the magnitudes of those values determined in accordance with the standard, by approximately 20 percent or even more. The footnotes to these overstated values note that these values apply to the maximum net section, clarifying that this requires the joint line to pass through a section of the plate with no slots, and this is doubtless how the ICC ES justified the inclusion of this provision. However, it is typical for truss fabrication practices to result in some amount of misplacement of plates. The ESR-2762 report does not address this as its scope is specifically plate design values with other items (and fabrication and quality assurance is specifically mentioned as not being covered) and reference is simply given to TPI 1, the Code and engineering drawings.
10495-R1 | Comment by Stuart L. Lewis, P.E. (Cont.) | [5 empty] | TPI 1, in turn, specifically permits 1/2 inch tolerance in plate placement in section A3.2 without requiring any adjustment in steel design values, but only consideration of lateral resistance (tooth) capacity. This tolerance is implicit in FL10495. I had objected to similar values in the original FL10495 and the response from the proponent, rather than defending these values, was simply to state that they were already permitted in another Florida approval (2197) with installation instructions virtually identical to that proposed for FL10495. This is not adequate to defend these values. The comments below substantiate the removal of these non-standard design values from FL10495 R1. R1 as the installation instructions only reference Chapter 3 of TPI 1. The tolerances provided in TPI 1 were only considered reasonable because the steel design values were required to be based upon tests of the minimum steel net section, as required by TPI 1-2002 section 5.4.4.2 for steel tension tests (and section 5.3.4.6 for steel shear tests). The deviation permitted in Table 2 of ESR-2762 was not contemplated by TPI 1 and should not be permitted for use with standard fabrication provisions. Otherwise, this increase serves only to reduce the intended safety factor specified for truss plate steel capacity in the TPI 1 standard, and this is clearly not an acceptable alternative.
10495-R1 | Comment by Stuart L. Lewis, P.E. (Cont.) | [5 empty] | 1) There was no specific recognition that this prior approval deviated, without justification, from the Florida Building Code until it was too late to comment. This is simply due to an oversight by all those involved in the approvals (the evaluators and validator for FL10495 and FL10495 R1 as well as FL2197) due to the lack of a single party recognizing the impact of this deviation, namely the correlation between design requirements and fabrication standards. There was no guidance provided from TPI regarding the correlation between the requirement to have steel design values based on the minimum net section and the fabrication tolerances, as this was considered to be readily evident. When it was identified that these deviations were occurring, the Truss Plate Institute in their most recent standard dated 2007 (TPI 1-2007), included commentary regarding the 1/2 inch tolerance permitted as follows (see page 21 of the TPI 1-2007 commentary pertaining to section 3.7.2.2 which defines the same 1/2 inch tolerance that was permitted by section A3.2 of TPI 1-2002).
10495-R1 | Comment by Stuart L. Lewis, P.E. (Cont.) | [5 empty] | "The use of this value is dependent upon the use of design values that comply with the provisions of Chapter 5, including steel design values based on the minimum cross-section of the steel. Steel design values for some Metal Connector Plates have been established from non-standard tests that locate the solid steel cross-section of the connector plate at the joint. This non-standard positioning can increase the steel capacity by 20 percent, or more in some cases, and is only appropriate for plates that are so positioned in use. However, typical plates have the minimum steel cross-section located very close, usually within 1/4 in. or less of any solid steel location, thus the use of a 1/2 in. tolerance is not acceptable for such plates as it can result in the minimum steel cross-section at the joint with the corresponding loss in steel strength."
10495-R1 | Comment by Stuart L. Lewis, P.E. (Cont.) | [5 empty] | 2) Another relevant consideration is that these maximum net section values are appropriate only if the tooth strength matches that used in the original steel testing, even though these are steel design values. This is because the steel failure mode occurs in the minimum net steel section (even if positioned off the joint) and the apparent increase in strength is due to the removal of load from that minimum cross-section corresponding to the load carried by one row of teeth. If that row of teeth is closer to the edge of the lumber or in a lower density piece of wood than was tested to establish the steel design values, then the apparent steel strength is reduced as less load is transferred by the teeth. This is unique to tests of the maximum steel net section, and not the minimum steel net section, and has been demonstrated by steel tension tests that show reduced capacity when tested in lower density species (such as SPF) and with lesser end distances (like 1/8 or 1/16 inches) than the denser S. Pine lumber and 1/4 inch end distances which must have been used in the tests that resulted in the values in this submittal. Thus, even if the higher design values (the maximum net section values) are limited to the case of solid steel over the joint, they must be further limited to the same density of lumber that was tested and a minimum end distance equal to that used in the tests.
10495-R1 | Response by Kristie Wilhelmi | [5 empty] | The objections raised by Mr. Lewis were rebutted during the review process which resulted in the issuance of FL 10495. At that time we stated: “Mr. Lewis refers to the placement of the plate on the joint so that the slots are located over the joint (minimum cross-section) or with the solid metal portion of the plate between the rows of slots located over the joint (maximum cross-section). The tests of minimum versus maximum yield two separate values for design. MiTek ICC-ES Evaluation Reports (ESR) on which their Florida approval is based show these values quite clearly. See FL #2197.1, 2197.2, 2197.3, 2197.4. The value for maximum cross-section is in addition to the values for minimum cross-section required by TPI 1-2002.” The previous application for approval of Automatic Stamping’s products resulted in FL 10495. That being the case, we see no reason to re-open this issue. The methodology presented in Automatic Stamping’s current application and the design values derived thereby have ample precedent in Automatic Stamping’s FL 10495 and MiTek’s FL 2197 (based on ESR-1988). There is nothing in Mr. Lewis’ current comments that has not already been addressed satisfactorily during the review conducted prior to issuing FL 10495.
10495-R1 | Comment by Administrator | [5 empty] | This application is based on a current evluation report from an evaluation entity. The application is compliantwith the requirements of Rule 9B-72.