## Sheet1
ID | Manufacturer | Category | Subcategory | TBA | POC | FBC | Comments | Stat.
Certification Method - FBC Voted Approval
682-R2 | TAMKO Building Products, Inc. | Roofing | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
1262-R2 | Alenco | Windows | Fixed | a | a | a | Recommend Approval | Revision
1322-R4 | Siplast / Icopal | Roofing | Roofing Insulation | a | a | a | Recommend Approval | Revision
1512-R4 | EFCO Corporation | Windows | Projected | a | a | a | Recommend Approval | Revision
1520-R3 | EFCO Corporation | Windows | Fixed | a | a | a | Recommend Approval | Revision
1545-R2 | W.P. Hickman Systems, Inc. | Roofing | Built up Roofing | a | a | a | Recommend Approval | Revision
1548-R4 | EFCO Corporation | Windows | Casement | a | a | a | Recommend Approval | Revision
1551-R3 | EFCO Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1555-R3 | EFCO Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1648-R2 | Kolbe and Kolbe Millwork | Windows | Fixed | a | a | a | Recommend Approval | Revision
1665-R2 | Kolbe and Kolbe Millwork | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1814-R3 | WOODLAND INDUSTRIES, INC. | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
1934-R2 | PHILIPS PRODUCTS INC. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
1956-R2 | TAMKO Building Products, Inc. | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | Revision
2019-R3 | Santafe Tile Corp | Roofing | Roofing Tiles | a | a | a | Recommend Approval | Revision
3189-R1 | Superior Window Corp. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
3792-R2 | Lomanco, Inc | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
4087-R2 | TAMKO Building Products, Inc. | Roofing | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
4177-R2 | ODL/Western Reflections | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
4571-R2 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
4572-R1 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
4602-R2 | Exeter Architectural Products | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
4673-R1 | KML Windows, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
4891-R2 | Nucor Building Systems | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
5177-R2 | Simonton Windows | Windows | Fixed | a | a | a | Recommend Approval | Revision
5185-R2 | Simonton Windows | Windows | Awning | a | a | a | Recommend Approval | Revision
5262-R1 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
5265-R1 | Therma-Tru Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
5414-R3 | Simonton Windows | Windows | Single Hung | a | a | a | Recommend Approval | Revision
6212 | Panda Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
6542-R2 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | Revision
6627-R1 | Marvin Windows and Doors | Windows | Mullions | a | a | a | Recommend Approval | Revision
6642-R2 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
7080-R1 | Alenco | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
7081-R1 | Alenco | Windows | Fixed | a | a | a | Recommend Approval | Revision
7154-R1 | TAMKO Building Products, Inc. | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | Revision
7460-R1 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Awning | a | a | a | Recommend Approval | Revision
7461-R1 | Lincoln Wood Products, Inc. / Timeline Vinyl Products, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
7612-R1 | Simonton Windows | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
7673-R1 | Alenco | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
7969-R1 | Roller Star USA | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
8257-R1 | DORMA Architectural Hardware | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
8299-R3 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
8317-R1 | Roller Star USA | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
8500-R2 | Simonton Windows | Windows | Fixed | a | a | a | Recommend Approval | Revision
8754-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8865-R1 | Absolute Storm Protection | Windows | Dual Action | a | a | a | Recommend Approval | Revision
8866-R1 | Absolute Storm Protection | Windows | Fixed | a | a | a | Recommend Approval | Revision
8972-R1 | Energy Saving Products of Florida | Windows | Single Hung | a | a | a | Recommend Approval | Revision
8974-R1 | Energy Saving Products of Florida | Windows | Fixed | a | a | a | Recommend Approval | Revision
8976-R1 | Alenco | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8977-R1 | Energy Saving Products of Florida | Windows | Fixed | a | a | a | Recommend Approval | Revision
8979-R1 | Energy Saving Products of Florida | Windows | Casement | a | a | a | Recommend Approval | Revision
8998-R1 | Energy Saving Products of Florida | Windows | Double Hung | a | a | a | Recommend Approval | Revision
9022-R1 | Energy Saving Products of Florida | Windows | Fixed | a | a | a | Recommend Approval | Revision
9026-R1 | Energy Saving Products of Florida | Windows | Fixed | a | a | a | Recommend Approval | Revision
9479-R1 | DORMA Architectural Hardware | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
9883-R1 | PHILIPS PRODUCTS INC. | Windows | Fixed | a | a | a | Recommend Approval | Revision
9884-R1 | PHILIPS PRODUCTS INC. | Windows | Double Hung | a | a | a | Recommend Approval | Revision
9885-R2 | PHILIPS PRODUCTS INC. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10015-R1 | Pella Corporation | Windows | Casement | a | a | a | Recommend Approval | Revision
10022-R1 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | Revision
10026-R1 | Pella Corporation | Windows | Awning | a | a | a | Recommend Approval | Revision
10297-R2 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | Revision
10332-R1 | Alenco | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
10335-R2 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10338-R2 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | Revision
10346-R1 | Pella Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10354-R1 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | Revision
10419-R1 | BiltBest Windows and Patio Doors | Windows | Double Hung | a | a | a | Recommend Approval | Revision
10541-R1 | JORDAN WINDOWS and DOORS | Windows | Fixed | a | a | a | Recommend Approval | Revision
10543-R1 | JORDAN WINDOWS and DOORS | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10598-R1 | Marvin Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10674-R1 | Owens Corning | Roofing | Asphalt Shingles | a | a | a | Recommend Approval | Revision
10797-R1 | JORDAN WINDOWS and DOORS | Windows | Single Hung | a | a | a | Recommend Approval | Revision
10873 | M W Manufacturers Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
10875 | M W Manufacturers Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval - Deferredl with condition of: Testing laboratory, evaluating engineer and certification agency explain the testing conditions and rationale for not having anchors on sill. Applicant is providing anchors on sill. | New
10919 | Gorell Enterprises Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
10938-R1 | JELD-WEN | Windows | Awning | a | a | a | Recommend Approval | Revision
10939-R1 | JELD-WEN | Windows | Casement | a | a | a | Recommend Approval | Revision
10940-R1 | JELD-WEN | Windows | Double Hung | a | a | a | Recommend Approval | Revision
10944-R1 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10956-R1 | Marvin Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10966-R1 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | Revision
10967-R1 | JELD-WEN | Windows | Double Hung | a | a | a | Recommend Approval | Revision
10993 | Sol-A-Trol Aluminum Products | Windows | Fixed | a | a | a | Recommend Approval | New
11028 | Window Craftsmen Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
11244 | ProVia Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11251-R1 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
11366 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
11388 | Newtown-Slocomb Manufacturing, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | New
11390 | Newtown-Slocomb Manufacturing, Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
11391 | General Aluminum Company | Windows | Fixed | a | a | a | Recommend Approval | New
11392 | Newtown-Slocomb Manufacturing, Inc. | Windows | Casement | a | a | a | Recommend Approval | New
11393 | Newtown-Slocomb Manufacturing, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11409 | Regency Plus Incorporated | Windows | Fixed | a | a | a | Recommend Approval | New
11411 | Regency Plus Incorporated | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11412 | Regency Plus Incorporated | Windows | Single Hung | a | a | a | Recommend Approval | New
11415 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11417 | Oliveri Millworks | Windows | Casement | a | a | a | Recommend Approval | New
11436 | Custom Door and Millworks | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11443 | General Aluminum Company | Windows | Fixed | a | a | a | Recommend Approval | New
11444 | JELD-WEN | Windows | Casement | a | a | a | Recommend Approval | New
11460 | Knight Industries, LLC | Roofing | Roofing Insulation | a | a | a | Recommend Approval | New
11461 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11463 | JELD-WEN | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11464 | JELD-WEN | Windows | Awning | a | a | a | Recommend Approval | New
11465 | JELD-WEN | Windows | Casement | a | a | a | Recommend Approval | New
11466 | JELD-WEN | Windows | Double Hung | a | a | a | Recommend Approval | New
11467 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | New
11469 | Pella Corporation | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11477 | Regency Plus Incorporated | Windows | Fixed | a | a | a | Recommend Approval | New
11479 | Regency Plus Incorporated | Windows | Mullions | a | a | a | Recommend Approval | New
11484 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | New
11497 | Pella Corporation | Windows | Fixed | a | a | a | Recommend Approval | New
11498 | Pella Corporation | Windows | Awning | a | a | a | Recommend Approval | New
11502 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
11504 | Pella Corporation | Windows | Casement | a | a | a | Recommend Approval | New
11511 | Windsor Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
11512 | Windsor Windows and Doors | Windows | Casement | a | a | a | Recommend Approval | New
11517 | Windsor Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11520 | Soprema, Inc. | Roofing | Waterproofing | a | a | a | Recommend Approval | New
11523 | Kolbe and Kolbe Millwork | Windows | Casement | a | a | a | Recommend Approval | New
11527 | Yale Security Inc. | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
11529 | Bayer Material Science LLC | Roofing | Spray Applied Polyurethane Roof System | a | a | a | Recommend Approval | New
11537 | CURRIES | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
11544 | JELD-WEN | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11548 | MI Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
11550 | MI Windows and Doors | Windows | Double Hung | a | a | a | Recommend Approval | New
11552 | MI Windows and Doors | Windows | Fixed | a | a | a | Recommend Approval | New
11555 | Florida Extruders International, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
11556 | Florida Extruders International, Inc. | Windows | Casement | a | a | a | Recommend Approval | New
11558 | Florida Extruders International, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11567 | Alenco | Windows | Fixed | a | a | a | Recommend Approval | New
11576 | BiltBest Windows and Patio Doors | Windows | Double Hung | a | a | a | Recommend Approval | New
11577 | BiltBest Windows and Patio Doors | Windows | Fixed | a | a | a | Recommend Approval | New
11595 | JELD-WEN | Windows | Fixed | a | a | a | Recommend Approval | New
11603 | Impact Shutter Technology, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | New
11606 | Grand Glass Company | Windows | Fixed | a | a | a | Recommend Approval | New
11607 | Grand Glass Company | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11609 | Georgia-Pacific Wood Products LLC | Structural Components | Engineered Lumber | a | a | a | Recommend Approval | New
11612 | Craft-Bilt Manufacturing Company | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11624 | Atrium Companies Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11626 | Atrium Companies Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
11630 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
11632 | Pella Corporation | Windows | Double Hung | a | a | a | Recommend Approval | New
11639 | Kolbe and Kolbe Millwork | Windows | Single Hung | a | a | a | Recommend Approval | New
11643 | Roofmart International Inc | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | New
11645 | Traco Windows and Doors, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
11647 | Us Tile | Roofing | Roofing Tiles | a | a | a | Recommend Approval | New
11652 | Traco Windows and Doors, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11653 | Traco Windows and Doors, Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
Evaluation by Engineer/ Architect -FBC Voted Approval
163-R2 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
393-R3 | All American Shutters, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
1654-R4 | POLYGLASS USA | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | Revision
1767-R2 | Dunbarton Corporation | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
1768-R2 | Dunbarton Corporation | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
2623-R2 | Dunbarton Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
2664-R2 | CENTRIA | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
2686-R2 | Nucor Building Systems | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
2748-R1 | Superior Window Corp. | Windows | Projected | a | a | a | Recommend Approval | Revision
3030-R3 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
3072-R2 | Morton Buildings, Inc | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
3073-R2 | Morton Buildings, Inc | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
3155-R2 | CENTRIA | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
3181-R1 | Superior Window Corp. | Windows | Casement | a | a | a | Recommend Approval | Revision
3227-R6 | Wayne-Dalton Corp. | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
3400-R1 | E.F. Bavis and Associates, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
3877-R2 | Dunbarton Corporation | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
4091-R3 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
4092-R2 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
4452-R2 | Custom Window Systems, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
4538-R1 | E.F. Bavis and Associates, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
4541-R1 | Discount Direct Metal Roofing | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
4554-R2 | ODL/Western Reflections | Windows | Fixed | a | a | a | Recommend Approval | Revision
4608-R1 | Roller Star USA | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
4609-R1 | Roller Star USA | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
4746-R1 | QMI | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
4747-R1 | QMI | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
4760-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
4764-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
4811-R1 | Dunbarton Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
4911-R1 | GAF Materials Corporation | Roofing | Waterproofing | a | a | a | Recommend Approval | Revision
5020-R1 | Roller Star USA | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
5102-R1 | Ready Access Inc. | Windows | Pass Through | a | a | a | Recommend Approval | Revision
5206-R1 | Marlyn Metals, Inc. | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
5675-R1 | Clopay Building Products Company | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
5764-R1 | Rollsecure | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
5823-R3 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | Revision
5825-R1 | QMI | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
5830-R1 | QMI | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
5900-R2 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
5973-R1 | Metalcraft, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
6080-R1 | Nor-Lake, Incorporated | Structural Components | Exterior Coolers-Freezers | a | a | a | Recommend Approval | Revision
6142-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6184-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6229-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6234-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6267-R1 | GAF Materials Corporation | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | Revision
6332-R2 | Polyfoam Products, Inc | Roofing | Roof Tile Adhesives | a | a | a | Recommend Approval | Revision
6554-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6570-R1 | Marlyn Steel Decks, Inc. | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
6587-R1 | E.F. Bavis and Associates, Inc. | Windows | Fixed | a | a | a | Recommend Approval | Revision
6628-R1 | CENTRIA | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
6707 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6729 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
6890-R2 | Custom Window Systems, Inc. | Windows | Casement | a | a | a | Recommend Approval | Revision
7060-R3 | Custom Window Systems, Inc. | Windows | Awning | a | a | a | Recommend Approval | Revision
7067-R2 | Custom Window Systems, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | Revision
7152-R2 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
7207-R1 | Streamline Roofing And Construction, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
7241-R1 | Plastpro Inc. / Nanya Plastics Corp. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
7543-R1 | M W Manufacturers Inc. | Windows | Mullions | a | a | a | Recommend Approval | Revision
7579-R1 | TRIAD CORRUGATED METALS | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
7800-R1 | W & F Manufacturing, Inc. | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
7801-R1 | W & F Manufacturing, Inc. | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
7802-R1 | W & F Manufacturing, Inc. | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
7814-R1 | Scandinavian Profiling System, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
7840-R1 | Creaton AG | Roofing | Roofing Tiles | a | a | a | Recommend Approval | Revision
7858-R2 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
7960-R2 | Trinity Glass International | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8078-R1 | Dunbarton Corporation | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
8088-R1 | Dunbarton Corporation | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
8172-R3 | Dunbarton Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8211-R1 | All American Shutters, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
8332-R2 | CENTRIA | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
8386-R1 | Scandinavian Profiling System, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
8406-R1 | TRIAD CORRUGATED METALS | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
8416-R1 | Creaton AG | Roofing | Roofing Tiles | a | a | a | Recommend Approval | Revision
8688-R1 | Ecolite Concrete USA, Inc. | Structural Components | Structural Wall | a | a | a | Recommend Approval | Revision
8726 | Cat 5 Hurricane Products, LLC | Shutters | Storm Panels | a | a | a | Recommend Approval | New
8763-R1 | Rollsecure | Shutters | Roll-up | a | a | a | Recommend Approval | Revision
8765-R1 | Scandinavian Profiling System, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
8888-R1 | ASTA DOOR CORPORATION | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
8918-R1 | All American Shutters, Inc. | Shutters | Storm Panels | a | a | a | Recommend Approval | Revision
9000-R1 | Berridge Manufacturing Co. | Panel Walls | Soffits | a | a | a | Recommend Approval | Revision
9093-R1 | Schulte Building Systems | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
9225-R3 | Dunbarton Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
9254-R1 | TRIAD CORRUGATED METALS | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
9267-R1 | Brannen Millwork Company | Windows | Casement | a | a | a | Recommend Approval | Revision
9443-R1 | Union Corrugating | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
9517-R1 | DaVinci Roofscapes, LLC | Roofing | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | Revision
9781-R2 | Berridge Manufacturing Co. | Panel Walls | Siding | a | a | a | Recommend Approval | Revision
9900-R1 | ASI Building Products | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
10079-R1 | Dunbarton Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10080-R1 | Graham Architectural Products | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | Revision
10091-R1 | ODL/Western Reflections | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | Revision
10239-R1 | Eagle Window and Door, Inc | Windows | Double Hung | a | a | a | Recommend Approval | Revision
10264-R2 | Firestone Building Products Company, LLC. | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | Revision
10319-R1 | Coastal Metal Roofing, Inc | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
10353-R1 | Hexaport International, Ltd. | Structural Components | Structural Wall | a | a | a | Recommend Approval | Revision
10498 | Advantage Millwork Company | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
10601-R1 | Firestone Metal Products, LLC. | Roofing | Metal Roofing | a | a | a | Recommend Approval | Revision
10706 | Best Rolling Doors,Inc | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a | a | Recommend Approval - Deferred with condition of addressing bottom slat design detailed on drawings with the deflection indicated on test report. Testing laboratory indicated that bottom slat was not on uplift and therefore there was no opening created by the deflection. | Deferred
10753-R1 | Town and Country Industries, | Shutters | Accordion | a | a | a | Recommend Approval | Revision
10842 | Amarr Garage Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
10847 | Buffelen Woodworking Co. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11004-R1 | EXTREME IMPACT SHUTTER SUPPLY INC | Shutters | Colonial | a | a | a | Recommend Approval | Revision
11015 | EXTREME IMPACT SHUTTER SUPPLY INC | Shutters | Bahama | a | a | a | Recommend Approval - Deferred and complied with condition of: Provide additional impact test with an impact of the storm bar at mid-point. | New
11031 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
11088 | Shwinco Industries Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11099 | Marlyn Metals, Inc. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
11104 | Mai Doors by Distinctive Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11106 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11118 | Pella Entry Systems- Wylie Operations | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11160 | Force V Environmental, LLC | Windows | Casement | a | a | a | Recommend Approval | New
11203 | Force V Environmental, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11204 | Force V Environmental, LLC | Windows | Fixed | a | a | a | Recommend Approval | New
11205 | Force V Environmental, LLC | Windows | Mullions | a | a | a | Recommend Approval | New
11212 | VIntage Ironworks L.L.C. formerly Elegant Systems | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11229 | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11234 | Architectural Metal Fabrication/Gutter Drain | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
11267 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
11273 | EXTREME IMPACT SHUTTER SUPPLY INC | Shutters | Colonial | a | a | a | Recommend Approval | New
11288-R1 | CertainTeed Corporation-Roofing | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
11305 | Overhead Door Corporation | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a | a | Recommend Approval | New
11321 | Builders Hardware Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11322 | St. Cloud Window, Inc. | Windows | Double Hung | a | a | a | Recommend Approval | New
11323 | St. Cloud Window, Inc. | Windows | Fixed | a | a | a | Recommend Approval | New
11324 | St. Cloud Window, Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11333 | Atrium Companies Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
11334 | Atrium Companies Inc. | Windows | Horizontal Slider | a | a | a | Recommend Approval | New
11349-R1 | American Shutter Systems Association, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | Revision
11352-R1 | American Shutter Systems Association, Inc. | Shutters | Accordion | a | a | a | Recommend Approval | Revision
11361 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
11362 | C.H.I. Overhead Doors | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
11367 | AWP, LLC | Windows | Single Hung | a | a | a | Recommend Approval | New
11372 | Pella Corporation | Windows | Mullions | a | a | a | Recommend Approval | New
11379 | CAT5 Hurricane Screens, LLC. | Shutters | Fabric Storm Panel | a | a | a | Recommend Approval | New
11399 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11400 | Custom Window Systems, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a | a | a | Recommend Approval | New
11401 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
11402 | Custom Window Systems, Inc. | Windows | Single Hung | a | a | a | Recommend Approval | New
11405 | CAOBA Doors | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11410 | Regency Plus Incorporated | Windows | Casement | a | a | a | Recommend Approval | New
11414 | McPhillips Manufacturing Company | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11422 | Berridge Manufacturing Co. | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
11435 | Whirlwind Building Systems | Structural Components | Roof Deck | a | a | a | Recommend Approval | New
11462 | Berridge Manufacturing Co. | Panel Walls | Siding | a | a | a | Recommend Approval | New
11471 | Whirlwind Building Systems | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
11472 | Whirlwind Building Systems | Structural Components | Structural Wall | a | a | a | Recommend Approval | New
11474 | Brannen Millwork Company | Windows | Double Hung | a | a | a | Recommend Approval | New
11475 | Johns Manville | Roofing | Single Ply Roof Systems | a | a | a | Recommend Approval | New
11480 | Solatube International, Inc | Sky Lights | Skylight | a | a | a | Recommend Approval | New
11488 | Kawneer Company, Inc. | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
11490 | Kawneer Company, Inc. | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
11491 | Kawneer Company, Inc. | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
11492 | Kawneer Company, Inc. | Panel Walls | Curtain Walls | a | a | a | Recommend Approval | New
11493 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11495 | Surewood Door | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11500 | Best Shutter Company | Shutters | Roll-up | a | a | a | Recommend Approval | New
11514 | Taylor Building Products | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
11515 | RSL, Inc. | Exterior Doors | Exterior Door Components | a | a | a | Recommend Approval | New
11516 | SABIC Innovative Plastics US, LLC DBA SABIC Polymershapes | Shutters | Storm Panels | a | a | a | Recommend Approval | New
11521 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
11522 | Overhead Door Corporation | Exterior Doors | Sectional Exterior Door Assemblies | a | a | a | Recommend Approval | New
11524 | SABIC Innovative Plastics US, LLC DBA SABIC Polymershapes | Sky Lights | Skylight | a | a | a | Recommend Approval | New
11526 | Roller Star USA | Shutters | Accordion | a | a | a | Recommend Approval | New
11528 | Suncoast Designers, Inc. | Windows | Mullions | a | a | a | Recommend Approval | New
11540 | Advanced Green Technologies | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | New
11541 | Advanced Green Technologies | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | New
11543 | Mesker Door, Inc. | Exterior Doors | Swinging Exterior Door Assemblies | a | a | a | Recommend Approval | New
11560 | Metal Sales Manufacturing Corporation | Roofing | Metal Roofing | a | a | a | Recommend Approval | New
11566 | Town and Country Industries, | Shutters | Colonial | a | a | a | Recommend Approval | New
11568 | Kawneer Company, Inc. | Windows | Projected | a | a | a | Recommend Approval | New
11569 | Town and Country Industries, | Shutters | Bahama | a | a | a | Recommend Approval | New
11582 | Regency Plus Incorporated | Windows | Mullions | a | a | a | Recommend Approval | New
11589 | USDoor And Building Components | Exterior Doors | Roll-Up Exterior Door Assemblies | a | a | a | Recommend Approval | New
11602 | InterWrap, Inc. | Roofing | Underlayments | a | a | a | Recommend Approval | New
11608 | CROCI NORTH AMERICA | Shutters | Roll-up | a | a | a | Recommend Approval | New
11610 | Atrium Companies Inc. | Shutters | Fabric Storm Panel | a | a | a | Recommend Approval | New
11613 | MI Windows and Doors | Windows | Mullions | a | a | a | Recommend Approval | New
11625 | Millennium Fasteners, Inc. | Structural Components | Anchors | a | a | a | Recommend Approval | New
11627 | Elite Aluminum Corporation | Panel Walls | Storefronts | a | a | a | Recommend Approval | New
11663 | Cladding Systems, Inc. | Panel Walls | Siding | a | a | a | Recommend Approval | New
Evaluation by Test Report - FBC Voted Approval
5259-R4 | POLYGLASS USA | Roofing | Underlayments | a | a | a | Recommend Approval | Revision
9577 | Benjamin Obdyke Incorporated | Roofing | Roofing Accessories that are an Integral Part of the Roofing System | a | a | a | Recommend Approval | New
10400-R1 | TAMKO Building Products, Inc. | Roofing | Modified Bitumen Roof System | a | a | a | Recommend Approval | Revision
10931 | Carlisle SynTec Incorporated | Sky Lights | Skylight | a | a | a | Recommend Approval | New
11384 | YKK AP America Residential | Windows | Fixed | a | a | a | Recommend Approval | New
11538 | YKK AP America Residential | Windows | Awning | a | a | a | Recommend Approval | New
11539 | YKK AP America Residential | Windows | Fixed | a | a | a | Recommend Approval | New
11617 | Secure Enterprises, LLC | Exterior Doors | Exterior Door Component Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
Evaluation by Evaluation Entity - FBC Voted Approval
859-R2 | United Steel Products Company | Structural Components | Wood Connectors | a | a | a | Recommend Approval | Revision
1392-R2 | Boise Engineered Wood Products | Structural Components | Engineered Lumber | a | a | a | Recommend Approval | Revision
2037-R1 | Celcore Incorporated | Roofing | Roofing Insulation | a | a | a | Recommend Approval | Revision
2440-R3 | Roseburg Forest Products | Structural Components | Engineered Lumber | a | a | a | Recommend Approval | Revision
3423-R2 | Dryvit Systems, Inc | Panel Walls | Exterior Insulation Finish System | a | a | a | Recommend Approval | Revision
5930-R2 | Huber Engineered Woods LLC | Structural Components | Roof Deck | a | a | a | Recommend Approval | Revision
10890 | BASF Construction Chemicals, LLC | Panel Walls | Products Introduced as a Result of New Technology | a | a | a | Recommend Approval | New
Entities Application -FBC Voted Approval
CER 3718 | CSA International | Product Certification Agency |  | a | a | a | Recommend Approval | Revision
TST 1685 | Construction Consulting Laboratory International | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST 1691 | Hurricane Engineering and Testing, Inc. | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST 1910 | Architectural Testing, Inc. - Texas | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST 2561 | Southwest Research Institute Fire Technology Department | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
TST 3782 | American Test Lab of South Florida Inc. | Product Testing Laboratory |  | a | a | a | Recommend Approval | Revision
QUA 1743 | Underwriters Laboratories Inc. | Product Quality Assurance |  | a | a | a | Recommend Approval | Revision
QUA 2563 | Southwest Research Institute Department of Fire Technology | Product Quality Assurance |  | a | a | a | Recommend Approval | Revision
QUA 7733 | Farabaugh Engineering and Testing, Inc. | Product Quality Assurance |  | a | a | a | Recommend Approval | New
Discussion Items
11570 | Windsor Windows and Doors | Windows | Fixed | c | c | c | Recommend Conditional Approval with condition of: Installation drawings shall indicate pressure as certified. | New
11571 | Windsor Windows and Doors | Exterior Doors | Sliding Exterior Door Assemblies | c | c | c | Recommend Conditional Approval with condition of: Installation drawings shall indicate pressure as certified. | New
11573 | Windsor Windows and Doors | Exterior Doors | Swinging Exterior Door Assemblies | c | c | c | Recommend Conditional Approval with condition of: Installation drawings shall indicate pressure as certified. | New
11619 | Windsor Windows and Doors | Windows | Casement | c | c | c | Recommend Conditional Approval with condition of: Installation drawings shall indicate pressure as certified. | New
Public Comments Certification Method
599-R4 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors | a | c | c | Recommend Conditional Approval with condition of: Include NDS 2005 on application under Testing Standards. | Revision
599-R4 | Comment by Randy Shackelford | [5 empty] | I am writing to comment on Florida applications number 599-R4 and 2047-R3 that are before the commission in December. The code referenced standard list for these applications is incomplete. The list should also include the American Forest and Paper Association (AF&PA) National Design Specification (NDS) 2005. Section 1715 governs the allowable load derivation for joist hangers and similar devices. It requires that, in addition to tests, the allowable load of the fasteners in wood and the direct capacity of the wood members themselves be calculated (1715.1.2). This can only be done using the NDS. In addition, while the HVHZ does not specifically require this standard in the code body text, it is required in Miami-Dade County Checklist #0490 for approval of wood connectors. In fact, all three of the Notices of Acceptance that are used for these approvals specifically state in the general notes that the allowable loads are based on the NDS, and in fact there was enough concern that a letter was uploaded to indicate that the loads complied with the 2005 Standard in the Florida Building Code. I normally would not find this that big an objection, but I have discovered that another manufacturer has been able to re-affirm old approvals, despite the standard in the code changing, because they did not list this standard in the application. So I will be raising this point on all submittals in the future that do not include this standard.
599-R4 | Response by Vipin Tolat | [5 empty] | I would like to inform POC that Simpson is a competitor of NuVue Industries and the suggestion by Simpson to enter NDS 2005 as a reference standard in the subject applications is well meant. However POC should be made aware that NDS 2005 is mentioned in the Miami-Dade County NOAs upon which are based applications FL 599-R4 and 2047-R3 and NOAs are uploaded into the applications and so NDS 2005 is part of the applications. Also these applications were previously approved 3 times without NDS referenced in the applications. We, therefore, request POC that these applications be approved this time as they are and if that is not possible, then approve them conditionally and then NDS 2005 can be inserted in the applications.
599-R4 | Comment by Administrator | [5 empty] | The application contains a letter from evaluation engineer indicating compliance with NDS 2005. This document was accepted by certification agency (Miami-Dade BCCO) that validated the application.
2047-R3 | Nu-Vue Industries Inc. | Structural Components | Wood Connectors | a | c | c | Recommend Conditional Approval with condition of: Include NDS 2005 on application under Testing Standards. | Revision
2047-R3 | Comment by Randy Shackelford | [5 empty] | I am writing to comment on Florida applications number 599-R4 and 2047-R3 that are before the commission in December. The code referenced standard list for these applications is incomplete. The list should also include the American Forest and Paper Association (AF&PA) National Design Specification (NDS) 2005. Section 1715 governs the allowable load derivation for joist hangers and similar devices. It requires that, in addition to tests, the allowable load of the fasteners in wood and the direct capacity of the wood members themselves be calculated (1715.1.2). This can only be done using the NDS. In addition, while the HVHZ does not specifically require this standard in the code body text, it is required in Miami-Dade County Checklist #0490 for approval of wood connectors. In fact, all three of the Notices of Acceptance that are used for these approvals specifically state in the general notes that the allowable loads are based on the NDS, and in fact there was enough concern that a letter was uploaded to indicate that the loads complied with the 2005 Standard in the Florida Building Code. I normally would not find this that big an objection, but I have discovered that another manufacturer has been able to re-affirm old approvals, despite the standard in the code changing, because they did not list this standard in the application. So I will be raising this point on all submittals in the future that do not include this standard.
2047-R3 | Response by Vipin Tolat | [5 empty] | I would like to inform POC that Simpson is a competitor of NuVue Industries and the suggestion by Simpson to enter NDS 2005 as a reference standard in the subject applications is well meant. However POC should be made aware that NDS 2005 is mentioned in the Miami-Dade County NOAs upon which are based applications FL 599-R4 and 2047-R3 and NOAs are uploaded into the applications and so NDS 2005 is part of the applications. Also these applications were previously approved 3 times without NDS referenced in the applications. We, therefore, request POC that these applications be approved this time as they are and if that is not possible, then approve them conditionally and then NDS 2005 can be inserted in the applications.
2047-R3 | Comment by Administrator | [5 empty] | The application contains a letter from evaluation engineer indicating compliance with NDS 2005. This document was accepted by certification agency (Miami-Dade BCCO) that validated the application.
11089 | Flesher Windows, Inc. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
11089 | Comment by Jaime Gascon | [5 empty] | Certification is for OXXX only, and drawings show approval for more than 4 panels. Also, needs to consider concentrated load at ends of interlocks when calculating anchors. This product has a PVB by Solutia qualified for large missile in a dry glazed condition. This is unheard of in the industry. Detail glazing as tested for use in the HVHZ.
11089 | Recommendation by Administrator |  |  | d | d | d | Recommend Deferral with conditions of : Installation instructions shall include only configurations certified; Provide test reports to verify glazing as tested.
11483 | Therma-Tru Corporation | Exterior Doors | Swinging Exterior Door Assemblies | a |  |  | Recommend Approval | New
11483 | Comment by Jaime Gascon | [5 empty] | Needs glazing detail and specification for glass on all products with sidelites as tested. | New
11483 | Response by Rick Wright | [5 empty] | This application is posted under certification mark. My understanding of a certification mark is the Certifying agency (NAMI for this approval) is responsible for assuring that all aspects of the product meets the FBC 2007 edition (verification of this is certificate issued). The only details required to be posted are the installation instructions not intricate product details as are required with an Engineer’s evaluation. I am confident that NAMI could provide the backup for justification of issuance of the certificates for compliance with the FBC 2007 HVHZ. Maybe this is something that should be discussed at the POC level to determine for this and future applications what level of detail should be provided and how the detail should be presented in order to answer any questions that a member of the public might have regarding any application. The level of information Jaime has asked for is a reasonable request and should also be asked of all applications whether the use is HVHZ or non-HVHZ. We support a conditional approval to allow time for the data to be sent to you for your review and or to make changes to any drawing as might be required.
11483 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Provide sidelites glass configuration as tested.
Public Comments Evaluation Report by Florida PE/RA
9757-R1 | JHRG LLC | Shutters | Storm Panels | a |  |  | Recommend Approval | Revision
9757-R1 | Comment by Jaime Gascon | [5 empty] | Span notes #4 on drawings does not meet HVHZ requirements. Separation to glass is needed for use in HVHZ. | Revision
9757-R1 | Comment by Administrator | [5 empty] | The zipper is running perpendicular to the load in such a way that the zipper becomes a direct load bearing element. Provide test report indicating this positioning of zipper.
9757-R1 | Recommendation by Administrator |  |  | d | d | d | Recommend Deferral with conditions of: Remove note #4 on drawings related to glass separation. Provide test report for zipper running perpendicular to load.
10082-R1 | Graham Architectural Products | Windows | Casement | a |  |  | Recommend Approval | Revision
10082-R1 | Comment by Jaime Gascon | [5 empty] | PVB interlayer type is not specified as tested for product 10082.1. Identify silicone and gaskets on glazing detail as tested. | Revision
10082-R1 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with conditions of: Specity PVB interlayer type as tested for product 10082.1. Identify silicone and gaskets on glazing detail as tested.
10084-R1 | Graham Architectural Products | Windows | Fixed | a |  |  | Recommend Approval | Revision
10084-R1 | Comment by Jaime Gascon | [5 empty] | PVB interlayer type is not specified as tested for all products listed. Identify silicone and gaskets on glazing detail as tested. | Revision
10084-R1 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with conditions of: Specity PVB interlayer type as tested for all products. Identify silicone and gaskets on glazing detail as tested.
10124-R1 | GAF Materials Corporation | Roofing | Asphalt Shingles | a |  |  | Recommend Approval | Revision
10124-R2 | Comment by Robert Nienimen | [5 empty] | We have been alerted to a typographical error in Section 5.3.3 of our Evaluation Report, whereby it should read “For buildings falling outside the constraints in 5.3.1 or 5.3.2, calculations…” In addition, my client has requested reference to use of Approved underlayments per FBC 1507.2.3 and/or 1507.2.4 beneath their asphalt shingles in the installation instructions section of the document. I would like to make these corrections to this file, and ask that the file be offered a Conditional Approval at the December meetings under the condition that I make these corrections to our evaluation report.
10124-R3 | Recommendation by Administrator |  |  | c | c | c | Comment was submitted by evaluator to correct evaluation report: Recommend Conditional Approval with conditions of: Correct Section 5.3.3 of evaluation report to read "For buildings falling outside the constraints in 5.3.1 or 5.3.2, calculations…" and modify installation instructions to allow use of approved underlayments per FBC 1507.2.3 and/or 1507.2.4 beneath their asphalt shingles.
11408 | TEEEM USA, LLC. | Exterior Doors | Sliding Exterior Door Assemblies | a |  |  | Recommend Approval | New
11408 | Comment by Jaime Gascon | [5 empty] | Small missile, large missile, and non-impact glass shown on drawings, where product is identified as large missile in the product's description. Testing for each is different for use in the HVHZ. | New
11408 | Response by Wayne Morgan | [5 empty] | PTC will submit 3 different drawing sets under the FL number 11408, 1 depicting LMI, 2nd depicting Small Missile and the 3rd depicting Non Impact in single sets of drawings.
11408 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with conditions of: Revise appllication and drawings for the three glazing conditions. Revise evaluation to substantiate the testing for the three conditions.
11565 | JHRG LLC | Shutters | Storm Panels | a |  |  | Recommend Approval | New
11565 | Comment by Jaime Gascon | [5 empty] | Span notes #4 on drawings does not meet HVHZ requirements. Separation to glass is needed for use in HVHZ. | New
11565 | Comment by Michael Murray | [5 empty] | There is an issue with the zipper feature of this panel. The zipper feature is a new development and its use as an element in a fabric hurricane shutter does not have a long history to reference for rational analysis. JHRG's first product approval had the lab test in it which showed the zipper only being tested in-line with the anchors such that the zipper is not under direct load. However, the panel is advertised and sold with the zipper running perpendicular to the load in such a way that the zipper becomes a direct load bearing element. See link below: http://www.stormarest.com/zippers.html Can it be confirmed that a zipper running perpendicular to the load orientation has been tested? If not, the limits of use of the zipper feature should me more clearly defined in the product approval.
11565 | Recommendation by Administrator |  |  | d | d | d | Recommend Deferral with conditions of: Remove note #4 on drawings related to glass separation. Provide test report for zipper running perpendicular to load.
11620 | Silverline Building Products Corp. | Windows | Horizontal Slider | a |  |  | Recommend Approval | New
11620 | Comment by Jaime Gascon | [5 empty] | Detail G1 on drawings sheet 6 of 6 for product 11620.6 needs to indicate the type of PVB as tested. | New
11620 | Response by Rick Wright | [5 empty] | I agree with Jaime’s comment. Also we will revise eval to show interlayer compliance with HVHZ requirements.
11620 | Recommendation by Administrator |  |  | c | c | c | Recommend Conditional Approval with condition of: Indicate for product 11620.6 the type of PVB as tested.
11453 | Prestige Iron Doors, LLC | Exterior Doors | Swinging Exterior Door Assemblies | a | a | d | Recommend Deferral - Requested by applicant. Indicate hardware as tested. | New
11454 | Prestige Iron Doors, LLC | Windows | Casement | a | a | d | Recommend Deferral - Requested by applicant. Indicate hardware as tested. | New
Public Comments Test Report Method
11148 | R. M. Lucas Co. | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | New
11148 | Comment by Jaime Gascon | [5 empty] | Description is not fully qualified. Needs to indicate 'for use with Galvanized Metal and USG Securoc only' when used in the HVHZ.
11148 | Response by Tom Buffington | [5 empty] | In response to J. Gascon’s public comment regarding the FL11148 product, we offer the following. The RM Lucas product was tested by PRI, Construction Materials Technologies, LLC (PRI) prior to the NOA approval date for all Galvanized Metal and USG Securoc. Miami-Dade reviewed the testing done by PRI and approved the product and released an NOA on 2/28/08. RM Lucas wanted to expand the products uses, therefore had PRI test the product on various substrates using the same exact testing methods and criteria that were accepted by Miami-Dade. SBS granule primed with A404, Concrete, and TPO substrates passed the same testing methods and criteria used for the galvanized metal and the USG Securoc substrates as approved by Miami-Dade.
11148 | Comment by Administrator | [5 empty] | Ths product was tested for the substrates as described on application.
11274 | Adurel International | Roofing | Cements-Adhesives-Coatings | a | a | a | Recommend Approval | New
11274 | Comment by Jaime Gascon | [5 empty] | Description is not fully qualified. Needs to indicate 'for use with Galvanized Metal and USG Securoc only' when used in the HVHZ.
11274 | Response by Tom Buffington | [5 empty] | In response to J. Gascon’s public comment regarding the FL11274 product, we offer the following. The Adurel product was tested by PRI, Construction Materials Technologies, LLC (PRI) prior to the NOA approval date for all Galvanized Metal and USG Securoc. Miami-Dade reviewed the testing done by PRI and approved the product and released an NOA on 2/28/08. Adurel wanted to expand the products uses, therefore had PRI test the product on various substrates using the same exact testing methods and criteria that were accepted by Miami-Dade. SBS granule primed with A404, Concrete, and TPO substrates passed the same testing methods and criteria used for the galvanized metal and the USG Securoc substrates as approved by Miami-Dade.
11274 | Comment by Administrator | [5 empty] | Ths product was tested for the substrates as described on application.
Public Comments Evaluation by Evaluation Entity Method
819-R1 | United Steel Products Company | Structural Components | Wood Connectors | a |  |  | Recommend Approval | Revision
819-R1 | Comment by Randy Shackelford | [5 empty] | 1. The following products are shown on the application with a valid FL number. However, upon closer inspection, the product is not approved for use in the HVHZ, and not approved for use outside the HVHZ. Under limitations, it states “Product Deleted”. 819.10 KCBQ44, 819.11 KCBQ46, 819.12 KCBQ66 I think this is far beyond the scope of the Product Approval System. These products should be deleted from the approval entirely. If a product is not approved, then it should not be given an FL approval number. These products have been deleted from the previous ICC Evaluation Report, but they remain in the FL approval with FL approval numbers. Acting as a building official might, when I go to the website Product Approval Search Page, and type in KCBQ44 (one of the deleted products), and United Steel Products as the manufacturer, then application FL819-R1 comes up. So one would assume that that particular product was approved since that application comes up as a result of the search. However that is not the case.
| Comment by Randy Shackelford (Cont.) | [5 empty] | Further, any jurisdiction simply printing out an excel spreadsheet of approved products from this manufacturer will see that product there with an approval number, and assume that it is approved. 2. Product HTHJ24-18 (FL819.9) has a rated uplift capacity less than 700 pounds. This is not acceptable for the HVHZ, and should be stated in the conditions of use, unless additional conditions are added.
819-R1 | Recommendation by Administrator |  |  | c | c | c | The BCIS requires that numbers of products be kept in order to keep subsequent products numbers as on previous applications. If products were removed applicants would loose the numbering of products. Recommend Conditional Approval - For product 819.9 indicate on conditions of use "Not for use in HVHZ" or provide sufficient resistance for compliance with HVHZ.
822-R1 | United Steel Products Company | Structural Components | Wood Connectors | a |  |  | Recommend Approval | Revision
822-R1 | Comment by Randy Shackelford | [5 empty] | 1. The following products are shown on the application with a valid FL number. However, upon closer inspection, the product is not approved for use in the HVHZ, and not approved for use outside the HVHZ. Under limitations, it states “Product Deleted”. 55 CBE44 147 KCB810 494 PHX2324 56 CBE46 148 KCB812 496 PHX2326 57 CBE66 149 KCB88 498 PHX2328 58 FA1 150 KCB9 500 PHX2330 59 FA2 263 LTS19 502 PHX2510 60 FA3 264 LTS20 504 PHX2512 61 FA4 265 LTS20B 506 PHX2514 128 KCB1010 294 MTS27B 508 PHX2516 129 KCB1012 317 PH35118 510 PHX2518 130 KCB1212 323 PHI16112 512 PHX2520 131 KCB44 324 PHI1612 514 PHX2522 132 KCB45 325 PHI1614 516 PHX2524
822-R1 | Comment by Randy Shackelford (Cont.) | [5 empty] | 133 KCB46 326 PHI16925 518 PHX2526 134 KCB47 395 PHM1795-2 520 PHX2528 135 KCB48 439 PHM2614-2 522 PHX2530 136 KCB5 440 PHM2616-2 531 PHX3510-2 137 KCB55 448 PHM3510-2 533 PHX35112-2 138 KCB57 450 PHM35112-2 534 PHX35115-2 139 KCB610 452 PHM35115-2 536 PHX35118-2 140 KCB612 454 PHM35118-2 538 PHX3512-2 141 KCB66 455 PHM3512-2 540 PHX3514-2 142 KCB68 457 PHM3514-2 542 PHX3516-2 143 KCB7 459 PHM3516-2 544 PHX3518-2 144 KCB74 469 PHM35925-2 553 PHX35925-2 145 KCB76 471 PHM3595-2 555 PHX3595-2 146 KCB77 323 PHI16112 589 ST1 592 ST2
822-R1 | Comment by Randy Shackelford (Cont.) | [5 empty] | should be deleted from the approval entirely. If a product is not approved, then it should not be given an FL approval number. These products have been deleted from the previous ICC Evaluation Report, but they remain in the FL approval with FL approval numbers. Acting as a building official might, when I go to the website Product Approval Search Page, and type in KCBQ44 (one of the deleted products), and United Steel Products as the manufacturer, then application FL819-R1 comes up. So one would assume that that particular product was approved since that application comes up as a result of the search. However that is not the case. Further, any jurisdiction simply printing out an excel spreadsheet of approved products from this manufacturer will see that product there with an approval number, and assume that it is approved.
822-R1 | Comment by Randy Shackelford (Cont.) | [5 empty] | 2. 822.291 MSH422-2IF This product is not contained in the evaluation report ICC ESR- 2755 3. The following connectors provide less than 700 pounds of uplift. They should be listed as “Not approved in HVHZ”, or appropriate limitations of use added. 822.10, BPH1716 822.292, MSH422
822-R1 | Comment by Randy Shackelford (Cont.) | [5 empty] | 4. For the following connectors, the evaluation report specifies “No uplift permitted”. They should be listed as “Not approved in HVHZ”, or appropriate limitations of use added. 822.303 (PH15112) through 822.575 (PHX7132) – 822.62 (GT2T4B), 822.63 (GT3T4BH), 822.64 (GT3T6B), 822.65 (GT4T6BH), 822.66 (GT4T8B), and 822.67 (GT5T8BH) 5. The code referenced design standard is incorrectly identified. It is listed as “Amer. Forest and Paper Assoc.” It should be listed as the American Forest and Paper Assoc. NDS (or AF&PA NDS).
822-R1 | Recommendation by Administrator |  |  | c | c | c | The BCIS requires that numbers of products be kept in order to keep subsequent products numbers as on previous applications. If products were removed applicants would loose the numbering of products. For those products indicated as "No uplift permitted", if used accordingly there is no objection for its use. Recommend Conditional Approval -Indicate as deleted Product 822.291. For products 822.10 and 822.292 indicate on conditions of use "Not for use in HVHZ" or provide sufficient resistance for compliance with HVHZ. Remove Product 822.291. Correct on application proper standard for NDS.
Products Added at December 8, 2008 POC Meeting
Certification Method TBA Reviewers Recommendation
11561 | Solatube International, Inc | Sky Lights | Skylight | a | a | a | Recommend Approval | New
Test Report Method - TBA Reviewers Recommendation
11095 | YKK AP America Residential | Windows | Casement | c | c | c | Recommend Conditional Approval with conditions of: Provide revised test report that describes mullion as tested. On installation instruction describe mullion as tested. | New