402.2 Ventilation area required. The minimum openable area to the outdoors shall be 4 percent of the floor area being ventilated.