403.2 Separate facilities. Where plumbing fixtures are required, separate facilities shall be provided for each sex.

Exceptions:

1.	Separate facilities shall not be required for dwelling units and sleeping units.

2. 	Separate facilities shall not be required for food service establishments which seat 10 persons or less.

3.	Separate facilities shall not be required in business and mercantile occupancies with a total floor area of 3,000 square feet (279 m2) or less.