Florida Supplement to the 2012 IFGC

FINAL VERSION

Note 1:  Throughout the document, change International Building Code to Florida Building Code, Building; change the ICC Electrical Code to Chapter 27 of the Florida Building Code, Building; change the International Energy Conservation Code to the Florida Building Code, Energy Conservation; change the International Existing Building Code to Florida Building Code, Existing Building; change the International Fire code to Florida Fire Prevention Code; change International Fuel Gas Code to Florida Building Code, Fuel Gas; change the International Mechanical Code to Florida Building Code, Mechanical; change the International Plumbing Code to Florida Building Code, Plumbing; change the International Residential Code to Florida Building Code, Residential.

Note 2:  Criteria blocked in yellow indicate Florida specific language from the 2010 FBC.

Chapter 1, Scope and Administration

Section 101.1 Title.  Change to read as shown:

[A] 101.1 Title. These regulations shall be known as the Fuel Gas Code of [NAME OF JURISDICTION], hereinafter referred to as “this code.” Scope.  The provisions of Chapter 1, Florida Building Code, Building shall govern the administration and enforcement of the Florida Building Code, Fuel Gas.

Section 101.2 Scope.  Change to read as shown:

101.2 Scope.  Reserved.

Section 101.3 Appendices.  Change to read as shown:

101.3 Appendices.  Reserved.

Section 101.4 Intent.  Change to read as shown:

101.4 Intent.  Reserved.

101.5 Severability.  Change to read as shown.

101.5 Severability.  Reserved.

Section 102 Applicability.  Change to read as shown.

Section 102 Applicability.  Reserved.

Section 103 Department of Inspection.  Change to read as shown:

Section 103 Department of Inspection.  Reserved.

Section 104 Duties and Powers of the Code Official.  Change to read as shown:

Section 104 Duties and Powers of the Code Official.  Reserved.

Section 105 Approval.  Change to read as shown:

Section 105 Approval.  Reserved.

Section 106 Permits.  Change to read as shown:

Section 106 Permits.  Reserved.

Section 107 Inspections and Testing.  Change to read as show:.

Section 107 Inspections and Testing.  Reserved.

Section 108 Violations.  Change to read as shown:

Section 108 Violations.  Reserved.

Section 109 Means of Appeal.  Change to read as shown:

Section 109 Means of Appeal.  Reserved.

Section 110 Temporary Equipment, Systems and Uses. Change to read as shown:

Section 110 Temporary Equipment, Systems and Uses.  Reserved.

(CA 4949 / AS)

Chapter 2 - Definitions

Section 202 Design Flood Elevation. Change to read as shown:

DESIGN FLOOD ELEVATION. The elevation of the “design flood,” including wave height, relative to the datum specified on the community’s legally designated flood hazard map. In areas designated as Zone AO, the design flood elevation shall be the elevation of the highest existing grade of the building’s perimeter plus the depth number (in feet) specified on the flood hazard map. In areas designated as Zone AO where a depth number is not specified on the map, the depth number shall be taken as being equal to 2 feet (610 mm).

(SP 5282 AS)

Chapter 4 Gas Piping Installations

Section 401.9 Identification. Revise to read as shown:

401.9 Identification.  Each length of pipe and tubing and each pipe fitting, utilized in a fuel gas system, shall bear the identification of the manufacturer.

Exception: The manufacturer identification for fittings and pipe nipples shall be on each piece or shall be printed on the fitting or nipple packaging or provided documentation

(P5248 AM)

Section 401.10 Third party testing and certification. Delete as shown:

401.10 Third-party testing and certification. All piping, tubing and fittings shall comply with the applicable referenced standards, specifications and performance criteria of this code and shall be identified in accordance with Section 401.9. Piping, tubing and fittings shall either be tested by an approved third-party testing agency or certified by an approved third-party certification agency.

(P5249 AM)

Chapter 8 Referenced Standards

Add Florida-specific standards to read as shown:

Florida Codes     Florida Building Commission

c/o Florida Department of Business and Professional Regulation

Building Codes and Standards

1940 North Monroe Street

Tallahassee, Florida 32399.

Standard                                                                                                         		     Referenced in code

reference number    Title                                                               		                            section number

FBC-B—13           Florida Building Code, Building		       101.1, 201.3, 301.14, 302.1, 302.2, 305.6, 306.6,

401.1.1, 412.6, 413.3, 413.3.1, 501.1, 501.3, 501.12, 501.15.4, 609.3, 614.2, 706.1, 706.3

Chapter 13              Florida Building Code, Energy Conservation                                                             301.2

Chapter 27             Florida Building Code, Building:  Electrical (NEC/NFPA 70)		      201.3, 306.3.1,

306.4.1, 306.5.2, 309.1, 309.2, 413.8.2.4, 703.6, 706.3.6,

FBC-M—13          Florida Building Code, Mechanical	       201.3, 301.10, 301.13, 304.11, 501.1, 614.2,

618.5, 621.1,  624.1, 631.2, 632.1, 703.1.2, 706.3.2

FBC-P—13           Florida Building Code, Plumbing	                                                      201.3, 301.6,  624.1.1, 624.2

FRC—13               Florida Residential Code	                                                                                                       703.2.1

FFPC—13             Florida Fire Prevention Code	   201.3, 303.4, 401.2, 412.1, 412.6, 412.7, 412.7.3, 412.8,

413.1, 413.3, 413.3.1, 413.4, 413.8.2.5, 701.1, 701.2, 703.2, 703.2.2, 703.3.8, 703.4,

703.5, 704.1.2, 704.3, 704.4, 706.2, 706.3.4, 706.3.5, 707.1, 707.2, 708.1

(P4951 AS)