Tracking Chart ‑ All Mods
Page 1 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Code Change Cycle:
2013 Triennial Original Modification 7/1/2012 ‑ 8/2/2012
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
SubCode:
Building
1‑Scope and Administration
Section
Pending Review
102.7, 107.3.5, 110.3, 111.2, 1612.5
Rebecca Quinn obo DEM
 5254 
Chapter
Mod #
Comment
Summary
Carry forward 2010 FBC flood‑related provisions in Chapter 1, including plan review criteria, required inspections, and certificate of occupancy and consistency change to 1612.5.
1

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
107.6 and 117 (new)
Rebecca Quinn obo DEM
 5255 
Chapter
Mod #
Comment
Summary
Two administrative amendments that FEMA has deemed necessary to ensure that enforcement of the flood provisions of the FBC remain consistent with the NFIP.
1

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

2‑Definitions
Section
Pending Review
202, 1612., 3109.2
Rebecca Quinn obo DEM
 5259 
Chapter
Mod #
Comment
Summary
Carry forward from 2010 FBC, correct an NFIP‑specific definition, and modify definitions of “substantial improvement” and “dry floodproofing” for consistency with 2015 IBC proposal Approved as Submitted.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

4‑Special Detailed Requirements Based on Use and Occupancy
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 2 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
419.3.6.4
Ralph Koerber
 5689 
Chapter
Mod #
Comment
Summary
This proposals removes the requirement for flex duct to have a CPE inner core and be tested to a &quot;modified&quot; UL181 Impact Test using 25 pound weight dropped from a height of 10 feet. It also clarifies the limitations for Class 1 Air Connectors per NFPA 90A &amp; 90B.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
449.3.14.3
skip gregory
 5910 
Chapter
Mod #
Comment
Summary
Dletes the requirement for toggle switches to be colored.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
449.3.3
skip gregory
 5864 
Chapter
Mod #
Comment
Summary
Revises the rquirements for mobile testing and diagnostic.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
449.3.4
skip gregory
 5894 
Chapter
Mod #
Comment
Summary
Revisions this section for clarity. Deletes some out of date requirements.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 3 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
449.3.6.1
skip gregory
 5899 
Chapter
Mod #
Comment
Summary
This modification clarifies where equipment may be located.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
449.3.6.4
skip gregory
 5900 
Chapter
Mod #
Comment
Summary
Revises this section to provide the correct criteria for flexible ductwork.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
449.3.6.5
skip gregory
 5907 
Chapter
Mod #
Comment
Summary
Section modified to be correct.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
449.4.2.9.5
skip gregory
 5933 
Chapter
Mod #
Comment
Summary
Adds a separation for electrical wiring in hospitals.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 4 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
450.3.11.11
skip gregory
 5935 
Chapter
Mod #
Comment
Summary
Removes an outdated requirement.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.11.16
skip gregory
 5923 
Chapter
Mod #
Comment
Summary
Revises the requriement for drinking fountain.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.11.21
skip gregory
 5921 
Chapter
Mod #
Comment
Summary
Revises the requirements for access panels in nursing homes
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.22.3
skip gregory
 5913 
Chapter
Mod #
Comment
Summary
This revision makes the ANSI RP‑28‑7 mandatory.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 5 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
450.3.25
skip gregory
 5896 
Chapter
Mod #
Comment
Summary
Revises the code to make the code clearer regarding intent.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.25
skip gregory
 5919 
Chapter
Mod #
Comment
Summary
Add supervion to the nurse call system.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.26.4
skip gregory
 5911 
Chapter
Mod #
Comment
Summary
Dletes the requirement for toggle switches to be colored.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.3.12
skip gregory
 5908 
Chapter
Mod #
Comment
Summary
Revises language for clarity.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 6 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
450.3.3.14
skip gregory
 5926 
Chapter
Mod #
Comment
Summary
Revises the requriement for bathing room in a nursing home.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.3.14
skip gregory
 5929 
Chapter
Mod #
Comment
Summary
Revises the requriement for not having a rinsing device in the toilet room
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.4.3.5.4
skip gregory
 5927 
Chapter
Mod #
Comment
Summary
Revises the requriement for bathing room in a nursing home.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.3.4.3.5.5
skip gregory
 5928 
Chapter
Mod #
Comment
Summary
Revises the requriement for bathing room in a nursing home.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 7 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
450.3.7.2
skip gregory
 5924 
Chapter
Mod #
Comment
Summary
Revises the requriement for drinking fountain and public telephone.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.4.2.9.5
skip gregory
 5934 
Chapter
Mod #
Comment
Summary
Adds a separation for electrical wiring in hospitals.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
450.4.2.9.7
skip gregory
 5930 
Chapter
Mod #
Comment
Summary
Revise the requirement for a quick connect to a nursing home.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.11.1
skip gregory
 5914 
Chapter
Mod #
Comment
Summary
Revises the requirement for all nurse call systems to be supervised.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 8 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
451.3.13.4
skip gregory
 5912 
Chapter
Mod #
Comment
Summary
Dletes the requirement for toggle switches to be colored.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.13.9
skip gregory
 5931 
Chapter
Mod #
Comment
Summary
Adds lighting to the emergency electrical system of an ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.14
skip gregory
 5971 
Chapter
Mod #
Comment
Summary
Establishes standards for fire protection for ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.14
skip gregory
 5972 
Chapter
Mod #
Comment
Summary
Establishes standards for medical gas installation for ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 9 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
451.3.3.4.4
skip gregory
 5918 
Chapter
Mod #
Comment
Summary
Adds a new paragraph to the details of an ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.6.2
skip gregory
 5917 
Chapter
Mod #
Comment
Summary
Revises the requirements for VAV in an ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.6.3
skip gregory
 5916 
Chapter
Mod #
Comment
Summary
Revises the standard for flexible ducts  in ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
451.3.X
skip gregory
 5909 
Chapter
Mod #
Comment
Summary
Adds a new section on fire sprinklers in ASC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 10 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
451.3X
skip gregory
 5915 
Chapter
Mod #
Comment
Summary
This is a new section for medical gas installations.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.10.10
Jon Hamrick
 5196 
Chapter
Mod #
Comment
Summary
Delete unneeded language
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.10.2.4
Jon Hamrick
 5194 
Chapter
Mod #
Comment
Summary
Add an exception for guards at vertical drops in assembly seating where the guards would interfere with sight lines.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.10.7
Jon Hamrick
 5195 
Chapter
Mod #
Comment
Summary
Changes Xeriscape to Florida‑friendly landscaping to correspond to change in Section 373.185, Florida Statutes
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 11 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.12.5
Jon Hamrick
 5197 
Chapter
Mod #
Comment
Summary
Add requirement for roofing exterior stairways serving as a means of egress
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.13.8.2
Jon Hamrick
 5198 
Chapter
Mod #
Comment
Summary
Clarify that the restriction of projecting or awning windows also applies to play areas where a student can be injured by running into an open window.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.15.4
Jon Hamrick
 5577 
Chapter
Mod #
Comment
Summary
Correct a grammatical error.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.16
Jon Hamrick
 5199 
Chapter
Mod #
Comment
Summary
Delete duplicate language regarding wall finishes that is found in another part of the Florida Building Code.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 12 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.18.1.1
Jon Hamrick
 5200 
Chapter
Mod #
Comment
Summary
Correct metric equivalent.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.2.2
Jon Hamrick
 5152 
Chapter
Mod #
Comment
Summary
Corrects referenced Florida statute number
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.20.3
Jon Hamrick
 5203 
Chapter
Mod #
Comment
Summary
Add a metric equivalent for a distance given in feet.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.20.5
Jon Hamrick
 5205 
Chapter
Mod #
Comment
Summary
Add requirement for a dousing shower and an eye wash in custodial receiving areas.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 13 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.22.4
Jon Hamrick
 5206 
Chapter
Mod #
Comment
Summary
Correct metric equivalent.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.25.1
Jon Hamrick
 5207 
Chapter
Mod #
Comment
Summary
Change evacuation categories to match Department of Emergency Management new designations.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.25.3.2
Jon Hamrick
 5208 
Chapter
Mod #
Comment
Summary
Correct metric equivalent
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.25.4.3.2
Jon Hamrick
 5209 
Chapter
Mod #
Comment
Summary
Add a  metric equivalent for ventilation rate provided in cfm.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 14 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.25.4.3.2
Jon Hamrick
 5214 
Chapter
Mod #
Comment
Summary
Add a metric equivalent for view panel width.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.25.6
Jon Hamrick
 5210 
Chapter
Mod #
Comment
Summary
Correct statute reference.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.26.3.2
Jon Hamrick
 5211 
Chapter
Mod #
Comment
Summary
Correct metric equivalent.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.27.1
Jon Hamrick
 5212 
Chapter
Mod #
Comment
Summary
Delete a requirement that only applies to existing relocatables and does not belong in the building code.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 15 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.27.4
Jon Hamrick
 5213 
Chapter
Mod #
Comment
Summary
Correct the title for the guidelines for accessibility standards for children.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.3.6
Jon Hamrick
 5172 
Chapter
Mod #
Comment
Summary
Correct dollar amount before a licensed contractor is required for maintenance projects and clarify maintenance projects are required to be review for code compliance.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.4.3
Jon Hamrick
 5177 
Chapter
Mod #
Comment
Summary
Delete a Florida statute number that no longer exist.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.4.5
Jon Hamrick
 5178 
Chapter
Mod #
Comment
Summary
Corrects handbook title to &quot;Public Playground Safety Handbook.&quot;
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 16 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.4.8
Jon Hamrick
 5180 
Chapter
Mod #
Comment
Summary
Correct title of publication and title of Office of Educational Facilities
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.5.11
Jon Hamrick
 5184 
Chapter
Mod #
Comment
Summary
Align definition of owner with Rule 6A‑2.0010, FAC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.5.3
Jon Hamrick
 5181 
Chapter
Mod #
Comment
Summary
Adds correct Florida statute reference and deletes obsolete date.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.5.5.1
Jon Hamrick
 5182 
Chapter
Mod #
Comment
Summary
Clarify that the distance mention is travel distance.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 17 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.5.5.3
Jon Hamrick
 5183 
Chapter
Mod #
Comment
Summary
Adds clarifying language to the definition of a roofed courtyard.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.7.1
Jon Hamrick
 5185 
Chapter
Mod #
Comment
Summary
Clarify that in assembly occupancies, exit access doorways are also required to exit into separate atmospheres.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.7.8
Jon Hamrick
 5186 
Chapter
Mod #
Comment
Summary
Add the word “resistance” to “one‑hour fire rated construction” verbage.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.7.9
Jon Hamrick
 5187 
Chapter
Mod #
Comment
Summary
Exempt exit passageways and horizontal exits from public educational facilities.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 18 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
453.8.7
Jon Hamrick
 5192 
Chapter
Mod #
Comment
Summary
Correct Florida statute reference
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453.8.8
Jon Hamrick
 5193 
Chapter
Mod #
Comment
Summary
Insert formal name of DOE/OEF and include title of publication available from DOE “Florida Safe School Design Guidelines.”
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
453
Paul Coats
 5326 
Chapter
Mod #
Comment
Summary
This modification eliminates the Florida‑specific construction type restrictions for public schools in Special Occupancy Section 453 in favor of using the construction type provisions for schools in Chapters 5 and 6 of the Florida Building Code, which are based on the IBC.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
469
skip gregory
 5970 
Chapter
Mod #
Comment
Summary
Establishes a new section for an office surgery suite.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 19 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
Table 3.18.1
skip gregory
 5922 
Chapter
Mod #
Comment
Summary
Revises the plumbing fixture table for nursing homes
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

10‑Means of Egress
Section
Pending Review
1008.1.1
Joe Bigelow
 5120 
Chapter
Mod #
Comment
Summary
To be consistent with the Florida Accessibility Code and to implement the Commission plan to update the 2013 code
10

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

16‑Structural Design
Section
Pending Review
1601.1, 1801.1
Rebecca Quinn obo DEM
 5263 
Chapter
Mod #
Comment
Summary
Carry forward from 2010 FBC to specify that in HVHZ the requirements of 1612 apply in flood hazard areas.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1612, 202, 1403.7, 1603.1.7, 1804.4
Rebecca Quinn obo DEM
 5271 
Chapter
Mod #
Comment
Summary
Limits application of Coastal A Zone requirements only if the CAZ is delineated on a map or designated by the community.  Submitted as public comment at suggestion of IBC Structural Committee (S102‑12).
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 20 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
1612, 202, 1403.7, 1603.1.7, 1804.4
Rebecca Quinn obo DEM
 5274 
Chapter
Mod #
Comment
Summary
Achieves terminology consistency between the building code, the residential code and ASCE 24.  Approved as Submitted for the 2015 IBC (S103‑12).
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1612.1
Rebecca Quinn obo DEM
 5265 
Chapter
Mod #
Comment
Summary
Florida‑specific addition of a table that identifies the location of all flood provisions in the family of Florida Building Codes.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1612.4
Rebecca Quinn obo DEM
 5267 
Chapter
Mod #
Comment
Summary
Permit dry floodproofing of nonresidential buildings in flood hazard areas identified as Coastal A Zones if they are designed in accordance with ASCE 24 to account for wave loads and the potential for erosion and local scour. Approved as 2010 FBC glitch
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1612.5
Rebecca Quinn obo DEM
 5269 
Chapter
Mod #
Comment
Summary
Modifies foundation code to use Florida‑specific title for professionals licensed by the state to perform land (and elevation) surveys.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

18‑Soils and Foundations
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 21 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
1816.1.7
Steven Dwinell
 5801 
Chapter
Mod #
Comment
Summary
Modify language to state that contracts offered for termite protection compy with Chapter 482, F.S., the Florida Structural Pest Control Act.
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

45‑Plumbing Systems
Section
Pending Review
2902.2
Suzanne Davis
 5224 
Chapter
Mod #
Comment
Summary
To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
29

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

38‑Elevators and Conveying Systems
Section
Pending Review
3003
DOUG MELVIN
 5463 
Chapter
Mod #
Comment
Summary
DELETE  3003.3 in the 2012 base code &amp;  REPLACE section strikethrough in its entirety with underlined text to read as follows:
30

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
3007
DOUG MELVIN
 5242 
Chapter
Mod #
Comment
Summary
REVISE Section 3007.7 to DELETE Section reference 708.14.1 and REPLACE it with Section reference 713.14.1:
30

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 22 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
3007
DOUG MELVIN
 5245 
Chapter
Mod #
Comment
Summary
REVISE Section 3007.6 to DELETE Section reference 708 and REPLACE it with Section reference 713:
30

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
3008
DOUG MELVIN
 5251 
Chapter
Mod #
Comment
Summary
DELETE SECTION NUMBER section 3008.2 and strikethrough text from Florida Supplement and RENUMBER as section number 3008.1.2 and ADD underline text to read as follows:
30

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
3012
DOUG MELVIN
 5272 
Chapter
Mod #
Comment
Summary
ADD &amp; REVISE Sections 3012.1.3, 3012.1.4 and 3012.1.7 in the 2010 Florida Building Code with additional text, to ADD to the Florida Supplement and to 2013 FBC regarding Bulletin Boards.
30

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

39‑Special Construction
Section
Pending Review
3109
Gene Chalecki
 5676 
Chapter
Mod #
Comment
Summary
This is to correct a scrivener&#39;s error that was introduced into the 2010 FBC.
31

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

35‑Referenced Standards
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 23 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
3500
Rebecca Quinn obo DEM
 5138 
Chapter
Mod #
Comment
Summary
Update reference to ASCE 24, Flood Resistant Design and Construction, to the upcoming 2012 edition.  Approved as Submitted for 2015 IBC.
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
NFPA
Bryan Holland
 4919 
Chapter
Mod #
Comment
Summary
Updates the NFPA 780 reference to the most current edition (2011).
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Existing Building
2‑Definitions
Section
Pending Review
202
Rebecca Quinn obo DEM
 5277 
Chapter
Mod #
Comment
Summary
Carry forward from 2010 FBC, Existing Building and modify definition of “substantial improvement” for consistency with 2015 IBC proposal Approved as Submitted (G23‑12).
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

4‑Prescriptive Compliance Method
Section
Pending Review
402.2, 403.2, 404.5, 408.2, 601.3, 606.2.4, 701.3,
Rebecca Quinn obo DEM
 5573 
Chapter
Mod #
Comment
Summary
For compliance with flood provisions, refer to the FBC, Building or FBC, Residential, as applicable.  Approved as Submitted (EB‑14) and FEMA will submit public comment to extend to rest of the EB as shown here.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 24 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
11‑Additions
Section
Pending Review
1103.5
Rebecca Quinn obo DEM
 5279 
Chapter
Mod #
Comment
Summary
Separates new and replacement foundations from repairs of foundations.  Approved as Submitted for 2015 IEBC (EBG13‑12).
11

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Fuel Gas
2‑Definitions
Section
Pending Review
202
Rebecca Quinn obo DEM
 5282 
Chapter
Mod #
Comment
Summary
Achieves consistency in the definitions across all codes.  Approved as Submitted by FEMA as G8‑12.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Mechanical
2‑Definitions
Section
Pending Review
202
Rebecca Quinn obo DEM
 5283 
Chapter
Mod #
Comment
Summary
Achieves consistency in the definitions across all codes.  Approved as Submitted by FEMA as G8‑12.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

3‑General Regulations
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 25 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
M301.13.1
Rebecca Quinn obo DEM
 5679 
Chapter
Mod #
Comment
Summary
Limits application of Coastal A Zone requirements only if the CAZ is delineated on a map or designated by the community.  Submitted as public comment at suggestion of IBC Structural Committee (S102‑12).
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
M301.13
Rebecca Quinn obo DEM
 5682 
Chapter
Mod #
Comment
Summary
Achieves terminology consistency between the building code, the residential code and ASCE 24.  Approved as Submitted for the 2015 IBC (S103‑12).
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

5‑Exhaust Systems
Section
Pending Review
515
Ann Stanton
 5223 
Chapter
Mod #
Comment
Summary
Add Florida‑specific criteria for mausoleums.
5

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Plumbing
2‑Definitions
Section
Pending Review
202
Rebecca Quinn obo DEM
 5285 
Chapter
Mod #
Comment
Summary
Achieves consistency in the definitions across all codes.  Approved as Submitted by FEMA as G8‑12.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 26 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
202
Joe Bigelow
 5322 
Chapter
Mod #
Comment
Summary
To be consistent with Florida Statute (ss. 381.0065‑381.0067) and to implement the Commission plan to update the 2013 Code
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Eberhard Roeder
 5997 
Chapter
Mod #
Comment
Summary
Make definitions consistent with Florida Statutes and onsite sewage treatment and disposal regulations in 64E‑6, Florida Administrative Code
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Eberhard Roeder
 5999 
Chapter
Mod #
Comment
Summary
Eliminate old grease trap language; provide for 750 gallon minimum passive or gravity grease interceptor volume as in Florida&#39;s onsite sewage regulations.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

3‑General Regulations
Section
Pending Review
301.3
Eberhard Roeder
 5996 
Chapter
Mod #
Comment
Summary
Delete language for gray water landscape irrigation systems.  Such systems are onsite sewage treatment and disposal systems in the jurisdiction of the Dept. of Health (381.0065(2)(j); 381.0065(3)(a)(b)(k), Fl. Statutes). 64E‑6, FAC, provides specifications.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 27 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
309.2
Rebecca Quinn obo DEM
 5287 
Chapter
Mod #
Comment
Summary
Reformat the exception to eliminate awkward and confusing placement.  Approved as Submitted by FEMA for 2015 IPC as P20‑12
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
M309.3
Rebecca Quinn obo DEM
 5684 
Chapter
Mod #
Comment
Summary
Limits application of Coastal A Zone requirements only if the CAZ is delineated on a map or designated by the community.  Submitted as public comment at suggestion of IBC Structural Committee (S102‑12).
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
P309.3
Rebecca Quinn obo DEM
 5683 
Chapter
Mod #
Comment
Summary
Achieves terminology consistency between the building code, the residential code and ASCE 24.  Approved as Submitted for the 2015 IBC (S103‑12).
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

10‑Traps, Interceptors and Separators
Section
Pending Review
1003.3; 1003.5
Eberhard Roeder
 6002 
Chapter
Mod #
Comment
Summary
Consolidate gravity grease interceptor exception languages. Replace language that mirrors grease interceptor requirements for onsite sewage systems in 64E‑6, Florida Administrative Code, with a simple reference to 64E‑6.  Editorial change to section numbering
10

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

13‑Gray Water Recycling Systems
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 28 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
1301 and 1303
Eberhard Roeder
 5892 
Chapter
Mod #
Comment
Summary
Delete language for gray water landscape irrigation systems.  Such systems are onsite sewage treatment and disposal systems in the jurisdiction of the Dept. of Health (381.0065(2)(j); 381.0065(3)(a)(b)(k), Fl. Statutes). 64E‑6, FAC, provides specifications. Keep language as in previous Appendix C.
13

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Residential
2‑Definitions
Section
Pending Review
R202
Ken Cureton
 5428 
Chapter
Mod #
Comment
Summary
Modify SECTION R202 (Special Occupancy)
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

3‑Building Planning
Section
Pending Review
R301.1, Table R301.2(1), 202, R443.13
Rebecca Quinn obo DEM
 5290 
Chapter
Mod #
Comment
Summary
Carry forward from 2010 FBC the definition and reference to local floodplain management ordinance and clarify that buildings in HVHZ that are also in flood hazard areas shall also comply with flood requirements.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.4.1, R322.1.1
Rebecca Quinn obo DEM
 5292 
Chapter
Mod #
Comment
Summary
This carries forward – but simplifies ‑ a change approved for 2010 FBC, R, to permit use of ASCE 24 as an alternative in all flood hazard areas, including Zone V (foundation code) and Zone A (Florida amendment).
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 29 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
R306
Ken Cureton
 5434 
Chapter
Mod #
Comment
Summary
Modify SECTION R306.3
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R311
Ken Cureton
 5436 
Chapter
Mod #
Comment
Summary
Modify SECTION R311.2
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R318.7
Jack Glenn
 5416 
Chapter
Mod #
Comment
Summary
Reformat the Termite Inspection requirements by moving section R704 to a new Section R381.7
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R322.1.10
Rebecca Quinn obo DEM
 5293 
Chapter
Mod #
Comment
Summary
Modifies the foundation code to use Florida‑specific title for professionals licensed by the state to perform land (and elevation) surveys.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 30 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
R322.1.10
Rebecca Quinn obo DEM
 5680 
Chapter
Mod #
Comment
Summary
Modifies foundation code to use Florida‑specific title for professionals licensed by the state to perform land (and elevation) surveys.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R322.2, R322.3 and R4101.4.2.1
Rebecca Quinn obo DEM
 5294 
Chapter
Mod #
Comment
Summary
Carry forward from 2010 FBC to bring provisions for pools into the body of the code.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R322.3.2
Rebecca Quinn obo DEM
 5295 
Chapter
Mod #
Comment
Summary
In Coastal High Hazard Areas (Zone V), eliminate elevation difference based on orientation of lowest horizontal structural member to match revised ASCE 24‑12 (in development).   FEMA will propose for 2015 IRC.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R322.3.4
Rebecca Quinn obo DEM
 5296 
Chapter
Mod #
Comment
Summary
Match phrasing in the 2012 IBC at Section 1612.5(2.2) for loads on breakaway walls.  FEMA is submitting for the 2015 IRC (Group B).
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

38‑Sanitary Drainage
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations

Tracking Chart ‑ All Mods
Page 31 of 31
9/27/2012
Special Occupancy
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Special Occupancy
TAC:
 120 
Section
Pending Review
P3009.1,P3009.2,P3009.14
Eberhard Roeder
 5964 
Chapter
Mod #
Comment
Summary
Delete language for gray water landscape irrigation systems.  Such systems are onsite sewage treatment and disposal systems in the jurisdiction of the Dept. of Health (381.0065(2)(j); 381.0065(3)(a)(b)(k), Fl. Statutes). 64E‑6, FAC, provides specifications. Keep language as in previous Appendix O.
30

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

45‑Referenced Standards
Section
Pending Review
4500
Rebecca Quinn obo DEM
 5289 
Chapter
Mod #
Comment
Summary
Update reference to ASCE 24, Flood Resistant Design and Construction, to the upcoming 2012 edition.  FEMA will propose for the 2015 IRC to be consistent with Approved as Submitted for the 2015 IBC.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted 	AM = Approved as Modified
NAR = No Affirmative Recommendation
						W = Withdrawn									I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations