Tracking Chart ‑ All Mods
Page 1 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Code Change Cycle:
2013 Triennial Original Modification 7/1/2012 ‑ 8/2/2012
Total Mods for this TAC:
Structural
TAC:
 236 
SubCode:
Building
2‑Definitions
Section
Pending Review
202
Joe Bigelow
 5190 
Chapter
Mod #
Comment
Summary
To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Dwight Wilkes
 5633 
Chapter
Mod #
Comment
Summary
Reason: The overall intent of this proposal is to clarify the requirements for tubular daylighting devices, within the context of skylights and sloped glazing.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Joseph Belcher
 5726 
Chapter
Mod #
Comment
Summary
Brings forward definition of screen enclosure.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Joseph Belcher
 5727 
Chapter
Mod #
Comment
Summary
Brings forward definition of screen enclosure.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 2 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
202
Joseph Belcher
 5936 
Chapter
Mod #
Comment
Summary
Retains definition of awning as companion to Mod 5932
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

14‑Exterior Walls
Section
Pending Review
1401.1
Michael Goolsby
 4926 
Chapter
Mod #
Comment
Summary
Delete HVHZ Sections
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1404.13
Joseph Belcher
 5733 
Chapter
Mod #
Comment
Summary
Provides reference to labeling requirments for manufactured soffits.
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1404.5.1
Michael Goolsby
 4801 
Chapter
Mod #
Comment
Summary
Section formatting
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 3 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1405.1
Michael Goolsby
 4931 
Chapter
Mod #
Comment
Summary
Section formatting
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1405.1
Joseph Belcher
 5728 
Chapter
Mod #
Comment
Summary
Brings forward modifications to  AAMA 1402.
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1405.17
Michael Goolsby
 4932 
Chapter
Mod #
Comment
Summary
Section formatting
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1410
Oriol Haage
 4922 
Chapter
Mod #
Comment
Summary
Delete HVHZ Sections
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 1405.2
Michael Goolsby
 4933 
Chapter
Mod #
Comment
Summary
Section formatting
14

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 4 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
16‑Structural Design
Section
Pending Review
1601.1
Michael Goolsby
 5425 
Chapter
Mod #
Comment
Summary
Section formatting
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1605
Suzanne Davis
 5116 
Chapter
Mod #
Comment
Summary
Section 1605.3.1.1 Declaratory statement determined by the Commission.  To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609 Wind Loads
Suzanne Davis
 5118 
Chapter
Mod #
Comment
Summary
Figure 1609 A, B, C Wind Maps added To be consistent with the 2010 FBC Wind maps to continue to provide for improved resolution for the maps and to implement the Commission plan to update the 2013 Code
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1 Exceptions
Suzanne Davis
 5121 
Chapter
Mod #
Comment
Summary
Update Exception 5 to be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 5 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1609.1.1
T Stafford
 5608 
Chapter
Mod #
Comment
Summary
Correlation with the 2010 FBC and ASCE 7‑10 wind speeds.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.1
Joseph Belcher
 5732 
Chapter
Mod #
Comment
Summary
This mod provides a reference to section 2002.4 for the determination of wind loads on screen enclosures.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.2.1
Joseph Belcher
 5667 
Chapter
Mod #
Comment
Summary
Adds impact resistant covering as option to protect louvers.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.2.1
Amanda Hickman
 5951 
Chapter
Mod #
Comment
Summary
Corrects misprint in 2012 IBC on AMCA 540 ‑ test standard for louvers.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.2.2
Joseph Belcher
 5668 
Chapter
Mod #
Comment
Summary
Provides correlation between ASTM E 1996, FBCB, and ASCE 7‑10 regarding Wind Zone 4.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 6 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1609.1.2.3
Jim Heise
 5759 
Chapter
Mod #
Comment
Summary
Section 1609.1.2.4 Impact resistant coverings. Add text to read as shown.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.2.4
Joseph Belcher
 5669 
Chapter
Mod #
Comment
Summary
Establishes factor of safety for testing of impact resistant coverings and provides reference to labeling requiremets for impact resistan coverings.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.2.5
Joseph Belcher
 5715 
Chapter
Mod #
Comment
Summary
Retains alternate for testing side‑hinged steel exterior doors.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1.2
Joseph Belcher
 5707 
Chapter
Mod #
Comment
Summary
Retains provisions related to glazed opening protection;  impact standards; statutory provisions related to storage sheds; and opening protection for sunrooms.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.1
T Stafford
 5607 
Chapter
Mod #
Comment
Summary
Clarifies the applicable wind loads for soffits.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 7 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1609.1
Joseph Belcher
 5734 
Chapter
Mod #
Comment
Summary
Carries forward provison stipulating exterior wall coverings and soffits to be designed to resist C&amp;C loads and reference to labeling repuirements for soffits.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.4.2
T Stafford
 5613 
Chapter
Mod #
Comment
Summary
Reinstates the open patch limitations for Surface Roughness C from the 2010 FBCB.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1609.7
Joseph Hetzel
 5321 
Chapter
Mod #
Comment
Summary
Inclusion of garage door / rolling door wind load Table.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1616.3
Bonnie Manley
 5643 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, revises the requirements for the deflection of structural roofing and siding made of formed metal sheets to be more consistent with current testing requirements found in the FBC.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1616.5
Michael Goolsby
 5433 
Chapter
Mod #
Comment
Summary
Add reference for Table 1607.1 footnote
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 8 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1617
Michael Goolsby
 5429 
Chapter
Mod #
Comment
Summary
Delete HVHZ Section to adopt base code provisions
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1618.9
Michael Goolsby
 5427 
Chapter
Mod #
Comment
Summary
Delete HVHZ Section to adopt base code provisions
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1626.1
Amanda Hickman
 5954 
Chapter
Mod #
Comment
Summary
Adds AMCA 540 to HWHZ section of the code.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1626.1
Amanda Hickman
 5955 
Chapter
Mod #
Comment
Summary
Adds AMCA 540 to HWHZ section of the code and clarifies language.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1626.2
Jaime Gascon
 5253 
Chapter
Mod #
Comment
Summary
Correlation to TAS201 and TAS203 and specify large missile speeds for essential facilities ‑ Building Category IV.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 9 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
Table 1604.3
Joseph Belcher
 5729 
Chapter
Mod #
Comment
Summary
Adds screen enclosures to table; adds oercebtage if solids for screen walls.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 1604.5
Joseph Belcher
 5949 
Chapter
Mod #
Comment
Summary
Retains screen enclosures as low hazard to humn life.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 1607.1 footnotes
Michael Goolsby
 5431 
Chapter
Mod #
Comment
Summary
Section formatting
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 1609.1.2
T Stafford
 5610 
Chapter
Mod #
Comment
Summary
Correlation with wind speeds in ASCE 7‑10.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 1609.1.2
T Stafford
 5611 
Chapter
Mod #
Comment
Summary
Correlation with wind speeds in ASCE 7‑10.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 10 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
17‑Structural Tests and Special Inspections
Section
Pending Review
1702, 1710.5.3
Joseph Hetzel
 5324 
Chapter
Mod #
Comment
Summary
Inclusion of garage door labeling language.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1702‑09 Definitions
Suzanne Davis
 5149 
Chapter
Mod #
Comment
Summary
To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710 &amp; 1711
Jaime Gascon
 5024 
Chapter
Mod #
Comment
Summary
Reinstates all the exterior window and door assemblies’ structural performance and standards from the 2010 FBC that are applicable to the HVHZ and are structural wind‑related.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.5.2
Joseph Hetzel
 5325 
Chapter
Mod #
Comment
Summary
Clarifies test requirements for sectional garage doors and rolling doors.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 11 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1710.5
Dwight Wilkes
 5582 
Chapter
Mod #
Comment
Summary
Reinstates exterior window and door assemblies structural performance and standards from the 2010 FBC and introduces language submitted to the ICC for inclusion into the 2015 IBC, thru modification to the Florida base code the 2012 IBC Proposals S173 and S172
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.5
T Stafford
 5615 
Chapter
Mod #
Comment
Summary
Correlation with ASCE 7‑10. Clarifies the appropriate reduction of design pressures for the purposes of testing of products that are and have been historically tested using allowable or nominal wind loads.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.5
James Bell
 5855 
Chapter
Mod #
Comment
Summary
Component approvals are essential to door openings that are made of component. Hardware items such as hinges, locks,exit devices and bolts are the structural components and need to be rates and have quality assurance.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.5
Kari Hebrank
 6007 
Chapter
Mod #
Comment
Summary
Add new exception for custom doors.  Allows accepted engineering practices such as rational or comparative analysis for one‑of‑a‑kind custom doors. This language has been incorporated into every version of the Florida Building Code since 2002.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.5
Kari Hebrank
 6012 
Chapter
Mod #
Comment
Summary
This proposed modification will allow approved door components to be interchanged in exterior door assemblies provided that the door components provide equal or greater performance.  This change has been part of the 2004, 2007 and 2010 Florida Building Code.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 12 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1710.6
Dwight Wilkes
 5635 
Chapter
Mod #
Comment
Summary
Reason: The overall intent of this proposal is to clarify the requirements for tubular daylighting devices, within the context of skylights and sloped glazing.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.8
Joseph Belcher
 5712 
Chapter
Mod #
Comment
Summary
Adds requirements labeling and installation of hurricane resistant coverings.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.9.4
Joseph Belcher
 5737 
Chapter
Mod #
Comment
Summary
Brings forward existing provisions for soffit installation and testing.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710.9
Joseph Belcher
 5736 
Chapter
Mod #
Comment
Summary
Brings currently required labeling provisions for soffits forward.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1710
Dwight Wilkes
 5623 
Chapter
Mod #
Comment
Summary
Reinstates the exterior window and door structural performance, standards and label from the 2010 FBC with modifications to clearify Existing FBC 1715.5.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 13 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1715.5.4.2
Jim Heise
 5760 
Chapter
Mod #
Comment
Summary
1715.5.4.2 Masonry, concrete or other structural substrate.  Add to read as shown.
17

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

18‑Soils and Foundations
Section
Pending Review
1801.1
Michael Goolsby
 4930 
Chapter
Mod #
Comment
Summary
Remove guidance to HVHZ sections deleted as non‑wind related.
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1801.2
Michael Goolsby
 4934 
Chapter
Mod #
Comment
Summary
Section formatting
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1806.1
Michael Goolsby
 4935 
Chapter
Mod #
Comment
Summary
Section formatting
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 14 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1807.2.4
Joseph Belcher
 5958 
Chapter
Mod #
Comment
Summary
Retains criteria for design and construction of reinforced masonry retaining walls.
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1808.3
Michael Goolsby
 5007 
Chapter
Mod #
Comment
Summary
Section formatting
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1810.3.9.4.1
Michael Goolsby
 4936 
Chapter
Mod #
Comment
Summary
Section formatting
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1810.3.9.4.2
Michael Goolsby
 4937 
Chapter
Mod #
Comment
Summary
Section formatting
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1816.1.7
Steven Dwinell
 5801 
Chapter
Mod #
Comment
Summary
Modify language to state that contracts offered for termite protection compy with Chapter 482, F.S., the Florida Structural Pest Control Act.
18

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 15 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
19‑Concrete
Section
Pending Review
1901.1
Michael Goolsby
 4943 
Chapter
Mod #
Comment
Summary
Delete HVHZ Sections
19

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1908.4
Michael Goolsby
 4942 
Chapter
Mod #
Comment
Summary
Section Formatting
19

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1913
T Stafford
 5619 
Chapter
Mod #
Comment
Summary
Reinstates requirements that gable endwalls be structurally continuous between points of lateral support.  This language currently exists in the 2010 FBCB.
19

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1927 and 1928
Michael Goolsby
 4941 
Chapter
Mod #
Comment
Summary
Deletion of HVHZ sections
19

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

20‑Aluminum
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 16 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2001 and 2002
Joseph Belcher
 5795 
Chapter
Mod #
Comment
Summary
Retains FBC design criteria for aluminum structures.
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2002.6
Jim Heise
 5762 
Chapter
Mod #
Comment
Summary
without this, screen enclosures can be misinterpreted as &quot;window&quot; products as has occurred in other states
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2002.6
Joseph Belcher
 5792 
Chapter
Mod #
Comment
Summary
Carries forward adoption of AAMA 2100; Carries forward and updates sunroom categories.
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2003.6.3
Michael Goolsby
 4955 
Chapter
Mod #
Comment
Summary
Formatting HVHZ reference necessary to maintain base code continuity.
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2003.8.2.1
Michael Goolsby
 4956 
Chapter
Mod #
Comment
Summary
Section Formatting
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 17 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
Table 2002.4
Joseph Belcher
 5781 
Chapter
Mod #
Comment
Summary
Brings forward the table providing design wind pressures for screened enclosures.
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 2002.4
Joseph Belcher
 5905 
Chapter
Mod #
Comment
Summary
Revises Note c of Mod 5781
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 2002.4A
Joseph Belcher
 5789 
Chapter
Mod #
Comment
Summary
Brings forward table with height adjustment factors for screen enclosure design.
20

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

21‑Masonry
Section
Pending Review
2101.1
Michael Goolsby
 4957 
Chapter
Mod #
Comment
Summary
Section Formatting
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 18 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2107.1
Joseph Belcher
 5974 
Chapter
Mod #
Comment
Summary
Retains exception to inspection requirements of adopted standard.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2107.2
Joseph Belcher
 5962 
Chapter
Mod #
Comment
Summary
Clarifies application of MSJC and corrects erroneous reference to a section in MSJC.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2107.4
Joseph Belcher
 5963 
Chapter
Mod #
Comment
Summary
Deletes an unnecessary change to the MSJC.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2107.4
Joseph Belcher
 5975 
Chapter
Mod #
Comment
Summary
Modify Mod 5963 to show section as reserved, rather than deleted.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2107.4
Joseph Belcher
 5977 
Chapter
Mod #
Comment
Summary
Retains gamma factors for calculating lap length for development of bars in tension and compression.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 19 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2107.5
Joseph Belcher
 5979 
Chapter
Mod #
Comment
Summary
Reinstates provision within MSJC dealing with lateral ties in pilasters.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2107.5
Joseph Belcher
 5987 
Chapter
Mod #
Comment
Summary
Revision of Mod 5979 to remove Section of TMS 402/ACI 530/ASCE 5, Section 1.15 from Mod as the Section is unchanged and was included solely for reference, not direct inclusion in the code.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2108.1
Joseph Belcher
 5973 
Chapter
Mod #
Comment
Summary
Retains exception to inspection requirements of adopted standard.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2108.4
Joseph Belcher
 5980 
Chapter
Mod #
Comment
Summary
Retains gamma factors for determining development length of reinforcement for strength design.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2109.1.1
T Stafford
 5649 
Chapter
Mod #
Comment
Summary
This proposal reinstates the limit on using empirical design of masonry to areas where the Vult wind speed equals or exceeds 115 mph.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 20 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2114
T Stafford
 5620 
Chapter
Mod #
Comment
Summary
Reinstates requirements that gable endwalls be structurally continuous between points of lateral support.  This language currently exists in the 2010 FBCB.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2122.1
Joseph Belcher
 5982 
Chapter
Mod #
Comment
Summary
Upate section of standard cited.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2122.2.1
Joseph Belcher
 5981 
Chapter
Mod #
Comment
Summary
Clarification of intent of section.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2122.2.3
Joseph Belcher
 5993 
Chapter
Mod #
Comment
Summary
Updates Section citation.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2122.4
Joseph Belcher
 5983 
Chapter
Mod #
Comment
Summary
Modifies reinforcement details.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 21 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2122.5
Joseph Belcher
 5990 
Chapter
Mod #
Comment
Summary
Modifies provisions related to concentrated loads.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2122.8.2
Joseph Belcher
 5991 
Chapter
Mod #
Comment
Summary
Clarification and update of cited section number.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2122.8.8
Joseph Belcher
 5992 
Chapter
Mod #
Comment
Summary
Clarification and and adoption of TMS 602/ ACI 530.1/ ASCE 6 Section 3.5.
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

22‑Steel
Section
Pending Review
2201.1
Michael Goolsby
 4947 
Chapter
Mod #
Comment
Summary
Section Formatting
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 22 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2201.1
Bonnie Manley
 5319 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, clarifies the relationship between the HVHZ provisions and the model base code.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2204.1
Michael Goolsby
 4948 
Chapter
Mod #
Comment
Summary
Section Formatting
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2210
Thomas Sputo
 4944 
Chapter
Mod #
Comment
Summary
Add Standard for composite steel deck slabs to Section 2210
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2212
T Stafford
 5621 
Chapter
Mod #
Comment
Summary
Reinstates requirements that gable endwalls be structurally continuous between points of lateral support.  This language currently exists in the 2010 FBCB.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2214.3.3
Thomas Sputo
 4993 
Chapter
Mod #
Comment
Summary
Delete reference to ASCE 3, an outdated standard for composite deck that was removed from the 2012 IBC, and which, as explained in Proposal 4944, will be replaced in the 2015 IBC by ANSI/SDI C‑2011.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 23 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2214
Bonnie Manley
 5327 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, builds on the changes already recommended in the FL Supplement.  It coordinates Section 2214 with the base model code.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2215
Bonnie Manley
 5366 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, updates Section 2215.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2217
Bonnie Manley
 5369 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a section reference based upon changes recommended in a proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2221.1
Bonnie Manley
 5379 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a section reference based upon changes recommended in a proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2221.6.2
Bonnie Manley
 5470 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects the requirements on end support and anchorage of steel joists.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 24 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2221.6.3
Bonnie Manley
 5383 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a section reference based upon changes recommended in an alternate proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2222.1
Bonnie Manley
 5461 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a section reference based upon changes recommended in an proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2222.2
Bonnie Manley
 5462 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, recommends deletion of Section 2222.2.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2222.4.4
Bonnie Manley
 5644 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, coordinates with the Chapter 16 changes recommended in Mod. 5643 by removing a redundant requirement in Chapter 22.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2222.4
Bonnie Manley
 5464 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a reference based upon changes recommended in a proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 25 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2222.6.1
Bonnie Manley
 5466 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a reference section based upon changes recommended in a proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2222.7
Bonnie Manley
 5469 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, deletes a section reference based upon changes recommended in an proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2223.2
Bonnie Manley
 5471 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, corrects a section reference based upon changes recommended in an proposal for Section 2214.
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

23‑Wood
Section
Pending Review
2301.1
Michael Goolsby
 4945 
Chapter
Mod #
Comment
Summary
Section Formatting
23

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 26 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2304.3.4
T Stafford
 5622 
Chapter
Mod #
Comment
Summary
Reinstates requirements that gable endwalls be structurally continuous between points of lateral support.  This language currently exists in the 2010 FBCB.
23

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2304.7.2.1
T Stafford
 5671 
Chapter
Mod #
Comment
Summary
Requires the use of ring shank nails for roof decking attachment.  This language will achieve consistency between the FBCB and FBCR.  The FBCR has required the roof decking to be attached with ring shank nails since the 2006 Supplement to the 2004 code.
23

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2308.2
T Stafford
 5650 
Chapter
Mod #
Comment
Summary
This proposal reinstates the limit on using conventional wood frame construction to areas where the Vult wind speed equals or exceeds 115 mph.
23

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2325.1
Michael Goolsby
 4946 
Chapter
Mod #
Comment
Summary
Section Formatting
23

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

24‑Glass and Glazing
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 27 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2401.1
Michael Goolsby
 5025 
Chapter
Mod #
Comment
Summary
Section formatting
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2403.1
Jim Heise
 5764 
Chapter
Mod #
Comment
Summary
Section 2403.1 Identification is revised to read as follows:
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2404.1
Michael Goolsby
 5026 
Chapter
Mod #
Comment
Summary
Section Formatting
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2404.2, 2405.5, 2405.5.1, 2405.5.2
Dwight Wilkes
 5636 
Chapter
Mod #
Comment
Summary
Reason: The overall intent of this proposal is to clarify the requirements for tubular daylighting devices, within the context of skylights and sloped glazing.
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2404.3.1 and 2404.3.3
Michael Goolsby
 5027 
Chapter
Mod #
Comment
Summary
Section formatting
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 28 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2404.3.5
Michael Goolsby
 5028 
Chapter
Mod #
Comment
Summary
Section formatting
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2404
Dwight Wilkes
 5584 
Chapter
Mod #
Comment
Summary
This proposal is to coordinate the glass design load equations of Chapter 24 with those of Chapter 16,  to the change of design wind load model from Allowable Stress Design to Strength Design in ASCE 7‑10. 
These revisions were not carried back to the glass design load equations of Chapter 24.
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2404
T Stafford
 5647 
Chapter
Mod #
Comment
Summary
Correlation with ASCE 7‑10. Clarifies the appropriate reduction of design pressures for protocols that are and have been historically tested using allowable or nominal wind loads.
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2407.1.4.2
Michael Goolsby
 5029 
Chapter
Mod #
Comment
Summary
Section formatting
24

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

25‑Gypsum Board Plaster
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 29 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2501.1.1
Michael Goolsby
 4940 
Chapter
Mod #
Comment
Summary
Deletion of HVHZ sections
25

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
2516, 2516 and 2517
Michael Goolsby
 4939 
Chapter
Mod #
Comment
Summary
Deletion of HVHZ sections necessary to utilize base code provisions.
25

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table 2508.5
T Stafford
 5648 
Chapter
Mod #
Comment
Summary
Clarifies that the shear values for gypsum board diaphragms are allowable (ASD) values.
25

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

26‑Plastic
Section
Pending Review
2603
Suzanne Davis
 5221 
Chapter
Mod #
Comment
Summary
Removal of figure 2603.8. To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
26

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

39‑Special Construction
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 30 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
3105
Joseph Belcher
 5932 
Chapter
Mod #
Comment
Summary
Retains provisions for awnings and canopies.
39

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
3114 Airport Noise
Suzanne Davis
 5226 
Chapter
Mod #
Comment
Summary
To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
39

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

35‑Referenced Standards
Section
Pending Review
AAF
Joseph Belcher
 5830 
Chapter
Mod #
Comment
Summary
Retains information for adopted AAF Guide.
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
ANSI
Randall Shackelford
 6023 
Chapter
Mod #
Comment
Summary
Fixes an error in the 2012 IBC by correcting the ASTM Standard for testing of joist hangers and connectors and allowing the option of using the newest standard for testing
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 31 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
ASTM
Joseph Belcher
 6021 
Chapter
Mod #
Comment
Summary
Updates standards.
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Chapter 35
Joseph Belcher
 5893 
Chapter
Mod #
Comment
Summary
Updates AAMA/NPEA/NSA 2100—11
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Standards
Dwight Wilkes
 5674 
Chapter
Mod #
Comment
Summary
As the Base Code [2012 IBC] only recognizes two [2] AAMA standards and the Florida 2010 Code has eleven [11] standards with multiple editions, this modification is bring into the 2013 Florida Building Code the existing standards in Florida  and to remove outdated and include current standards.
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Existing Building
2‑Definitions
Section
Pending Review
202
Ken Cureton
 5142 
Chapter
Mod #
Comment
Summary
Modify SECTION 202 (Structural TAC)
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 32 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
202
Jim Heise
 5854 
Chapter
Mod #
Comment
Summary
give clear definition of &quot;sunroom&quot;
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
T Stafford
 5889 
Chapter
Mod #
Comment
Summary
New definitions for correlation with proposed new Chapter 17.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Jim Heise
 5961 
Chapter
Mod #
Comment
Summary
brings forward the definition of sunroom
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

4‑Prescriptive Compliance Method
Section
Pending Review
[B]402.4
Michael Goolsby
 4962 
Chapter
Mod #
Comment
Summary
Section formatting
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 33 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
[B]403.4
Michael Goolsby
 4963 
Chapter
Mod #
Comment
Summary
Section formatting
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
[B]404.2.1
Michael Goolsby
 4965 
Chapter
Mod #
Comment
Summary
Section formatting
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

5‑Classification of Work
Section
Pending Review
510
T Stafford
 5890 
Chapter
Mod #
Comment
Summary
Charging language is added to provided direction to Chapter 17 for retrofits.
5

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

6‑Repairs
Section
Pending Review
606.4
Joseph Hetzel
 5757 
Chapter
Mod #
Comment
Summary
Continues requirements for garage door, exterior door, skylight, and operable and inoperable window replacement.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

7‑Alterations ‑ Level 1
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 34 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
[B]706.3.2
Michael Goolsby
 4966 
Chapter
Mod #
Comment
Summary
Section formatting
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
706
Ken Cureton
 5147 
Chapter
Mod #
Comment
Summary
Add SECTIONS 706.1.1, 706.4 and 706.5
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

10‑Change of Occupancy
Section
Pending Review
1007
Ken Cureton
 5875 
Chapter
Mod #
Comment
Summary
Modify SECTION 1007.1
10

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
1007
Ken Cureton
 5878 
Chapter
Mod #
Comment
Summary
Modify SECTION 1007.2
10

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

11‑Additions
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 35 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
1103
Ken Cureton
 5869 
Chapter
Mod #
Comment
Summary
Modify Section 1103.2
11

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

16‑Referenced Standards
Section
Pending Review
New Chapter 17
T Stafford
 5888 
Chapter
Mod #
Comment
Summary
Relocates the retrofit provisions in the appendix of the IEBC to new Chapter 17 for consistency with the 2010 FBCEB.  This proposal also includes updates to the version in the appendix of the IEBC.
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Mechanical
3‑General Regulations
Section
Pending Review
301.15
Ann Stanton
 5222 
Chapter
Mod #
Comment
Summary
Repropose Florida‑specific wind resistance equipment criteria.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Residential
2‑Definitions
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 36 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
202
T Stafford
 5678 
Chapter
Mod #
Comment
Summary
This proposal part of a serires of proposals that reinstate the ultimate wind speed maps in the FBCR.  This language is currently contained in the 2010 FBCR.  No new requirements are being proposed.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
202
Joseph Belcher
 5793 
Chapter
Mod #
Comment
Summary
Retains FBC definition of sunroom.
2

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

3‑Building Planning
Section
Pending Review
308.1
Jim Heise
 5822 
Chapter
Mod #
Comment
Summary
Identification to maintain that laminated glass, when used for other than safety glazing, be permanantly identified
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.1.1
Dwight Wilkes
 5651 
Chapter
Mod #
Comment
Summary
To recognize the standard for aluminum design as an alternative provision and provide the current edition AAMA 2100‑10 . American Architectural Manufacturers Association (AAMA) National Patio Enclosure Association (NPEA) &amp; National Sunroom Association (NSA) 2100 – Specification for Sunrooms.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 37 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R301.2.1.1.1
Joseph Belcher
 5790 
Chapter
Mod #
Comment
Summary
Brings forward language adopting AAF Guide to Aluminum Construciton in High Wind Areas; Adds language pemitting design per FBCB.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1.1.2
Joseph Belcher
 5791 
Chapter
Mod #
Comment
Summary
Carries forward adoption of AAMA 2100; Carries forward and updates sunroom categories.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1.1
Joseph Belcher
 5998 
Chapter
Mod #
Comment
Summary
Retains MAF Guide to Concrete Masonry Residential Construction in High Wind Areas; Retains reference to prescriptive provisions of Chapter 6 for concrete masonry construction; Adds TMS 402/ACI 530/ASCE 5 and TMS 602/ACI 530.1/ASCE 6 as design option.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1.2.1
Joseph Belcher
 5721 
Chapter
Mod #
Comment
Summary
Modifies ASTM E 1996 Wind Zone definitions to correlate with wind speeds of ASCE 7‑10 and FBCR.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1.2
Dwight Wilkes
 5663 
Chapter
Mod #
Comment
Summary
To recognize the standard editions for AAMA 506‑06 or 08 or 11 Voluntary Specifications for Impact and Cycle Testing of Fenestration Products.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 38 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R301.2.1.2
Joseph Belcher
 5718 
Chapter
Mod #
Comment
Summary
Modifies opening protection to bring forward currently permitted standards.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1.4
T Stafford
 5694 
Chapter
Mod #
Comment
Summary
The proposal reinstates the surface roughness and exposure category definitions from the 2010 FBCR.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1.6
T Stafford
 5700 
Chapter
Mod #
Comment
Summary
Correlation with ASCE 7‑10.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1
Joseph Hetzel
 5328 
Chapter
Mod #
Comment
Summary
Inclusion of a garage door wind load Table.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.2.1
T Stafford
 5681 
Chapter
Mod #
Comment
Summary
This proposal part of a serires of proposals that reinstate the ultimate wind speed maps in the FBCR.  This language is currently contained in the 2010 FBCR.  No new requirements are being proposed.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 39 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R301.9
Joseph Belcher
 5743 
Chapter
Mod #
Comment
Summary
Reloctes existing wall covering and soffit design criteria from R617.4 to R301.9; adds reference to C&amp;C load tables.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R301.9
Joseph Belcher
 5745 
Chapter
Mod #
Comment
Summary
Reloctes existing wall covering and soffit design criteria from R617.4 to R301.9; adds reference to C&amp;C load tables.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R318.7
Jack Glenn
 5416 
Chapter
Mod #
Comment
Summary
Reformat the Termite Inspection requirements by moving section R704 to a new Section R381.7
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
SECTION R301 ‑ DESIGN CRITERIA
Ken Cureton
 5432 
Chapter
Mod #
Comment
Summary
Modify SECTION R301.2.1.2
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
SECTION R301‑DESIGN CRITERIA
Ken Cureton
 5430 
Chapter
Mod #
Comment
Summary
Modify SECTION R301
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 40 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
SECTION R324 – AIRPORT NOISE
Ken Cureton
 5441 
Chapter
Mod #
Comment
Summary
Add SECTION R324
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table R301.2(2)
T Stafford
 5702 
Chapter
Mod #
Comment
Summary
Correlation with ASCE 7‑10.  Reinstates the component and cladding load table from the 2010 FBCR.
3

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

4‑Foundations
Section
Pending Review
R401.1
Michael Goolsby
 5626 
Chapter
Mod #
Comment
Summary
Section formatting
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R401.2
T Stafford
 5780 
Chapter
Mod #
Comment
Summary
This proposal reinstates the foundation requirements from the 2010 FBCR.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

5‑Floors
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 41 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R501.1
Michael Goolsby
 5627 
Chapter
Mod #
Comment
Summary
Section formatting
5

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R502
T Stafford
 5984 
Chapter
Mod #
Comment
Summary
Deletes the prescriptive wood framing construction provisions that do not apply to high wind areas.
5

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R505
T Stafford
 6000 
Chapter
Mod #
Comment
Summary
Deletes the prescriptive steel framing construction provisions that do not apply to high wind areas.
5

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

6‑Wall Construction
Section
Pending Review
606.16
Jim Heise
 5950 
Chapter
Mod #
Comment
Summary
Masonry opening tolerances
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 42 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
612.12.2
Jim Heise
 5960 
Chapter
Mod #
Comment
Summary
maximum sealant joints for Masonry Rough Openings
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
612.12
Jim Heise
 5956 
Chapter
Mod #
Comment
Summary
Flashing, sealants and weatherstripping
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
612.1
Jim Heise
 5769 
Chapter
Mod #
Comment
Summary
Exterior window and door flashing
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
612.2
Jim Heise
 5953 
Chapter
Mod #
Comment
Summary
performance criteria for windows and doors
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R601.1
Michael Goolsby
 4972 
Chapter
Mod #
Comment
Summary
Reinstate a code section erroneously removed
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 43 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R602
T Stafford
 5986 
Chapter
Mod #
Comment
Summary
Deletes the prescriptive wood framing construction provisions for wall framing that do not apply to high wind areas.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R603
T Stafford
 6001 
Chapter
Mod #
Comment
Summary
Deletes the prescriptive steel framing construction provisions that do not apply to high wind areas.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R606; R614
Joseph Belcher
 6017 
Chapter
Mod #
Comment
Summary
Adds prescriptive provisions suitable for Florida&#39;s wind loads as contained in previous editions of the FBCR for concrete masonry construction.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R612.2
T Stafford
 5701 
Chapter
Mod #
Comment
Summary
Correlation with ASCE 7‑10.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R612.3, R202
Joseph Hetzel
 5329 
Chapter
Mod #
Comment
Summary
Inclusion of garage door labeling requirements.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 44 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R612.3.1
Dwight Wilkes
 5670 
Chapter
Mod #
Comment
Summary
To reinstate the exterior windows and doors structural performance, testing, standards, label requirements and comparative analysis with Proposed changes to the 2012 IRC as submitted under S173‑12 and Public Comment to S172.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R612.4
Joseph Hetzel
 5334 
Chapter
Mod #
Comment
Summary
Inclusion of garage door test requirements.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R612.6
Janet Gerard
 5657 
Chapter
Mod #
Comment
Summary
Provides clarification of the term product approval
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R612.8.4.1
Joseph Belcher
 5722 
Chapter
Mod #
Comment
Summary
Retains provisions for interchangeability of door components and adopted ANSI Standard for side‑hinged exterior steel doors.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R614
Joseph Belcher
 5723 
Chapter
Mod #
Comment
Summary
Adds labeling and installation provisions for impact‑resistant coverings.
6

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 45 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
7‑Wall Covering
Section
Pending Review
703.3.3, 703.3.4
T Stafford
 5709 
Chapter
Mod #
Comment
Summary
This proposal references the WFCM for attachement of wood, hardboard, and wood structural panel siding.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
703.8
Jim Heise
 5750 
Chapter
Mod #
Comment
Summary
This mod adds the standards from R612.12.1 that are referenced in the 2010 FBC. This is also to maintain the FMA/AAMA 100, FMA/AAMA 200, FMA/WDMA 250 in the 2013 FBC as previously in the 2010 FBC
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R701.1
Michael Goolsby
 5629 
Chapter
Mod #
Comment
Summary
Section formatting
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R703.1.3
T Stafford
 5704 
Chapter
Mod #
Comment
Summary
Clarifies the applicable loads on soffits.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 46 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
R703.11.2
T Stafford
 5947 
Chapter
Mod #
Comment
Summary
Clarifies the application limits of vinyl siding over foam plastic sheathing.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R703.4
T Stafford
 5705 
Chapter
Mod #
Comment
Summary
Clarifies the limits of the prescriptive fastening table for wall coverings.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R703.5.3
T Stafford
 5710 
Chapter
Mod #
Comment
Summary
This proposal establishes limits for prescriptive attachmend of wood shakes and shingles wall coverings.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R703.7
T Stafford
 5711 
Chapter
Mod #
Comment
Summary
This proposal establishes limits for prescriptive attachmend of masonry veneers.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Table R703.4
T Stafford
 5706 
Chapter
Mod #
Comment
Summary
Modifies the prescriptive fastening table for wall coverings to be consistent with the 2010 FBCR.  Removes table entries that permit the use of staples.
7

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 47 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
8‑Roof‑Ceiling Construction
Section
Pending Review
R801.1
Michael Goolsby
 5630 
Chapter
Mod #
Comment
Summary
Section formatting
8

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R802.3.1
T Stafford
 5673 
Chapter
Mod #
Comment
Summary
Requires the use of ring shank nails for roof decking attachment.  This language is currently contained in the 2010 FBCR.  No new requirements are being proposed.
8

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R802
T Stafford
 5989 
Chapter
Mod #
Comment
Summary
Deletes the prescriptive wood framing construction provisions for roof framing that do not apply to high wind areas.
8

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R804
T Stafford
 6003 
Chapter
Mod #
Comment
Summary
Deletes the prescriptive steel framing construction provisions that do not apply to high wind areas.
8

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

21‑Hydronic Piping
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 48 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
2101.6
Michael Goolsby
 4979 
Chapter
Mod #
Comment
Summary
Section formatting
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

26‑General Plumbing Requirements
Section
Pending Review
2603.2
Michael Goolsby
 4984 
Chapter
Mod #
Comment
Summary
Section formatting
26

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

44‑HVHZ
Section
Pending Review
4403.11.2
Joseph Belcher
 5850 
Chapter
Mod #
Comment
Summary
Modifies sunroom categories to adopt those of AAMA 2100‑11
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4403
Michael Goolsby
 5010 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 49 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
4404
Michael Goolsby
 5011 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4405
Michael Goolsby
 5012 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4406
Michael Goolsby
 5013 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4407
Michael Goolsby
 5014 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4408
Michael Goolsby
 5015 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 50 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
4409
Michael Goolsby
 5016 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4410
Michael Goolsby
 5017 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
4411
Michael Goolsby
 5018 
Chapter
Mod #
Comment
Summary
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
R4408
Bonnie Manley
 5617 
Chapter
Mod #
Comment
Summary
This proposal, submitted on behalf of the steel industry, recommends the deletion of Section R4408 in favor of a direct reference to the HVHZ provisions in FBC Chapter 22.
44

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

45‑Referenced Standards
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 51 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
ASTM
Joseph Belcher
 6019 
Chapter
Mod #
Comment
Summary
Updates standards.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Chapte 45
Joseph Belcher
 6018 
Chapter
Mod #
Comment
Summary
Retains the prescriptive guide for small one story residential structures published by the Masonry Association of Florida.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Chapter 44 AAF
Joseph Belcher
 5840 
Chapter
Mod #
Comment
Summary
Retains information for adoption of AAF Guide.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Chapter 45
Joseph Belcher
 5895 
Chapter
Mod #
Comment
Summary
Updates AAMA/NPEA/NSA 2100—11
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
FMA
Janet Gerard
 5891 
Chapter
Mod #
Comment
Summary
Adds standard practiced for installation flashing and sealing of windows and doors installed in wood frame and masonry construction where extreme wind/water conditions exist
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 52 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Pending Review
Standards
Dwight Wilkes
 5659 
Chapter
Mod #
Comment
Summary
To recognize the standard for aluminum design as an alternative provision and provide the current edition AAMA 2100‑10 . American Architectural Manufacturers Association (AAMA) National Patio Enclosure Association (NPEA) &amp; National Sunroom Association (NSA) 2100 – Specification for Sunrooms.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Standards
Dwight Wilkes
 5664 
Chapter
Mod #
Comment
Summary
To recognize the standard editions for AAMA 506‑06 or 08 or 11 Voluntary Specifications for Impact and Cycle Testing of Fenestration Products.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Building
16‑Structural Design
Section
Withdrawn
1609.1.2 Protection of Openings
Suzanne Davis
 5122 
Chapter
Mod #
Comment
Summary
Revised to add items 3 and 4 and to be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
16

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

19‑Concrete
Section
Withdrawn
1913
Suzanne Davis
 5216 
Chapter
Mod #
Comment
Summary
Sections 1913.3.1 and 1913.3.2. To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
19

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

21‑Masonry
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 53 of 53
9/28/2012
Structural
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Structural
TAC:
 236 
Section
Withdrawn
2115
Suzanne Davis
 5217 
Chapter
Mod #
Comment
Summary
Sections 2115.1‑2115.1.2 To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
21

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

22‑Steel
Section
Withdrawn
2212
Suzanne Davis
 5218 
Chapter
Mod #
Comment
Summary
Sections 2212.1 and 2212.2. To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
22

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

23‑Wood
Section
Withdrawn
2304
Suzanne Davis
 5219 
Chapter
Mod #
Comment
Summary
Sections 2304.3.4.1, 2304.3.4.2, 2304.3.4.3. To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
23

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key