Tracking Chart ‑ All Mods
Page 1 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Code Change Cycle:
2013 Triennial Original Modification 7/1/2012 ‑ 8/2/2012
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Section
Pending Review
454.1.2.1 Pool Structure
Alex Fletcher
 5808 
Chapter
Mod #
Comment
Summary
Remove the requirement that the contractor provide written certification that the adhesive have a tested shear strength of at least 250 psi.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.2.2.3.1 Floor slope shall be uniform
Alex Fletcher
 5810 
Chapter
Mod #
Comment
Summary
Reduce the minimum slope from one unit vertical in 40 units horizontal to one unit vertical in 60 units horizontal.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.3.1.6
Alex Fletcher
 5812 
Chapter
Mod #
Comment
Summary
Increase the amount of deck along the pool perimeter that can be obstructed from ten to twenty percent.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.3.1.9
Alex Fletcher
 5815 
Chapter
Mod #
Comment
Summary
Eliminate the need for redundant gates at doored access points from public rooms such as lobbies or club houses.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 2 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
454.1.3.2 Bridges and overhead obstructions
Alex Fletcher
 5819 
Chapter
Mod #
Comment
Summary
Change the minimum height of a bridge or obstruction from 8 feet to 7 feet.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.4.2.3 Underwater lighting
Alex Fletcher
 5816 
Chapter
Mod #
Comment
Summary
Remove the abiguity of trying to convince each different department that the pool illumination of alternative lighting systems is equal to the requirements.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.6.2 Rinse Shower
Alex Fletcher
 5817 
Chapter
Mod #
Comment
Summary
Eliminate the requirement for how far a rinse shower must be from the pool.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.6.5.14 Heaters
Alex Fletcher
 5821 
Chapter
Mod #
Comment
Summary
Removes the ambiguity of having each different jurisdiction approve standards that are already nationally recognized.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.6.5.16.2 Hypophalogenetion and electrolytic
Alex Fletcher
 5823 
Chapter
Mod #
Comment
Summary
States that supplemental use of Electrlytic Chlorine Generators shall not be considered modifications.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 3 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
454.1.6.5.16.6
Alex Fletcher
 5828 
Chapter
Mod #
Comment
Summary
Eliminates the need to supply a certificate of performance to each jurisdiction and allows for equipment to comply with later editons of the USEPA Ultraviolet Disinfection Guidence Manuel.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.6.5.3.1 Perimeter overflow gutters
Alex Fletcher
 5818 
Chapter
Mod #
Comment
Summary
Reduce the abiguity of having each different jurisdiction approve the handhold design. It is too subjective.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.7.2 Depths
Alex Fletcher
 5846 
Chapter
Mod #
Comment
Summary
Adds the word depth
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.9.2.1.3.1
Alex Fletcher
 5852 
Chapter
Mod #
Comment
Summary
Reduce the ambiguity of trying to justify to each jurisdiction that riders will be adequetley slowed before reaching the receiving pool.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.9.3.1
Alex Fletcher
 5856 
Chapter
Mod #
Comment
Summary
Reduce unneccessary wording.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 4 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
454.1.9.5.4
Alex Fletcher
 5859 
Chapter
Mod #
Comment
Summary
Eliminate &quot;to the department&#39;s satisfaction&quot;
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.9.8.1
Alex Fletcher
 5861 
Chapter
Mod #
Comment
Summary
Change the collector tank size from 2 to 3 minutes of retention of the combined flow to match 64E‑9
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.9.8.2
Alex Fletcher
 5863 
Chapter
Mod #
Comment
Summary
Removes the requirement for an automatic skimmer in a collector tank for an Interactive Water Feature
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.9.8.3
Alex Fletcher
 5866 
Chapter
Mod #
Comment
Summary
Returns the treated water to the pressure side of the reciculation system.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1.9.8.6.1
Alex Fletcher
 5867 
Chapter
Mod #
Comment
Summary
Returns treated water to the collector tank for longer contact time.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 5 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
454.1
bob vincent
 5744 
Chapter
Mod #
Comment
Summary
Proposed revisions will make the two FL public pool codes identical (FBC454.1 &amp; Ch. 64E‑9, FAC). These exist in rule 64E‑9, but not currently in 454.1. So a public pool permitted‑constructed legally under FBC could be denied an operating permit by FDOH
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.1
bob vincent
 5847 
Chapter
Mod #
Comment
Summary
Alerts pool permit applicants that a DOH operation permit is also required to open a public pool.   Requires the jurisdictional Building Official to alert the DOH County Health Department of permit issuance and clearance of pools and bathing places.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454.2
Joe Bigelow
 5317 
Chapter
Mod #
Comment
Summary
To implement Florida statutes 515 and to carry forward the Commission’s work group on this subject.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
454
BOAF CDC
 5831 
Chapter
Mod #
Comment
Summary
Revise Section 454 FBCB to reference  International Swimming Pool and Spa Code (ISPSC) for pool &amp; spa construction
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

35‑Referenced Standards
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 6 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
APSP
Jennifer Hatfield
 5872 
Chapter
Mod #
Comment
Summary
Provides latest revisions to pool and spa standards.
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Reference Standard
BOAF CDC
 5839 
Chapter
Mod #
Comment
Summary
Add reference standard in ch 35 FBCB International Swimming Pool and Spa Code (ISPSC)
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Referenced Standards
Suzanne Davis
 5227 
Chapter
Mod #
Comment
Summary
To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Energy Conservation
4‑[RE] ‑ Residential Energy Efficiency
Section
Pending Review
R403.9
Ann Stanton
 5045 
Chapter
Mod #
Comment
Summary
Move swimming pool criteria from 2010 code forward into the 2013 code.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 7 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
R403.9
Representing FL Swimming Pool Assoc
 5814 
Chapter
Mod #
Comment
Summary
Moves swimming pool and spa criteria from 2010 code, with exception of APSP‑15 reference, forward into the 2013 code.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

5‑[RE] ‑ Referenced Standards
Section
Pending Review
R‑All
Ann Stanton
 6004 
Chapter
Mod #
Comment
Summary
Update standards list to reflect Florida specific references.
5

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Residential
42‑Swimming Pools
Section
Pending Review
4201 Swimming Pools
BOAF CDC
 5841 
Chapter
Mod #
Comment
Summary
The ICC codes are the base code for Florida, there is now an International Swimming Pool and Spa Code (ISPSC) and that should be the base code for Florida.
42

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

45‑Referenced Standards
Section
Pending Review
APSP
Jennifer Hatfield
 5874 
Chapter
Mod #
Comment
Summary
Provides latest editions of pool and spa standards.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 8 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Pending Review
CHAPTER 45 – REFERENCED STANDARDS
Ken Cureton
 5444 
Chapter
Mod #
Comment
Summary
Modify CHAPTER 45
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
CHAPTER 45 ‑ SWIMMING POOLS
Ken Cureton
 5443 
Chapter
Mod #
Comment
Summary
Add CHAPTER 45  ‑ SWIMMING POOLS , SECTIONS R4501.1 through R4501.23 

**Note ‑ This Chapter is being added which replaces the existing Chapter 45 and modifies subsequent Chapter numbers**
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Section
Pending Review
Referenced Standards
BOAF CDC
 5842 
Chapter
Mod #
Comment
Summary
The ICC codes are the base code for Florida, there is now an International Swimming Pool and Spa Code (ISPSC) and that should be the base code for Florida.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Section
Withdrawn
454 Swimming Pools and Bathing Places
Thomas Allen
 5579 
Chapter
Mod #
Comment
Summary
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
4

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

35‑Referenced Standards
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key

Tracking Chart ‑ All Mods
Page 9 of 9
9/27/2012
Swimming Pool
2013 Florida Building Code ‑ TAC review
Total Mods for this TAC:
Swimming Pool
TAC:
 38 
Section
Withdrawn
ICC Referanced Standards
Thomas Allen
 5580 
Chapter
Mod #
Comment
Summary
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
35

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

SubCode:
Residential
42‑Swimming Pools
Section
Withdrawn
4201 Scope
Thomas Allen
 5581 
Chapter
Mod #
Comment
Summary
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
42

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

45‑Referenced Standards
Section
Withdrawn
ICC Referanced Standards
Thomas Allen
 5583 
Chapter
Mod #
Comment
Summary
utilize the International Swimming Pool and Spa Code (ISPSC) for all swimming Pool and Spa construction.
45

Proponent
AS
AM
NAR
TAC Vote:
Second:

W

I

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
SW
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted 	AM = Approved as Modified NAR = No Affirmative Recommendation

W = Withdrawn	I = Insufficient (incomplete or does not meet criteria)

TAC Recommendations Key