STRUCTURAL TAC
WITH COMMENTS

Page 1 of 11
12/20/2012

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  42
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 8
SubCode
Building
Ü
17‑Structural Tests and Special Inspections
Section
1702‑09 Definitions
Suzanne Davis
 5149 
Chapter
Mod #
Comment
To be consistent with the Florida Statutes and to implement the Commission plan to update the 2013 Code.
17
Proponent
x

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-10-0

Summary

AS
AM
2nd to accept TAC 18Y-0N
X

NAR

I
Approved as Submitted

W
A2
Section
1715.5.4.2
Jim Heise
 5760 
Chapter
Mod #
Comment
1715.5.4.2 Masonry, concrete or other structural substrate.  Add to read as shown.
17
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
G1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
G1-10-0

Summary

AS
AM
2nd to accept TAC 18Y-0N

X

NAR

I
Approved as Submitted

W
G1
21‑Masonry
Section
2101.1
Michael Goolsby
 4957 
Chapter
Mod #
Comment
Section Formatting
21
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
2nd to accept TAC 18Y-0N

X

NAR

I
Approved as Submitted

W
A1
SubCode
Existing Building
Ü
16‑Referenced Standards

STRUCTURAL TAC
WITH COMMENTS

Page 2 of 11
12/20/2012

Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 8
Section
New Chapter 17
T Stafford
 5888 
Chapter
Mod #
Comment
Relocates the retrofit provisions in the appendix of the IEBC to new Chapter 17 for consistency with the 2010 FBCEB.  This proposal also includes updates to the version in the appendix of the IEBC.
16
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-8-2

Summary

AS
AM
2nd to accept TAC 18Y-0N

X

NAR

I
Approved as Submitted

W
A2 + Original
SubCode
Residential
Ü
3‑Building Planning
Section
R301.2.1.2
Dwight Wilkes
 5663 
Chapter
Mod #
Comment
To recognize the standard editions for AAMA 506‑06 or 08 or 11 Voluntary Specifications for Impact and Cycle Testing of Fenestration Products.
3
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
2nd to accept TAC 18Y-0N

X

NAR

I
Approved as Submitted

W
A1
7‑Wall Covering
Section
R703.11.2
T Stafford
 5947 
Chapter
Mod #
Comment
Clarifies the application limits of vinyl siding over foam plastic sheathing.
7
Proponent
X
X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-10-0
A1-0-10

A1
Summary
X
AS
AM
2nd with A2 10Y-7N, Approve as AS

NAR

I
Approved as Submitted

W

8‑Roof‑Ceiling Construction
Section
R802.3.1
T Stafford
 5673 
Chapter
Mod #
Comment
Requires the use of ring shank nails for roof decking attachment.  This language is currently contained in the 2010 FBCR.  No new requirements are being proposed.
8
Proponent
X
X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2-
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-10-0
A3-0-10

A3
Summary

AS
AM
17-1
X

NAR

I
Approved as Submitted

W
A2 + Original
45‑Referenced Standards

STRUCTURAL TAC
WITH COMMENTS

Page 3 of 11
12/20/2012

Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 8
Section
FMA
Janet Gerard
 5891 
Chapter
Mod #
Comment
Adds standard practiced for installation flashing and sealing of windows and doors installed in wood frame and masonry construction where extreme wind/water conditions exist
45
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
18-0
X

NAR

I
Approved as Submitted

W
A1 + Original
No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  42
Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
SubCode
Building
Ü
2‑Definitions
Section
202
Joseph Belcher
 5936 
Chapter
Mod #
Comment
Retains definition of awning as companion to Mod 5932
2
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A-1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
16‑Structural Design
Section
1609 Wind Loads
Suzanne Davis
 5118 
Chapter
Mod #
Comment
Figure 1609 A, B, C Wind Maps added To be consistent with the 2010 FBC Wind maps to continue to provide for improved resolution for the maps and to implement the Commission plan to update the 2013 Code
16
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
18-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
1609.1.2.1
Joseph Belcher
 5667 
Chapter
Mod #
Comment
Adds impact resistant covering as option to protect louvers.
16
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-9-1

Summary

AS
AM
18-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1

See Multiple Mod Tracking Chart  

STRUCTURAL TAC
WITH COMMENTS

Page 4 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
1609.1.2.2
Joseph Belcher
 5668 
Chapter
Mod #
Comment
Provides correlation between ASTM E 1996, FBCB, and ASCE 7‑10 regarding Wind Zone 4.
16
Proponent
X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
7-3

Summary
X
AS
AM
18-0

NAR

I
No Affirmative Recommendation with a Second

W

Section
1609.1.2
Joseph Belcher
 5707 
Chapter
Mod #
Comment
Retains provisions related to glazed opening protection;  impact standards; statutory provisions related to storage sheds; and opening protection for sunrooms.
16
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
1609.7
Joseph Hetzel
 5321 
Chapter
Mod #
Comment
Inclusion of garage door / rolling door wind load Table.
16
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
1626.1
Amanda Hickman
 5954 
Chapter
Mod #
Comment
Adds AMCA 540 to HWHZ section of the code.
16
Proponent
X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
0-10

Summary

AS
AM

X
NAR

I
No Affirmative Recommendation with a Second

W

Section
1626.1
Amanda Hickman
 5955 
Chapter
Mod #
Comment
Adds AMCA 540 to HWHZ section of the code and clarifies language.
16
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
0-10

G2
Summary

AS
AM
17-0

X
NAR

I
No Affirmative Recommendation with a Second

W

17‑Structural Tests and Special Inspections

STRUCTURAL TAC
WITH COMMENTS

Page 5 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
1710 &amp; 1711
Jaime Gascon
 5024 
Chapter
Mod #
Comment
Reinstates all the exterior window and door assemblies’ structural performance and standards from the 2010 FBC that are applicable to the HVHZ and are structural wind‑related.
17
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-9-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
1710.5
Dwight Wilkes
 5582 
Chapter
Mod #
Comment
Reinstates exterior window and door assemblies structural performance and standards from the 2010 FBC and introduces language submitted to the ICC for inclusion into the 2015 IBC, thru modification to the Florida base code the 2012 IBC Proposals S173 and S172
17
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-9-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
1710.5
James Bell
 5855 
Chapter
Mod #
Comment
Component approvals are essential to door openings that are made of component. Hardware items such as hinges, locks,exit devices and bolts are the structural components and need to be rates and have quality assurance.
17
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
G1-2-8

G1
Summary

AS
AM

X
NAR

I
No Affirmative Recommendation with a Second

W

Section
1710.5
Kari Hebrank
 6007 
Chapter
Mod #
Comment
Add new exception for custom doors.  Allows accepted engineering practices such as rational or comparative analysis for one‑of‑a‑kind custom doors. This language has been incorporated into every version of the Florida Building Code since 2002.
17
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action
X

G2-No Action Needed

Summary
X
AS
AM
18-0

NAR

I
No Affirmative Recommendation with a Second

W

Section
1710.5
Kari Hebrank
 6012 
Chapter
Mod #
Comment
This proposed modification will allow approved door components to be interchanged in exterior door assemblies provided that the door components provide equal or greater performance.  This change has been part of the 2004, 2007 and 2010 Florida Building Code.
17
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action
X

G2-No Comment Needed
G2

Summary
X
AS
AM
15-3

NAR

I
No Affirmative Recommendation with a Second

W

STRUCTURAL TAC
WITH COMMENTS

Page 6 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
1710.6
Dwight Wilkes
 5635 
Chapter
Mod #
Comment
Reason: The overall intent of this proposal is to clarify the requirements for tubular daylighting devices, within the context of skylights and sloped glazing.
17
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
G1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
G1-10-0

Summary
X
AS
AM
17-0

NAR

I
No Affirmative Recommendation with a Second

W
G1
Section
1710
Dwight Wilkes
 5623 
Chapter
Mod #
Comment
Reinstates the exterior window and door structural performance, standards and label from the 2010 FBC with modifications to clearify Existing FBC 1715.5.
17
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-0-10

A1
Summary

AS
AM
16-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
20‑Aluminum
Section
2002.6
Joseph Belcher
 5792 
Chapter
Mod #
Comment
Carries forward adoption of AAMA 2100; Carries forward and updates sunroom categories.
20
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
G1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
G1-10-0

Summary
X
AS
AM
17-0

NAR

I
No Affirmative Recommendation with a Second

W
G1
21‑Masonry
Section
2107.1
Joseph Belcher
 5974 
Chapter
Mod #
Comment
Retains exception to inspection requirements of adopted standard.
21
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-8-2

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1

STRUCTURAL TAC
WITH COMMENTS

Page 7 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
2108.1
Joseph Belcher
 5973 
Chapter
Mod #
Comment
Retains exception to inspection requirements of adopted standard.
21
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-8-2

Summary

AS
AM
17-017-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
2122.2.1
Joseph Belcher
 5981 
Chapter
Mod #
Comment
Clarification of intent of section.
21
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
22‑Steel
Section
2214.3.3
Thomas Sputo
 4993 
Chapter
Mod #
Comment
Delete reference to ASCE 3, an outdated standard for composite deck that was removed from the 2012 IBC, and which, as explained in Proposal 4944, will be replaced in the 2015 IBC by ANSI/SDI C‑2011.
22
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
23‑Wood
Section
2304.7.2.1
T Stafford
 5671 
Chapter
Mod #
Comment
Requires the use of ring shank nails for roof decking attachment.  This language will achieve consistency between the FBCB and FBCR.  The FBCR has required the roof decking to be attached with ring shank nails since the 2006 Supplement to the 2004 code.
23
Proponent
X
X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-8-2
A2-0-10

A2
Summary

AS
AM
10-8

X
NAR

I
No Affirmative Recommendation with a Second

W

24‑Glass and Glazing

STRUCTURAL TAC
WITH COMMENTS

Page 8 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
2404.2, 2405.5, 2405.5.1, 2405.5.2
Dwight Wilkes
 5636 
Chapter
Mod #
Comment
Reason: The overall intent of this proposal is to clarify the requirements for tubular daylighting devices, within the context of skylights and sloped glazing.
24
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action
X
X
A1-10-0
G1

Summary

AS
AM
18-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
Section
2404
Dwight Wilkes
 5584 
Chapter
Mod #
Comment
This proposal is to coordinate the glass design load equations of Chapter 24 with those of Chapter 16,  to the change of design wind load model from Allowable Stress Design to Strength Design in ASCE 7‑10. 
These revisions were not carried back to the glass design load equations of Chapter 24.
24
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
18-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
35‑Referenced Standards
Section
ANSI
Randall Shackelford
 6023 
Chapter
Mod #
Comment
Fixes an error in the 2012 IBC by correcting the ASTM Standard for testing of joist hangers and connectors and allowing the option of using the newest standard for testing
35
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A2
Section
Standards
Dwight Wilkes
 5674 
Chapter
Mod #
Comment
As the Base Code [2012 IBC] only recognizes two [2] AAMA standards and the Florida 2010 Code has eleven [11] standards with multiple editions, this modification is bring into the 2013 Florida Building Code the existing standards in Florida  and to remove outdated and include current standards.
35
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM

X

NAR

I
No Affirmative Recommendation with a Second

W
A1
SubCode
Existing Building
Ü
2‑Definitions

STRUCTURAL TAC
WITH COMMENTS

Page 9 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
202
T Stafford
 5889 
Chapter
Mod #
Comment
New definitions for correlation with proposed new Chapter 17.
2
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A3
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A3-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A3 + Original
5‑Classification of Work
Section
510
T Stafford
 5890 
Chapter
Mod #
Comment
Charging language is added to provided direction to Chapter 17 for retrofits.
5
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
10‑Change of Occupancy
Section
1007
Ken Cureton
 5878 
Chapter
Mod #
Comment
Modify SECTION 1007.2
10
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
SubCode
Residential
Ü
3‑Building Planning
Section
R301.2.1.2.1
Joseph Belcher
 5721 
Chapter
Mod #
Comment
Modifies ASTM E 1996 Wind Zone definitions to correlate with wind speeds of ASCE 7‑10 and FBCR.
3
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
G1-4-6
G2-4-6

G1, G2
Summary
X
AS
AM
18-0

NAR

I
No Affirmative Recommendation with a Second

W

STRUCTURAL TAC
WITH COMMENTS

Page 10 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
R301.2.1
Joseph Hetzel
 5328 
Chapter
Mod #
Comment
Inclusion of a garage door wind load Table.
3
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM

X

NAR

I
No Affirmative Recommendation with a Second

W
A1
6‑Wall Construction
Section
612.1
Jim Heise
 5769 
Chapter
Mod #
Comment
Exterior window and door flashing
6
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A2
Section
612.2
Jim Heise
 5953 
Chapter
Mod #
Comment
performance criteria for windows and doors
6
Proponent
X
x

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A2-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A2
Section
R612.3.1
Dwight Wilkes
 5670 
Chapter
Mod #
Comment
To reinstate the exterior windows and doors structural performance, testing, standards, label requirements and comparative analysis with Proposed changes to the 2012 IRC as submitted under S173‑12 and Public Comment to S172.
6
Proponent
x

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X
A1-10-0

Summary

AS
AM
17-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1
45‑Referenced Standards

STRUCTURAL TAC
WITH COMMENTS

Page 11 of 11
12/20/2012

Total Mods for  Structural in  No Affirmative Recommendation with a Second
TAC: 
Structural
 34
Section
Standards
Dwight Wilkes
 5659 
Chapter
Mod #
Comment
To recognize the standard for aluminum design as an alternative provision and provide the current edition AAMA 2100‑10 . American Architectural Manufacturers Association (AAMA) National Patio Enclosure Association (NPEA) &amp; National Sunroom Association (NSA) 2100 – Specification for Sunrooms.
45
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A1
3. No comment is needed.
4. Straw Poll.
Commission Action

X

A1-10-0

Summary

AS
AM
18-0
X

NAR

I
No Affirmative Recommendation with a Second

W
A1 + Original
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria