Page 1 of 46
12/21/2012

Approved as Modified
TAC Recommendation
Ü
Total Mods for reports:  180
Total Mods for  Roofing in  Approved as Modified  2nd Tolbert to app consent as modified 18Y-0N
  TAC: 
Roofing
 6
SubCode
Residential
Ü
9‑Roof Assemblies
Mod #
 5509 
Proponent
Mark Zehnal
R905.4.5 Application.
Section
9
Chapter
Approved as Modified
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5517 
Proponent
Mark Zehnal
TABLE R905.6.5 SLATE SHINGLE HEADLAP
Section
9
Chapter
Approved as Modified
Provides and carries forward current 2010 FBC Florida‑specific criteria.
bottom of table should be (Slope greater than or equal to 20:12) will not take when submitted.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5527 
Proponent
Mark Zehnal
R905.7.8 Flashing.
Section
9
Chapter
Approved as Modified
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5539 
Proponent
Mark Zehnal
R905.8.10 Flashing.
Section
9
Chapter
Approved as Modified
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

23‑Solar Energy Systems

Page 2 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Modified
TAC: 
Roofing
 6
Mod #
 4980 
Proponent
Michael Goolsby
2301.2.2
Section
23
Chapter
Approved as Modified
Section formatting
Summary
Commission Action
I

NAR

AM
X
W

AS

Mod #
 4982 
Proponent
Michael Goolsby
2302.2.1
Section
23
Chapter
Approved as Modified
Section formatting
Summary
Commission Action
I

NAR

AM
X
W

AS

Approved as Submitted
TAC Recommendation
Ü
Total Mods for reports:  180
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
SubCode
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Mod #
 4958 
Proponent
Michael Goolsby
1515.2.2.1
Section
15
Chapter
Approved as Submitted
Establish minimum roof slopes consistent with base code
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 4959 
Proponent
Michael Goolsby
1516
Section
15
Chapter
Approved as Submitted
Roof Fire Classification
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 3 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 4960 
Proponent
Michael Goolsby
1522
Section
15
Chapter
Approved as Submitted
Elevation of rooftop equipment
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5258 
Proponent
Mark Zehnal
1502
Section
15
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5270 
Proponent
Mark Zehnal
1507.10 Built‑up roofs.
Section
15
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5276 
Proponent
Mark Zehnal
1507.5 Metal roof shingles.
Section
15
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 4 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5280 
Proponent
Mark Zehnal
1507.17 Photovoltaic modules/shingles.
Section
15
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5340 
Proponent
Mark Zehnal
1503.2.1 Locations.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5341 
Proponent
Mark Zehnal
1503.2 Flashing
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5342 
Proponent
Mark Zehnal
1503.4.1 Secondary (emergency overflow) drains or
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 5 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5343 
Proponent
Mark Zehnal
1503.4.2.1 Overflow scuppers.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5344 
Proponent
Mark Zehnal
1503.4.2 Scuppers.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5345 
Proponent
Mark Zehnal
1503.4 Roof drainage.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5346 
Proponent
Mark Zehnal
1503.5 Roof ventilation.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 6 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5348 
Proponent
Mark Zehnal
1504.1.1 Wind resistance of asphalt shingles.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5349 
Proponent
Mark Zehnal
1504.3.2 Metal panel roof systems.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5350 
Proponent
Mark Zehnal
1504.5 Edge securement for low‑slope roofs.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

XX
AS

Mod #
 5351 
Proponent
Mark Zehnal
1504.6 Physical properties.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 7 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5352 
Proponent
Mark Zehnal
1504.6 Physical properties.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5353 
Proponent
Mark Zehnal
1504.8 Aggregate.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5356 
Proponent
Mark Zehnal
1505.7 Special purpose roofs.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5357 
Proponent
Mark Zehnal
1506.5 Nails.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 8 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5358 
Proponent
Mark Zehnal
1506.6 Screws.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5359 
Proponent
Mark Zehnal
1506.7 Clips.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5361 
Proponent
Mark Zehnal
1507.2.5 Asphalt shingles.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5362 
Proponent
Mark Zehnal
1507.2.6.1
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 9 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5364 
Proponent
Mark Zehnal
1507.2.7 Attachment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5365 
Proponent
Mark Zehnal
1507.2.8.1 High wind attachment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5367 
Proponent
Mark Zehnal
1507.2.8.2 Ice barrier
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5368 
Proponent
Mark Zehnal
1507.2.8 Underlayment application.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code ‑specific slope criteria addressed in DEC Statement DCA08‑DEC‑331 and removes unnecessary language.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 10 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5370 
Proponent
Mark Zehnal
1507.2.9.1 Base and counter flashing.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code ‑specific slope criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5371 
Proponent
Mark Zehnal
1507.2.9.2 Valleys.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5372 
Proponent
Mark Zehnal
1507.2.9.3 Drip edge.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5373 
Proponent
Mark Zehnal
1507.3.1 Deck requirements.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 11 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5376 
Proponent
Mark Zehnal
1507.3.3.2 High‑slope roofs.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5377 
Proponent
Mark Zehnal
1507.3.3.3 High wind attachment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5385 
Proponent
Mark Zehnal
1507.4.4 Attachment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5387 
Proponent
Mark Zehnal
1507.5.2.1
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 12 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5388 
Proponent
Mark Zehnal
1507.5.3 Underlayment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5389 
Proponent
Mark Zehnal
1507.5.4 Ice barrier.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5390 
Proponent
Mark Zehnal
1507.5.7 Flashing.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5392 
Proponent
Mark Zehnal
1507.6.3 Underlayment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 13 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5394 
Proponent
Mark Zehnal
1507.6.4 Ice barrier.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5395 
Proponent
Mark Zehnal
1507.6.5 Material standards.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5396 
Proponent
Mark Zehnal
1507.7.3 Underlayment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5398 
Proponent
Mark Zehnal
1507.7.4 Ice barrier.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 14 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5399 
Proponent
Mark Zehnal
1507.7.7 Flashing.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5400 
Proponent
Mark Zehnal
1507.8.1.1 Solid sheathing required.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5401 
Proponent
Mark Zehnal
1507.8.3 Underlayment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5402 
Proponent
Mark Zehnal
1507.8.4 Ice barrier.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 15 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5403 
Proponent
Mark Zehnal
1507.8.8 Flashing.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5404 
Proponent
Mark Zehnal
1507.9.1.1 Solid sheathing required.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5406 
Proponent
Mark Zehnal
1507.9.3 Underlayment.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5407 
Proponent
Mark Zehnal
1507.9.4 Ice barrier.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 16 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5408 
Proponent
Mark Zehnal
1507.9.9 Flashing.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5413 
Proponent
Mark Zehnal
1510.3 Recovering versus replacement.
Section
15
Chapter
Approved as Submitted
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM
X
W

AS

Remove Table R905.14.3

Mod #
 5465 
Proponent
Michael Goolsby
1514.4
Section
15
Chapter
Approved as Submitted
Section Formatting
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5686 
Proponent
James L. Buckner P.E.@CBUCK Engineering
1504.9
Section
15
Chapter
Approved as Submitted
To reinstate the margin of safety from the 2007 and 2010 FBC that is applicable to the roof assemblies performance requirements, section 1504.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 17 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5739 
Proponent
Deborah Lawson
1508.2 Material Standards for Roof Insulation
Section
15
Chapter
Approved as Submitted
Adds Leightweight Insulating Concrete and appropriate ASTM reference to chart of &quot;material standards for roof insulation.&quot;
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5746 
Proponent
Deborah Lawson
1519.5.3 Lightweight insulating concrete.
Section
15
Chapter
Approved as Submitted
Technical correction to terminology.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5748 
Proponent
Deborah Lawson
1521.7
Section
15
Chapter
Approved as Submitted
Technical correction to terminology.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5749 
Proponent
Deborah Lawson
1521.20
Section
15
Chapter
Approved as Submitted
Technical correction to terminology.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 18 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5798 
Proponent
Randall Shackelford
1507.3.6
Section
15
Chapter
Approved as Submitted
Adds methods for determining corrosion resistance of screws for roof tile.
Summary
Commission Action
I

NAR

AM

W
X

AS

Withdrawn 18y-0n

35‑Referenced Standards
Mod #
 5586 
Proponent
Mark Zehnal
SECTION ‑ REFERENCED STANDARDS (FRSA)
Section
35
Chapter
Approved as Submitted
Provides update to previous Commission approved code referenced standard.
Summary
Commission Action
I

NAR

AM

W

X
AS

SubCode
Existing Building
Ü
1‑Scope and Administration
Mod #
 5140 
Proponent
Ken Cureton
101
Section
1
Chapter
Approved as Submitted
Modify SECTION 101.6 
ADD SECTION 101.8
Summary
Commission Action
I

NAR

AM

W

X
AS

7‑Alterations ‑ Level 1
Mod #
 4967 
Proponent
Michael Goolsby
[B]706.1
Section
7
Chapter
Approved as Submitted
Section formatting
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 19 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5244 
Proponent
Mark Zehnal
711.7.2
Section
7
Chapter
Approved as Submitted
Include ASTM D 4869 Type II &amp; Type IV as underlayment option to correlate with underlayment’s available in Chapter 9 of the Florida Residential Code and clarify fastening installation language.
Summary
Commission Action
I

NAR

AM

W

X
AS

SubCode
Residential
Ü
9‑Roof Assemblies
Mod #
 5300 
Proponent
Mark Zehnal
R904
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5303 
Proponent
Mark Zehnal
R905.9 Built‑up roofs.
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5305 
Proponent
Mark Zehnal
R905.15 Liquid‑applied roofing.
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 20 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5309 
Proponent
Mark Zehnal
R905.11 Modified bitumen roofing.
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5310 
Proponent
Mark Zehnal
R905.12 Thermoset single‑ply roofing.
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5311 
Proponent
Mark Zehnal
R905.13 Thermoplastic single‑ply roofing.
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5313 
Proponent
Mark Zehnal
R905.14 Sprayed polyurethane foam roofing.
Section
9
Chapter
Approved as Submitted
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM
X
W

AS
Remove Table R905.14.3
Motin to accpt as amend 2nd Boyer 18y-0n

Page 21 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5473 
Proponent
Mark Zehnal
R903.2.1 Locations.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5475 
Proponent
Mark Zehnal
R903.2.3 Membrane flashings.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5478 
Proponent
Mark Zehnal
R903.4 Roof drainage.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5484 
Proponent
Mark Zehnal
R905.2.2 Slope.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 22 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5486 
Proponent
Mark Zehnal
R905.2.4.1 Wind resistance of asphalt shingles
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5488 
Proponent
Mark Zehnal
R905.2.7.1 Ice barrier.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5489 
Proponent
Mark Zehnal
R905.2.7.2 Underlayment and high winds.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5491 
Proponent
Mark Zehnal
R905.2.8.1 Base and cap flashing.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 23 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5492 
Proponent
Mark Zehnal
R905.2.8.2 Valleys.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5493 
Proponent
Mark Zehnal
R905.2.8.3 Sidewall flashing.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5494 
Proponent
Mark Zehnal
R905.2.8.5 Drip edge.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5495 
Proponent
Mark Zehnal
R905.3.1 Deck requirements.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 24 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5498 
Proponent
Mark Zehnal
R905.3.3.2 High slope roofs
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5506 
Proponent
Mark Zehnal
R905.4.3.1 Ice barrier.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5510 
Proponent
Mark Zehnal
R905.4.6 Flashing.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5512 
Proponent
Mark Zehnal
R905.5.3.2 Underlayment and high winds.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 25 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5514 
Proponent
Mark Zehnal
R905.5.4 Material standards.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5515 
Proponent
Mark Zehnal
R905.6.3.1 Ice barrier.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5518 
Proponent
Mark Zehnal
R905.6.6 Flashing.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5519 
Proponent
Mark Zehnal
R905.6.7
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 26 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5520 
Proponent
Mark Zehnal
R905.7.1.1 Solid sheathing required.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5521 
Proponent
Mark Zehnal
R905.7.3.1 Ice barrier.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5522 
Proponent
Mark Zehnal
R905.7.3.2 Underlayment and high winds.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5523 
Proponent
Mark Zehnal
R905.7.5 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 27 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5524 
Proponent
Mark Zehnal
R905.7.6.1 Fasteners.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5525 
Proponent
Mark Zehnal
R905.7.6 Valley flashing
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5526 
Proponent
Mark Zehnal
R905.7.7 Label required
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5528 
Proponent
Mark Zehnal
R905.7.9 Label required
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 28 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5529 
Proponent
Mark Zehnal
R905.8.1.1 Solid sheathing required.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5530 
Proponent
Mark Zehnal
R905.8.2 Deck slope.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5531 
Proponent
Mark Zehnal
R905.8.3.1 Ice barrier.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5532 
Proponent
Mark Zehnal
R905.8.3.2 Underlayment and high winds.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 29 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5533 
Proponent
Mark Zehnal
R905.8.3.2 Underlayment and high winds.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5534 
Proponent
Mark Zehnal
R905.8.4  Interlayment.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5535 
Proponent
Mark Zehnal
R905.8.6 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5536 
Proponent
Mark Zehnal
R905.8.7.1 Fasteners.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 30 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5537 
Proponent
Mark Zehnal
R905.8.7 Shake placement
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5538 
Proponent
Mark Zehnal
R905.8.8 Valley flashing.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5543 
Proponent
Mark Zehnal
R905.10.4.1 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5544 
Proponent
Mark Zehnal
R905.10.4 Attachment.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 31 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5545 
Proponent
Mark Zehnal
R905.10.5.1 Underlayment and high winds.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5546 
Proponent
Mark Zehnal
TABLE R905.11.2 MODIFIED BITUMEN ROOFING MATERIAL
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5547 
Proponent
Mark Zehnal
R905.11.3 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5548 
Proponent
Mark Zehnal
R905.12.3 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 32 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5549 
Proponent
Mark Zehnal
R905.13.3 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5550 
Proponent
Mark Zehnal
R905.14.3 Application.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5552 
Proponent
Mark Zehnal
R905.16 Photovoltaic modules/shingles.
Section
9
Chapter
Approved as Submitted
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5553 
Proponent
Mark Zehnal
R905.17 SOLAR PHOTOVOLTAIC PANELS/MODULES
Section
9
Chapter
Approved as Submitted
Provides requirements for Photovoltaic Systems not considered with Integrated Roofing Photovoltaic. Incorporates intent of foundation code in chapter 15 of IBC‑ Section 1511.
Summary
Commission Action
I

NAR

AM

W

X
AS

Page 33 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5799 
Proponent
Randall Shackelford
R905.3.6
Section
9
Chapter
Approved as Submitted
Adds methods for determining corrosion resistance of screws for roof tile.
Summary
Commission Action
I

NAR

AM

W
X

AS

Withdrawn 18Y-0N

44‑HVHZ
Mod #
 5008 
Proponent
Michael Goolsby
4401
Section
44
Chapter
Approved as Submitted
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5009 
Proponent
Michael Goolsby
4402
Section
44
Chapter
Approved as Submitted
Eliminating unnecessary duplication of Chapter 44 HVHZ provisions
Summary
Commission Action
I

NAR

AM

W

X
AS

45‑Referenced Standards
Mod #
 5604 
Proponent
Mark Zehnal
SECTION ‑ REFERENCED STANDARDS (FRSA)
Section
45
Chapter
Approved as Submitted
Provides update to previous Commission approved code referenced standard.
Summary
Commission Action
I

NAR

AM

W

X
AS

SubCode
Test Protocols
Ü
1‑110

Page 34 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5035 
Proponent
Jaime Gascon
15
Section
1
Chapter
Approved as Submitted
Correlating reference weathering standards with latest versions already adopted in base code.
Summary
Commission Action
I

NAR

AM

W

X
AS

1‑114
Mod #
 5037 
Proponent
Jaime Gascon
2.7
Section
1
Chapter
Approved as Submitted
Correlating reference weathering standards with latest versions already adopted in base code.
Summary
Commission Action
I

NAR

AM

W

X
AS

Mod #
 5039 
Proponent
Jaime Gascon
8.7
Section
1
Chapter
Approved as Submitted
Correlating reference weathering standards with latest versions already adopted in base code.
Summary
Commission Action
I

NAR

AM

W

X
AS

1‑131
Mod #
 5040 
Proponent
Jaime Gascon
2 &amp; 10.17 &amp; 10.18
Section
1
Chapter
Approved as Submitted
Correlating reference weathering standards with latest versions already adopted in base code.
Summary
Commission Action
I

NAR

AM

W

X
AS

1‑138

Page 35 of 46
12/21/2012

Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 132
Mod #
 5042 
Proponent
Jaime Gascon
2 &amp; 8.4 &amp; 9.3
Section
1
Chapter
Approved as Submitted
Correlating reference weathering standards with latest versions already adopted in base code.
Summary
Commission Action
I

NAR

AM

W

X
AS

1‑143
Mod #
 5044 
Proponent
Jaime Gascon
2 &amp; 7.11
Section
1
Chapter
Approved as Submitted
Correlating reference weathering standards with latest versions already adopted in base code.
Summary
Commission Action
I

NAR

AM

W

X
AS

No Affirmative Recommendation with a Second
TAC Recommendation
Ü
Total Mods for reports:  180
Total Mods for  Roofing in  No Affirmative Recommendation with a Second
TAC: 
Roofing
 2
SubCode
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Mod #
 5355 
Proponent
Mark Zehnal
1505.2 Class A roof assemblies.
Section
15
Chapter
No Affirmative Recommendation with a Second
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 36 of 46
12/21/2012

Total Mods for  Roofing in  No Affirmative Recommendation with a Second
TAC: 
Roofing
 2
Mod #
 5944 
Proponent
Craig Chown
1512
Section
15
Chapter
No Affirmative Recommendation with a Second
Existing codes are not germane to new technology EPOX‑Z roof coatings. Standards needed for &quot;real world&quot; conditions to protect the public include ASTM D5894 (weatherability); ASTM D1635 (permeability); ASTM D714 (blistering); ASTM D1654 (corrosion resistance); ASTM D4214 (chalking).
Summary
Commission Action
I

NAR
X
AM

W

AS

Withdrawn
TAC Recommendation
Ü
Total Mods for reports:  180
Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
SubCode
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Mod #
 5260 
Proponent
Mark Zehnal
1503
Section
15
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5262 
Proponent
Mark Zehnal
1504
Section
15
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5264 
Proponent
Mark Zehnal
1505
Section
15
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 37 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5266 
Proponent
Mark Zehnal
1506
Section
15
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5273 
Proponent
Mark Zehnal
1507.3 Clay and concrete tile.
Section
15
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5354 
Proponent
Mark Zehnal
1504.9 Margin of Safety.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5374 
Proponent
Mark Zehnal
1507.3.2 Deck slope.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 38 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5375 
Proponent
Mark Zehnal
1507.3.3.1 Slope and underlayment requirements.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5378 
Proponent
Mark Zehnal
1507.3.3 Underlayment.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5380 
Proponent
Mark Zehnal
1507.3.6 Fasteners.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5381 
Proponent
Mark Zehnal
1507.3.7 Attachment.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 39 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5382 
Proponent
Mark Zehnal
1507.3.8 Application.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5384 
Proponent
Mark Zehnal
1507.3.9 Flashing.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5391 
Proponent
Mark Zehnal
1507.6.3.1 Underlayment and high wind.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5409 
Proponent
Mark Zehnal
1507.10.3 Red rosin paper.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 40 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5410 
Proponent
Mark Zehnal
1507.17 Photovoltaic modules/shingles.
Section
15
Chapter
Withdrawn
Provides current 2010 Florida Building Code specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5569 
Proponent
Mark Zehnal
1507.2.8.1 High wind attachment.
Section
15
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5570 
Proponent
Mark Zehnal
1507.3.3.3 High wind attachment.
Section
15
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5588 
Proponent
Mark Zehnal
1507.3.2
Section
15
Chapter
Withdrawn
Provides current Florida‑specific criteria including update to previous Commission approved code referenced standard.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 41 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5925 
Proponent
Deborah Lawson
1519.5.3 Lightweight insulating concrete.
Section
15
Chapter
Withdrawn
Technical correction to terminology.
Summary
Commission Action
I

NAR

AM

W
X

AS

SubCode
Residential
Ü
9‑Roof Assemblies
Mod #
 5297 
Proponent
Mark Zehnal
R901
Section
9
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5302 
Proponent
Mark Zehnal
R905.16
Section
9
Chapter
Withdrawn
Provides current Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5479 
Proponent
Mark Zehnal
R904.4.1 Nails.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 42 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5480 
Proponent
Mark Zehnal
R904.4.2 Screws.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5481 
Proponent
Mark Zehnal
R904.4.3 Clips.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5482 
Proponent
Mark Zehnal
R904.4 Product identification
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5483 
Proponent
Mark Zehnal
R904.4 Product identification
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 43 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5496 
Proponent
Mark Zehnal
R905.3.2 Deck slope.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5497 
Proponent
Mark Zehnal
R905.3.3.1 Low slope roofs.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5500 
Proponent
Mark Zehnal
R905.3.3 Underlayment.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5501 
Proponent
Mark Zehnal
R905.3.6 Fasteners.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 44 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5502 
Proponent
Mark Zehnal
R905.3.7.1 Hip and ridge tiles
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5503 
Proponent
Mark Zehnal
R905.3.7 Application.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5504 
Proponent
Mark Zehnal
R905.3.8 Flashing.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5505 
Proponent
Mark Zehnal
R905.3 Clay and concrete tile.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Page 45 of 46
12/21/2012

Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 39
Mod #
 5511 
Proponent
Mark Zehnal
R905.5.3.1 Ice barrier.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5540 
Proponent
Mark Zehnal
R905.9.2.1
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5551 
Proponent
Mark Zehnal
R905.15.3 Application.
Section
9
Chapter
Withdrawn
Provides and carries forward current 2010 FBC Florida‑specific criteria.
Summary
Commission Action
I

NAR

AM

W
X

AS

Mod #
 5631 
Proponent
Michael Goolsby
R901.1
Section
9
Chapter
Withdrawn
Section formatting
Summary
Commission Action
I

NAR

AM

W
X

AS

No Affirmative Recommendation without a Second
TAC Recommendation
Ü
Total Mods for reports:  180
Total Mods for  Roofing in  No Affirmative Recommendation without a Second
TAC: 
Roofing
 1
SubCode
Building
Ü
35‑Referenced Standards

Page 46 of 46
12/21/2012

Total Mods for  Roofing in  No Affirmative Recommendation without a Second
TAC: 
Roofing
 1
Mod #
 6020 
Proponent
Craig Chown
ASTM
Section
35
Chapter
No Affirmative Recommendation without a Second
Includes ASTM reference standards for cool roof coating products as a supplement to proposals under Section 1512.5 in a related modification.
Summary
Commission Action
I

NAR
X
AM

W

AS

Note: all mods – action as noted.  Otherwise taken under consent with vote  18-0
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2013
ALL
ALL
ALL
ALL
R
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria