Page 1 of 3
6/30/2016
WITH COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Approved as Modified
TAC Recommendation
Total Mods for  Special Occupancy in  Approved as Modified
TAC: 
Special Occupancy
 2
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
453.15.5
Ippolito Michael
 6364 
Chapter
Mod #
Comment
The wording of 2014‑FBC‑Building‑Section 453.15.5 is not included in or supported by ASHRAE 62.1 and was removed in the 2004 Edition of FBC‑Mechanical‑Section 403.3.  Proposed Mod deletes current wording of BC 453.15.5 and adds new wording supported by ASHRAE 62.1 and Mechanical Code Section 403.
4
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
3. No comment is needed.
4. Straw Poll.
Commission Action

X
6 yes -0 no

A-5

Summary

AS
AM

NAR

I
Approved as Modified

W
Section
450.3
skip gregory
 6990 
Chapter
Mod #
Comment
Adopts the 2014 edition of the The Guidelines for Design and Construction of Residential Health, Care, and Support Facilities as the primary design requirements for skilled nursing homes. Deletes and revises existing requirements as needed to adopt this new standard.
4
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A-9
3. No comment is needed.
4. Straw Poll.
Commission Action

X
6 yes-0 no

Summary

AS
AM

NAR

I
Approved as Modified

W
Approved as Submitted
TAC Recommendation
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 2
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
453.17.8
Don Whitehead
 6936 
Chapter
Mod #
Comment
Require GFI receptacles in pre‑kindergarten and kindergarten classrooms.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action
X
X
6 yes-0 no
G2

Summary

AS
AM

NAR

I
Approved as Submitted

W
35‑Referenced Standards

Page 2 of 3
6/30/2016
WITH COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 2
Section
35
Bryan Holland
 6458 
Chapter
Mod #
Comment
This modification updates and corrects the reference to the NFPA 780 ‑ Standard for the Installation of Lightning Protection Systems.
35
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action
X
X
6 yes – 0 No
G3

Summary

AS
AM

NAR

I
Approved as Submitted

W
No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Special Occupancy in  No Affirmative Recommendation with a Second
TAC: 
Special Occupancy
 4
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
453.8.3
Paul Coats
 6623 
Chapter
Mod #
Comment
Removes construction type restrictions in Section 453 for public schools which conflict with construction type provisions for schools in Chapters 5 and 6 of the code.
4
Proponent

X
1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

X
6 yes – 0 No

G8
Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Section
449.3
skip gregory
 6887 
Chapter
Mod #
Comment
Clarifies and makes editorial modifications to the architectural details for hospitals.
4
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A5
3. No comment is needed.
4. Straw Poll.
Commission Action

X
6 yes – 0 no

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Page 3 of 3
6/30/2016
WITH COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Total Mods for  Special Occupancy in  No Affirmative Recommendation with a Second
TAC: 
Special Occupancy
 4
Section
453.25.4
Don Whitehead
 6910 
Chapter
Mod #
Comment
Remove a portion of the code and reference a portion of ICC 500 regarding wind load requirements.
4
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A2
3. No comment is needed.
4. Straw Poll.
Commission Action

X
6 yes – 0 No

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
39‑Special Construction
Section
3109
Rebecca Quinn obo FL Dept Emerg Mgnt
 6883 
Chapter
Mod #
Comment
Revises Sec 3109 to align with coastal high hazard areas requirements (Zone V) of ASCE 24‑14 Flood Resistant Design and Construction (referenced Sec 1612), while retaining specific requirements for CCCL that flow from Ch 161, FS or were requested by DEP.
39
Proponent
X

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).
A4
3. No comment is needed.
4. Straw Poll.
Commission Action

X
6 yes – 0 no

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria