Page 1 of 3
6/30/2016
WITH COMMENTS
Electrical
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Approved as Modified
TAC Recommendation
Total Mods for  Electrical in  Approved as Modified
TAC: 
Electrical
 1
SubCode:
Building
Ü
1‑Scope and Administration
Section
110.9
Mo Madani
 6498 
Chapter
Mod #
Comment
The proposed code change requires as part of the close out inspection ensuring that the existing swimming pool bonding system is complete and terminated properly.
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
Approved as Submitted
TAC Recommendation
Total Mods for  Electrical in  Approved as Submitted
TAC: 
Electrical
 5
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
454.10.4
Mo Madani
 6496 
Chapter
Mod #
Comment
The proposed code change requires GFCI protection be provided for replacement of pool pump motors, if not already in place.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
454
Bryan Holland
 6531 
Chapter
Mod #
Comment
This modification adds electrical safety requirements to new swimming pools in response to the Commission&#39;s &quot;Swimming Pool Electrical Safety Project&quot; approved recommendations.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
SubCode:
Existing Building
Ü
4‑Prescriptive Compliance Method

Page 2 of 3
6/30/2016
WITH COMMENTS
Electrical
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Total Mods for  Electrical in  Approved as Submitted
TAC: 
Electrical
 5
Section
413
Mo Madani
 6493 
Chapter
Mod #
Comment
The proposed code change requires GFCI protection be provided for replacement of pool pump motors, if not already in place.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
7‑Alterations ‑ Level 1
Section
709
Mo Madani
 6494 
Chapter
Mod #
Comment
The proposed code change requires GFCI protection be provided for replacement of pool pump motors, if not already in place.
7
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
SubCode:
Residential
Ü
45‑Private Swimming Pool
Section
4501.16
Bryan Holland
 6530 
Chapter
Mod #
Comment
This modification adds electrical safety requirements to new swimming pools in response to the Commission&#39;s &quot;Swimming Pool Electrical Safety Project&quot; approved recommendations.
45
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Electrical in  No Affirmative Recommendation with a Second
TAC: 
Electrical
 2
SubCode:
Building
Ü
35‑Electrical

Page 3 of 3
6/30/2016
WITH COMMENTS
Electrical
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Total Mods for  Electrical in  No Affirmative Recommendation with a Second
TAC: 
Electrical
 2
Section
2703
Bryan Holland
 6460 
Chapter
Mod #
Comment
This modification expands the requirements for the installation of lightning protection systems to certain commercial occupancies and provides exceptions to the new rule.
35
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
SubCode:
Existing Building
Ü
3‑Provisions for All Compliance Methods
Section
302.6
Bryan Holland
 6529 
Chapter
Mod #
Comment
This modification adds electrical safety requirements to existing swimming pools in response to the Commission&#39;s &quot;Swimming Pool Electrical Safety Project&quot; approved recommendations.
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
E
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria