Page 1 of 2
6/30/2016
WITH COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  6
No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Fire in  No Affirmative Recommendation with a Second
TAC: 
Fire
 6
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Section
407.5
Amanda Hickman
 6383 
Chapter
Mod #
Comment
The revision is more consistent with the current level of safety in 2014  FL code.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
7‑Fire and Smoke Protection Features
Section
717.5.5
Amanda Hickman
 6382 
Chapter
Mod #
Comment
Deletes exception 2 of section 717.5.5 Smoke barriers in order to maintain the current level of protection provided under the 5th edition of the Florida Building Code.
7
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
SubCode:
Residential
Ü
3‑Building Planning
Section
302.1
Joseph Belcher
 6799 
Chapter
Mod #
Comment
Delete Tables R302.1(1) and R302.1(2) and add Table R302.1
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Page 2 of 2
6/30/2016
WITH COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  6
Total Mods for  Fire in  No Affirmative Recommendation with a Second
TAC: 
Fire
 6
Section
312.1.1
Joseph Belcher
 6801 
Chapter
Mod #
Comment
Modify measurement for determining where guards are required.
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Section
302.1
Joseph Belcher
 6822 
Chapter
Mod #
Comment
Reinstates exception for zero lot line fire separation distance; Substitutes reference to Table R302.1 for reference to Tables R302.1(1) and R302.1(2).
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Section
302.2
Joseph Belcher
 6852 
Chapter
Mod #
Comment
Modifies townhouse fire separation requirements to retain Florida specific amendment.
3
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
F
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria