Page 1 of 3
6/30/2016
WITH COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Approved as Modified
TAC Recommendation
Total Mods for  Plumbing in  Approved as Modified
TAC: 
Plumbing
 1
SubCode:
Plumbing
Ü
3206‑Proposed Construction Building Codes for Turf and Landscape Irragation Systems
Section
12345678
Harris Cheryl
 6667 
Chapter
Mod #
Comment
This modification provides alternate and extended wording to the Current and Proposed Appendix F.  As there were extensive modifications the full Appendix is submitted in lieu of submitting modifications to each section.
3206
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
Approved as Submitted
TAC Recommendation
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 1
SubCode:
Fuel Gas
Ü
4‑Gas Piping Installations
Section
404.6
Joseph Eysie
 6851 
Chapter
Mod #
Comment
Suggesting NFPA 7.1.5 Piping Through Foundation Wall language
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 6
SubCode:
Existing Building
Ü
6‑Repairs

Page 2 of 3
6/30/2016
WITH COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 6
Section
609.2
Josh Madden
 6668 
Chapter
Mod #
Comment
Adopt high efficiency flow rates for plumbing fixtures and fittings.
6
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
SubCode:
Plumbing
Ü
4‑Fixtures, Faucets and Fixture Fittings
Section
403.2
Robert Fine
 6942 
Chapter
Mod #
Comment
This modification allows for the use of unisex toilet rooms (and lets these toilet rooms contribute to the required fixture count) in facilities undergoing barrier removal or alterations to help businesses facilitate compliance with the Americans with Disabilities Act.
4
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
6‑Water Supply and Distribution
Section
604.4
Josh Madden
 6661 
Chapter
Mod #
Comment
Adopt plumbing fixture and fitting flow rates for increased water efficiency. Modification mirrors Chapter 7 Section 702.1 through 702.4 of the 2015 International Green Construction Code.
6
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
3206‑Proposed Construction Building Codes for Turf and Landscape Irragation Systems
Section
12345678
Harris Cheryl
 6836 
Chapter
Mod #
Comment
Eliminate Appendix F and place in base Code As Chapter 14
3206
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W

Page 3 of 3
6/30/2016
WITH COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  8
Total Mods for  Plumbing in  No Affirmative Recommendation with a Second
TAC: 
Plumbing
 6
SubCode:
Residential
Ü
24‑Fuel Gas
Section
2412
Joseph Eysie
 6859 
Chapter
Mod #
Comment
Replace the 2015 ICC base code language with the 2018 ICC base code language and add an exception.
24
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
29‑Water Supply and Distribution
Section
2903.2
Josh Madden
 6610 
Chapter
Mod #
Comment
Adopt high efficiency flow standards for plumbing fixtures and fittings. The proposed modifications mirror Chapter 7 section 702 of the 2015 International Green Construction Code.
29
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria