Page 1 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Approved as Modified
TAC Recommendation
Total Mods for  Roofing in  Approved as Modified
TAC: 
Roofing
 10
SubCode:
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Section
1504
Mark Zehnal
 6640 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
Section
1507.8
Mark Zehnal
 6723 
Chapter
Mod #
Comment
Remove redundant requirements specified in manufacturer’s product approval/installation instructions, the Cedar Shake and Shingle Bureau New Roof Construction Manual or RAS 130
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
Section
1507.9
Mark Zehnal
 6725 
Chapter
Mod #
Comment
Remove redundant requirements specified in manufacturer’s product approval/installation instructions, the Cedar Shake and Shingle Bureau New Roof Construction Manual or RAS 130
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
SubCode:
Existing Building
Ü
7‑Alterations ‑ Level 1

Page 2 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Modified
TAC: 
Roofing
 10
Section
706
Mark Zehnal
 6666 
Chapter
Mod #
Comment
Provides improved guidance with established FBC code language.
7
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
SubCode:
Residential
Ü
9‑Roof Assemblies
Section
905.7
Mark Zehnal
 6691 
Chapter
Mod #
Comment
Remove redundant requirements specified in manufacturer’s product approval/installation instructions, the Cedar Shake and Shingle Bureau New Roof Construction Manual or RAS 130
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
Section
905.8
Mark Zehnal
 6692 
Chapter
Mod #
Comment
Remove redundant requirements specified in manufacturer’s product approval/installation instructions, the Cedar Shake and Shingle Bureau New Roof Construction Manual or RAS 130
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
SubCode:
Test Protocols
Ü
1‑103
Section
1
Michael Fischer
 7090 
Chapter
Mod #
Comment
HVHZ roofing updates
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W

Page 3 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Modified
TAC: 
Roofing
 10
1‑104
Section
1
Michael Fischer
 7091 
Chapter
Mod #
Comment
HVHZ roofing updates
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
1‑110
Section
1
Michael Fischer
 7093 
Chapter
Mod #
Comment
HVHZ roofing updates
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
1‑111(B)
Section
1
Michael Fischer
 7095 
Chapter
Mod #
Comment
HVHZ roofing updates
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Modified

W
Approved as Submitted
TAC Recommendation
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 17
SubCode:
Building
Ü
15‑Roof Assemblies and Rooftop Structures

Page 4 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 17
Section
1506
Mark Zehnal
 6642 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
1507.2
Mark Zehnal
 6643 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
1507.3
Mark Zehnal
 6644 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
1507.5
Mark Zehnal
 6646 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

Page 5 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 17
Section
1507.4
Mark Zehnal
 6647 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
1507.6
Mark Zehnal
 6648 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
1507.7
Mark Zehnal
 6649 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
1507.1.1
Mark Zehnal
 6698 
Chapter
Mod #
Comment
Provides one Underlayment Table with current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
SubCode:
Residential
Ü
9‑Roof Assemblies

Page 6 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 17
Section
904
Mark Zehnal
 6601 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
905.2
Mark Zehnal
 6604 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
905.3
Mark Zehnal
 6605 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
905.4
Mark Zehnal
 6607 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

Page 7 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 17
Section
905.5
Mark Zehnal
 6608 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
905.6
Mark Zehnal
 6609 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
905.10
Mark Zehnal
 6627 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
Section
908
Mark Zehnal
 6636 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W

Page 8 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 17
Section
905.1.1
Mark Zehnal
 6671 
Chapter
Mod #
Comment
Provides one  Underlayment Table with current Florida‑specific criteria
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
Approved as Submitted

W
No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Roofing in  No Affirmative Recommendation with a Second
TAC: 
Roofing
 4
SubCode:
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Section
1508
Deborah Lawson
 6481 
Chapter
Mod #
Comment
Proposes readoption of Florida Specific amendments to Section 1508 as contained in the 2014 Florida Building Code.
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Section
1508
Mark Zehnal
 6655 
Chapter
Mod #
Comment
Provides current Florida‑specific criteria
15
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
SubCode:
Residential
Ü
9‑Roof Assemblies

Page 9 of 9
6/30/2016
WITH COMMENTS
Roofing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  31
Total Mods for  Roofing in  No Affirmative Recommendation with a Second
TAC: 
Roofing
 4
Section
905.4905.10
Dwight Wilkes
 6776 
Chapter
Mod #
Comment
To insure the metal roof shingles and metal roof panels are manufactured to demonstrate compliance with the structural windload requirements of the Florida Building Code and Florida Statute(s) 553.8425 Local Product Approval.
9
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
SubCode:
Test Protocols
Ü
1‑114
Section
1
Michael Fischer
 7083 
Chapter
Mod #
Comment
Updates to HVHZ
1
Proponent

1. Support comment. Comment sufficiently 
addresses the TAC's concern(s).
2. Do Not Support comment. 
Comment does not address the TAC's 
concern(s).

3. No comment is needed.
4. Straw Poll.
Commission Action

Summary

AS
AM

NAR

I
No Affirmative Recommendation with a Second

W
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
R
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria