Page 1 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Approved as Submitted
TAC Recommendation
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 16
SubCode:
Building
Ü
2‑Definitions
Mod #
 6797 
Proponent
Brad Schiffer
202
Section
2
Chapter
Approved as Submitted
Revise definition of Horizontal Exit.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6898 
Proponent
Joseph Belcher
202
Section
2
Chapter
Approved as Submitted
Carries forward definition of Means of Escape
Summary

AS
AM

NAR

I

W
Commission Action

10‑Means of Egress
Mod #
 6409 
Proponent
Katie McKay
1017.2
Section
10
Chapter
Approved as Submitted
Change travel distance for Occupancy S‑1 from 250&#39;  with Sprinkler System to 400&#39; as in 2010 FBC and 2015/5th Edition Florida Fire Prevention Code.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6899 
Proponent
Joseph Belcher
1010.1.4.5
Section
10
Chapter
Approved as Submitted
Carry forward provisions to allow protection of all openings during threat of storm; with clarifying change.
Summary

AS
AM

NAR

I

W
Commission Action

Page 2 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 16
Mod #
 7075 
Proponent
Jennifer Hatfield
1010.1.10
Section
10
Chapter
Approved as Submitted
Reinstates language from the 2010 Code that was not included in the 5th edition. This is needed to ensure pool safety barrier requirements are addressed and there are not conflicting code requirements.
Summary

AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
2‑Definitions
Mod #
 6810 
Proponent
Joseph Belcher
311.3.2
Section
2
Chapter
Approved as Submitted
Adds exception to requirement for landing at other exterior doors.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6823 
Proponent
Joseph Belcher
202
Section
2
Chapter
Approved as Submitted
Modify definition of Fire Separation Distance to include zero lot line.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6856 
Proponent
Joseph Belcher
202
Section
2
Chapter
Approved as Submitted
Modify definition of townhouse to incorporate Ch. 481 F.S.
Summary

AS
AM

NAR

I

W
Commission Action

3‑Building Planning

Page 3 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 16
Mod #
 6803 
Proponent
Joseph Belcher
325.5
Section
3
Chapter
Approved as Submitted
Modify wall height requirements; Add P2904 sprinkler system
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6808 
Proponent
Joseph Belcher
302.5.2
Section
3
Chapter
Approved as Submitted
Allow Class 0 or Class 1 duct board for dwelling/garage penetration.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6809 
Proponent
Joseph Belcher
311.3.1
Section
3
Chapter
Approved as Submitted
Retain Florida specific amendment allowing exterior door to swing over step down,
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6811 
Proponent
Joseph Belcher
311.7.6
Section
3
Chapter
Approved as Submitted
Landings for stairways. Add reference to R311,3 for exterior door step down provisions.
Summary

AS
AM

NAR

I

W
Commission Action

Page 4 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Total Mods for  Fire in  Approved as Submitted
TAC: 
Fire
 16
Mod #
 6913 
Proponent
Joseph Belcher
202
Section
3
Chapter
Approved as Submitted
Carries forward definition of Means of Escape
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6916 
Proponent
Joseph Belcher
310.4
Section
3
Chapter
Approved as Submitted
Carries forward provision allowing protection of openings during threat of storm with clarifying modification.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 7040 
Proponent
Joseph Belcher
302.1
Section
3
Chapter
Approved as Submitted
Retains exception from fire‑resistance‑rating for screen enclosure walls.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 7041 
Proponent
Joseph Belcher
302.3
Section
3
Chapter
Approved as Submitted
Retains exception for two‑family swellings fire rating of screen enclosure walls.
Summary

AS
AM

NAR

I

W
Commission Action

No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Fire in  No Affirmative Recommendation with a Second
TAC: 
Fire
 3
SubCode:
Building
Ü
9‑Fire Protection Systems

Page 5 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Total Mods for  Fire in  No Affirmative Recommendation with a Second
TAC: 
Fire
 3
Mod #
 6770 
Proponent
scott waltz
908.7
Section
9
Chapter
No Affirmative Recommendation with a Second
Moves exceptions to carbon monoxide protection and alarm placement from section 908.7.2 to 908.7. Exceptions are intended to apply broadly to the alarm requirements for carbon monoxide. The current code appears to limit the application of the exceptions to combination smoke/carbon monoxide alarms.
Summary

AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
3‑Building Planning
Mod #
 6802 
Proponent
Joseph Belcher
312.2
Section
3
Chapter
No Affirmative Recommendation with a Second
Modify window fall protection provisions.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6894 
Proponent
Jeff Inks
310.2
Section
3
Chapter
No Affirmative Recommendation with a Second
Incorporates a new section to R310.2 (R3102.5) regarding provisions for EERO window replacement that was approved by ICC for 2015 edition but was inadvertently excluded from the published edition but has been published by ICC for the 2015 edition as an errata.
Summary

AS
AM

NAR

I

W
Commission Action

Withdrawn
TAC Recommendation
Total Mods for  Fire in  Withdrawn
TAC: 
Fire
 4
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy

Page 6 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Total Mods for  Fire in  Withdrawn
TAC: 
Fire
 4
Mod #
 6793 
Proponent
Brad Schiffer
403.6.1
Section
4
Chapter
Withdrawn

Allows 1 Fire Service Access Elevator serving four or less units in R‑2 buildings.
Summary

AS
AM

NAR

I

W
Commission Action

10‑Means of Egress
Mod #
 6900 
Proponent
Joseph Belcher
1010.1.4.5
Section
10
Chapter
Withdrawn
Carries forward Florida specific amendment allowing protection of all opening during the threat of a storn.
Summary

AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
3‑Building Planning
Mod #
 6861 
Proponent
Joseph Belcher
302.2
Section
3
Chapter
Withdrawn
Modifies townhouse fire separation requirements to retain Florida specific amendment.
Summary

AS
AM

NAR

I

W
Commission Action

Mod #
 6915 
Proponent
Joseph Belcher
310.4
Section
3
Chapter
Withdrawn
Carries forward provision allowing protection of openings during threat of storm.
Summary

AS
AM

NAR

I

W
Commission Action

Search Criteria

Page 7 of 7
6/30/2016
WITHOUT COMMENTS
Fire
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  23
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
F
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived: