Shock motion for TAC recommendations 2nd Smith

24 yes – 0 no

| FIRE Local Technical Amendments to the 2014 5th Edition Florida Building Code |  |  |  |
| --- | --- | --- | --- |
| JURISDICTION | DOCUMENT with TECHNICAL AMENDMENT | TEXT OF TECHNICAL AMENDMENT | TAC REVEW |
| City of Winter Park | Florida Building Code, Building – Chapter 9 | Florida Building Code Fifth Edition (2014) Building 903. Automatic sprinklers systems Approved automatic sprinkler systems installed in buildings shall comply with this section 903 and in addition shall meet the following provision: 903.1 Where required 903.2.13 Approved automatic sprinkler systems shall be provided in all buildings in the Commercial (C-2) zoning district as defined in the Land Development Code (Chapter 58). The C-2 Zoning District is part of the Central Business District where many older buildings are located close together with zero side setbacks with many buildings constructed of combustible construction materials. | Fire TAC (0Yes-8No NAR) |