Page 1 of 2
7/1/2016
WITHOUT COMMENTS
Electrical
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  4
Approved as Submitted
TAC Recommendation
Total Mods for  Electrical in  Approved as Submitted
TAC: 
Electrical
 1
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 6452 
Proponent
Bryan Holland
454.1.4.2.3
Section
4
Chapter
Approved as Submitted
This modification restores the electrical requirements for underwater luminaires to the national standard by removing redundant and unnecessary language.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action
2nd Flanagan – 24 yes – 0 no  all were accepted with TAC’s recommendations on consent agenda

No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Electrical in  No Affirmative Recommendation with a Second
TAC: 
Electrical
 3
SubCode:
Building
Ü
35‑Electrical
Mod #
 6492 
Proponent
Mo Madani
2703
Section
35
Chapter
No Affirmative Recommendation with a Second
The proposed code change provides for provisions necessary to prevent electrocution in swimming pools by requiring that all pool electrical circuits feeding equipment have GFCI protection.
Summary

AS
AM
   24-0

X
NAR

I

W
Commission Action

SubCode:
Residential
Ü
39‑Power and Lighting Distribution
Mod #
 7078 
Proponent
Joseph Belcher
3902
Section
39
Chapter
No Affirmative Recommendation with a Second
Removes kitchen and laundry areas from code.
Summary

AS
AM
    24-0

X
NAR

I

W
Commission Action

42‑Swimming Pool[Electrical Provisions]

Page 2 of 2
7/1/2016
WITHOUT COMMENTS
Electrical
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  4
Total Mods for  Electrical in  No Affirmative Recommendation with a Second
TAC: 
Electrical
 3
Mod #
 6491 
Proponent
Mo Madani
4203.1.3
Section
42
Chapter
No Affirmative Recommendation with a Second
The proposed code change provides for provisions necessary to prevent electrocution in swimming pools by requiring that all pool electrical circuits feeding equipment have GFCI protection.
Summary

AS
AM
    24-0

X
NAR

I

W
Commission Action

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
E
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria