Page 1 of 6
6/30/2016
WITHOUT COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  18
Approved as Modified
TAC Recommendation
Total Mods for  Plumbing in  Approved as Modified
TAC: 
Plumbing
 4
SubCode:
Fuel Gas
Ü
2‑Definitions
Mod #
 6849 
Proponent
Joseph Eysie
202
Section
2
Chapter
Approved as Modified
Expand the Appliance definition to include compressed fuel gas
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action
  Schilling 2nd Schiffer to approve consent agenda without comments -   24 yes – 0 No
4‑Gas Piping Installations
Mod #
 6831 
Proponent
Joseph Eysie
401.9
Section
4
Chapter
Approved as Modified
Provide additional clarity for the exceptions listed within
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

SubCode:
Residential
Ü
24‑Fuel Gas
Mod #
 6854 
Proponent
Joseph Eysie
2403
Section
24
Chapter
Approved as Modified
Expand the Appliance definition to include compressed fuel gas
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Page 2 of 6
6/30/2016
WITHOUT COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  18
Total Mods for  Plumbing in  Approved as Modified
TAC: 
Plumbing
 4
Mod #
 6857 
Proponent
Joseph Eysie
2412
Section
24
Chapter
Approved as Modified
Provide additional clarity to the Exception language
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Approved as Submitted
TAC Recommendation
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 8
SubCode:
Fuel Gas
Ü
4‑Gas Piping Installations
Mod #
 6833 
Proponent
Joseph Eysie
401.10
Section
4
Chapter
Approved as Submitted
Replace the 2015 ICC base code language with the 2018 ICC base code language and add an exception.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

SubCode:
Plumbing
Ü
3‑General Regulations
Mod #
 6421 
Proponent
Gary Kozan
312.2
Section
3
Chapter
Approved as Submitted
Reinstates the traditional 5‑foot head testing for DWV systems, making it consistent with the Residential Code
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

Page 3 of 6
6/30/2016
WITHOUT COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  18
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 8
Mod #
 6422 
Proponent
Gary Kozan
312.6
Section
3
Chapter
Approved as Submitted
Modifies building sewer testing to 5‑foot head, making it consistent with interior DWV testing and with IRC requirements
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

4‑Fixtures, Faucets and Fixture Fittings
Mod #
 6418 
Proponent
Gary Kozan
417.5.2
Section
4
Chapter
Approved as Submitted
Adds requirements for recessed shower compartments, and provides an exception for shower linings in such.
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

6‑Water Supply and Distribution
Mod #
 6416 
Proponent
Thomas Legler
614
Section
6
Chapter
Approved as Submitted
Section 614 which regulated private potable water wells of the 2010 Florida Plumbing code was not adopted and removed from the 2014 5th Edition of the Florida Plumbing code. Requesting section 614 of the 2010 FBC‑P be added to the 2017 6th Edition of the FBC‑P.
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

Mod #
 6423 
Proponent
Gary Kozan
607.3
Section
6
Chapter
Approved as Submitted
Provides options for thermal expansion control ‑ as per code all editions prior to and subsequent to the 2015 IPC
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

SubCode:
Residential
Ü
25‑Plumbing Administration

Page 4 of 6
6/30/2016
WITHOUT COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  18
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 8
Mod #
 6420 
Proponent
Gary Kozan
2503.4
Section
25
Chapter
Approved as Submitted
Modifies building sewer testing to 5‑foot head, making it consistent with interior DWV testing
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

27‑Plumbing Fixtures
Mod #
 6419 
Proponent
Gary Kozan
2709.2
Section
27
Chapter
Approved as Submitted
Adds requirements for recessed shower compartments, and provides an exception for shower lining in such
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

Withdrawn
TAC Recommendation
Total Mods for  Plumbing in  Withdrawn
TAC: 
Plumbing
 6
SubCode:
Fuel Gas
Ü
4‑Gas Piping Installations
Mod #
 6845 
Proponent
Joseph Eysie
401.9
Section
4
Chapter
Withdrawn
Provide additional clarity for the exception listed within
Summary

AS
AM
    24-0

NAR

I
X
W
Commission Action

Mod #
 6847 
Proponent
Joseph Eysie
401.10
Section
4
Chapter
Withdrawn
Continue the current (5th edition FBC, Fuel Gas) requirement for 401.10
Summary

AS
AM
    24-0

NAR

I
X
W
Commission Action

Page 5 of 6
6/30/2016
WITHOUT COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  18
Total Mods for  Plumbing in  Withdrawn
TAC: 
Plumbing
 6
SubCode:
Plumbing
Ü
4‑Fixtures, Faucets and Fixture Fittings
Mod #
 6818 
Proponent
Joseph Belcher
417.5.2
Section
4
Chapter
Withdrawn
Reinstates shower lining exception for depressed shower on first floor.
Summary

AS
AM
   24-0

NAR

I
X
W
Commission Action

SubCode:
Residential
Ü
24‑Fuel Gas
Mod #
 6858 
Proponent
Joseph Eysie
2412
Section
24
Chapter
Withdrawn
Provide Exception language from the current 5Th Edition of the FBC
Summary

AS
AM
    24-0

NAR

I
X
W
Commission Action

Mod #
 6860 
Proponent
Joseph Eysie
2412
Section
24
Chapter
Withdrawn
Continue the current (5th edition FBC, Fuel Gas) requirement for 401.10 (G2412.10)
Summary

AS
AM
    24-0

NAR

I
X
W
Commission Action

27‑Plumbing Fixtures
Mod #
 6817 
Proponent
Joseph Belcher
2709.2
Section
27
Chapter
Withdrawn
Adds Exceptions for shower liners.
Summary

AM
    24-0

NAR

I
X
W
Commission Action

Search Criteria

Page 6 of 6
6/30/2016
WITHOUT COMMENTS
Plumbing
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  18
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived: