Page 1 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Approved as Modified
TAC Recommendation
Total Mods for  Special Occupancy in  Approved as Modified
TAC: 
Special Occupancy
 6
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 6869 
Proponent
Don Whitehead
468.2.1
Section
4
Chapter
Approved as Modified
Move this section to a related area of the code.
Summary

AS
AM
    24-0
X

NAR

I

W
Commission Action
2nd Schiffer – on TAC’s recommendation on all mods  24 yes – 0 no
Mod #
 6959 
Proponent
skip gregory
449.3.12
Section
4
Chapter
Approved as Modified
Add private operating mode as a requirement for inpatient care areas in the hospital.
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Mod #
 6960 
Proponent
skip gregory
449.4
Section
4
Chapter
Approved as Modified
Revises disaster preparedness requirements for hospitals.
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Mod #
 6971 
Proponent
skip gregory
451.1
Section
4
Chapter
Approved as Modified
Modification corrects and clarifies the scoping and codes required for section of 451.
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Page 2 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Modified
TAC: 
Special Occupancy
 6
Mod #
 6986 
Proponent
skip gregory
450.4
Section
4
Chapter
Approved as Modified
Deletes text that is not utilized in this section. Revises impact requirements to equipment.
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Mod #
 6993 
Proponent
skip gregory
450.1
Section
4
Chapter
Approved as Modified
Modification corrects and clarifies the scoping and codes required for section of 450.
Summary

AS
AM
   24-0
X

NAR

I

W
Commission Action

Approved as Submitted
TAC Recommendation
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 6864 
Proponent
Don Whitehead
453.14.6
Section
4
Chapter
Approved as Submitted
Correct a reference in this section.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6865 
Proponent
Don Whitehead
453.9.1
Section
4
Chapter
Approved as Submitted
Change the title of this section, because a load importance factor no longer exists in the code, and add a reference to ICC 500
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 3 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6867 
Proponent
Don Whitehead
453.10.2.3
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6871 
Proponent
Don Whitehead
453.14.8.2
Section
4
Chapter
Approved as Submitted
Delete this section
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6872 
Proponent
Don Whitehead
453.14.1
Section
4
Chapter
Approved as Submitted
Define which door the code is referencing.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6873 
Proponent
Don Whitehead
453.4.6
Section
4
Chapter
Approved as Submitted
Correct Title of this section.
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Page 4 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6875 
Proponent
Don Whitehead
453.14.8.1
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6876 
Proponent
Don Whitehead
468.3.5.9
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6878 
Proponent
Don Whitehead
453.10.5.2
Section
4
Chapter
Approved as Submitted
Delete this section
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6885 
Proponent
Don Whitehead
453.14.8.3
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 5 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6886 
Proponent
Don Whitehead
468.3.5.10
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6889 
Proponent
Don Whitehead
453.15.3
Section
4
Chapter
Approved as Submitted
Add requirement for a fire extinguisher.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6890 
Proponent
Don Whitehead
453.16.4
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

Mod #
 6891 
Proponent
Don Whitehead
468.3.5.6.1
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
    24-0

NAR

I

W
Commission Action

Page 6 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6892 
Proponent
Don Whitehead
453.16.9.1
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6893 
Proponent
Don Whitehead
468.3.5.3.3
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6901 
Proponent
Don Whitehead
453.16.9.2
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6902 
Proponent
Don Whitehead
468.3.5.6.2
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 7 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6903 
Proponent
Don Whitehead
453.16.10
Section
4
Chapter
Approved as Submitted
Remove a conditional phrase.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6904 
Proponent
Don Whitehead
453.16.11
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6905 
Proponent
Don Whitehead
468.3.6.6
Section
4
Chapter
Approved as Submitted
Move this section to a related area of the code.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6906 
Proponent
Don Whitehead
453.25.5.2
Section
4
Chapter
Approved as Submitted
Correct a reference in this section.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 8 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6907 
Proponent
Don Whitehead
468.3.2
Section
4
Chapter
Approved as Submitted
Correct spelling error
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6919 
Proponent
Don Whitehead
453.10.6
Section
4
Chapter
Approved as Submitted
Add a reference to ICC 500
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6931 
Proponent
Don Whitehead
453.7.4
Section
4
Chapter
Approved as Submitted
Clarify fire alarm requirements for additions or remodeling of existing school facilities.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6943 
Proponent
skip gregory
449.3.6
Section
4
Chapter
Approved as Submitted
449.3.6 Heating, ventilating and air‑conditioning systems. (Reference The Guidelines for additional requirements.)
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Page 9 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6945 
Proponent
skip gregory
449.3.10
Section
4
Chapter
Approved as Submitted
Deletes most of the text because it is redundant to NFPA 20, Standard for the Installation of Stationary Pumps for Fire Protection. Adds a requirement the fire pump be connected to the emergency power supply system or have an alternate power source available in accordance with NFPA 20.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6946 
Proponent
skip gregory
449.3.13
Section
4
Chapter
Approved as Submitted
Deletes redundant requirements already found in the referenced Guidelines. Adds wireless nurse call to nurse call systems.
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Mod #
 6947 
Proponent
skip gregory
449.3.7
Section
4
Chapter
Approved as Submitted
Adds requirement for smoke barriers in some places in the hospital.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6950 
Proponent
skip gregory
449.4.2.4
Section
4
Chapter
Approved as Submitted
Deletes text that is not utilized in this section. Renumbers the sections.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 10 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6953 
Proponent
skip gregory
449.3.14
Section
4
Chapter
Approved as Submitted
Revises sections for clarity. Removes duplicative requirements and relocates other requirements.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6962 
Proponent
skip gregory
449.1
Section
4
Chapter
Approved as Submitted
Modification corrects and clarifies the scoping and codes required for section of 449.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6963 
Proponent
skip gregory
449.3.12
Section
4
Chapter
Approved as Submitted
Adds requirement for securing the disconnecting means of the FACU.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6964 
Proponent
skip gregory
449.4.2.7
Section
4
Chapter
Approved as Submitted
Combines text and renumbers sections.
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Page 11 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6965 
Proponent
skip gregory
449.4.2.10
Section
4
Chapter
Approved as Submitted
Deletes this section and renumbers next section.
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Mod #
 6966 
Proponent
skip gregory
451.3.6
Section
4
Chapter
Approved as Submitted
New Text added to the HVAC section.
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Mod #
 6967 
Proponent
skip gregory
451.13
Section
4
Chapter
Approved as Submitted
Revisions for clarity and to match the referenced codes.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6968 
Proponent
skip gregory
451.3
Section
4
Chapter
Approved as Submitted
Deletes and relocates a section that is not in the correct location in the FBC. Adds to new sections for details of how to construct smoke barrier walls per AHCA requirements.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 12 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6969 
Proponent
skip gregory
451.3.9
Section
4
Chapter
Approved as Submitted
Deletes most of the text because it is redundant to NFPA 20, Standard for the
Installation of Stationary Pumps for Fire Protection. Adds a requirement the fire pump be connected to the emergency power supply system or have and alternate power source available in accordance with NFPA 20.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6970 
Proponent
skip gregory
451.3.2
Section
4
Chapter
Approved as Submitted
Deletes language no longer relevant due to updated code reference.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6994 
Proponent
skip gregory
450.4
Section
4
Chapter
Approved as Submitted
Deletes text that is not utilized in this section. Renumbers the sections.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 6996 
Proponent
skip gregory
467.2.3
Section
4
Chapter
Approved as Submitted
Add a requirement to have bathing facilities
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Page 13 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6997 
Proponent
skip gregory
467.2.2.2
Section
4
Chapter
Approved as Submitted
Modification adds specification to accessibility reference.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 7008 
Proponent
scott waltz
449.3.11.10
Section
4
Chapter
Approved as Submitted
Removes hemodialysis rooms from the list of critical care rooms requiring additional receptacles and brings the receptacle requirements in line with national codes.
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Mod #
 7043 
Proponent
skip gregory
450
Section
4
Chapter
Approved as Submitted
Deletes this section and renumbers next section
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

Mod #
 7045 
Proponent
skip gregory
449.3
Section
4
Chapter
Approved as Submitted
New section for inpatient room dialysis
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Page 14 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 7051 
Proponent
skip gregory
449.3.14.11
Section
4
Chapter
Approved as Submitted
Add new section to locate the remote manual stop
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 7052 
Proponent
skip gregory
450.3.26.10
Section
4
Chapter
Approved as Submitted
Adds a section to locate the remote generator stop station.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

Mod #
 7054 
Proponent
skip gregory
451.3.13.10
Section
4
Chapter
Approved as Submitted
Add a section to locate the generator remote manual stop
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

38‑Elevators and Conveying Systems
Mod #
 6549 
Proponent
DOUG MELVIN
3010.1.3
Section
38
Chapter
Approved as Submitted
DELETE TWO JULY 1 2015 DATES IN RULE 3.11.3 OF ASME A17.3 IN THE 2015 FLORIDA SUPPLEMENT WHICH IS AMENDED TO READ AS FOLLOWS:
Summary
X
AS
AM
  24-0

NAR

I

W
Commission Action

35‑Referenced Standards

Page 15 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Total Mods for  Special Occupancy in  Approved as Submitted
TAC: 
Special Occupancy
 52
Mod #
 6855 
Proponent
skip gregory
1
Section
35
Chapter
Approved as Submitted
Modification is a reference update to the FGI Guidelines with new edition and title and address changes:
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

2707‑Flood‑Resistant Construction
Mod #
 6566 
Proponent
Rebecca Quinn obo FL Dept Emerg Mgnt
101
Section
2707
Chapter
Approved as Submitted
Delete IBC App G in its entirety and mark it &quot;reserved.&quot;  It should not be used by FL communities because the FL Division of Emergency Management developed an FBC‑coordinated floodplain management ordinance that is approved by FEMA.
Summary
X
AS
AM
   24-0

NAR

I

W
Commission Action

No Affirmative Recommendation with a Second
TAC Recommendation
Total Mods for  Special Occupancy in  No Affirmative Recommendation with a Second
TAC: 
Special Occupancy
 2
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 6877 
Proponent
skip gregory
449.3
Section
4
Chapter
No Affirmative Recommendation with a Second
This modification updates the requirements for mobile and transportable units.
Summary

AS
AM
   24-0

X
NAR

I

W
Commission Action

Mod #
 6995 
Proponent
skip gregory
464.3
Section
4
Chapter
No Affirmative Recommendation with a Second
Modification corrects code edition and name required for section 464 and adds accessibility reference.
Summary

AS
AM
  24-0

X
NAR

I

W
Commission Action

Page 16 of 16
6/30/2016
WITHOUT COMMENTS
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
Total Mods for this report:  62
Withdrawn
TAC Recommendation
Total Mods for  Special Occupancy in  Withdrawn
TAC: 
Special Occupancy
 2
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 6948 
Proponent
skip gregory
449.4
Section
4
Chapter
Withdrawn
Deletes text that is not utilized in this section. Renumbers the sections.
Summary

AS
AM

NAR

I
X
W
Commission Action

38‑Elevators and Conveying Systems
Mod #
 6574 
Proponent
DOUG MELVIN
3002
Section
38
Chapter
Withdrawn
ADD Section 3002.11, subsection 3002.11.1 through 3002.11.3.1 underlined text to read as follows:
Summary

AS
AM

NAR

I
X
W
Commission Action

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
No
Archived:
Search Criteria