Page 1 of 1
3/1/2016
Accessibility
1st 45 Day Comment Period
1st 45 Day Comment Period: 
2017 Triennial Original Modification 7/1/2015 ‑ 1/3/2016
Total Mods for this TAC:
Accessibility
TAC:
 2 
SubCode
Building
4‑Special Detailed Requirements Based on Use and Occupancy
Section
467.2.2.2
skip gregory
 6997 
Chapter
Mod #
Comment
Modification adds specification to accessibility reference.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
Vote 6-0
2nd Schiffer
scriveners error “of”
Recommended for approval as submitted
SubCode
Plumbing
4‑Fixtures, Faucets and Fixture Fittings
Section
403.2
Robert Fine
 6942 
Chapter
Mod #
Comment
This modification allows for the use of unisex toilet rooms (and lets these toilet rooms contribute to the required fixture count) in facilities undergoing barrier removal or alterations to help businesses facilitate compliance with the Americans with Disabilities Act.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
Vote 0-7
2nd Schiffer
NAR on the rationale that the TAC agrees that this be included in the existing buildings volume and that it should not be limited to public accommodations.
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
A
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)