Page 1 of 6
3/1/2016
Plumbing
1st 45 Day Comment Period
1st 45 Day Comment Period: 
2017 Triennial Original Modification 7/1/2015 ‑ 1/3/2016
Total Mods for this TAC:
Plumbing
TAC:
 26 
SubCode
Existing Building
6‑Repairs
Section
609.2
Josh Madden
 6668 
Chapter
Mod #
Comment
Adopt high efficiency flow rates for plumbing fixtures and fittings.
6
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
1 Yes – 6 No
2nd – Bickford
NAR – costs, enforcement issues, Code is sufficient as is, consider for new construction.
SubCode
Fuel Gas
2‑Definitions
Section
202
Joseph Eysie
 6849 
Chapter
Mod #
Comment
Expand the Appliance definition to include compressed fuel gas
2
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Languille
Languillle - Motion to accept modificationpresented by Kozan. 2nd Boyer 
AM
4‑Gas Piping Installations
Section
401.10
Joseph Eysie
 6833 
Chapter
Mod #
Comment
Replace the 2015 ICC base code language with the 2018 ICC base code language and add an exception.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Kozan
AS
Section
401.10
Joseph Eysie
 6847 
Chapter
Mod #
Comment
Continue the current (5th edition FBC, Fuel Gas) requirement for 401.10
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
x
W

WITHDRAWN BY PROPONENT IN FAVOR OF PREVIOUS ACTION.
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 2 of 6
3/1/2016
Plumbing
1st 45 Day Comment Period
Total Mods for this TAC:
Plumbing
TAC:
 26 
Section
401.9
Joseph Eysie
 6831 
Chapter
Mod #
Comment
Provide additional clarity for the exceptions listed within
4
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
7 yes – 0 No
2nd - Boyer – 
Boyer - Motion to amend proposal as submitted by Kozan - 2nd Kozan
Section
401.9
Joseph Eysie
 6845 
Chapter
Mod #
Comment
Provide additional clarity for the exception listed within
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
X
W

Withdrawn by proponent.
Section
404.6
Joseph Eysie
 6851 
Chapter
Mod #
Comment
Suggesting NFPA 7.1.5 Piping Through Foundation Wall language
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Languille
AS

SubCode
Plumbing
3‑General Regulations
Section
312.2
Gary Kozan
 6421 
Chapter
Mod #
Comment
Reinstates the traditional 5‑foot head testing for DWV systems, making it consistent with the Residential Code
3
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 yes = 0 No
2nd – Boyer
AS
Section
312.6
Gary Kozan
 6422 
Chapter
Mod #
Comment
Modifies building sewer testing to 5‑foot head, making it consistent with interior DWV testing and with IRC requirements
3
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Boyer
AS
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 3 of 6
3/1/2016
Plumbing
1st 45 Day Comment Period
Total Mods for this TAC:
Plumbing
TAC:
 26 
4‑Fixtures, Faucets and Fixture Fittings
Section
403.2
Robert Fine
 6942 
Chapter
Mod #
Comment
This modification allows for the use of unisex toilet rooms (and lets these toilet rooms contribute to the required fixture count) in facilities undergoing barrier removal or alterations to help businesses facilitate compliance with the Americans with Disabilities Act.
4
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
0 Yes – 7 No
2nd – Kozan for purpose of negative roll call.
NAR – code already covers this, 
Section
417.5.2
Gary Kozan
 6418 
Chapter
Mod #
Comment
Adds requirements for recessed shower compartments, and provides an exception for shower linings in such.
4
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 yes = 0 No
2nd – Boyer
AS
Section
417.5.2
Joseph Belcher
 6818 
Chapter
Mod #
Comment
Reinstates shower lining exception for depressed shower on first floor.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
X
W

Withdrawn by proponent based on previous action.
6‑Water Supply and Distribution
Section
604.4
Josh Madden
 6661 
Chapter
Mod #
Comment
Adopt plumbing fixture and fitting flow rates for increased water efficiency. Modification mirrors Chapter 7 Section 702.1 through 702.4 of the 2015 International Green Construction Code.
6
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
0 Yes – 7 No
2nd – Boyer
NAR – base code is sufficient, not migrating voluntary codes into Florida code, goes against commercial shower heads.
Section
607.3
Gary Kozan
 6423 
Chapter
Mod #
Comment
Provides options for thermal expansion control ‑ as per code all editions prior to and subsequent to the 2015 IPC
6
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Boyer
AS
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 4 of 6
3/1/2016
Plumbing
1st 45 Day Comment Period
Total Mods for this TAC:
Plumbing
TAC:
 26 
Section
614
Thomas Legler
 6416 
Chapter
Mod #
Comment
Section 614 which regulated private potable water wells of the 2010 Florida Plumbing code was not adopted and removed from the 2014 5th Edition of the Florida Plumbing code. Requesting section 614 of the 2010 FBC‑P be added to the 2017 6th Edition of the FBC‑P.
6
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Kozan
AS
3206‑Proposed Construction Building Codes for Turf and Landscape Irragation Systems
Section
APPENDIX F
Harris Cheryl
 6667 
Chapter
Mod #
Comment
This modification provides alternate and extended wording to the Current and Proposed Appendix F.  As there were extensive modifications the full Appendix is submitted in lieu of submitting modifications to each section.
APPENDIX F
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Kozan - / withdrawn 2nd
Motion – Kozan – to accept modification with Florida specific need to move appendix F into the code – for the conservation of water within the state of Florida. 2nd – Bickford.  (Staff needs to correct formatting per Kozan comments.)
AM by TAC
Section
Appendix F
Harris Cheryl
 6836 
Chapter
Mod #
Comment
Eliminate Appendix F and place in base Code As Chapter 14
Appendix F
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
0 yes – 7 No
2nd – Kozan for purpose of NAR.
NAR – need to review and determine potential impact on new chapter 14 IPC, 
SubCode
Residential
24‑Fuel Gas
Section
2403
Joseph Eysie
 6854 
Chapter
Mod #
Comment
Expand the Appliance definition to include compressed fuel gas
24
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Boyer – with motion to accept amended language by Kozan. 2nd Languille
AM by Kozan comments
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 5 of 6
3/1/2016
Plumbing
1st 45 Day Comment Period
Total Mods for this TAC:
Plumbing
TAC:
 26 
Section
2412
Joseph Eysie
 6857 
Chapter
Mod #
Comment
Provide additional clarity to the Exception language
24
Proponent
TAC Action
Summary

AS
AM

X

NAR

I
Pending Review

W
7 Yes 0 - No
2nd – 
Motion to approve modification by Kozan – 2nd Bickford
AS by Kozan comments
Section
2412
Joseph Eysie
 6858 
Chapter
Mod #
Comment
Provide Exception language from the current 5Th Edition of the FBC
24
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
X
W

Withdrawn by proponent  based on previous action
Section
2412
Joseph Eysie
 6859 
Chapter
Mod #
Comment
Replace the 2015 ICC base code language with the 2018 ICC base code language and add an exception.
24
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
0 Yes – 7 No
2nd – Boyer
NAR – need to reference appropriate sections.

Section
2412
Joseph Eysie
 6860 
Chapter
Mod #
Comment
Continue the current (5th edition FBC, Fuel Gas) requirement for 401.10 (G2412.10)
24
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
X
W

Withdrawn by proponent.
25‑Plumbing Administration
Section
2503.4
Gary Kozan
 6420 
Chapter
Mod #
Comment
Modifies building sewer testing to 5‑foot head, making it consistent with interior DWV testing
25
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 yes – 0 No
2nd – Duren
AS
27‑Plumbing Fixtures
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)

Page 6 of 6
3/1/2016
Plumbing
1st 45 Day Comment Period
Total Mods for this TAC:
Plumbing
TAC:
 26 
Section
2709.2
Gary Kozan
 6419 
Chapter
Mod #
Comment
Adds requirements for recessed shower compartments, and provides an exception for shower lining in such
27
Proponent
TAC Action
Summary
X
AS
AM

NAR

I
Pending Review

W
7 Yes – 0 No
2nd – Bickford
AS
Section
2709.2
Joseph Belcher
 6817 
Chapter
Mod #
Comment
Adds Exceptions for shower liners.
27
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review
X
W

Withdrawn by proponent based on previous action.
29‑Water Supply and Distribution
Section
2903.2
Josh Madden
 6610 
Chapter
Mod #
Comment
Adopt high efficiency flow standards for plumbing fixtures and fittings. The proposed modifications mirror Chapter 7 section 702 of the 2015 International Green Construction Code.
29
Proponent
TAC Action
Summary

AS
AM

X
NAR

I
Pending Review

W
0 Yes – 7 No
2nd – Kozan for purposes of negative roll call.
NAR – same rationale previous, costs and enforcability.
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Date Submitted To:
Proponent First Name:
2017
ALL
ALL
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Search Criteria
AS = Approved as Submitted  AM = Approved as Modified  NAR = No Affirmative Recommendation
W = Withdrawn    I = Insufficient (incomplete or does not meet criteria)