Plumbing Technical Advisory Committee – Comment

6th Edition (2017) Florida Building Code, Plumbing

P – Comment #1

Mo Madani – Staff

Sections 305.4.1 and 903.1 do not provide for specific [number] for depth for the installation of sewer systems and vent pipes termination.  Recommend revising these sections in a similar manner to that of the 2010 Florida Building Code, Plumbing as noted below.

305.4.1 Sewer depth. 
Building sewers that connect to private sewage disposal systems shall be installed not less than [NUMBER] inches (mm) below finished grade at the point of septic tank connection. Building sewers shall be installed not less than [NUMBER] inches (mm) below grade.

903.1 Roof extension. 
Open vent pipes that extend through a roof shall be terminated not less than [NUMBER] inches (mm) above the roof. Where a roof is to be used for assembly or as a promenade, observation deck, sunbathing deck or similar purposes, open vent pipes shall terminate not less than 7 feet (2134 mm) above the roof.

2010 Florida Building Code, Plumbing

305.6.1 Sewer depth.

Reserved.

904.1 Roof extension.

All open vent pipes that extend through a roof shall be terminated at least 6 inches (152 mm) above the roof and not less than 2 inches (51 mm) above the invert of the emergency overflow, except that where a roof is to be used for any purpose other than weather protection, the vent extensions shall be run at least 7 feet (2134 mm) above the roof.

TAC Recommendation:

Mr. Kozan entered a motion to add the 6 inches to 903.1 as presented by staff comment.  Mr. Schilling seconded the motion.  The motion passed unanimously with a vote of 7 to 0.

Mr. Kozan entered a motion to accept the staff analysis and recommendation for 305.4.1 as reserved.  Mr. Duren seconded the motion.  The vote was 6 to 1 and the motion passes.

Commission Action:	Commissioner Boyer entered a motion to approve TAC recommendation.  Commissioner Carlson seconded the motion.  The motion passed with a vote of 18 in favor and 6 against.