Special Occupancy Technical Advisory Committee – Comment

6th Edition (2017) Florida Building Code, Building

SP – Comment #1

Don S. Whitehead, AIA

Florida Department of Education

I have reviewed sections 453 and 468 and I have three corrections that need to be made:

- 453.15.5 Ventilation air make-up for HVAC systems.

- 453.16.9.1 Toilet rooms shall be completely enclosed, have self-closing doors, and shall open into vestibules with self-closing doors. Toilet rooms shall not open directly into food preparation areas, serving areas, or dining areas. A minimum of one water closet and one lavatory, with hot and cold water, shall be provided in each staff toilet.

Should be

453.16.9.1 Toilet rooms shall be completely enclosed, have self-closing doors, and shall open into vestibules with self-closing doors. Toilet rooms shall not open directly into food preparation areas, serving areas, or dining areas. A minimum of one water closet and one lavatory, with hot and cold water, shall be provided in each staff toilet.

- Section 453.25.3.2 Capacity. is repeated.

TAC Recommendation: Mr. Whitehead advised that there were strike through marks on the numbers 453.16.9.1 and those marks will need to be removed.

Mr. Chalecki entered a motion to approve the comment with the edits as stated by Mr. Whitehead.  Mr. Waltz seconded the motion.  The motion passed unanimously with a vote of 8 to 0.

Commission Action:

SP – Comment #2

From: Melvin, Doug 
Sent: Wednesday, December 28, 2016 2:30 PM
To: Madani, Mo; Peters, Marlita
Subject: Scrivener’s error #56

Mo and Marlita,

A scrivener’s error appears in Ch 30 of the Florida Supplement 6th Edition (2017) Building.

In section 3013.1 and R321.4.1. item #3, of the sentence “If swinging hoist way doors and car gates are used, the [56] space between…

Note: remove #56 from between the ^ space

The error does not appear in Chapter 399, F.S..

TAC Recommendation:  Mr. Waltz entered a motion to approve the comment.  Mr. Chalecki seconded the motion.  The motion passed unanimously with a vote of 8 to 0.

Commission Action:

SP – Comment #3

Steve Martin

Florida Division of Emergency Management

See Attachment #1

TAC Recommendation:  Mr. Chalecki entered a motion to approve the comment.  Mr. Waltz seconded the motion.  The motion passed unanimously with a vote of 8 to 0.

Commission Action:

SP – Comment #4

Robert Fine

David Ashburn

Carlos Diaz

GreenbergTraurig

See Attachment #2

See Attachment #3 – Memorandum submitted by Mr. Joe Belcher during the meeting in support of the Commission’s action on SP6623.

TAC Recommendation:  Mr. Cureton entered a motion for a negative roll.  Mr. Frank seconded the motion.

Mr. Cureton stated the reason he is entering a negative roll call is the requirement of masonry and non-combustible construction for schools has been in place for quite some time and the number of schools districts that are against keep concrete is very small and the vast majority want to keep concrete for safety and his opinion the best value for the tax dollar.  He continued by stating it is more complicated system to make wood perform the same as concrete or masonry and the potential of off gassing.  He stated putting all of this together he feels it is better to leave the type three out of 453.3.

The TAC voted 8 to 0 in opposition.

Commission Action: