Page 1 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Pending Review
TAC Recommendation
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
SubCode:
Building
Ü
1‑Scope and Administration
Section
105.3.1.2
 7224 
Chapter
Mod #
Change threshold for fire detection and alarm plans to require engineers&#39; seal
1
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Sean Guthrie
2‑Definitions
Mod #
 7518 
Proponent
202
Section
2
Chapter
Pending Review
The Code contains requirements regarding children&#39;s play structures. However, no definition exists and there have been discussions that there is some ambiguity about what is meant by the term, thus a definition should be included under Chapter 2.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7519 
Proponent
202
Section
2
Chapter
Pending Review
Currently the definition for sleeping unit could be interpreted to be just a bedroom. When these bedrooms are combined into suites, they should be considered as one sleeping unit, so this definitions better identifies the variations.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7521 
Proponent
202
Section
2
Chapter
Pending Review
Inserts definition for Opening Protective as this term is used extensively in the code, including the title of Section 716, but is not always understood by code users. This definition provides clarity.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 2 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7524 
Proponent
202
Section
2
Chapter
Pending Review
Private garages can also be used by the owners of the building, so a definition will provide proper use and context.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7526 
Proponent
202
Section
2
Chapter
Pending Review
To identify that &quot;soft‑contained play equipment structures&quot; are those that contain pliable materials and where the user is enclosed.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7689 
Proponent
202
Section
2
Chapter
Pending Review
Changes Definition of &quot;Change of Occupancy&quot; by clarification of meaning and in a bulleted text for clarity.
Summary

AS
AM

NAR

I

W
TAC Action

George Wiggins (BOAF)
Mod #
 7769 
Proponent
202
Section
2
Chapter
Pending Review
Defining open air assembly
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 3 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7770 
Proponent
202
Section
2
Chapter
Pending Review
Defining open air assembly by eliminating conflict with other definition
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7850 
Proponent
202
Section
2
Chapter
Pending Review
Adds definition for SOFT CONTAINED PLAY EQUIPMENT STRUCTURE, a term that is used for regulation.
Summary

AS
AM

NAR

I

W
TAC Action

Marcelo Hirschler
3‑Use and Occupancy Classification
Mod #
 7133 
Proponent
302.1
Section
3
Chapter
Pending Review
This change provides language outlining that occupied roofs shall be classified as an occupancy. The code cannot be used without knowing the occupancy of a space. Therefore, this change is a clarification to the current code requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Steve Thomas
Mod #
 7372 
Proponent
307.1.1
Section
3
Chapter
Pending Review
This proposed modification adds stationary fuel cell power systems, capacitor energy storage systems, and modifies stationary storage battery systems in the list of items that exempt hazardous classification of the occupancy.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland

Page 4 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7464 
Proponent
301
Section
3
Chapter
Pending Review
The purpose of this code change is to simply formalize these terms and explain their relationship. This will assist code practitioners in properly establishing applicable code requirements and improve uniformity and continuity in the identification of appropriate provisions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7473 
Proponent
307
Section
3
Chapter
Pending Review
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Schauland
Mod #
 7474 
Proponent
311
Section
3
Chapter
Pending Review
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Schauland
Mod #
 7552 
Proponent
302.1
Section
3
Chapter
Pending Review
As roof areas are being used for other activities and functions, addresses these uses and related issues
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 5 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7556 
Proponent
302.1
Section
3
Chapter
Pending Review
As roof areas are being used for other activities and functions, addresses these uses and related issues
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7557 
Proponent
310.4
Section
3
Chapter
Pending Review
Provides clarification on uses for R‑2 and R‑3 based on size (number of occupants).
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7559 
Proponent
310.5
Section
3
Chapter
Pending Review
This proposal further refines the added language by inserting &quot;owner occupied&quot; which is a qualifier already in the Code; by clarifying that the lodging use is of a &quot;transient&quot; nature consistent with other Group R‑3 use language.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7560 
Proponent
310.5.2
Section
3
Chapter
Pending Review
This proposal further refines the added language by inserting &quot;owner occupied&quot; which is a qualifier already in the Code; by clarifying that the lodging use is of a &quot;transient&quot; nature consistent with other Group R‑3 use language.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 6 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7561 
Proponent
311.1.1
Section
3
Chapter
Pending Review
The subject of storage rooms has been discussed since the first edition of the Code. The original code considered storage rooms as incidental uses. This will better define that space&#39;s usage.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7564 
Proponent
312.1
Section
3
Chapter
Pending Review
This addition identifies the placement of communication equipment structures less than 1,500 sq ft gross into Group U.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 8173 
Proponent
302.1
Section
3
Chapter
Pending Review
Adds provisions for occupied roofs.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for Bison
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 7368 
Proponent
405.8
Section
4
Chapter
Pending Review
This proposed modification changes fire pumps for underground buildings to an emergency power load from a standby power load.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland

Page 7 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7370 
Proponent
412.6.7
Section
4
Chapter
Pending Review
This proposed modification adds electrical classification criteria to the rules for aircraft paint hangers.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7390 
Proponent
412.6.3
Section
4
Chapter
Pending Review
Aligns the aircraft paint hangar spray equipment cleaning and storage provisions with the fundamental system of classifying hazardous areas in accordance with Section 307.1 and result in more consistent application of Florida Fire Prevention Code and Florida Building Code provisions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 7476 
Proponent
414
Section
4
Chapter
Pending Review
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Schauland
Mod #
 7511 
Proponent
406.8.3
Section
4
Chapter
Pending Review
This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.
Summary

AS
AM

NAR

I

W
TAC Action

Tim Earl

Page 8 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7546 
Proponent
424.2
Section
4
Chapter
Pending Review
This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.
Summary

AS
AM

NAR

I

W
TAC Action

Tim Earl
Mod #
 7562 
Proponent
401.1
Section
4
Chapter
Pending Review
The purpose of this code change is to simply formalize these terms and explain their relationship. This will assist code practitioners in properly establishing applicable code requirements and improve uniformity and continuity in the identification of appropriate provisions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7565 
Proponent
402.8.6.1
Section
4
Chapter
Pending Review
The purpose of this proposal is to point the user to all of the code requirements for exit passageways.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7618 
Proponent
424.1
Section
4
Chapter
Pending Review
Clarifies that both height and area limitations apply
Summary

AS
AM

NAR

I

W
TAC Action

Marcelo Hirschler

Page 9 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7826 
Proponent
406.7.2
Section
4
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
Mod #
 7992 
Proponent
414.2.4
Section
4
Chapter
Pending Review
Adds Type IV construction in requirements for fire resistance of floors serving control areas.
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
5‑General Building Heights and Areas
Mod #
 7134 
Proponent
503.1.4
Section
5
Chapter
Pending Review
This change provides language outlining how the height and area requirements of the code are applied to an occupied roof. It sets limits on the location of an occupied roof and clarifies the requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Steve Thomas
Mod #
 7506 
Proponent
509.5
Section
5
Chapter
Pending Review
The provisions for electrical rooms found in the National Electrical Code (NEC) can be an unwelcome surprise if not found early in the design process. Construction aspects to the NEC requirements should be located in the Code to eliminate this issue.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 10 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7555 
Proponent
503.1
Section
5
Chapter
Pending Review
As roof areas are being used for other activities and functions, addresses these uses and related issues
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
6‑Types of Construction
Mod #
 7459 
Proponent
601
Section
6
Chapter
Pending Review
Clarifies application of Table 601 Footnote b.
Summary

AS
AM

NAR

I

W
TAC Action

Bonnie Manley
Mod #
 7522 
Proponent
602.4
Section
6
Chapter
Pending Review
This proposed modification takes the details for heavy timber construction out of Chapter 6 and consolidates them in Chapter 23.
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
Mod #
 7553 
Proponent
2304.11
Section
6
Chapter
Pending Review
This proposed modification takes the details for heavy timber construction out of Chapter 6 and consolidates them in Chapter 23.
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats

Page 11 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8121 
Proponent
604
Section
6
Chapter
Pending Review
his proposal is intended to require fuel lines supplying a generator set inside a building to be separated with fire‑resistance‑rated construction from areas of the building other than in the room in which the generator is located.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 8265 
Proponent
601
Section
6
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
Mod #
 8267 
Proponent
603
Section
6
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
7‑Fire and Smoke Protection Features
Mod #
 7247 
Proponent
707.5
Section
7
Chapter
Pending Review
To make the Fire Prevention Code and Building Code consistent with each other.
Summary

AS
AM

NAR

I

W
TAC Action

Michael Phegley

Page 12 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7495 
Proponent
705.2
Section
7
Chapter
Pending Review
Restores language from the previous editions (2012 IBC) and eliminates an anomaly that was in the earlier editions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7496 
Proponent
721.1
Section
7
Chapter
Pending Review
Corrects an assembly description error in Table 721.1(3)
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
Mod #
 7497 
Proponent
716.1
Section
7
Chapter
Pending Review
Cleans up the language to ensure NFPA 80 is the referenced document throughout the section and correlates to changes made in the base code
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7516 
Proponent
704.2
Section
7
Chapter
Pending Review
Clarifies that the fire resistance of light frame columns in fire resistance rated walls can be accomplished with the membrane protection of the fire resistance rated walls, with conditions.
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats

Page 13 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7569 
Proponent
705.8.5
Section
7
Chapter
Pending Review
Revises table 708.5 “Vertical section of openings” to allow temperature rise limitations to not apply to vertical separations as this is a different fire exposure condition than the flame barriers that project beyond the exterior wall.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7590 
Proponent
713.13.3
Section
7
Chapter
Pending Review
Revises section 713.13.3 “Chute access rooms” to ensure the intent of the code that the room and door provide a minimum level of protection to the
shaft enclosing the chute and the chute access doors.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7596 
Proponent
714.2
Section
7
Chapter
Pending Review
This modification is meant to remove redundant wording, cover all listed penetration fire‑stop penetration systems, and require installation in accordance with the manufacturer&#39;s instructions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7601 
Proponent
706.1
Section
7
Chapter
Pending Review
This modification clarifies the requirements of party walls located on lot lines between adjacent buildings and provides exceptions as to when firewalls are not required.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3

Page 14 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7609 
Proponent
715.1
Section
7
Chapter
Pending Review
This modification adds an exception for fire‑resistant joints. This exception clarifies that  a fire‑resistant joint at the intersection of exterior curtain wall assemblies and roof slabs or roof decks are not required.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7611 
Proponent
720.1
Section
7
Chapter
Pending Review
This is clarification and cleanup. Section 720.1 is intended to apply to all insulating materials but the sentence causes confusion as is.
Summary

AS
AM

NAR

I

W
TAC Action

Marcelo Hirschler
Mod #
 7623 
Proponent
716.1
Section
7
Chapter
Pending Review
This modification revises sections 716.1, 716.5, and 716.6 by removing redundant wording and clarifying the requirements of NFPA 80 for opening protectives within this code.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7624 
Proponent
716.3
Section
7
Chapter
Pending Review
Revises table 716.3 “Marking Fire‑Rated Glazing Assemblies,” and revises section 2409.1 “Glass walkways” to maintain consistency in the code when dealing with fire‑rated glazing products, by adding the testing and marking requirements for glass installed as part of a floor/ceiling assembly.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3

Page 15 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7671 
Proponent
716.5
Section
7
Chapter
Pending Review
Addition of footnote &quot;f&quot; to table 716.5 to provide an appropriate reference to the additional permitted markings for fire rated glazing door vision panels found in section 716.3.1 &amp; Table 716.3.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7682 
Proponent
714
Section
7
Chapter
Pending Review
Revises language in section 714.3.1.1 and section 714.1.1
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7683 
Proponent
715.3
Section
7
Chapter
Pending Review
Changes exception for horizontal separation distance for wall joint testing requirements according to minimum separation distance.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7684 
Proponent
716
Section
7
Chapter
Pending Review
Adds UL10B and UL10C as additional testing standards that can be used as alternatives to the current NFPA 252 requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts

Page 16 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7692 
Proponent
717.3.1
Section
7
Chapter
Pending Review
This proposal relocates the reference to testing of ceiling radiation dampers.  It moves the requirement found elsewhere in the code to 717.3.1 which deals with damper testing.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7700 
Proponent
717
Section
7
Chapter
Pending Review
The proposal removes the term &quot;fire‑protection rating&quot;  and changes it to &quot;rating&quot; because fire dampers carry an hourly &quot;rating&quot;, not a &quot;fire‑protection rating&quot;.  It also removes unnecessary language.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7702 
Proponent
717
Section
7
Chapter
Pending Review
This intent of this proposal is simply to bring consistency in terminology within Section 717, which referenced &quot;approved&quot; dampers instead of &quot;listed&quot; dampers.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7871 
Proponent
714
Section
7
Chapter
Pending Review
This code change adds an additional exception to the membrane penetration compliance section and aligns with a proposal related to section 302.4.2 of the residential building code.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts

Page 17 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7887 
Proponent
716.5.9.4
Section
7
Chapter
Pending Review
Clarify vertical sliding fire doors from rolling steel fire doors.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Hetzel
Mod #
 7890 
Proponent
716.5.2
Section
7
Chapter
Pending Review
Revision to a list of assemblies, to have rolling steel fire doors represented.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Hetzel
Mod #
 7891 
Proponent
716.5.9.1
Section
7
Chapter
Pending Review
Clarification involving side‑hinged swinging fire doors.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Hetzel
Mod #
 7919 
Proponent
717.3.3.1
Section
7
Chapter
Pending Review
This modification revises terminology used in section 717.3.3.1
Summary

AS
AM

NAR

I

W
TAC Action

Amanda Hickman

Page 18 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7928 
Proponent
717.4
Section
7
Chapter
Pending Review
This modification revises section 717.4
Summary

AS
AM

NAR

I

W
TAC Action

Amanda Hickman
Mod #
 8087 
Proponent
708.4
Section
7
Chapter
Pending Review
The proposed addition of exception #7 to Section 708.4 will make provisions of this section consistent with the exceptions in Section 718.3 and 718.4
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8133 
Proponent
709.5
Section
7
Chapter
Pending Review
1.	Update text of references to IBC 1010.1.4.3. Special purpose horizontal sliding, accordion, or folding doors as the name of this section and these products were revised for the 2017 FBC.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8140 
Proponent
709.5
Section
7
Chapter
Pending Review
Add a sentence to the end of 709.5 Exception number 1 that reads as follows: Factory applied or field applied protective plates are not required to be labeled.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan

Page 19 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8187 
Proponent
712.1.10.1
Section
7
Chapter
Pending Review
strike out the words &quot;open and enclosed&quot; in the middle of the sentence and the word &quot;respectively&quot; at the end of the sentence. The current language in the code is redundant and confusing.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8196 
Proponent
713.8
Section
7
Chapter
Pending Review
Membrane penetrations should be permitted on the outside of the shaft enclosure. This modification would add language at the end of the section to that effect.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8226 
Proponent
716.5.9.3
Section
7
Chapter
Pending Review
The FBC is silent regarding delayed action closers. This proposal includes a definition and requirements for where delayed action closers may be installed.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8269 
Proponent
705.2.3
Section
7
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats

Page 20 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8304 
Proponent
713.13
Section
7
Chapter
Pending Review
The code section as published is in error. Chapter 5 of NFPA 82 includes requirements for incinerators however Ch 6 includes requirement for waste and linen chutes.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8306 
Proponent
713.13.1
Section
7
Chapter
Pending Review
Insert wording that permits a recycling chute to be located in the same shaft with a waste chute. Hazard associated with a recycling chute is not any different than that of a waste chute.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8308 
Proponent
716.5.8.1.2.1
Section
7
Chapter
Pending Review
Modify this section to limit the area of the glazing to be 100 square inches in lieu of limiting any dimension to be 10 inches.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8324 
Proponent
716.5.9.1
Section
7
Chapter
Pending Review
Modify the section to clarify that single fire doors shall be side‑hinged swinging also.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan

Page 21 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8331 
Proponent
716.5.9.3
Section
7
Chapter
Pending Review
Delete items which are addressed in the items specific to smoke barriers, shaft enclosures, fire &amp; smoke barriers. Items are reworded &amp; renumbered to be correct. Fire barriers were added to the list for doors that protect openings in exit enclosures, vertical shafts, incidental uses, etc.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
Mod #
 8336 
Proponent
716.6.2
Section
7
Chapter
Pending Review
Revise the section to indicate that the fire‑resistance rating of exterior walls with a fire separation distance of greater than 10 feet, not 5 feet, shall be rated for exposure to fire from the inside only. This distance was increased from 5 feet to 10 feet with the 2009 edition of the IBC.
Summary

AS
AM

NAR

I

W
TAC Action

Richard Logan
8‑Interior Finishes
Mod #
 7507 
Proponent
803.3
Section
8
Chapter
Pending Review
Removes heavy timber in interior exit elements from the exception to interior finish requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
Mod #
 7547 
Proponent
804
Section
8
Chapter
Pending Review
This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.
Summary

AS
AM

NAR

I

W
TAC Action

Tim Earl

Page 22 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7620 
Proponent
803
Section
8
Chapter
Pending Review
This modifies section 803 to make it more logical and adds two new products.
Summary

AS
AM

NAR

I

W
TAC Action

Marcelo Hirschler
Mod #
 8270 
Proponent
803.3
Section
8
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
9‑Fire Protection Systems
Mod #
 7373 
Proponent
907.2
Section
9
Chapter
Pending Review
This proposed modification adds a mandate for an automatic smoke detection system at battery rooms and for capacitor energy storage systems with a pointer to the FFPC.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7374 
Proponent
907.1.2
Section
9
Chapter
Pending Review
This proposed modification revises the requirements for fire alarm shop drawings.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland

Page 23 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7376 
Proponent
907.2.1
Section
9
Chapter
Pending Review
This proposed modification adds more criteria for when a manual fire alarm system is required in a Group A occupancy.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7377 
Proponent
907.2.13.3
Section
9
Chapter
Pending Review
This proposed modification adds multiple‑channel voice evacuation requirements for certain high‑rise buildings.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7378 
Proponent
907.5.2.2.4
Section
9
Chapter
Pending Review
This proposed modification consolidates &quot;emergency voice/alarm communication captions&quot; requirements into this Section.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7379 
Proponent
907.5.2.3
Section
9
Chapter
Pending Review
This proposed modification is a mostly editorial revision of the visible alarm requirements in I‑1, R‑1 and R‑2 occupancy types.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland

Page 24 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Section
915
 7383 
Chapter
Mod #
This proposed modification deletes all the CO alarm requirements in Section 908.8 and adds all the current CO alarm requirements of the 2018 IBC into an expanded Section 915.
9
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Mod #
 7859 
Proponent
903
Section
9
Chapter
Pending Review
Provides clarification for the section related to stories without openings.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7861 
Proponent
904
Section
9
Chapter
Pending Review
This removes the language pertaining to portable fire extinguishers from section 904 which is related to Alternative Automatic Fire‑Extinguishing Systems and relocates that language to section 906 which pertains to portable extinguishers.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 8059 
Proponent
901.6.1
Section
9
Chapter
Pending Review
This proposal corrects an exception made in a previous code edition to prevent having a conflict between this section and Section 903.4 in order to be consistent.
Summary

AS
AM

NAR

I

W
TAC Action

George Wiggins (BOAF)
10‑Means of Egress

Page 25 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7213 
Proponent
1015.8
Section
10
Chapter
Pending Review
FBC, Building 1015.8 window fall protection 36 inch sill height change to 24 inches to match FBC, Residential R312.2. the safety issue should be the same and not related to occupancy, i.e. multi family or single family.
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7333 
Proponent
1006.3
Section
10
Chapter
Pending Review
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7334 
Proponent
1026.4
Section
10
Chapter
Pending Review
The proposed language clarifies requirement for when the actual occupant load is less than the capacity of the exit. This reflects actual conditions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo3
Mod #
 7354 
Proponent
1010.3
Section
10
Chapter
Pending Review
Manufacturers of turnstile devices have expanded into the security access control market and currently have products that have physical barrier leaves that restrict access into and out of buildings.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1

Page 26 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7360 
Proponent
1013.6.3
Section
10
Chapter
Pending Review
This proposed modification simply moves a rule in the exception up to the main charging paragraph of the Section.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7471 
Proponent
1004.3
Section
10
Chapter
Pending Review
Add verbiage to the current language of the code in order to help the Fire Marshal verify the posting of appropriate occupancy, occupant load and &quot;intended configuration&quot; of the assembly rooms or spaces.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7472 
Proponent
1004.5
Section
10
Chapter
Pending Review
Occupied roof will also need to meet the means of egress requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7512 
Proponent
1006.2.1
Section
10
Chapter
Pending Review
This modification is to improve the consistency in the determination and application of fundamental FBC means of egress provisions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1

Page 27 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Section
1006.2.1
 7517 
Chapter
Mod #
This modification is to improve the consistency in the determination and application of fundamental FBC means of egress provisions.
10
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Ann Russo1
Mod #
 7527 
Proponent
1003
Section
10
Chapter
Pending Review
Clarification and coordination of current requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7563 
Proponent
1006.2.2
Section
10
Chapter
Pending Review
The intent of this proposal is to regulate exit and exit access doors.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7573 
Proponent
1004.1.2
Section
10
Chapter
Pending Review
Code change proposal is to revise the current maximum floor area allowance per occupant in Table 1004.1.2 for business occupancies from 100 ft2/occupant (gross) to 150 ft2/occupant (gross) for determining the means of egress requirements in business areas.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1

Page 28 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7650 
Proponent
1006.3
Section
10
Chapter
Pending Review
Expanding the provisions for the required egress from stories or occupied roofs.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7667 
Proponent
1006.3.2
Section
10
Chapter
Pending Review
Corrects a conflict between the provisions in Section 1006.3.2 Item 4 and Table 1006.3.2(2)
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7670 
Proponent
1008.2.2
Section
10
Chapter
Pending Review
Provides specific means of egress illumination requirements for Group I‑2 and adding a code section of exit discharge illumination.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7672 
Proponent
1006.2.2.4
Section
10
Chapter
Pending Review
The proposal will correlate the provisions for day care facilities to the proper occupancy Group I‑4.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1

Page 29 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7673 
Proponent
1017.2
Section
10
Chapter
Pending Review
The proposal will correlate the provisions for day care facilities under occupancy Group I‑4.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7679 
Proponent
1004
Section
10
Chapter
Pending Review
Change to clarify application of the occupant load when facilities include both gross and net areas.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Mod #
 7701 
Proponent
1019.3
Section
10
Chapter
Pending Review
Correct possible misinterpretation of definition on egress stairway and access ramp
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7718 
Proponent
1006.2.1
Section
10
Chapter
Pending Review
The proposal moves the exception for Group R‑2, R‑3 and R‑4 into the table, where it is easier to find. In addition, this improves flexibility for Group R‑2, R‑3 and R‑4 units in a mixed use building.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam

Page 30 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7720 
Proponent
1020.4
Section
10
Chapter
Pending Review
Remove reference to dead end corridor egress and update R‑4 exit allowances for single exit
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7722 
Proponent
1023.3.1
Section
10
Chapter
Pending Review
Clarify pressurization in exit stairways
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7723 
Proponent
1023.5
Section
10
Chapter
Pending Review
Improves penetration protection for security wiring applications
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7724 
Proponent
1024.6
Section
10
Chapter
Pending Review
Improves definition of systems under reference
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 31 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7725 
Proponent
1023.11
Section
10
Chapter
Pending Review
Improved coordination between sections on requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7750 
Proponent
1010.1.1
Section
10
Chapter
Pending Review
This proposal combines approved revisions to the 2018 IBC by proposals E47‑15 and E49‑15. which were approved “As Modified”. The intent of a large portion of this change is consistent use of the terminology (e.g., minimum clear opening width/height) throughout this section.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 7753 
Proponent
1023.1
Section
10
Chapter
Pending Review
Better coordination and references to standpipe requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7754 
Proponent
1024.8
Section
10
Chapter
Pending Review
Better coordination and references to standpipe requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 32 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7755 
Proponent
1026.5
Section
10
Chapter
Pending Review
Better coordination and references to standpipe requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7756 
Proponent
1025.1
Section
10
Chapter
Pending Review
Update reference and delete from I‑2 occupancy as not needed
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7757 
Proponent
1025.1
Section
10
Chapter
Pending Review
Delete Group I‑4 from requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7758 
Proponent
1025.1
Section
10
Chapter
Pending Review
Delete Group I‑3 from requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 33 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7759 
Proponent
1025.2.5
Section
10
Chapter
Pending Review
Include exception to marking
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7760 
Proponent
1026.4
Section
10
Chapter
Pending Review
Updates standard for capacity of refuge area
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7761 
Proponent
1026.4.1
Section
10
Chapter
Pending Review
Clarifies capacity requirement for horizontal egress refuge areas
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7762 
Proponent
1010.1.4.1.2
Section
10
Chapter
Pending Review
The requirements for revolving doors were revised / updated for the 2015 IBC, including a definition of “breakout” and the use of that term which took the place of the term “collapsing”. I missed this revision during the code development cycle for the 2015 IBC. Hence this proposal.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman

Page 34 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7763 
Proponent
1010.1.4.2
Section
10
Chapter
Pending Review
The Builders Hardware Manufacturers Association (BHMA), an ANSI accredited SDO, received ANSI approval of A156.38‑2014 Low Energy Power Operated Sliding and Folding Doors, with mandatory performance and safety requirements for low energy power operated sliding and folding doors.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 7765 
Proponent
1027.5
Section
10
Chapter
Pending Review
Addresses egress stair requirements for Group R‑3 requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7766 
Proponent
1027.6
Section
10
Chapter
Pending Review
Addresses egress stair requirements for Group R‑3 requirements
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7768 
Proponent
1028.4.1
Section
10
Chapter
Pending Review
The proposal deletes an outdated and unused code requirement for egress courts.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 35 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7771 
Proponent
1005.3.1
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7772 
Proponent
1005.3.2
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7773 
Proponent
1009.3
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7774 
Proponent
1019.3
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 36 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7775 
Proponent
1029.6
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7776 
Proponent
1029.6.3
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7777 
Proponent
1029.7
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7778 
Proponent
1029.8
Section
10
Chapter
Pending Review
Coordinates section with application to open air assemblies
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 37 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7790 
Proponent
1029.8.1
Section
10
Chapter
Pending Review
Coordinate definition for open‑air assembly related section
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7791 
Proponent
1029.9.5
Section
10
Chapter
Pending Review
Coordinate definition for open‑air assembly related section
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7792 
Proponent
1016.2.1
Section
10
Chapter
Pending Review
This clarifies that if an elevators hoistway is protected by a method other than an enclosed elevator lobby by adding a lobby required to allow a fire service access elevator to have a second entrance does not require travel without going through the lobby
Summary

AS
AM

NAR

I

W
TAC Action

Brad Schiffer
Mod #
 7793 
Proponent
1029.12.2.1
Section
10
Chapter
Pending Review
Coordinate definition for open‑air assembly related section
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 38 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7794 
Proponent
1029.12.2.2
Section
10
Chapter
Pending Review
Coordinate definition for open‑air assembly related section
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7828 
Proponent
1010.1.9.5.1
Section
10
Chapter
Pending Review
Delete without substitution.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 7837 
Proponent
1023.4
Section
10
Chapter
Pending Review
Revises section 1023.4 “Openings” to replace “necessary” with the word “require” for consistency within the code.
Summary

AS
AM

NAR

I

W
TAC Action

Miguel Botello
Mod #
 7848 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
Clarify areas and number of occupants in Group E occupancies that would allow the use of delayed egress locking systems.

Allow Group I‑1 and I‑4 occupancies to have up to 2 delayed egress locking systems in the egress path.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan

Page 39 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7853 
Proponent
1010.1.9.8
Section
10
Chapter
Pending Review
Clarify and improve the consistency of the language in this code section.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 7864 
Proponent
1025.5
Section
10
Chapter
Pending Review
Add the exception that minimum width of 1 inch (25 mm) shall not apply to markings listed in accordance with UL 1994.
Summary

AS
AM

NAR

I

W
TAC Action

Miguel Botello
Mod #
 7866 
Proponent
1026.4
Section
10
Chapter
Pending Review
Revise section 1026.4 &quot;Refuge Area&quot; to clarify the requirements for when the actual occupant load is less than the capacity of the exit.
Summary

AS
AM

NAR

I

W
TAC Action

Miguel Botello
Mod #
 7867 
Proponent
1028.4.1
Section
10
Chapter
Pending Review
Revise section 1028.4.1 &quot;Width or capacity&quot; to delete an outdated and unused code requirement for egress courts.
Summary

AS
AM

NAR

I

W
TAC Action

Miguel Botello

Page 40 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7868 
Proponent
1029.9.1
Section
10
Chapter
Pending Review
Revise section 1029.9.1 &quot;Minimum aisle width&quot; coordination cleanup for minimum aisle width.
Summary

AS
AM

NAR

I

W
TAC Action

Miguel Botello
Mod #
 7869 
Proponent
1026.4.1
Section
10
Chapter
Pending Review
Revises 1026.4 &quot;Capacity&quot; to clarify the capacity requirements for horizontal exit refuge  areas for defends in place occupancies.
Summary

AS
AM

NAR

I

W
TAC Action

Miguel Botello
Mod #
 7889 
Proponent
1010.1.9.10
Section
10
Chapter
Pending Review
Permit the use of locked doors for I‑1 Occupancies within correction facilities.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 7897 
Proponent
1011.11
Section
10
Chapter
Pending Review
clarify that handrails are required on &quot;flights of stairways&quot;, not &quot;stairways&quot;.   The definition of &quot;stairways&quot; includes landings.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan

Page 41 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7902 
Proponent
1014.1
Section
10
Chapter
Pending Review
clarifies railing requirements for &quot;flights of stairways&quot;, verses &quot;stairways&quot;.  By definition, &quot;stairways&quot; include landings.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 7909 
Proponent
1011.16
Section
10
Chapter
Pending Review
clarifies the construction requirements for permanent ladders.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 7961 
Proponent
1029.9.1
Section
10
Chapter
Pending Review
The intent of this proposal is consistency in language and consistency in exceptions to other sections.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7962 
Proponent
1029.14.3
Section
10
Chapter
Pending Review
New definitions to deal with vomitories specific needs
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 42 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7963 
Proponent
1029.14.1
Section
10
Chapter
Pending Review
New definitions to deal with vomitories specific needs
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7964 
Proponent
1029.14.2
Section
10
Chapter
Pending Review
New definitions to deal with vomitories specific needs
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7965 
Proponent
1029.10.1
Section
10
Chapter
Pending Review
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7966 
Proponent
1029.10.2
Section
10
Chapter
Pending Review
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5

Page 43 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7968 
Proponent
1029.10.2.1
Section
10
Chapter
Pending Review
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7969 
Proponent
1029.10.2.2
Section
10
Chapter
Pending Review
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7971 
Proponent
1029.10.3
Section
10
Chapter
Pending Review
The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
Mod #
 7973 
Proponent
1013.2
Section
10
Chapter
Pending Review
allow more flexibility in the height of low‑level exit signs
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan

Page 44 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7977 
Proponent
1013.4
Section
10
Chapter
Pending Review
clarify code language to require tactile signage only for doors in areas of refuge that lead to the stairway (not to elevator lobbies).
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 7986 
Proponent
1015.3
Section
10
Chapter
Pending Review
eliminate height of rail requirement to be taken from top of seat in Group R‑3 not more than 3 story occupancies and individual dwellings in Group R‑2 not more than 3 stories above grade.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8001 
Proponent
1015.6
Section
10
Chapter
Pending Review
clarify language in the code by deleting conflicting language regarding installation of permanent fall arrest/restraint anchorage connector devices.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8003 
Proponent
1015.7
Section
10
Chapter
Pending Review
clarify language in the code by deleting conflicting language regarding installation of permanent fall arrest/restraint anchorage connector devices.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan

Page 45 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8005 
Proponent
202
Section
10
Chapter
Pending Review
modifies definition of &quot;common path&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8006 
Proponent
1017.3
Section
10
Chapter
Pending Review
modifies definition of &quot;common path&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8009 
Proponent
1019.3
Section
10
Chapter
Pending Review
clarifies when exit access stairways and ramps must be enclosed.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8012 
Proponent
1020.2
Section
10
Chapter
Pending Review
Coordinate table 1020.2 with defined term for ambulatory care facilities.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan

Page 46 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8015 
Proponent
1020.4
Section
10
Chapter
Pending Review
Remove Single Exit, R‑4 occupancies from the dead‑end exceptions.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8018 
Proponent
1023.1
Section
10
Chapter
Pending Review
Remove the separation requirement between and interior exit stairway or ramp and an exit passageway extension when they are both pressurized in accordance with Section 909.20.5
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8023 
Proponent
1023.5
Section
10
Chapter
Pending Review
allow security system equipment to penetrate into or through interior exit stairs and ramps.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8046 
Proponent
1015.3
Section
10
Chapter
Pending Review
In Group F occupancies the tip of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if, the exit access stairways serve three stories or less, and such stairs are not open to the public, and the top of the guard also serves as handrail.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4

Page 47 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8047 
Proponent
1015.3
Section
10
Chapter
Pending Review
In Group F occupancies the tip of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if, the exit access stairways serve three stories or less, and such stairs are not open to the public, and the top of the guard also serves as handrail.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8097 
Proponent
1010.1.9.9
Section
10
Chapter
Pending Review
Allow electrically locked egress doors in occupancies that have a lower risk than those currently allowed.   Also clarifies all types of electrical locking systems such as panic hardware, fire exit hardware, or door knobs or levers.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8101 
Proponent
1010.1.9.11
Section
10
Chapter
Pending Review
Allow the 5th and 6th floors of non‑high rise buildings to use locking hardware on stairway means of egress doors ‑ the same as currently allowed on floors 1 thru 4.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan
Mod #
 8109 
Proponent
1010.1.10
Section
10
Chapter
Pending Review
limits panic hardware to swinging doors.
Summary

AS
AM

NAR

I

W
TAC Action

Lawrence Cohan

Page 48 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8123 
Proponent
1015.8
Section
10
Chapter
Pending Review
In Group F occupancies the top of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if the exit access stairways serve three stories or less and such stairs are not open to the public, and the top of the guard also serves as a handrail
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8132 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
Permit the use of delayed egress system on door(s) other than the main entrance/exit door(s) from a courtroom.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8134 
Proponent
1010.1.4.4
Section
10
Chapter
Pending Review
Propose requirements for locking of doors to classrooms, offices, and other occupied rooms in Group E and Group B educational occupancies.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8136 
Proponent
1010.1.9.3
Section
10
Chapter
Pending Review
Add a section to FBC in the special locking arrangements area to address “monitored egress”. Monitored egress is where a device such as a card reader, keypad, iris scan, finger scan, etc., is used to monitor who is egressing.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman

Page 49 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8138 
Proponent
1010.1.9.3
Section
10
Chapter
Pending Review
The intent of this proposal is to allow doors to roofs not intended to be occupied to be locked preventing access into the building from the roof, especially for security reasons
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8202 
Proponent
1023.4
Section
10
Chapter
Pending Review
Replaces non‑mandatory language with mandatory language &quot;required&quot; instead of necessary
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8203 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
One proposal which incorporates proposed revisions to this section re: delayed egress locking systems approved for the 2018 IBC in proposals E66‑15, E68‑15, &amp; E69‑15.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8206 
Proponent
1023.11
Section
10
Chapter
Pending Review
Adds Section 412.3.2 to smoke proof enclosures in correlation with air traffic control towers.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4

Page 50 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8208 
Proponent
1010.1.9.8
Section
10
Chapter
Pending Review
This proposal combines approved revisions to the 2018 IBC by proposals E70‑15 and E71‑15. 
Both E70‑15 and E71‑15 were approved “As Submitted” by the ICC Means of Egress Code Committee, and received final approval via the consent agenda during the Public Comment Hearing.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8215 
Proponent
1010.1.9.9
Section
10
Chapter
Pending Review
Proposal for the 2020 FBC which incorporates revisions to the 2018 IBC from proposal E72‑15.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8219 
Proponent
1010.1.10
Section
10
Chapter
Pending Review
FBC proposal incorporating revisions approved for the 2018 IBC by proposals E77‑15 and E78‑15.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Section
1010.1.7
 8224 
Chapter
Mod #
Brings back door threshold requirements in the 5th Edition of the FBC (2014) that were inadvertently left out of the 6th Edition (2017) version.
10
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Anthony Miller

Page 51 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8309 
Proponent
1010.1.1
Section
10
Chapter
Pending Review
The intent of a large portion of this change is consistent use of the terminology (e.g., minimum clear opening width/height) throughout this section. There is also the intent of putting the modifier first within the specific requirements (Group I‑2, ambulatory care) and the exceptions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8311 
Proponent
1010.1.1
Section
10
Chapter
Pending Review
The proposed revisions are intended to improve clarity and consistency of the language of these sections of the code, and appear to be essentially editorial.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8313 
Proponent
1010.1.9.3
Section
10
Chapter
Pending Review
The intent of this proposal is to allow doors to roofs not intended to be occupied to be locked. In an effort to prevent locking out an authorized person who goes to the roof from inside the building, this proposal includes a requirement for the door to not automatically lock behind this person.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8314 
Proponent
1010.1.9.5.1
Section
10
Chapter
Pending Review
Eliminates an inconsistent requirement.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2

Page 52 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8315 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
This proposal is in response to several requests to address the needs of small educational occupancies to help prevent wandering / elopement, especially for the very young, and for special needs students.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8317 
Proponent
1010.1.9.7
Section
10
Chapter
Pending Review
Provides a design option that would allow two delayed egress locking systems in the means of egress.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8318 
Proponent
1010.1.9.8
Section
10
Chapter
Pending Review
Update to improve clarity and consistency in the language. The language is proposed to eliminate redundancy in this section.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8319 
Proponent
1010.1.9.9
Section
10
Chapter
Pending Review
Permits and requires the door hardware to be device which causes the electrical lock to unlock immediately, allowing egress.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2

Page 53 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8323 
Proponent
1010.1.9.10
Section
10
Chapter
Pending Review
Eliminates the list of Groups in the section due to inconsistencies with how correctional facilities are defined in the code.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8328 
Proponent
1010.1.9.11
Section
10
Chapter
Pending Review
Allows for stair doors on the fifth and sixth stories to be locked from the non‑egress side, consistent with doors on all other floors.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8330 
Proponent
1010.1.10
Section
10
Chapter
Pending Review
Clarifies text clarifying that panic and fire exit hardware is required for pivoted or side‑hinged swinging doors, but not all door types.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8332 
Proponent
1011.6
Section
10
Chapter
Pending Review
Establishes a minimum length of a stair landing.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2

Page 54 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8333 
Proponent
1011.10
Section
10
Chapter
Pending Review
Modifies tread measurement for spiral stairs, as the method is outdated.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8337 
Proponent
1011.11
Section
10
Chapter
Pending Review
Clarifies that handrails, other than extensions, are not required at the periphery of stair landings.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8339 
Proponent
1011.16
Section
10
Chapter
Pending Review
Clarifies currently existing ladder construction requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8342 
Proponent
1013.2
Section
10
Chapter
Pending Review
Slightly increases the allowable height of an exit sign, coordinating this section with the Life Safety Code.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2

Page 55 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8343 
Proponent
1013.4
Section
10
Chapter
Pending Review
Meant to coordinate with recent revisions to accessibility requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8345 
Proponent
1015.3
Section
10
Chapter
Pending Review
Meant to coordinate provisions of the FBC, Building and the FBC, Residential
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8347 
Proponent
1015.6
Section
10
Chapter
Pending Review
Modifies requirements for fall arrest anchorage for steep roofs.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
Mod #
 8349 
Proponent
1017.3
Section
10
Chapter
Pending Review
Meant to provide clarification of current path of egress travel requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo2
12‑Interior Environment

Page 56 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7531 
Proponent
1208.2
Section
12
Chapter
Pending Review
Clarification and coordination of current requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
14‑Exterior Walls
Mod #
 7242 
Proponent
1407
Section
14
Chapter
Pending Review
Eliminate Alternate Conditions allowable for Metal Composite Materials (MCM)
Summary

AS
AM

NAR

I

W
TAC Action

Andy Williams
Mod #
 8233 
Proponent
1406.3
Section
14
Chapter
Pending Review
This proposal, in 1406.3, seeks to allow plastic composites meeting the specified criteria to be used in the same applications where untreated wood may be used in balcony construction. Similar in 2612.5.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
Mod #
 8271 
Proponent
1406.3
Section
14
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
15‑Roof Assemblies and Rooftop Structures

Page 57 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7703 
Proponent
1505
Section
15
Chapter
Pending Review
The testing for photovoltaic panel systems are covered in both UL 1703 and UL 2703.  This proposal adds two new UL standards to this section, UL 1703 and 2703, which are ANSI consensus standards.  These standard provide the test method for testing panels and mounting systems.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7872 
Proponent
1505
Section
15
Chapter
Pending Review
Adds guidance by referencing table 501 for building integrated photovoltaic products to ensure that they have the proper fire classification.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 8273 
Proponent
1510.2.5
Section
15
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
Mod #
 8292 
Proponent
1505
Section
15
Chapter
Pending Review
Address inconsistency between FBC and FBC‑R fire requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Chadwick Collins

Page 58 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8295 
Proponent
1516
Section
15
Chapter
Pending Review
Alignment of fire classification between HVHZ and non‑HVHZ (Section 1505)
Summary

AS
AM

NAR

I

W
TAC Action

Chadwick Collins
24‑Glass and Glazing
Mod #
 8201 
Proponent
2406.4.5
Section
24
Chapter
Pending Review
This modification clarifies that the sacrificial outboard panes of laminated, insulated glass windows are not required to be safety glazed if they are not exposed to potential hazards.
Summary

AS
AM

NAR

I

W
TAC Action

Anthony Miller
26‑Plastic
Mod #
 7847 
Proponent
2603.4
Section
26
Chapter
Pending Review
This proposal adds a suitable thermal barrier material.
Summary

AS
AM

NAR

I

W
TAC Action

Marcelo Hirschler
Mod #
 8236 
Proponent
2612
Section
26
Chapter
Pending Review
This proposal is intended to be clarifications and simplification of the requirements for plastic composites identified in this section of the FBC.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman

Page 59 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8251 
Proponent
2603.7
Section
26
Chapter
Pending Review
This proposal is intended to revise the requirements for foam plastic in plenums. There is a companion proposal for the Florida Mechanical Code. This code change is intended to not revise technical requirements, but clarifies the code&#39;s intent for the use of foam plastic in plenums.
Summary

AS
AM

NAR

I

W
TAC Action

John Woestman
31‑Special Construction
Mod #
 7365 
Proponent
3111
Section
31
Chapter
Pending Review
This proposed modification updates requirement for solar energy systems in the FBC‑B.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7534 
Proponent
3104.5.2.2
Section
31
Chapter
Pending Review
Clarifies type of glass required for pedestrian walkways
Summary

AS
AM

NAR

I

W
TAC Action

Michael Fox
Mod #
 8275 
Proponent
3105.3
Section
31
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
33‑Safeguards During Construction

Page 60 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7607 
Proponent
3306.2
Section
33
Chapter
Pending Review
The code provisions are based upon an assumption where the building or structure is completely contained within the construction site with no access by the general public. There are some perceptions that this code provision only applies to &quot;the public right of way&quot;.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo5
35‑Referenced Standards
Mod #
 7548 
Proponent
35
Section
35
Chapter
Pending Review
This change adds ASTM E648 as a referenced standard, as a companion to 3 proposals which add it as an option to NFPA 253, since they are equivalent tests and many labs produce reports labeled ASTM E648 instead of NFPA 253.
Summary

AS
AM

NAR

I

W
TAC Action

Tim Earl
Mod #
 7938 
Proponent
1
Section
35
Chapter
Pending Review
This modification updates the reference standards NFPA 80 and NFPA 105 to the most current editions.
Summary

AS
AM

NAR

I

W
TAC Action

Amanda Hickman
Section
35
 8180 
Chapter
Mod #
The utilization of up to date referenced standards is a recognized component of complete system of building and fire safety. These updated references allow for the utilization of newer technologies and safety equipment to protect lives and property.
35
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Robby Dawson
Appendix D - Fire Districts

Page 61 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8276 
Proponent
102.2.8
Section
Appendix D
Chapter
Pending Review
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary

AS
AM

NAR

I

W
TAC Action

Paul Coats
SubCode:
Existing Building
Ü
4‑Prescriptive Compliance Method
Mod #
 7291 
Proponent
402.6
Section
4
Chapter
Pending Review
FBC Section 908.8 requires Carbon Monoxide Alarms in Additions, this will place the proper reference in the FEBC.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
Section
402.6
 7355 
Chapter
Mod #
This proposed modification adds CO alarm requirement to the prescriptive compliance method on the FBC‑Existing Building.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Section
403.13
 7357 
Chapter
Mod #
This proposed modification adds CO alarm requirement to the prescriptive compliance method on the FBC‑Existing Building.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland

Page 62 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Section
402.6
 7617 
Chapter
Mod #
FBC Section 908.8 requires Carbon monoxide alarms in Additions, this will place the proper reference in the FEBC
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Ann Russo11
Mod #
 8043 
Proponent
406.2
Section
4
Chapter
Pending Review
406.2 Replacement window opening control devices.
406.3 Replacement window emergency escape and rescue openings.
702.4 Window opening control devices on replacement windows.
702.5 Replacement window emergency escape and rescue openings.
Summary

AS
AM

NAR

I

W
TAC Action

Harold Barrineau
Mod #
 8049 
Proponent
406.2
Section
4
Chapter
Pending Review
Coordinates replacement window provisions of the FBC‑EB
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 8211 
Proponent
301.1
Section
4
Chapter
Pending Review
The purpose of this modification to remove the topic of repair from the three compliance methods and to move repair into one standalone chapter
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4

Page 63 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8225 
Proponent
401.2.1
Section
4
Chapter
Pending Review
Deletes &quot;Existing [Building} Materials&quot; and &quot;New and replacement Material sections from Chapter 4 ad 6 which have been inserted in Chapter 3
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8231 
Proponent
401.2
Section
4
Chapter
Pending Review
Removes provisions from Sections 401.2,401.2.2,401.2.3,602.1 &amp; 602.2 that wer already moved to Chapter 3 last cycle
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8232 
Proponent
401.2.1
Section
4
Chapter
Pending Review
Deletes the &quot;Existing [Building] Materials&quot; and &quot;New and Replacement Materials&quot; sections from Chapters 4 and 6 because they are already inserted in chapter 3.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8235 
Proponent
401.2.4
Section
4
Chapter
Pending Review
It add a new section 401.2.4 that allows alteration projects using the prescriptive method to use sprinkler systems as alternatives to other forms of protection as allowed in the Building Code and as allowed in the FEBC for the work area method.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4

Page 64 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8374 
Proponent
401
Section
4
Chapter
Pending Review
EB14‑15 &amp; EB26‑15 Combined per Mo Madani.  Replaces the word &quot;maintaining&quot; with &quot;restoring,&quot; to avoid confusion. Replaces the phrase &quot;good or sound&quot; (removed elsewhere in past cycles) with &quot;pre‑damage,&quot; as used elsewhere in Chapters 4 and 6. etc.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo8
8‑Alterations ‑ Level 2
Section
804.4.4
 7358 
Chapter
Mod #
This proposed modification adds CO alarm requirement to the &quot;Level 2 Alteration&quot; requirements of the FBC‑Existing Building.
8
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Mod #
 7359 
Proponent
805.3
Section
8
Chapter
Pending Review
The intent of the proposal is coordination and an update to new terminology.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
Mod #
 8048 
Proponent
804.2.4
Section
8
Chapter
Pending Review
The intent of this code change is to address that the municipal water supply must be available at the floor level where the work area is located without the installation of a fire pump. Move to new section 904.1.4, bring into Level 3 alterations.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam

Page 65 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8050 
Proponent
805.3
Section
8
Chapter
Pending Review
Brings FBC‑EB in line with FBC‑B for where single exit buildings are permitted. The FBC‑EB was becoming more stringent than for new construction due to changes in the FBC‑B.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 8297 
Proponent
804.4.1.7
Section
8
Chapter
Pending Review
804.4.1.7 Group R‑4.
Summary

AS
AM

NAR

I

W
TAC Action

Harold Barrineau
Mod #
 8307 
Proponent
805.3
Section
8
Chapter
Pending Review
805.3 Number of exits.
Summary

AS
AM

NAR

I

W
TAC Action

Harold Barrineau
Mod #
 8310 
Proponent
805.3.1.1
Section
8
Chapter
Pending Review
805.3.1.1 Single‑exit buildings.
Summary

AS
AM

NAR

I

W
TAC Action

Harold Barrineau

Page 66 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8358 
Proponent
804.4.1.7
Section
8
Chapter
Pending Review
This proposal is a clarification with the addition of the term “manual.” Section 907.2.10.1 of the FBC, Building only requires a manual fire alarm system. Smoke alarms are dealt with separately in Section 804.4.3.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
Mod #
 8359 
Proponent
805.3.1.1
Section
8
Chapter
Pending Review
The terminology is old and many in the list are addressed by new construction.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
10‑Change of Occupancy
Mod #
 8312 
Proponent
1012.4
Section
10
Chapter
Pending Review
TABLE 1012.4 (1012.4) MEANS OF EGRESS HAZARD CATEGORIES
TABLE 1012.5 (1012.5) HEIGHTS AND AREAS HAZARD CATEGORIES
Summary

AS
AM

NAR

I

W
TAC Action

Harold Barrineau
Mod #
 8369 
Proponent
1012.4
Section
10
Chapter
Pending Review
Clarification so that the table is consistent with the identification of different levels of hazards for the residents in a Group R‑4.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
14‑Performance Compliance Methods

Page 67 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Section
1401.6
 7450 
Chapter
Mod #
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
14
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Richard Schauland
Mod #
 8376 
Proponent
1401.6
Section
14
Chapter
Pending Review
This proposal adds &quot;other codes&quot; because other codes besides the
FBC, Existing Building are referenced in Chapter 14.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
Mod #
 8379 
Proponent
1401.6.6
Section
14
Chapter
Pending Review
This proposal clarifies the issue as to the proper application of this section by providing a footnote to VO and modifies the text in 1401.6.6 to ensure
that the maximum value of 2 applies to VO.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
Mod #
 8382 
Proponent
1401.6.8
Section
14
Chapter
Pending Review
This proposal clarifies questions regarding the application of Table 1401.6.8.
Summary

AS
AM

NAR

I

W
TAC Action

Kimberly Gilliam
SubCode:
Residential
Ü
2‑Definitions

Page 68 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Section
202
 7361 
Chapter
Mod #
This proposed modification revises the current definition of Carbon Monoxide Alarm and adds a definition for Carbon Monoxide Detector.
2
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
3‑Building Planning
Section
310.1.1
 7122 
Chapter
Mod #
Under 
R310.1.1 Operational constraints ........
Exceptions: 
1. A casement window utilizing a cranking mechanism that does not delay the window to open to the minimum opening area per R310.2.1 can be utilized as an emergency escape and rescue opening.
3
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Derek Wiechmann PG CBO
Mod #
 7335 
Proponent
302.4.2
Section
3
Chapter
Pending Review
This proposed modification adds a 4th exception for membrane penetrations made by luminaires.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7336 
Proponent
314.4
Section
3
Chapter
Pending Review
This proposed modification deletes an obsolete and unnecessary exception for smoke alarm interconnection requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland

Page 69 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7337 
Proponent
314.2.2
Section
3
Chapter
Pending Review
This proposed modification simply removes redundant language in the exceptions to smoke alarm installation requirements in existing buildings.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Section
315
 7339 
Chapter
Mod #
This proposed modification completely replaces the current R315 in the FBC‑R related to carbon monoxide alarm requirements with R315 of the 2018 IRC.
3
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Mod #
 7345 
Proponent
324
Section
3
Chapter
Pending Review
This proposed modification updates the requirements for solar energy systems.
Summary

AS
AM

NAR

I

W
TAC Action

Bryan Holland
Mod #
 7475 
Proponent
324
Section
3
Chapter
Pending Review
The modification provides for roof access pathways and location and spacing dimensions for rooftop mounted solar PV systems. First responder safety is paramount. This provides safe access and egress during fire fighting operations.
Summary

AS
AM

NAR

I

W
TAC Action

John Hall

Page 70 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7539 
Proponent
302.1
Section
3
Chapter
Pending Review
Current language could be misinterpreted to allow the placement of structures accessory to other dwelling units adjacent to another unit without regard to fire separation distances. Clarify wording.
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7540 
Proponent
302.10.1
Section
3
Chapter
Pending Review
Clarification and language cleanup Section 302.10 intended to apply to all insulating materials the sentence as is causes confusion because it refers to two types of insulation materials
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Section
324
 7645 
Chapter
Mod #
The modification provides for solar ready features to facilitate the instalation of solar PV and solar thermal systems without resort to destructive methods.
3
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

John Hall
Mod #
 7660 
Proponent
308.4.2
Section
3
Chapter
Pending Review
clarification of R308.4.2 glazing adjacent to a door, addresses glazing not in plane with the door
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam

Page 71 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7662 
Proponent
310.1
Section
3
Chapter
Pending Review
Adds an exception for sprinkled building
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7685 
Proponent
310.3
Section
3
Chapter
Pending Review
Bulkhead enclosures change wording to area wells, clarification for size, depth, access, drainage and door opening.
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7687 
Proponent
311.7.1
Section
3
Chapter
Pending Review
Handrail design and projection clarification
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7688 
Proponent
311.7.5.3
Section
3
Chapter
Pending Review
clarification of nosing
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam

Page 72 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7706 
Proponent
311.7.3
Section
3
Chapter
Pending Review
change in stairway height
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7734 
Proponent
311.7.8
Section
3
Chapter
Pending Review
The deleted phrase &quot;continuous run of treads&quot; predates the code definition of the term &quot;flight&quot;, and is redundant. Flight is defined as: A continuous run of rectangular treads or winders or combination thereof from one landing to another.
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7735 
Proponent
312.1.1
Section
3
Chapter
Pending Review
clarification on location of guards
Summary

AS
AM

NAR

I

W
TAC Action

Scott McAdam
Mod #
 7810 
Proponent
302.2
Section
3
Chapter
Pending Review
Adds calculated fire resistance section of FBC‑R for two‑family dwelling separation
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA

Page 73 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7811 
Proponent
302.4.2
Section
3
Chapter
Pending Review
Adds provisions for listed methods of penetrating a ceiling membrane with luminaries.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 7812 
Proponent
308.4.2
Section
3
Chapter
Pending Review
Changes &quot;perpendicular&quot; to &quot;not in&quot; when referring to glazing adjacent to doors.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 7813 
Proponent
308.4.2
Section
3
Chapter
Pending Review
Simplifies requirements related to glazing adjacent to doors.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 7814 
Proponent
308.4.7
Section
3
Chapter
Pending Review
Expand and simplify Figure 308.4.7
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA

Page 74 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7815 
Proponent
311.7.3
Section
3
Chapter
Pending Review
Increases allowable vertical rise of stairs to 151 inches.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 7816 
Proponent
311.7.11
Section
3
Chapter
Pending Review
Allows alternating tread devices in areas with low occupancy,
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 7817 
Proponent
316.5.4
Section
3
Chapter
Pending Review
Use of fiber‑cement panel, soffit, or backer board as a thermal barrier.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
Mod #
 7862 
Proponent
316
Section
3
Chapter
Pending Review
This code change is an editorial change intended to help understand the code section by adding separation into the sentence structure.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts

Page 75 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 7870 
Proponent
302.4.2
Section
3
Chapter
Pending Review
This code change adds an additional exception to the membrane penetration compliance section and aligns with a proposal related to section 714.4.2 of the building code.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
Mod #
 7957 
Proponent
302.1
Section
3
Chapter
Pending Review
Adds alternate materials for protecting the underside of projections.
Summary

AS
AM

NAR

I

W
TAC Action

Joseph Belcher for FHBA
7‑Wall Covering
Mod #
 7711 
Proponent
703.14.3
Section
7
Chapter
Pending Review
Add flame spread index provision for polypropylene siding.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo1
9‑Roof Assemblies
Mod #
 7865 
Proponent
902
Section
9
Chapter
Pending Review
This proposal adds a section to the code related to rooftop mounted photovoltaic panel systems.  It requires rooftop mounted panel systems to be listed and identified with a fire classification in accordance with UL 1703 and UL 2703.
Summary

AS
AM

NAR

I

W
TAC Action

Jon Roberts
10‑Chimneys and Fireplaces

Page 76 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Mod #
 8042 
Proponent
1005.8
Section
10
Chapter
Pending Review
ADDS A CODE SECTION TO REQUIRE INSULATION SHIELDS FOR FACTORY‑BUILT CHIMNEYS AS IS NOW REQUIRED IN THE CODE FOR VENTS.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo8
Appendix Q‑Reserved
Mod #
 7942 
Proponent
101.1
Section
Appendix Q
Chapter
Pending Review
Provides regulations for this additional type of housing if adopted by local ordinance.
Summary

AS
AM

NAR

I

W
TAC Action

Brad Schiffer
Appendix S ‑ Strawbale Construction
Section
107.1.1
 7456 
Chapter
Mod #
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Appendix S
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Richard Schauland
Section
107.1.2
 7457 
Chapter
Mod #
Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.
Appendix S
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Richard Schauland
Ch 46‑Reference Standards

Page 77 of 77
2/27/2019
Fire
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  305
Total Mods for  Fire in  Pending Review
TAC: 
Fire
 305
Section
46
 8204 
Chapter
Mod #
This proposal updates the NFPA referenced standards to the most recently published documents.
46
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Robby Dawson
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
TAC Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
ALL
ALL
ALL
F
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria