Page 1 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Pending Review
TAC Recommendation
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
SubCode:
Building
Ü
2‑Definitions
Mod #
 7462 
Proponent
202
Section
2
Chapter
Pending Review
In FBC Building, in &quot;Existing Structure&quot; remove sentence about flood hazard areas and add &quot;Existing Building&quot; consistent with FBC Existing Building.
Summary

AS
AM

NAR

I

W
TAC Action

Rebecca Quinn obo FL Dept Emerg Mgnt
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 7128 
Proponent
464.4.2.2
Section
4
Chapter
Pending Review
Criteria in code should reflect Rule 58A‑5.036, FAC for consistency.  
Section 464.4.2.2 addresses temperature requirements when outside temperature is below or exceeds 90&#176;F but fails to address an outside temperature of 90&#176;F.
Summary

AS
AM

NAR

I

W
TAC Action

Zaynab Salman
Section
449.3.15
 7209 
Chapter
Mod #
This proposed modification revises the requirements for lightning and surge protection for added clarity and effective enforcement.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Section
451
 7210 
Chapter
Mod #
Identifies the operating room size for an ASC
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory

Page 2 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
464.4.7
 7211 
Chapter
Mod #
This proposed modification adds requirements for lightning and surge protection in ALFs identical to the current and proposed requirements for nursing homes.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Section
457.1.4.1.5
 7212 
Chapter
Mod #
This proposed modification revises the requirements for surge protection for added clarity and effective enforcement.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Section
453.17.7
 7218 
Chapter
Mod #
This proposed modification revises the section to match the language for lightning and surge protection for hospitals (449.3.15), nursing homes (450.3.19), and as proposed for assisted living facilities (464.4.7).
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Section
453.17.8
 7220 
Chapter
Mod #
This proposed modification slightly revises the wording of the section to correspond with terms used in the NEC related to GFCI protection.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland

Page 3 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
450.3.19
 7255 
Chapter
Mod #
This proposed modification revises the requirements for lightning and surge protection for added clarity and effective enforcement.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland
Mod #
 7633 
Proponent
451
Section
4
Chapter
Pending Review
Adds descriptive language to coordinate with the Guidelines as referenced.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7634 
Proponent
451
Section
4
Chapter
Pending Review
Deletes language that is no longer needed.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7635 
Proponent
451
Section
4
Chapter
Pending Review
Required for all ASCs
Summary

AS
AM

NAR

I

W
TAC Action

James gregory

Page 4 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7636 
Proponent
451
Section
4
Chapter
Pending Review
Revises reference to coordinate with the 2018 edition of the Guidelines.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7637 
Proponent
464
Section
4
Chapter
Pending Review
Revises the section reference to coordinate with the 2018 edition of the Guidelines. Specifies which section of the Florida Accessibility Code will be applied to an ALF.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Section
467
 7639 
Chapter
Mod #
This is a general revision that corrects some sections, updates some references, adds new clarifying language, and deletes sections that are not relevant.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory
Mod #
 7640 
Proponent
469
Section
4
Chapter
Pending Review
Reference update.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory

Page 5 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7641 
Proponent
449
Section
4
Chapter
Pending Review
Deletes redundant requirement.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7643 
Proponent
449
Section
4
Chapter
Pending Review
Adds some requirements for fire and smoke shutters in hospitals.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7644 
Proponent
449
Section
4
Chapter
Pending Review
Revises details of hospital design and construction.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7674 
Proponent
449
Section
4
Chapter
Pending Review
Revises the requirements for Mobile Medical Units
Summary

AS
AM

NAR

I

W
TAC Action

James gregory

Page 6 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7686 
Proponent
449
Section
4
Chapter
Pending Review
Deletes redundant language
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 7708 
Proponent
453.5.5.1
Section
4
Chapter
Pending Review
This proposal will clarify the definition of an exterior courtyard.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 7712 
Proponent
453.5.5.2
Section
4
Chapter
Pending Review
This modification will allow more flexibility with an enclosed courtyard.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 7717 
Proponent
453.7.3
Section
4
Chapter
Pending Review
To match the Florida Accessibility Code.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead

Page 7 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7721 
Proponent
453.8.8
Section
4
Chapter
Pending Review
To conform to the State Requirements for Educational Facilities approved by the Florida Legislature.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 7728 
Proponent
453.10.2.4
Section
4
Chapter
Pending Review
To match other portions of the Florida Building Code.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 7729 
Proponent
453.10.3.7
Section
4
Chapter
Pending Review
To clarify the exterior light shielding requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Section
453.10.5.4
 7732 
Chapter
Mod #
This modification will move this drainage requirement to the same section as the rest of the drainage requirements.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Don Whitehead

Page 8 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7733 
Proponent
453.15.4
Section
4
Chapter
Pending Review
This modification will move this site section to the same location as other mechanical ventilation requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Section
449
 7803 
Chapter
Mod #
Revises where audible and visual devices are permitted. Deletes redundant language.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory
Mod #
 7804 
Proponent
449
Section
4
Chapter
Pending Review
Corrects and Updates Referenced Codes.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Section
449.3.3.2
 7805 
Chapter
Mod #
Updates the correct name of the referenced code of Mobile Units
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory

Page 9 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
449
 7807 
Chapter
Mod #
Add requirement for closer of all sliding doors to isolation rooms.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory
Mod #
 7953 
Proponent
450
Section
4
Chapter
Pending Review
Revises some electrical requirements for nursing homes
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Section
450
 7954 
Chapter
Mod #
Adds specificity to the location of fire alarm notification devices.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory
Mod #
 7955 
Proponent
450
Section
4
Chapter
Pending Review
Adds some requirements for Fire Shutters.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory

Page 10 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7979 
Proponent
453.16.3
Section
4
Chapter
Pending Review
This modification will move this plumbing section to the same location as other plumbing requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 7983 
Proponent
453.16.6
Section
4
Chapter
Pending Review
This modification will move this plumbing section to the same location as other plumbing requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8017 
Proponent
453.18.1.6
Section
4
Chapter
Pending Review
This modification will replace an undefined term with a defined term.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8022 
Proponent
453.19.7
Section
4
Chapter
Pending Review
This modification will replace a limited use term with a universal term.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead

Page 11 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 8029 
Proponent
453.25.1.1
Section
4
Chapter
Pending Review
This modification will remove a protection area limitation and add a realistic protection period.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8037 
Proponent
453.25.3.1
Section
4
Chapter
Pending Review
This modification will clarify this section describing excluded spaces.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Section
453.27.3
 8038 
Chapter
Mod #
Now, innovative relocatables falling under Type V are not permitted via the pre‑manufactured building program as SREF‑compliant for classroom use. But, incorporating fire sprinklers in a Type V relocatable provides greater life‑safety than that of a non‑sprinklered Type I, II or IV relocatable.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Joseph Garrity
Mod #
 8039 
Proponent
453.25.3.2
Section
4
Chapter
Pending Review
This modification will add the Special Needs EHPA occupant load requirement.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead

Page 12 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 8058 
Proponent
453.25.4.1
Section
4
Chapter
Pending Review
This modification removes the year of the referenced document.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8065 
Proponent
453.25.5.2
Section
4
Chapter
Pending Review
This modification will correct some grammatical errors.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8068 
Proponent
453.25.6.3
Section
4
Chapter
Pending Review
This modification removes this section.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8071 
Proponent
453.27.5.2
Section
4
Chapter
Pending Review
This modification will conform the code to Florida Statutes.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead

Page 13 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 8078 
Proponent
453.27.7
Section
4
Chapter
Pending Review
This modification will add, to this section, specific requirements found elsewhere in these public educational facilities requirements.
Summary

AS
AM

NAR

I

W
TAC Action

Don Whitehead
Mod #
 8198 
Proponent
450.4.2.6.2
Section
4
Chapter
Pending Review
Proposed revision aligns the Florida Building Code with 59A‑4.1265, F.A.C. Emergency Environmental Control for Nursing Homes.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz
Mod #
 8210 
Proponent
450.3.18.1
Section
4
Chapter
Pending Review
Proposed revision aligns the Florida Building Code with 59A‑4.1265, F.A.C. Emergency Environmental Control for Nursing Homes.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz
Mod #
 8212 
Proponent
450.4.1.3
Section
4
Chapter
Pending Review
Proposed revision aligns the Florida Building Code with 59A‑4.1265, F.A.C. Emergency Environmental Control for Nursing Homes.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz

Page 14 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 8213 
Proponent
464
Section
4
Chapter
Pending Review
Adds requirements for emergency power in accordance with Florida Administrative Code.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 8216 
Proponent
450.4.2.9.2
Section
4
Chapter
Pending Review
Proposed revision aligns the Florida Building Code with 59A‑4.1265, F.A.C. Emergency Environmental Control for Nursing Homes.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz
Section
450
 8220 
Chapter
Mod #
Revises and adds requirements for optional stand‑by generators.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory
Section
450.4.2.9.6
 8221 
Chapter
Mod #
Proposed revision aligns the Florida Building Code with 59A‑4.1265, F.A.C. Emergency Environmental Control for Nursing Homes.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

scott waltz

Page 15 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
450
 8223 
Chapter
Mod #
Revises some redundant electrical requirements.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

James gregory
Mod #
 8242 
Proponent
449.3.3
Section
4
Chapter
Pending Review
Modification provides coordination with updated reference standard and eliminates redundant and/or conflicting requirements.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz
Mod #
 8244 
Proponent
450
Section
4
Chapter
Pending Review
Revises the nurse call requirements.
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
Mod #
 8246 
Proponent
449.3.10
Section
4
Chapter
Pending Review
Modification clarifies an existing requirement.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz

Page 16 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 8254 
Proponent
449.3.11.10
Section
4
Chapter
Pending Review
Modification clarifies an existing requirement based on updates to referenced standards.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz
Section
450.3.2
 8268 
Chapter
Mod #
This modification will provide relief to facilities that were built for planned expansion that are prevented for expanding due to a recent code change.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

scott waltz
Mod #
 8274 
Proponent
450.4.2.4.2
Section
4
Chapter
Pending Review
This modification will enhance protection of the building envelope reducing the risk of water intrusion due to the dislodgement of roof top equipment.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz
Mod #
 8279 
Proponent
429.4.2.4.2
Section
4
Chapter
Pending Review
This modification will enhance protection of the building envelope reducing the risk of water intrusion due to the dislodgement of roof top equipment.
Summary

AS
AM

NAR

I

W
TAC Action

scott waltz

Page 17 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
464
 8280 
Chapter
Mod #
Proposed revision aligns the Florida Building Code with 58A‑5.036, F.A.C. Emergency Environmental Control for Assisted Living Facilities.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

scott waltz
Section
453.8.3
 8281 
Chapter
Mod #
Removes restrictions on public school construction types which are in conflict with Chapters 5 and 6 of the code.
4
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Paul Coats
16‑Structural Design
Section
1612.4
 8094 
Chapter
Mod #
This modification specifies the location, anchoring and safety requirements to resist flood forces and prevent flotation for pool, spa and water feature equipment.
16
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Kari Hebrank
30‑Elevators and Conveying Systems
Section
3001.2
 7363 
Chapter
Mod #
This proposed modification adds &quot;emergency elevator communication systems for the deaf, hard of hearing and speech impaired&quot; to the code.
30
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Bryan Holland

Page 18 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 7466 
Proponent
3010
Section
30
Chapter
Pending Review
Clarifies the ASME rules amended and conforms to the current ASME codes.
Summary

AS
AM

NAR

I

W
TAC Action

Comingore Michelle
Section
3001.2
 7468 
Chapter
Mod #
Adds table identifying the equipment to the referenced standards, add ASME A17.6 to referenced standards, and updates variance authority.
30
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Comingore Michelle
31‑Special Construction
Section
3115
 7621 
Chapter
Mod #
Public use restrooms on publicly owned lands in flood hazard areas shall comply with the requirements of ASCE 24, except for elevation requirements, and shall comply with criteria set forth in the amendment.
31
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Steve Martin
35‑Referenced Standards
Section
35
 7465 
Chapter
Mod #
Updates the safety standard for platform lifts and stairway chairlifts to the 2017 edition.
35
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Comingore Michelle

Page 19 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
35
 7469 
Chapter
Mod #
Adopts ASME A17.6 as the safety standard for elevator suspension, compensation, and governor systems.
35
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Comingore Michelle
Mod #
 7628 
Proponent
35
Section
35
Chapter
Pending Review
Modifies and Revises the reference to later edition of the FGI Guidelines and corrects address of FGI Guidelines..
Summary

AS
AM

NAR

I

W
TAC Action

James gregory
SubCode:
Existing Building
Ü
2‑Definitions
Mod #
 7461 
Proponent
202
Section
2
Chapter
Pending Review
In FBC Existing Building, match proposed definition for &quot;Existing Structure&quot; in FBC Building, rather than be specific to flood.
Summary

AS
AM

NAR

I

W
TAC Action

Rebecca Quinn obo FL Dept Emerg Mgnt
3‑Provisions for All Compliance Methods
Mod #
 8162 
Proponent
301.1
Section
3
Chapter
Pending Review
This modification simply provides all the relevant references to the flood provisions found in the FEBC. This is a more comprehensive approach that will better address all methods in the FEBC
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4

Page 20 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Mod #
 8167 
Proponent
301.1
Section
3
Chapter
Pending Review
This proposal retains the exception that allows the code official to waive certain architectural and other requirements that the FEBC would normally trigger in alteration projects. It removes that exception, however, regarding structural provisions.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
Mod #
 8389 
Proponent
301.1
Section
3
Chapter
Pending Review
This exception refers only the work area method for alterations in flood hazard areas. The prescriptive and performance methods have provisions similar to Section 701.3, so this exception should also refer to them.
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo8
4‑Prescriptive Compliance Method
Mod #
 8211 
Proponent
301.1
Section
4
Chapter
Pending Review
The purpose of this modification to remove the topic of repair from the three compliance methods and to move repair into one standalone chapter
Summary

AS
AM

NAR

I

W
TAC Action

Ann Russo4
SubCode:
Plumbing
Ü
10‑Traps, Interceptors and Separators
Mod #
 8165 
Proponent
1003.3
Section
10
Chapter
Pending Review
The modification keeps the distinction between grease interceptors as part of onsite sewage treatment and disposal systems vs. for central sewer systems (Florida Statutes 381.0065(2)(k)) and incorporates some changes of the 2018 IPC. The onsite sewage requirement moved to 1003.3.9 instead of 1003.5.
Summary

AS
AM

NAR

I

W
TAC Action

Eberhard Roeder
14‑Subsurface Landscape Irrigation Systems

Page 21 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Total Mods for  Special Occupancy in  Pending Review
TAC: 
Special Occupancy
 84
Section
1401
 8091 
Chapter
Mod #
Modification adds Surface and Subsurface Landscape Irrigation Systems connected to either potable or nonpotable water supplies and modifies the current Chapter 14 numbering system to integrate into the new section.  Current code addresses subsurface irrigation connected to nonpotable water supply.
14
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Cheryl Harris
Section
1402
 8384 
Chapter
Mod #
The proposed modification deletes the content of this Chapter from the Florida Building Code‑Plumbing consistent with Florida Statutes, which require graywater disposal systems to follow onsite sewage treatment and disposal system standards of Chapter 64‑6, of the Florida Administrative Code.
14
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Eberhard Roeder
SubCode:
Residential
Ü
3‑Building Planning
Section
322.1.6
 7680 
Chapter
Mod #
This modification specifies the location, anchoring and safety requirements to resist flood forces and prevent flotation for equipment for pools, spas and water features located within a floodplain.
3
Proponent
TAC Action
Summary

AS
AM

NAR

I
Pending Review

W

Kari Hebrank
Mod #
 8052 
Proponent
322
Section
3
Chapter
Pending Review
Adjust section numbers of TAC approved flood provisions in R322.3 to put them in the correct order.
Summary

AS
AM

NAR

I

W
TAC Action

Rebecca Quinn obo FL Dept Emerg Mgnt
Search Criteria

Page 22 of 22
2/28/2019
Special Occupancy
TECHNICAL ADVISORY COMMITTEE
All Mods
FIRST COMMENT PERIOD
Total Mods for this report:  84
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
TAC Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
SP
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: