Chart #1 Tracking Chart with TAC Action:  Accommodate Florida Specific Need

2017 National Electrical Code – Residential — Swimming Pool TAC/Electrical TAC	
Mods requested to be pulled from consent agenda	

Joe Belcher- FHBA (# of mods 14)    

FR 4873
SFR 4816
SCR 43
SR 4818
FR 4856
SR 4819
FR 4858
FR 4862&SCR 41
FR 4821
SR 4829
FR4865
FR 4867
FR 4825
FR 4870		

Total # of mods in chart = 14
Total # of un-pulled mods=0

2017 National Electrical Code – Residential – Accommodate Florida Specific Need

Swimming Pool TAC/Electrical TAC 

Change No.	Section	Change Summary b/t 2014 NEC and 2017 NEC	Change Summary b/t 2014 NEC- and 2017 NEC	Staff Comments	
FR4873
▀ ▀ ▀
	680.2 Storable Swimming, Wading, or Immersion Pools; or Storable/Portable Spas and Hot Tubs
[E4201.2]	The revision clarifies this definition by adding "on or above the ground."	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

F

 

X

a.  b.  c.      d.  e.  f. 

Vote – 10y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SR4816
▀ ▀ ▀
	680.7
[E4205.9]	Revision for requirement for labeling of grounding and bonding of terminals	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SCR43
▀ ▀ ▀	680.14(A) and (B)
[E4202.2]	(a) Describes areas considered to be corrosive environments. (B) Describes conduit types that a corrosion resistant.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SR4818
▀ ▀ ▀	680.21(A)(1)
[E4205.5]	 Revisions to correlate with new Section 680.14. 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
FR4856
▀ ▀ ▀
	680.22(A)(2)
[E4203.1.1]	Editorial to clean up language for section to read smoother.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SR4819
▀ ▀ ▀
	680.22(B)(7)
[E4203.4.7]	Revised for clarification of the meaning of “outdor luminated lighting appliances” 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
FR4858
▀ ▀ ▀	680.23(A)(3)
[E4206.4]	Revisions to clarify that the GFCI protection shall be protection for personnel	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
FR4862 and SCR41
▀ ▀ ▀	680.23(F)(1)
[E4206.10.2]	Revised to address comments in balloting and for correlation and clarity.
To clarify this definition by adding "on or above the ground"	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SR4821
▀ ▀ ▀	680.24(A)(1)
[E4206.9.1]	Revision to add “labeled and identified” to swimming pool construction requirements to add certification mark on the product	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SR4829
▀ ▀ ▀	680.25(A)
[E4205.6]	Adds a revision required due to the creation of 680.14. 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
FR4865
▀ ▀ ▀	680.26(B)(2)
[E4204.2]	Revised to clarify that the perimeter surface is considered an area rather than a physical object.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

f

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
FR4867
▀ ▀ ▀	680.41
[E4208.4]	Revise single family to one family for clarity	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
SR4825
▀ ▀ ▀	680.43(D)(2)
[E4204.5]	Revision to add “labeled and identified” to swimming pool construction requirements to add certification mark on the product	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
FR4870
▀ ▀ ▀	680.74
[E4209.5]	The revised text clarifies the intent of the requirement for bonding in the area around hydromassage bathtubs.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 
No cost increase.

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions