Chart #2 – Tracking Chart with TAC Action: No Action

2018 Special Occupancy TAC – International Building Code (IBC-General)
Mods requested to be pulled from the consent agenda

Richard Logan – AIA
(# of mods: 4)							
									
G194-15									
G195-15									
G202-15									
G223-15									

									
									
Total # of mods in chart: 4							
									
Total # of unpulled mods: 0							

2018 International Building Code (IBC – General) – Special Occupancy

Special Occupancy TAC

IBC-Special Occupancy Code Change No	IBC-Special Occupancy
Section	Change Summary b/t 2015 IBC and 2018 IBC. Special Occupancy.	Change Summary b/t 2017 FBC and 2018 IBC. Special Occupancy.	Staff comments	
					
G194-15
▀ ▀ ▀	3001.2, TABLE 3001.2 (New)	Revises section 3001.2 “Referenced standards,” and revises TABLE 3001.2 “ELEVATORS AND CONVEYING SYSTEMS AND COMPONENTS” to provide standards that clarify the application of the code section.  The code change was further modified by the Committee.  The modification further clarifies the application of the proposal.

Cost Impact: Will not increase the cost of construction. This code change proposal will not increase the cost of construction due to the code already requires conformance with these standards. There may be a decrease in the cost of construction, due to providing clarity on what is required for specific equipment.

	Same as change between 2015 IBC and 2018 IBC		
     TAC Action

X

     Accommodate Florida Specific Need:
     YES (Select Criteria)                                                     NO: 

 

     a.  b.  c.      d.  e.  f. 

No action taken

     Others (Explain):	Commission Action

Accommodate Florida Specific Need:

YES (Select Criteria)                                                               NO: 

 

a.  b.  c.      d.  e.  f. 
Others (Explain):	
    	
TAC	
Cmsn.	

       No Action Needed 	

	

	

  Overlapping provisions     	

	

	

	

	
G195-15
▀ ▀ ▀	3001.2 (New)	Adds new section 3001.2 “Emergency elevator communication systems for the deaf, hard of hearing and speech impaired” to provide more flexibility and options for manufacturers and for compliance.  The code change was further modified by the Committee.  The committee approved modifications are intended to provide more flexibility and options for manufacturers and for compliance.  

Cost Impact: Will not increase the cost of construction. This code change proposal will not increase the cost of construction due to the code already requires conformance with these
standards. There may be a decrease in the cost of construction, due to providing clarity on what is required for specific equipment.
	Same as change between 2015 IBC and 2018 IBC		
     TAC Action

X

     Accommodate Florida Specific Need:
     YES (Select Criteria)                                                     NO: 

 

     a.  b.  c.      d.  e.  f. 

No action taken

     Others (Explain):	Commission Action

Accommodate Florida Specific Need:

YES (Select Criteria)                                                               NO: 

 

a.  b.  c.      d.  e.  f. 
Others (Explain):	
    	
TAC	
Cmsn.	

       No Action Needed 	

	

	

  Overlapping provisions     	

	

	

	

	
G202-15
▀ ▀ ▀	405.4.3, 708.1, 716.5.9.3, [F] 907.5.2.1 (IFC 907.5.2.1), 3006.4, 3007.6, 3007.6.1, 3007.6.3,
3007.9, 3007.9.1, 3008.6	Revises sections 405.4.3, 708.1, 716.5.9.3, [F] 907.5.2.1 (IFC 907.5.2.1), 3006.4, 3007.6, 3007.6.1, 3007.6.3, 3007.9, 3007.9.1, and  3008.6 to clarify the intent of previous editions of the code.

Cost Impact: Will not increase the cost of construction. This is simply clarification of when elevator lobbies are enclosed.	This change is not similar to that of the FBC. The FBC provides for Florida specific changes to this section	Overlapping provision to be considered during step 2 of the code change process  

     TAC Action

     Accommodate Florida Specific Need:
     YES (Select Criteria)                                                     NO: 

 

     a.  b.  c.      d.  e.  f. 

No action taken

     Others (Explain):	Commission Action

Accommodate Florida Specific Need:

YES (Select Criteria)                                                               NO: 

 

a.  b.  c.      d.  e.  f. 
Others (Explain):	
    	
TAC	
Cmsn.	

       No Action Needed 	

	

	

  Overlapping provisions     	

X

	

	

	
G223-15
▀ ▀ ▀	107.2.7 (New), 202 (New), 3101.1, 3112 (New), 3112.1 (New), 3112.1.1 (New), 3112.2
(New), 3112.3 (New), 3112.4 (New)	Adds new definition to section 202 “Relocatable buildings,” revises section 3101.1 “scope,” adds new section 107.2.7 “Relocatable buildings,” adds new section 3112 “RELOCATABLE BUILDINGS,” adds new section 3112.1 “General,” adds new section 3112.1.1 “compliance,” adds new section 3112.2 “Supplemental information,” adds new section 3112 “manufacturer’s data plate,” and adds new section 3112.4 “Inspection agencies” to remedy possible a misinterpretation of this section that is specific to relocatable structures used for commercial purposes that are designed to be moved.

Cost Impact: Will not increase the cost of construction. There is no cost impact since it is a clarification as to what types of structures are applicable to this section. The IRC addresses
manufactured housing used as dwellings.
	This change is not similar to that of the FBC. The FBC provides for Florida specific changes to this section	
Overlapping provision to be considered during step 2 of the code change process  

	
     TAC Action

     Accommodate Florida Specific Need:
     YES (Select Criteria)                                                     NO: 

 

     a.  b.  c.      d.  e.  f. 

     Others (Explain):	Commission Action

Accommodate Florida Specific Need:

YES (Select Criteria)                                                               NO: 

 

a.  b.  c.      d.  e.  f. 
Others (Explain):	
    	
TAC	
Cmsn.	

       No Action Needed 	

	

	

  Overlapping provisions     	

X