**Florida Building Code, Mechanical**

**SECTION 908
COOLING TOWERS, EVAPORATIVE CONDENSERS AND FLUID COOLERS**

**908.1 General.**

A cooling tower used in conjunction with an air-conditioning appliance shall be installed in accordance with the manufacturer’s instructions. Factory-built cooling towers shall be listed in accordance with UL 1995 or UL/CSA 60335-2-40.

**SECTION 918
FORCED-AIR WARM-AIR FURNACES**

**918.1 Forced-air furnaces.**

Oil-fired furnaces shall be tested in accordance with UL 727. Electric furnaces shall be tested in accordance with UL 1995 or UL/CSA 60335-2-40. Solid fuel furnaces shall be tested in accordance with UL 391. Forced-air furnaces shall be installed in accordance with the listings and the manufacturer’s instructions.

**918.2 Heat pumps.**

Electric heat pumps shall be tested in accordance with UL 1995 or UL/CSA 60335-2-40.

**SECTION 1101
GENERAL**

**1101.2 Factory-built equipment and appliances.**

Listed and labeled self-contained, factory-built equipment and appliances shall be tested in accordance with UL 207, 412, 471, ~~or~~ 1995 or UL/CSA 60335-2-40. Such equipment and appliances are deemed to meet the design, manufacture and factory test requirements of this code if installed in accordance with their listing and the manufacturer’s instructions.

**CHAPTER 15
REFERENCED STANDARDS**

**ASHRAE**

15—~~2016~~2019 Safety Standard for Refrigeration Systems

1101.6, 1105.8, 1108.1

34—~~2016~~2019 Designation and Safety Classification of Refrigerants

202, 1102.2.1, 1103.1

**CSA**

UL/CSA 60335-2-40-2019 Household And Similar Electrical Appliances - Safety - Part 2-40: Particular Requirements for Electrical Heat Pumps, Air-Conditioners and Dehumidifiers – 3rd Edition

**UL**

1995—~~2011~~2015 Heating and Cooling Equipment

908.1, 911.1, 918.1, 918.2, 1101.2

UL/CSA 60335-2-40-2019 Household And Similar Electrical Appliances - Safety - Part 2-40: Particular Requirements for Electrical Heat Pumps, Air-Conditioners and Dehumidifiers – 3rd Edition

(Additional comment – post TAC)