Page 1 of 2
5/31/2019
Electrical
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  3
Approved as Submitted
TAC Recommendation
Total Mods for  Electrical in  Approved as Submitted
TAC: 
Electrical
 3
SubCode:
Building
Ü
4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 7362 
Proponent
Bryan Holland
422.6
Section
4
Chapter
Approved as Submitted
This proposed modification adds essential electrical system criteria for ambulatory care facilities.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
3‑Building Planning
Mod #
 7350 
Proponent
Bryan Holland
329
Section
3
Chapter
Approved as Submitted
This proposed modification adds a new section on Stationary Storage Battery Systems to the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

34‑General Requirements
Mod #
 7199 
Proponent
Bryan Holland
3401
Section
34
Chapter
Approved as Submitted
This proposed modification revises the applicability of the FBC‑R related to electrical installations by providing a pointer to the NFPA 70 for compliance and requests the rest of Chapter 34 and all of Chapter 35‑43 to be placed in &quot;reserved&quot; status.
Summary
X
AS
AM

NAR

I

W
Commission Action

Search Criteria

Page 2 of 2
5/31/2019
Electrical
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  3
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
E
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: