Page 1 of 3
6/3/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  7
Approved as Modified
TAC Recommendation
Total Mods for  Plumbing in  Approved as Modified
TAC: 
Plumbing
 1
SubCode:
Fuel Gas
Ü
8‑Referenced Standards
Mod #
 7202 
Proponent
Jonathan Sargeant
8
Section
8
Chapter
Approved as Modified
Update LC 1/CSA 6.26 from 2013 to 2018. The 2018 standard contains language for arc‑resistant CSST not contained in the 2013 standard.
Summary

AS
AM

X

NAR

I

W
Commission Action

Approved as Submitted
TAC Recommendation
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 4
SubCode:
Plumbing
Ü
4‑Fixtures, Faucets and Fixture Fittings
Mod #
 7194 
Proponent
Gary Kozan
419.5
Section
4
Chapter
Approved as Submitted
Restores the option of providing cold water to hand‑washing facilities
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8166 
Proponent
Mo Madani
403.1.3
Section
4
Chapter
Approved as Submitted
To clarify that the ratio established by potty parity is not required to be maintained for the additional fixtures provided in excess of the minimum required fixtures.
Summary
X
AS
AM

NAR

I

W
Commission Action

6‑Water Supply and Distribution

Page 2 of 3
6/3/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  7
Total Mods for  Plumbing in  Approved as Submitted
TAC: 
Plumbing
 4
Mod #
 7192 
Proponent
Gary Kozan
606.2
Section
6
Chapter
Approved as Submitted
Clarifies that shutoff valves are not required for tub and showers when installed in residential occupancies.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
29‑Water Supply and Distribution
Mod #
 7193 
Proponent
Gary Kozan
2905.3
Section
29
Chapter
Approved as Submitted
Adds a 100‑ft maximum distance from hot water source to fixtures in the Residential Code
Summary
x
AS
AM

NAR

I

W
Commission Action

No Affirmative Recommendation
TAC Recommendation
Total Mods for  Plumbing in  No Affirmative Recommendation
TAC: 
Plumbing
 2
SubCode:
Residential
Ü
29‑Water Supply and Distribution
Mod #
 8159 
Proponent
Cheryl Harris
2902.5.3
Section
29
Chapter
No Affirmative Recommendation
Change reference to &quot;lawn&quot; to &quot;landscape&quot; irrigation for consistency with other code sections.
Summary

AS
AM

X
NAR

I

W
Commission Action

Page 3 of 3
6/3/2019
Plumbing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  7
Total Mods for  Plumbing in  No Affirmative Recommendation
TAC: 
Plumbing
 2
Mod #
 8163 
Proponent
Cheryl Harris
2914
Section
29
Chapter
No Affirmative Recommendation
Add Section for Irrigation Systems in Residential Code that references Chapter 14 in Plumbing Code.
Summary

AS
AM

X
NAR

I

W
Commission Action

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
P
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria