Page 1 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Approved as Submitted
TAC Recommendation
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
SubCode:
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Mod #
 7161 
Proponent
John Hall
1501.1
Section
15
Chapter
Approved as Submitted
The modification provides for inclusion of Florida Building Code, Building Section 1507.18.1 in the High Velocity Hurricane Zone.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7185 
Proponent
Michael Goolsby
1523.6.4
Section
15
Chapter
Approved as Submitted
Clarify required uplift test procedure.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7186 
Proponent
Michael Goolsby
1525
Section
15
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7316 
Proponent
Michael Silvers (FRSA)
1511
Section
15
Chapter
Approved as Submitted
This modification adds language to clarify that salvaged slate, clay and concrete roof tile of like kind can be used in certain applications
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 2 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7338 
Proponent
Gaspar Rodriguez
1521.13
Section
15
Chapter
Approved as Submitted
Eliminate a reference in the code to a section that has been removed from the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7342 
Proponent
Gaspar Rodriguez
1523.6.5.2.8
Section
15
Chapter
Approved as Submitted
Correct a typo error.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7356 
Proponent
Michael Silvers (FRSA)
1507.3
Section
15
Chapter
Approved as Submitted
This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7380 
Proponent
Joseph Crum
1507.9.6
Section
15
Chapter
Approved as Submitted
Revise out dated code language
Summary
x
AS
AM

NAR

I

W
Commission Action

Page 3 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7427 
Proponent
T Stafford
1510.7.1
Section
15
Chapter
Approved as Submitted
Correlates the wind loading requirements in the code for rooftop PV with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7437 
Proponent
Gaspar Rodriguez
1515.2
Section
15
Chapter
Approved as Submitted
Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7438 
Proponent
Gaspar Rodriguez
1523.6.5.2.4.1
Section
15
Chapter
Approved as Submitted
Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7580 
Proponent
Michael Silvers (FRSA)
1507.1.1
Section
15
Chapter
Approved as Submitted
This modification adds an exception to underlayment attachment that provides for an existing self‑adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 4 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7703 
Proponent
Jon Roberts
1505
Section
15
Chapter
Approved as Submitted
The testing for photovoltaic panel systems are covered in both UL 1703 and UL 2703.  This proposal adds two new UL standards to this section, UL 1703 and 2703, which are ANSI consensus standards.  These standard provide the test method for testing panels and mounting systems.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7872 
Proponent
Jon Roberts
1505
Section
15
Chapter
Approved as Submitted
Adds guidance by referencing table 501 for building integrated photovoltaic products to ensure that they have the proper fire classification.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8061 
Proponent
Greg Keeler
1507.1.1
Section
15
Chapter
Approved as Submitted
Revision of requirements related to synthetic underlayment.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8273 
Proponent
Paul Coats
1510.2.5
Section
15
Chapter
Approved as Submitted
This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 5 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 8291 
Proponent
Chadwick Collins
1504
Section
15
Chapter
Approved as Submitted
Updating to match currently applicable standards and references
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8292 
Proponent
Chadwick Collins
1505
Section
15
Chapter
Approved as Submitted
Address inconsistency between FBC and FBC‑R fire requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8293 
Proponent
Chadwick Collins
1507
Section
15
Chapter
Approved as Submitted
Updating language of section to reflect Chapter 2 definition
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8294 
Proponent
Chadwick Collins
1507
Section
15
Chapter
Approved as Submitted
Clarifies practice and prescriptive requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 6 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 8397 
Proponent
Michael Fischer
1503.1
Section
15
Chapter
Approved as Submitted
Editorial Change to general requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8399 
Proponent
Michael Fischer
1504.7
Section
15
Chapter
Approved as Submitted
Removes withdrawn referenced standards.
Summary
X
AS
AM

NAR

I

W
Commission Action

35‑Referenced Standards
Mod #
 7366 
Proponent
Michael Silvers (FRSA)
35
Section
35
Chapter
Approved as Submitted
This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7843 
Proponent
Gaspar Rodriguez
35
Section
35
Chapter
Approved as Submitted
Add ASTM E2140‑01, Standard Test Method for Water Penetration  of Metal Roof Panel Systems by Static Water Pressure Head.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 7 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 8301 
Proponent
Chadwick Collins
1
Section
35
Chapter
Approved as Submitted
Update referenced standard
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8303 
Proponent
Chadwick Collins
1
Section
35
Chapter
Approved as Submitted
Update referenced standard
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
2‑Definitions
Mod #
 7312 
Proponent
Michael Silvers (FRSA)
202
Section
2
Chapter
Approved as Submitted
The modification adds the definition of &quot;Positive Roof Drainage&quot; to the Existing Sub Code Chapter 2 which is currently only in the Building Code Chapter 2. The term only applies to existing buildings.
Summary
X
AS
AM

NAR

I

W
Commission Action

7‑Alterations ‑ Level 1
Mod #
 7314 
Proponent
Michael Silvers (FRSA)
706
Section
7
Chapter
Approved as Submitted
This modification adds language to clarify that salvaged slate, clay and concrete roof tile of a like kind can be used in certain applications.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 8 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7960 
Proponent
Gaspar Rodriguez
707.3.2
Section
7
Chapter
Approved as Submitted
Resolves the issue of a routine maintenance activity (i.e. reroofing) establishing a burdensome requirement that is contemplated in Chapter 9 of the Florida Building Code Existing Building, when an Alteration Level Three is reached.
Summary

AS
AM

NAR

I
X
W
Commission Action

SubCode:
Residential
Ü
2‑Definitions
Mod #
 8177 
Proponent
Ann Russo1
202
Section
2
Chapter
Approved as Submitted
Add definition to the building‑integrated photovoltaic roof panel
Summary
X
AS
AM

NAR

I

W
Commission Action

9‑Roof Assemblies
Mod #
 7347 
Proponent
Bryan Holland
907
Section
9
Chapter
Approved as Submitted
This proposed modification deletes unneeded &quot;reserved&quot; sections and adds pointers to other applicable rules or standards related to solar energy systems.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7348 
Proponent
Bryan Holland
909
Section
9
Chapter
Approved as Submitted
This proposed modification deletes R909 as it is no longer needed with the updated information in R324 (Mod 7345) and R907 (Mod 7347).
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 9 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7353 
Proponent
Michael Silvers (FRSA)
905.3
Section
9
Chapter
Approved as Submitted
This modification updates Referenced Standard: FRSA/TRI High Wind Concrete and Clay Roof Tile Manual from the Fifth to the Sixth Edition
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7426 
Proponent
T Stafford
905.17.1
Section
9
Chapter
Approved as Submitted
Correlates the wind loading requirements in the code for rooftop PV with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7571 
Proponent
Michael Silvers (FRSA)
905
Section
9
Chapter
Approved as Submitted
This modification adds an exception to underlayment attachment that provides for an existing self‑adhering membrane to act as a secondary water barrier similar to the 4&quot; wide strip in the current exception.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7665 
Proponent
Greg Keeler
905.1.1
Section
9
Chapter
Approved as Submitted
This proposal clarifies requirements related to use of synthetic underlayment.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 10 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7730 
Proponent
Ann Russo1
905.15.3
Section
9
Chapter
Approved as Submitted
Add necessary language for the application of roof coatings.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7782 
Proponent
Scott McAdam
905.8.5
Section
9
Chapter
Approved as Submitted
The existing text was outdated, requiring clarification and updates to current AWPA section numbering.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7806 
Proponent
Scott McAdam
906.2
Section
9
Chapter
Approved as Submitted
This proposal will add reference to the appropriate ASTM Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7865 
Proponent
Jon Roberts
902
Section
9
Chapter
Approved as Submitted
This proposal adds a section to the code related to rooftop mounted photovoltaic panel systems.  It requires rooftop mounted panel systems to be listed and identified with a fire classification in accordance with UL 1703 and UL 2703.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 11 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 8288 
Proponent
Chadwick Collins
905
Section
9
Chapter
Approved as Submitted
Update to meet intent of code definition
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8290 
Proponent
Chadwick Collins
905
Section
9
Chapter
Approved as Submitted
Clarifies practice and prescriptive requirements
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8400 
Proponent
Michael Fischer
905.11.2
Section
9
Chapter
Approved as Submitted
Removes withdrawn standards
Summary
X
AS
AM

NAR

I

W
Commission Action

2712‑Reference Standards
Mod #
 7367 
Proponent
Michael Silvers (FRSA)
46
Section
2712
Chapter
Approved as Submitted
This modification updates Referenced Standards: FRSA/TRI Florida High Wind Concrete and Clay Roof Tile Installation Manual from the Fifth to the Sixth Edition.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 12 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7808 
Proponent
Scott McAdam
906.2
Section
2712
Chapter
Approved as Submitted
This proposal will add reference to the appropriate ASTM C726 Standard specification for mineral wool roof insulation and make Table R906.2 consistent with IBC Table 1508.2.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8302 
Proponent
Chadwick Collins
1
Section
2712
Chapter
Approved as Submitted
Update referenced standard
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8305 
Proponent
Chadwick Collins
1
Section
2712
Chapter
Approved as Submitted
Update referenced standard
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Test Protocols
Ü
RAS‑111
Mod #
 7191 
Proponent
Michael Goolsby
RAS 111
Section
1
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16, update preservative standard and clarify Table 2 requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

RAS‑115

Page 13 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7349 
Proponent
Gaspar Rodriguez
RAS 115
Section
1
Chapter
Approved as Submitted
Add language to more correctly reflect code requirements for recently approved products.
Summary
X
AS
AM

NAR

I

W
Commission Action

RAS‑117
Mod #
 7297 
Proponent
Jorge Acebo
RAS 117
Section
1
Chapter
Approved as Submitted
Clarifies how tapered insulation should be used when substituting standard insulation.
Summary
X
AS
AM

NAR

I

W
Commission Action

RAS‑118
Mod #
 7198 
Proponent
Michael Goolsby
RAS 118
Section
1
Chapter
Approved as Submitted
Update standard for treated wood and clarify coastal building zone.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7351 
Proponent
Gaspar Rodriguez
RAS 118
Section
1
Chapter
Approved as Submitted
Indicate the minimum requirements for height vent pipes, need to extend above roof.
Summary
X
AS
AM

NAR

I

W
Commission Action

RAS‑119

Page 14 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7200 
Proponent
Michael Goolsby
RAS 119
Section
1
Chapter
Approved as Submitted
Update standard for treated wood and clarify coastal building zone.
Summary
X
AS
AM

NAR

I

W
Commission Action

RAS‑120
Mod #
 7201 
Proponent
Michael Goolsby
RAS 120
Section
1
Chapter
Approved as Submitted
Update standard for treated wood and clarify coastal building zone.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7592 
Proponent
Gaspar Rodriguez
RAS 120
Section
1
Chapter
Approved as Submitted
Clearly indicate current code requirements, specifically back‑nailing of underlayment and minimum height of vent pipes.
Summary
X
AS
AM

NAR

I

W
Commission Action

RAS‑130
Mod #
 7384 
Proponent
Michael Goolsby
RAS 130
Section
1
Chapter
Approved as Submitted
Establish consistency with industry standard for installation of wood shingles and wood shakes.
Summary
X
AS
AM

NAR

I

W
Commission Action

TAS‑104

Page 15 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 8283 
Proponent
Chadwick Collins
TAS 104
Section
1
Chapter
Approved as Submitted
HVHZ roofing updates
Summary
X
AS
AM

NAR

I

W
Commission Action

TAS‑105
Mod #
 7184 
Proponent
Michael Goolsby
TAS 105
Section
1
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

TAS‑110
Mod #
 7299 
Proponent
Jorge Acebo
TAS 110
Section
1
Chapter
Approved as Submitted
Specifies Testing Labs must verify manufacturing location of tested products.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7303 
Proponent
Jorge Acebo
TAS 110
Section
1
Chapter
Approved as Submitted
Modifies Table 9 footnote in Section 9 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 16 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7304 
Proponent
Jorge Acebo
TAS 110
Section
1
Chapter
Approved as Submitted
Modifies Table 10 footnote in Section 10 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7305 
Proponent
Jorge Acebo
TAS 110
Section
1
Chapter
Approved as Submitted
Modifies Table 11(A) and 11(B) footnote 3 in Section 11 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7306 
Proponent
Jorge Acebo
TAS 110
Section
1
Chapter
Approved as Submitted
Modifies Table 17 footnote in Section 17 to exclude requirements for TAS 103 and TAS 104 membranes which are being modified to include the additional testing specified in the footnote.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7439 
Proponent
Gaspar Rodriguez
TAS 110
Section
1
Chapter
Approved as Submitted
Will allow for standing seam metal roof systems to be install to a minimum 1:12 slope.
Summary
X
AS
AM

NAR

I

W
Commission Action

TAS‑114

Page 17 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Approved as Submitted
TAC: 
Roofing
 66
Mod #
 7308 
Proponent
Jorge Acebo
TAS 114
Section
1
Chapter
Approved as Submitted
Modifies TAS 114 Appendix D uplift test over steel substrates.
Summary
X
AS
AM

NAR

I

W
Commission Action

TAS‑124
Mod #
 7183 
Proponent
Michael Goolsby
TAS 124
Section
1
Chapter
Approved as Submitted
Clarification of uplift testing requirements and reporting.
Summary
X
AS
AM

NAR

I

W
Commission Action

No Affirmative Recommendation
TAC Recommendation
Total Mods for  Roofing in  No Affirmative Recommendation
TAC: 
Roofing
 8
SubCode:
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Mod #
 7830 
Proponent
Michael Silvers (FRSA)
1504
Section
15
Chapter
No Affirmative Recommendation
This modification moves ASCE 7 as it applies to roof coverings from Chapter 16 to Chapter 15
Summary

AS
AM

X
NAR

I

W
Commission Action

Page 18 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  No Affirmative Recommendation
TAC: 
Roofing
 8
Mod #
 8063 
Proponent
Greg Keeler
1507.1.1
Section
15
Chapter
No Affirmative Recommendation
Modifies table to include placeholder for proposed ASTM Polymeeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8080 
Proponent
T Stafford
1507.3
Section
15
Chapter
No Affirmative Recommendation
Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7‑16.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8295 
Proponent
Chadwick Collins
1516
Section
15
Chapter
No Affirmative Recommendation
Alignment of fire classification between HVHZ and non‑HVHZ (Section 1505)
Summary

AS
AM

X
NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
7‑Alterations ‑ Level 1
Mod #
 7581 
Proponent
Michael Silvers (FRSA)
707
Section
7
Chapter
No Affirmative Recommendation
This modification changes the trigger from &quot;where roofing materials are removed from more than 50% of the roof diaphragm&quot; to a recognized trigger using a specific accumulated value of proposed work as a ratio of the value of the structure.
Summary

AS
AM

X
NAR

I

W
Commission Action

SubCode:
Residential
Ü
9‑Roof Assemblies

Page 19 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  No Affirmative Recommendation
TAC: 
Roofing
 8
Mod #
 8060 
Proponent
Greg Keeler
905.1.1
Section
9
Chapter
No Affirmative Recommendation
Placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8062 
Proponent
Greg Keeler
905.1.1
Section
9
Chapter
No Affirmative Recommendation
Modifies table to include placeholder for proposed ASTM Polymeric Underlayment Standard. This proposed standard is under ASTM Work Item #WK51913.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8077 
Proponent
T Stafford
905.3
Section
9
Chapter
No Affirmative Recommendation
Revises the roof tile section to clarify that wind loads on tile have to comply with ASCE 7‑16.
Summary

AS
AM

X
NAR

I

W
Commission Action

Withdrawn
TAC Recommendation
Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 2
SubCode:
Building
Ü
15‑Roof Assemblies and Rooftop Structures
Mod #
 8164 
Proponent
Ann Russo5
1507.2.7.1
Section
15
Chapter
Withdrawn
The proposal expands the definition of roofing beyond recognizing metal roof singles
Summary

AS
AM

NAR

I
X
W
Commission Action

Page 20 of 20
6/3/2019
Roofing
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  76
Total Mods for  Roofing in  Withdrawn
TAC: 
Roofing
 2
SubCode:
Test Protocols
Ü
1‑114
Mod #
 8300 
Proponent
Chadwick Collins
TAS 114
Section
1
Chapter
Withdrawn
HVHZ roofing updates
Summary

AS
AM

NAR

I
X
W
Commission Action

Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
R
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived:
Search Criteria