8052
Page 1 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Approved as Modified
TAC Recommendation
Total Mods for  Structural in  Approved as Modified
TAC: 
Structural
 3
SubCode:
Building
Ü
17‑Structural Tests and Special Inspections
Mod #
 7500 
Proponent
Scott McAdam
1710
Section
17
Chapter
Approved as Modified
Add back into the code a Florida specific section that was not brought forward from the 2010 FBC section 1717.5.4 Anchorage methods
Summary

AS
AM

X

NAR

I

W
Commission Action

22‑Steel
Mod #
 8099 
Proponent
Bonnie Manley
2214
Section
22
Chapter
Approved as Modified
Updates standards listed in HVHZ provisions of Chapter 22.
Summary

AS
AM

X

NAR

I

W
Commission Action

SubCode:
Residential
Ü
6‑Wall Construction
Mod #
 8222 
Proponent
Lynn Miller
609.7.2.1
Section
6
Chapter
Approved as Modified
This modification revises the current language to be more in line with the language in Chapter 17 of the FBC, Building that is being proposed in modification S7500.
Summary

AS
AM

X

NAR

I

W
Commission Action

Approved as Submitted
TAC Recommendation
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
SubCode:
Building
Ü
2‑Definitions

Page 2 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7233 
Proponent
T Stafford
202
Section
2
Chapter
Approved as Submitted
Revises the definition of Wind‑borne Debris Region for correlation with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7375 
Proponent
Joseph Crum
202
Section
2
Chapter
Approved as Submitted
Clarification of Drilled Pile Defination
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7513 
Proponent
Joseph Crum
202
Section
2
Chapter
Approved as Submitted
This change is intended to clarify the definition of Substantial Structural Damage to avoid misinterpretation.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7841 
Proponent
Paul Coats
202
Section
2
Chapter
Approved as Submitted
Slightly modifies definitions of Conventional Light‑Frame Construction and Light‑Frame Construction.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 3 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8238 
Proponent
John Woestman
202
Section
2
Chapter
Approved as Submitted
Revise the definition of plastic composite.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8264 
Proponent
Joseph Crum
202
Section
2
Chapter
Approved as Submitted
This change will make the FBCB definition consistent with the ICC Green Building Code and ASTM D1079.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8361 
Proponent
Joseph Belcher for MAF
202
Section
2
Chapter
Approved as Submitted
Deletes incorrect definition and defunct standard
Summary
X
AS
AM

NAR

I

W
Commission Action

4‑Special Detailed Requirements Based on Use and Occupancy
Mod #
 7612 
Proponent
Ann Russo5
423.1
Section
4
Chapter
Approved as Submitted
The purpose of this code change is to clarify which types of shelters are required to be assigned to Risk Category IV per Table 1604.5.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 4 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7613 
Proponent
Ann Russo5
423.1.1
Section
4
Chapter
Approved as Submitted
The purpose of this code change is to clarify which types of shelters are required to be assigned to Risk Category IV per Table 1604.5.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7614 
Proponent
Ann Russo5
423.2
Section
4
Chapter
Approved as Submitted
The purpose of this code change is to clarify which types of shelters are required to be assigned to Risk Category IV per Table 1604.5.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7615 
Proponent
Ann Russo5
423.3
Section
4
Chapter
Approved as Submitted
The purpose of this code change is to clarify which types of shelters are required to be assigned to Risk Category IV per Table 1604.5.
Summary
X
AS
AM

NAR

I

W
Commission Action

7‑Fire and Smoke Protection Features
Mod #
 7501 
Proponent
Paul Coats
721.1
Section
7
Chapter
Approved as Submitted
Corrects an assembly description error in Table 721.1(3)
Summary
X
AS
AM

NAR

I

W
Commission Action

12‑Interior Environment

Page 5 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7510 
Proponent
Paul Coats
1207.2
Section
12
Chapter
Approved as Submitted
Provides an alternative for establishing the sound transmission of assemblies by using an engineering analysis.
Summary
X
AS
AM

NAR

I

W
Commission Action

14‑Exterior Walls
Mod #
 7846 
Proponent
Paul Coats
1404.3
Section
14
Chapter
Approved as Submitted
Modifies the names of American Hardboard Association referenced standards for accuracy of current titles as ANSI standards.
Summary
X
AS
AM

NAR

I

W
Commission Action

15‑Roof Assemblies and Rooftop Structures
Mod #
 7234 
Proponent
T Stafford
1504.5
Section
15
Chapter
Approved as Submitted
Revises references to the wind speed maps in the body of the code for correlation with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

16‑Structural Design
Mod #
 7226 
Proponent
T Stafford
1609
Section
16
Chapter
Approved as Submitted
Adds the Risk Category IV wind speed map from ASCE 7‑16 into the body of the code and updates required references throughout Chapter 16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 6 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7410 
Proponent
Joseph Crum
1606
Section
16
Chapter
Approved as Submitted
S76‑16 ‑ Adding an exception, so an entire building will not be classified as Risk Category IV just to put in a storm shelter
S205‑16 ‑ Clarification of requirements that apply to high‑rise construction.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7424 
Proponent
Ann Russo8
1603.1
Section
16
Chapter
Approved as Submitted
The revised code section is a list of information to be placed on the construction documents for use with the conventional light‑frame construction provisions of Section 2308.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7425 
Proponent
Ann Russo8
1603.1.8
Section
16
Chapter
Approved as Submitted
This statement clarifies the communication of the designs direct to the builders and installers and allows the installer to provide feedback if the special load element exceeds the loads or requires a different location than was designed.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7428 
Proponent
T Stafford
1609.6
Section
16
Chapter
Approved as Submitted
Deletes the alternate wind provisions of Section 1609.6 because the roof component and cladding loads are not correlated with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 7 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7429 
Proponent
Ann Russo8
1607.8
Section
16
Chapter
Approved as Submitted
This proposal is intended to be a clarification. The current language only brings up benches in dressing rooms. 2009 A117.1 require accessible benches in dressing rooms, locker rooms and steam rooms and saunas.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7610 
Proponent
Joseph Hetzel
1609.7
Section
16
Chapter
Approved as Submitted
Establishes a minimum positive wind load of 10 PSF, and a minimum negative wind load of 10 PSF, when using Table 1609.7(1).
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7663 
Proponent
Scott McAdam
1609.1.1
Section
16
Chapter
Approved as Submitted
adds name of reference standard for clarification
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7845 
Proponent
Paul Coats
1604.3
Section
16
Chapter
Approved as Submitted
Revises footnote &quot;d&quot; of Table 1604.3 Deflection Limits to recognize different creep behavior of specific wood products in accordance with the AWC NDS.
Summary
X
AS
AM

NAR

I

W
Commission Action

18‑Soils and Foundations

Page 8 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7409 
Proponent
Joseph Crum
1802.1
Section
18
Chapter
Approved as Submitted
This proposed code addition is to identify another commonly‑used type of deep foundation along with drilled shafts, helical piles, and micropiles.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7411 
Proponent
Joseph Crum
1804.1
Section
18
Chapter
Approved as Submitted
Clarification that support of soil below foundations is required in all directions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7412 
Proponent
Joseph Crum
1804.4
Section
18
Chapter
Approved as Submitted
Clarification for consistency to allow for proper water drainage, to account for walking surfaces, door landings or ramp landings adjacent to a building to have a maximum cross slope of two percent.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7413 
Proponent
Joseph Crum
1810.3.3.1.6
Section
18
Chapter
Approved as Submitted
This is a clarification to replace &quot;capacity&quot; with &quot;load&quot; since a safety factor is implied by &quot;allowable&quot; or &quot;working&quot;, and &quot;capacity&quot; is by definition an &quot;ultimate&quot;.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 9 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7414 
Proponent
Joseph Crum
1810.3.5.2.1
Section
18
Chapter
Approved as Submitted
The section title is changed for consistency with the title and definition of main section 1810.3.5.2
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7415 
Proponent
Joseph Crum
1810.3.5.2.2
Section
18
Chapter
Approved as Submitted
The wording is changed for consistency with the title and definition of main section 1810.3.5.2
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7416 
Proponent
Joseph Crum
1810.4.4
Section
18
Chapter
Approved as Submitted
Pile types in addition to driven piles should also meet this requirement so this mod changes the word driven to advanced to cover all types of piles.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8156 
Proponent
Dale Biggers
1810.3.5.2.3
Section
18
Chapter
Approved as Submitted
This modification replaces &quot; outside &quot; with &quot; nominal &quot;.
This matches the common industry term.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 10 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8182 
Proponent
Dale Biggers
1810.3.11
Section
18
Chapter
Approved as Submitted
This modifications permits the bearing capacity of the soil below the pile cap to be considered as carrying vertical load in some situations.
   This modification has been incorporated into IBC 2018.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8183 
Proponent
Joseph Crum
1807.1.4
Section
18
Chapter
Approved as Submitted
The existing text was outdated, requiring clarification and updates to current AWPA section numbering.
Summary
X
AS
AM

NAR

I

W
Commission Action

19‑Concrete
Mod #
 7235 
Proponent
T Stafford
1909.1
Section
19
Chapter
Approved as Submitted
Revises references to the wind speed maps in the body of the code for correlation with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

21‑Masonry
Mod #
 7419 
Proponent
Joseph Crum
2101.2
Section
21
Chapter
Approved as Submitted
Add appropriate standards for Architectural cast stone.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 11 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7420 
Proponent
Joseph Crum
2107.4
Section
21
Chapter
Approved as Submitted
This code change removes a requirement that is now covered in the latest edition of the referenced standard for masonry design.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8350 
Proponent
Joseph Belcher for MAF
2107.2
Section
21
Chapter
Approved as Submitted
Updates section references and certain sections. Deletes organizations no longer publishing referenced standards.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8372 
Proponent
Joseph Belcher for MAF
2103.1
Section
21
Chapter
Approved as Submitted
Adopts ASTM standard for materials used in manufactured stone.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8381 
Proponent
Joseph Belcher for MAF
2109
Section
21
Chapter
Approved as Submitted
Delete empirical provisions for masonry construction.
Summary
X
AS
AM

NAR

I

W
Commission Action

22‑Steel

Page 12 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7421 
Proponent
Joseph Crum
2208.2
Section
22
Chapter
Approved as Submitted
This proposal removes an obsolete requirement for steel cable from the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7452 
Proponent
Bonnie Manley
2203
Section
22
Chapter
Approved as Submitted
This proposal is one in a series adopting the latest generation of AISI standards for cold‑formed steel.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7454 
Proponent
Bonnie Manley
2210.2
Section
22
Chapter
Approved as Submitted
This proposal is one in a series adopting the latest generation of AISI standards for cold‑formed steel.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8102 
Proponent
Bonnie Manley
2221
Section
22
Chapter
Approved as Submitted
Editorially updates a cross‑reference to industry documents.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 13 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8103 
Proponent
Bonnie Manley
2222
Section
22
Chapter
Approved as Submitted
Editorially updates a cross‑reference to industry documents.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8104 
Proponent
Bonnie Manley
2222
Section
22
Chapter
Approved as Submitted
Editorially updates a cross‑reference to industry documents.
Summary
X
AS
AM

NAR

I

W
Commission Action

23‑Wood
Mod #
 7422 
Proponent
Joseph Crum
2303.2.4
Section
23
Chapter
Approved as Submitted
This proposal provides a clarification of the labeling of fire‑retardant‑treated wood that aides verification in the field.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7626 
Proponent
Ann Russo8
2304.8
Section
23
Chapter
Approved as Submitted
The purpose of this code change is to remove the redundant language contained within the footnotes.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 14 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7630 
Proponent
Ann Russo8
2304.8
Section
23
Chapter
Approved as Submitted
This proposal is two‑fold with the attempt to clarify and harmonize the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7818 
Proponent
Eduardo Fernandez
2314.1
Section
23
Chapter
Approved as Submitted
Ensure correlation with ASCE7‑16
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7820 
Proponent
Eduardo Fernandez
2319.13
Section
23
Chapter
Approved as Submitted
Ensure correlation with ASCE7‑16
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7822 
Proponent
Eduardo Fernandez
2322.2.3
Section
23
Chapter
Approved as Submitted
Ensure correlation with ASCE7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 15 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7824 
Proponent
Eduardo Fernandez
2322.2.5
Section
23
Chapter
Approved as Submitted
Correlates with ASCE 7‑16
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7832 
Proponent
Paul Coats
2304.12.2.5
Section
23
Chapter
Approved as Submitted
Requires positive drainage for impervious moisture barrier systems protecting wood structural members that support floors exposed to the weather, such as exterior balconies.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7849 
Proponent
Paul Coats
2303.1.7
Section
23
Chapter
Approved as Submitted
Corrects the title and referencing language for ANSI A135.6 related to hardboard.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7854 
Proponent
Paul Coats
2304.10.1
Section
23
Chapter
Approved as Submitted
Corrects certain nail size options in the fastener schedule Table 2304.10.1 for consistency with the Residential code and also references a new standardized ring shank nail.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 16 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7860 
Proponent
Paul Coats
2304.10.1
Section
23
Chapter
Approved as Submitted
Editorial corrections to Table 2304.10.1 Fastener Schedule to remove redundancy and make nail designations consistent with the Residential code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7874 
Proponent
Paul Coats
2304.11
Section
23
Chapter
Approved as Submitted
An editorial addition that adds a helpful reference to the section on lumber decking in the section on heavy timber, necessary since lumber decking can be heavy timber.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7877 
Proponent
Paul Coats
2304.9.3.2
Section
23
Chapter
Approved as Submitted
Provides an alternative fastener schedule for construction of mechanically laminated decking.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7879 
Proponent
Paul Coats
2306.3
Section
23
Chapter
Approved as Submitted
Corrects a mistaken staple size in Table 2306.3(2)
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 17 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7951 
Proponent
Borjen Yeh
2306.1
Section
23
Chapter
Approved as Submitted
Update the referenced standards for glulam.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8186 
Proponent
Joseph Crum
2303.1.9
Section
23
Chapter
Approved as Submitted
The existing text was outdated, requiring clarification and updates to current AWPA section numbering.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8344 
Proponent
Randall Shackelford
2304.12.2.2
Section
23
Chapter
Approved as Submitted
Restore provisions of code dealing with 1&quot; standoff of posts
Summary
X
AS
AM

NAR

I

W
Commission Action

24‑Glass and Glazing
Mod #
 7595 
Proponent
Rick Hopkins
2407.1.1
Section
24
Chapter
Approved as Submitted
Consistent with 1406.3
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 18 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7736 
Proponent
Dick Wilhelm
2401
Section
24
Chapter
Approved as Submitted
This modification removes reference standards no longer maintained by AAMA.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7825 
Proponent
Roger LeBrun
2405
Section
24
Chapter
Approved as Submitted
Clarify the exceptions and other language dealing with broken glass retention.
Summary
X
AS
AM

NAR

I

W
Commission Action

25‑Gypsum Board,Gypsum Panel Products and Plaster
Mod #
 8035 
Proponent
Manuel Hurtado
2509.2
Section
25
Chapter
Approved as Submitted
The proposal is to harmonize Backerboard materials FBC Table 2509.2 with FRC Table R702.4.2.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8321 
Proponent
John Woestman
2510.6
Section
25
Chapter
Approved as Submitted
In some climates, a vapor permeable WRB that is too vapor permeable (i.e., ^ 10 perms) can result in significant solar‑driven inward moisture movement. Proposed new exception helps address this.
Summary
X
AS
AM

NAR

I

W
Commission Action

26‑Plastic

Page 19 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7170 
Proponent
Eduardo Fernandez
2615.2
Section
26
Chapter
Approved as Submitted
To correct scrivener error for this section subtitled
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7604 
Proponent
Bonnie Manley
2603.12
Section
26
Chapter
Approved as Submitted
This proposal is one in a series adopting the latest generation of AISI standards for cold‑formed steel.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8340 
Proponent
John Woestman
2603.13
Section
26
Chapter
Approved as Submitted
Propose the same requirements for cladding attachment over foam sheathing to wood framing were approved in the 2017 Florida residential code, and similar requirements for steel framing were approved in the 2017 Florida building code and residential code.
Summary
X
AS
AM

NAR

I

W
Commission Action

35‑Referenced Standards
Mod #
 7257 
Proponent
T Stafford
35
Section
35
Chapter
Approved as Submitted
Updates the vinyl siding specification to the 2017 edition.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 20 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7704 
Proponent
Dick Wilhelm
102.4
Section
35
Chapter
Approved as Submitted
This proposed modification updates AAMA, FMA and ASTM reference standards in Chapter 35, 6th Edition, Florida Building Code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7880 
Proponent
Joseph Hetzel
3501
Section
35
Chapter
Approved as Submitted
Referencing 2005 and 2017 versions of ANSI/DASMA 108 and ANSI/DASMA 115 in addition to the 2012 versions referenced in the 6th edition.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8070 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
This proposal is one in a series adopting the latest generation of AISI standards for cold‑formed steel.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8105 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Updates AISC reference documents.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 21 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8106 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Corrects ASCE 8 reference.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8107 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Updates AWS reference documents.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8108 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Updates ASTM standards
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8110 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Updates NAAMM reference document.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 22 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8112 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Updates RCSC reference document.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8114 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Updates the STI references.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8116 
Proponent
Bonnie Manley
35
Section
35
Chapter
Approved as Submitted
Deletes AISI reference documents that are not currently referenced.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Existing Building
Ü
2‑Definitions
Mod #
 7483 
Proponent
Joseph Crum
202
Section
2
Chapter
Approved as Submitted
The edit changes &quot;this code&quot; to &quot;the FBCB.&quot; The current language is an obsolete holdover from the version of the definition that went with FBC Chapter 34.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 23 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7487 
Proponent
Joseph Crum
202
Section
2
Chapter
Approved as Submitted
The edit changes &quot;this code&quot; to &quot;the FBC.&quot; The current language is an obsolete holdover from the version of the definition that went with FBC Chapter 34.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8157 
Proponent
Ann Russo4
202
Section
2
Chapter
Approved as Submitted
Simplifies the code&#39;s terminology. The proposal also makes a coordinated change to the existing definition of &quot;seismic loading.&quot; By revising the definition as proposed, FEBC provisions can now just refer to &quot;full seismic loads&quot; or &quot;reduced seismic loads.&quot;
Summary
X
AS
AM

NAR

I

W
Commission Action

3‑Provisions for All Compliance Methods
Mod #
 8189 
Proponent
Ann Russo4
301.1.4.2
Section
3
Chapter
Approved as Submitted
Updates the FEBC to be consistent with the revised performance objective definitions and terminology used in ASCE 41‑17. Tier 1 and 2 procedures are revised
Summary
X
AS
AM

NAR

I

W
Commission Action

4‑Prescriptive Compliance Method
Mod #
 8054 
Proponent
Harold Barrineau
403.4.2
Section
4
Chapter
Approved as Submitted
403.4.2 Substantial structural alteration.
[BS] 907.4 Existing structural elements resisting lateral loads.
[BS] 907.4.2 Substantial structural alteration.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 24 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8067 
Proponent
Harold Barrineau
403.9
Section
4
Chapter
Approved as Submitted
[BS] 403.9 Voluntary  lateral force‑resisting system alterations.
[BS] 807.6 Voluntary lateral force‑resisting system alterations.
Summary
X
AS
AM

NAR

I

W
Commission Action

2901‑Guidelines for the Seismic Retrofit of Existing Buildings
Mod #
 8178 
Proponent
Ann Russo4
501
Section
2901
Chapter
Approved as Submitted
Deletion of Chapter PART 5 EARTHQUAKE HAZARD REDUCTION IN EXISTING CONCRETE BUILDINGS
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Residential
Ü
2‑Definitions
Mod #
 7478 
Proponent
Joseph Crum
202
Section
2
Chapter
Approved as Submitted
This proposal simply revises the definition to state that Light‑ Frame is a &quot;method&quot; of construction and should not be confused with the different &quot;Types of Construction&quot; specified in Chapter 6.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7605 
Proponent
Ann Russo5
202
Section
2
Chapter
Approved as Submitted
To distinguish drilled shaft from augercast piles (reference to removing drilling equipment), and coordinate with definitions under Building Code
Summary
X
AS
AM

NAR

I

W
Commission Action

3‑Building Planning

Page 25 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7262 
Proponent
T Stafford
301.2
Section
3
Chapter
Approved as Submitted
Updates the simplified component and cladding loads in Tables R301.2(2) and R301.2(3) and Figure R301.2(7) for consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7616 
Proponent
Joseph Hetzel
301
Section
3
Chapter
Approved as Submitted
Establishes a minimum positive wind load of 10 PSF, and a minimum negative wind load of 10 PSF, when using Table R301.2(4).
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7629 
Proponent
Ann Russo8
317.3
Section
3
Chapter
Approved as Submitted
The intention of this proposal is to better integrate staples into the code so that the provisions for small diameter fasteners (nail and timber rivets) also are explicitly extended to staples where applicable.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7737 
Proponent
Scott McAdam
317.1
Section
3
Chapter
Approved as Submitted
The existing text was outdated, requiring clarification and updates to current AWPA section numbering.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 26 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7831 
Proponent
Roger LeBrun
308.6
Section
3
Chapter
Approved as Submitted
Clarify the exceptions and other language dealing with broken glass retention.
Summary
X
AS
AM

NAR

I

W
Commission Action

4‑Foundations
Mod #
 7653 
Proponent
Ann Russo8
403.4
Section
4
Chapter
Approved as Submitted
Revise drawings to add dimensions required.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7654 
Proponent
Ann Russo8
405.1
Section
4
Chapter
Approved as Submitted
Editorial clarification for foundation drain locations.
Summary
x
AS
AM

NAR

I

W
Commission Action

5‑Floors
Mod #
 7856 
Proponent
Bonnie Manley
505
Section
5
Chapter
Approved as Submitted
Deletes Section R505 and replaces it with a reference to AISI S230 in accordance with Section R301.2.1.1.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 27 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7948 
Proponent
Borjen Yeh
502.1.3
Section
5
Chapter
Approved as Submitted
Add ANSI 117 to R502.1.3 for structural glued laminated timber.
Summary
X
AS
AM

NAR

I

W
Commission Action

6‑Wall Construction
Mod #
 7418 
Proponent
Joseph Crum
606.2.3
Section
6
Chapter
Approved as Submitted
Update standards for definition.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7482 
Proponent
Scott McAdam
602
Section
6
Chapter
Approved as Submitted
move requirements for construction of braced wall panels in R602.10.10 and move it to the section on construction methods for braced wall panels in R602.10.4, and move an existing bracing amount correction from R602.10.10 (exception #3) into the Adjustment Factor Tables, R602.10.3(2) for wind
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7484 
Proponent
Scott McAdam
602
Section
6
Chapter
Approved as Submitted
ICC staff requested an unofficial interpretation from the past ICC Ad Hoc Wall Bracing Committee regarding how the adjustment factor for Exposure Category applied. The new footnote has been vetted by several of the past members and is being submitted to clarify the intent.
Summary
x
AS
AM

NAR

I

W
Commission Action

Page 28 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7780 
Proponent
Borjen Yeh
602.1
Section
6
Chapter
Approved as Submitted
Add the reference to ANSI/APA PRS 610.1 for structural insulated panels.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7781 
Proponent
Borjen Yeh
610
Section
6
Chapter
Approved as Submitted
Re‑organize and clarify the structural insulated panel section (R610) of the code.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7784 
Proponent
Borjen Yeh
602.10.3
Section
6
Chapter
Approved as Submitted
Revise Footnote (c) to Table R602.10.3(1)
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7786 
Proponent
Borjen Yeh
602.10.3
Section
6
Chapter
Approved as Submitted
Revise the term &quot;wall height adjustment&quot; in Table R602.10.3(2), Item 3 and add a new footnote (d) to the same table to clarify the applicability of the exposure category adjustment
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 29 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7787 
Proponent
Borjen Yeh
602.10.4.1
Section
6
Chapter
Approved as Submitted
Revise Section R602.10.4.1 Item 4, and Table R602.10.3(3)
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7789 
Proponent
Borjen Yeh
602.10.6.2
Section
6
Chapter
Approved as Submitted
Revise and clarify Figure R602.10.6.2
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7797 
Proponent
Borjen Yeh
602.10.6.4
Section
6
Chapter
Approved as Submitted
Revise Figure R602.10.6.4
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7799 
Proponent
Borjen Yeh
602.10.6.4
Section
6
Chapter
Approved as Submitted
Revise Figure R602.10.6.4
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 30 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7809 
Proponent
Borjen Yeh
602.10.3
Section
6
Chapter
Approved as Submitted
Revise Table R602.10.3(4)
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7857 
Proponent
Bonnie Manley
603
Section
6
Chapter
Approved as Submitted
Deletes Section R603 and replaces it with a reference to AISI S230 in accordance with Section R301.2.1.1.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7946 
Proponent
Borjen Yeh
602.10.5
Section
6
Chapter
Approved as Submitted
Revise Table R602.10.5
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7949 
Proponent
Borjen Yeh
602.1.3
Section
6
Chapter
Approved as Submitted
Update the referenced standards for structural glued laminated timber.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 31 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8096 
Proponent
Paul Coats
602.3
Section
6
Chapter
Approved as Submitted
Adjustment to roof sheathing nail spacing in accordance with the criteria of ASCE 7‑16
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8227 
Proponent
Paul Coats
602.7
Section
6
Chapter
Approved as Submitted
Update of Table R602.7(1) Girder and Header Spans Exterior Walls
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8239 
Proponent
Paul Coats
602.7
Section
6
Chapter
Approved as Submitted
Update of Table R602.7(1) Girder and Header Spans Interior Bearing Walls
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8243 
Proponent
Paul Coats
602.7.2
Section
6
Chapter
Approved as Submitted
Replacement figure for Fig. R602.7.2 Rim Board Header Construction
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 32 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8247 
Proponent
Paul Coats
602.7.5
Section
6
Chapter
Approved as Submitted
Replacement table for Table R602.7.5 Full height studs at headers
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8252 
Proponent
Paul Coats
602.10.4
Section
6
Chapter
Approved as Submitted
Removal of 8d common nails for attachment of structural fiberboard sheathing from Table R602.10.4
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8363 
Proponent
Joseph Belcher for MAF
606.2.3
Section
6
Chapter
Approved as Submitted
Modifies provisions to adopt current ASTM standards.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8373 
Proponent
Joseph Belcher for MAF
606.2.6
Section
6
Chapter
Approved as Submitted
Adopts ASTM standard for materials used in manufactured stone.
Summary
X
AS
AM

NAR

I

W
Commission Action

7‑Wall Covering

Page 33 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7707 
Proponent
Ann Russo1
702.7.3
Section
7
Chapter
Approved as Submitted
Introducing new material/product that has similar characteristics as vinyl.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7746 
Proponent
Ann Russo1
703.11.2.3
Section
7
Chapter
Approved as Submitted
Deleting the code section.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7779 
Proponent
Borjen Yeh
703.1.1
Section
7
Chapter
Approved as Submitted
Clarify wording in this Section.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7844 
Proponent
Borjen Yeh
703.8.4
Section
7
Chapter
Approved as Submitted
Revise Section R703.8.4 and add a new table.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 34 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7944 
Proponent
Ann Russo8
703
Section
7
Chapter
Approved as Submitted
This proposal updates the table values to a consistent rounding approach by rounding the values down to the nearest 0.05&quot; to address actual thicknesses of foam sheathing materials that often vary from nominal dimensions such as 0.5&quot;, 1&quot;, 1.5&quot; 2&quot;, 3&quot; and 4&quot;.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7989 
Proponent
Bonnie Manley
702.3.3
Section
7
Chapter
Approved as Submitted
This proposal is one in a series adopting the latest generation of AISI standards for cold‑formed steel.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8352 
Proponent
John Woestman
703.2
Section
7
Chapter
Approved as Submitted
This proposal clarifies requirements for No. 15 asphalt felt and distinguishes requirements for other approved water‑resistive barriers (WRBs) to improve application and enforceability.
Summary
x
AS
AM

NAR

I

W
Commission Action

Mod #
 8355 
Proponent
Joseph Crum
702.3.3
Section
7
Chapter
Approved as Submitted
This proposal is one in a series intended to update the content of the cold‑formed steel (CFS) light‑framed construction provisions of the FBC.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 35 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8387 
Proponent
Joseph Belcher for FHBA
703.1.1
Section
7
Chapter
Approved as Submitted
Deletes incorrect section reference
Summary
X

AM

NAR

I

W
Commission Action

8‑Roof‑Ceiling Construction
Mod #
 7714 
Proponent
Ann Russo1
806.2
Section
8
Chapter
Approved as Submitted
The proposed modification will provide flexibility for the placement of the required roof ventilation.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7715 
Proponent
T Stafford
803.2
Section
8
Chapter
Approved as Submitted
Updates the roof sheathing fastening requirements for correlation with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7764 
Proponent
Borjen Yeh
802.1
Section
8
Chapter
Approved as Submitted
Add prefabricated wood I‑joists for wood roof framing
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 36 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7858 
Proponent
Bonnie Manley
804
Section
8
Chapter
Approved as Submitted
Deletes Section R804 and replaces it with a reference to AISI S230 in accordance with Section R301.2.1.1.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7950 
Proponent
Borjen Yeh
802.1.2
Section
8
Chapter
Approved as Submitted
Update the referenced standards for structural glued laminated timber.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7972 
Proponent
Ann Russo8
802
Section
8
Chapter
Approved as Submitted
This code proposal is a rewrite with minor technical changes. It is intended to reorganize the roof and ceiling assembly by separating out the requirements of the components.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8329 
Proponent
Joseph Lstiburek
806.5
Section
8
Chapter
Approved as Submitted
Allows the sealing of soffit vents while allowing moisture to leave attics via upper vents that are vapor open but airtight.  Solve attic duct condensation problems.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 37 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 8398 
Proponent
Michael Fischer
806
Section
8
Chapter
Approved as Submitted
Editorial revisions to attic ventilation requirements.
Summary
X
AS
AM

NAR

I

W
Commission Action

2712‑Reference Standards
Mod #
 7252 
Proponent
T Stafford
46
Section
2712
Chapter
Approved as Submitted
Updates the vinyl siding specification to the 2017 edition.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7340 
Proponent
Jessica Ferris
46
Section
2712
Chapter
Approved as Submitted
This modification updates the ANSI/WMA 100 standard reference and corrects the organization&#39;s acronym reference.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7705 
Proponent
Dick Wilhelm
102.4
Section
2712
Chapter
Approved as Submitted
This proposed modification updates AAMA, FMA and ASTM reference standards in Chapter 46, 6th Edition of the 2017 Florida Building Code (Residential). The modification also removes outdated reference standards.
Summary
X
AS
AM

NAR

I

W
Commission Action

Page 38 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7881 
Proponent
Joseph Hetzel
4601
Section
2712
Chapter
Approved as Submitted
Updating the ANSI/DASMA standards referenced by including additional equivalent versions.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7947 
Proponent
Borjen Yeh
46
Section
2712
Chapter
Approved as Submitted
Update referenced standards published by APA.
Summary
X
AS
AM

NAR

I

W
Commission Action

SubCode:
Test Protocols
Ü
1‑117
Mod #
 7167 
Proponent
Michael Goolsby
1
Section
1
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8298 
Proponent
Chadwick Collins
3
Section
1
Chapter
Approved as Submitted
Update to reflect the tested roof systems within the installed roof system.
Summary
X
AS
AM

NAR

I

W
Commission Action

1‑127

Page 39 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7156 
Proponent
Michael Goolsby
1
Section
1
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

1‑128
Mod #
 7157 
Proponent
Michael Goolsby
1
Section
1
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16.
Summary
X
AS
AM

NAR

I

W
Commission Action

1‑137
Mod #
 7164 
Proponent
Michael Goolsby
4
Section
1
Chapter
Approved as Submitted
Establish consistency with ASCE 7‑16.
Summary
x
AS
AM

NAR

I

W
Commission Action

1‑107
Mod #
 8284 
Proponent
Chadwick Collins
1
Section
1
Chapter
Approved as Submitted
HVHZ roofing updates
Summary
x
AS
AM

NAR

I

W
Commission Action

1‑110

Page 40 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Approved as Submitted
TAC: 
Structural
 156
Mod #
 7300 
Proponent
Jorge Acebo
4
Section
1
Chapter
Approved as Submitted
Modifies Table 4 in Section 4 to include updated requirement for TPO membranes.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 7301 
Proponent
Jorge Acebo
8
Section
1
Chapter
Approved as Submitted
Modifies Table 8 in Section 8 to include requirements for Gypsum and Cementitious insulation boards and Lightweight Insulating Concrete.
Summary
X
AS
AM

NAR

I

W
Commission Action

Mod #
 8299 
Proponent
Chadwick Collins
1
Section
1
Chapter
Approved as Submitted
HVHZ roofing updates
Summary
X
AS
AM

NAR

I

W
Commission Action

1‑131
Mod #
 7307 
Proponent
Jorge Acebo
1
Section
1
Chapter
Approved as Submitted
Modifies the standard because the TPO TAS 131 testing requirements are being incorporated into TAS 110 as a submitted code mod.
Summary
x
AS
AM

NAR

I

W
Commission Action

No Affirmative Recommendation
TAC Recommendation
Total Mods for  Structural in  No Affirmative Recommendation
TAC: 
Structural
 11
SubCode:
Building
Ü

Page 41 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  No Affirmative Recommendation
TAC: 
Structural
 11
2‑Definitions
Mod #
 8263 
Proponent
John Woestman
202
Section
2
Chapter
No Affirmative Recommendation
Revise &quot;Vapor Permeable Membrane&quot; to &quot;Vapor Permeable&quot;
Summary

AS
AM

X
NAR

I

W
Commission Action

23‑Wood
Mod #
 7441 
Proponent
Rick Hopkins
2308.2.3
Section
23
Chapter
No Affirmative Recommendation
Live loads shall not exceed 40 psf (1916 N/m) for floors.
Exception: Live loads for concrete slab ‑on‑ground floors in Risk Category I and II occupancies are not limited.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8126 
Proponent
Andy Williams
2306
Section
23
Chapter
No Affirmative Recommendation
Addition of ASABE Standard S618 R2016 Post Frame Building System Nomenclature and updating standard references.
Summary

AS
AM

X
NAR

I

W
Commission Action

25‑Gypsum Board,Gypsum Panel Products and Plaster
Mod #
 7748 
Proponent
Robert Koning
2517
Section
25
Chapter
No Affirmative Recommendation
The ASTM C926 and C1063 are not specific to Florida&#39;s climatic region and Florida&#39;s windspeeds.
Summary

AS
AM

X
NAR

I

W
Commission Action

35‑Referenced Standards

Page 42 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  No Affirmative Recommendation
TAC: 
Structural
 11
Mod #
 8128 
Proponent
Andy Williams
35.1
Section
35
Chapter
No Affirmative Recommendation
Include correct references to standards recognized in Section 2306.1
Summary

AS
AM

X
NAR

I

W
Commission Action

SubCode:
Residential
Ü
2‑Definitions
Mod #
 7893 
Proponent
Joseph Hetzel
202
Section
2
Chapter
No Affirmative Recommendation
Adding a definition of &quot;opaque door&quot;.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 7937 
Proponent
Joseph Hetzel
202
Section
2
Chapter
No Affirmative Recommendation
Relocate the definitions of Skylight and Vertical Fenestration.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8124 
Proponent
Andy Williams
202
Section
2
Chapter
No Affirmative Recommendation
Include definition of Post Frame Building System
Summary

AS
AM

X
NAR

I

W
Commission Action

3‑Building Planning

Page 43 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  No Affirmative Recommendation
TAC: 
Structural
 11
Mod #
 8393 
Proponent
Randall Shackelford
317.3.1
Section
3
Chapter
No Affirmative Recommendation
Requires staples used for treated wood to be stainless steel.
Summary

AS
AM

X
NAR

I

W
Commission Action

7‑Wall Covering
Mod #
 7537 
Proponent
T Stafford
703.11.2
Section
7
Chapter
No Affirmative Recommendation
This proposal updates the design pressure requirements for vinyl siding installed over foam plastic sheathing alone based on changes to ASTM D 3679, the specification for vinyl siding.
Summary

AS
AM

X
NAR

I

W
Commission Action

Mod #
 8353 
Proponent
Joseph Crum
703.7.2
Section
7
Chapter
No Affirmative Recommendation
The purpose of this code change is to correlate the requirements for exterior lath and plaster (stucco) with the requirements of ASTM C926 and C1063 and ACI 524R‑08 Guide to Portland Cement‑Based Plaster.
Summary

AS
AM

X
NAR

I

W
Commission Action

Withdrawn
TAC Recommendation
Total Mods for  Structural in  Withdrawn
TAC: 
Structural
 12
SubCode:
Building
Ü
2‑Definitions

Page 44 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Withdrawn
TAC: 
Structural
 12
Mod #
 7417 
Proponent
Joseph Crum
202
Section
2
Chapter
Withdrawn
To eliminate an incorrect unnecessary definition.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 7480 
Proponent
Joseph Crum
202
Section
2
Chapter
Withdrawn
This proposal simply revises the definition of Light‑ Frame Construction and should not be confused with the different &quot;Types of Construction&quot; specified in Chapter 6.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 7528 
Proponent
Joseph Crum
202
Section
2
Chapter
Withdrawn
This change is intended to clarify the definition of Substantial Structural Damage to avoid misinterpretation.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 7602 
Proponent
Ann Russo5
202
Section
2
Chapter
Withdrawn
To distinguish drilled shaft from augercast piles (reference to removing drilling equipment).
Summary

AS
AM

NAR

I
X
W
Commission Action

18‑Soils and Foundations

Page 45 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Withdrawn
TAC: 
Structural
 12
Mod #
 8143 
Proponent
Dale Biggers
1810.3.3.1.6
Section
18
Chapter
Withdrawn
This only removes the extraneous word &quot; working &quot; which is no longer the common term. The meaning of the Section is not changed.
   This modification has been incorporated into IBC 2018.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 8146 
Proponent
Dale Biggers
1810.3.5.2.1
Section
18
Chapter
Withdrawn
The Title of the Section is Cast‑in‑place or grouted‑in‑place.
This modification adds &quot; grouted‑in‑place &quot; into the body of the code.
   This modification has been incorporated into IBC 2018.
Summary

AS
AM

NAR

I
X
W
Commission Action

Mod #
 8153 
Proponent
Dale Biggers
1810.3.5.2.2
Section
18
Chapter
Withdrawn
This adds the words &quot; or grouted‑in‑place &quot; that appear in the section title into the body of the code.  It also clarifies &quot; specified &quot; diameter rather than &quot; installed &quot; diameter. 
  This modification has been incorporated into IBC 2018.
Summary

AS
AM

NAR

I
X
W
Commission Action

21‑Masonry
Mod #
 8368 
Proponent
Joseph Belcher for MAF
2101.2
Section
21
Chapter
Withdrawn
Adds TMS Standards for architectural cast stone.
Summary

AS
AM

NAR

I
X
W
Commission Action

23‑Wood

Page 46 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Total Mods for  Structural in  Withdrawn
TAC: 
Structural
 12
Mod #
 8266 
Proponent
Joseph Crum
2304.12.2
Section
23
Chapter
Withdrawn
This change clarifies that when a balcony or elevated walkway is enclosed ventilation is required to prevent decay and rot.
Summary

AS
AM

NAR

I
X
W
Commission Action

SubCode:
Residential
Ü
2‑Definitions
Mod #
 7486 
Proponent
Joseph Crum
202
Section
2
Chapter
Withdrawn
This proposal simply revises the definition to state that Light‑ Frame is a &quot;method&quot; of construction and should not be confused with the different &quot;Types of Construction&quot; specified in Chapter 6.
Summary

AS
AM

NAR

I
X
W
Commission Action

3‑Building Planning
Mod #
 7631 
Proponent
Ann Russo8
324.4.1.1
Section
3
Chapter
Withdrawn
This proposal is intended to clarify and correct the requirements for design loads for roofs with PV panels.
Summary

AS
AM

NAR

I
X
W
Commission Action

8‑Roof‑Ceiling Construction
Mod #
 7985 
Proponent
Ann Russo8
804
Section
8
Chapter
Withdrawn
The proposal is one in a series intended to update the content of the Cold‑Formed Steel (CFS) light‑framed construction provisions of the FBCR.
Summary

AS
AM

NAR

I
X
W
Commission Action

Search Criteria

Page 47 of 47
5/31/2019
Structural
TECHNICAL ADVISORY COMMITTEE
WITHOUT COMMENTS
SECOND COMMENT PERIOD
Total Mods for this report:  182
Modification #:
Code Change Cycle:
Chapter & Topic:
Date Submitted From:
TAC:
Proponent Last Name:
Affects HVHZ:
Sub Code:
Code Version:
Commission Action:
Text of Modification:
Section:
Related Modifications:
TAC Recommendation:
Modification Status:
Date Submitted To:
Proponent First Name:
2020
ALL
2020 Triennial Original Modification 11/02/2018 ‑ 12/15/2018
ALL
ALL
S
ALL
ALL
ALL
ALL
ALL
ALL
ALL
ALL
Verified
ALL
ALL
No
Archived: