Florida Building Code, Mechanical

Reference Chapter

FBCM

**CHAPTER 15**

**REFERENCED STANDARDS**

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.4 of the *Florida Building Code, Building.*

**ACCA**

Air Conditioning Contractors of America 2800 Shirlington Road, Suite 300

Arlington, VA 22206

Standard Referenced

reference in code

number Title section number

Manual D—20~~11~~16 Residential Duct Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 601.4, 603.2

183—2007 Peak Cooling and Heating Load Calculations in Buildings

(reaffirmed 2011) Except Low-rise Residential Buildings 312.1

**AHRI**

Air-Conditioning, Heating and Refrigeration Institute 4100 North Fairfax Drive, Suite 200

Arlington, VA 22203

Standard Referenced

reference in code

number Title section number

700—~~2011~~ ~~Purity~~ Specifications for ~~Fluorocarbon and Other~~ Refrigerants 1102.2.2.3

~~with Addendum 1~~ 2015

AHRI 1160 (I-P) -09 Performance rating of Heat Pump Pool Heaters

(M104-15 AM)

**AMCA**

Air Movement and Control Association International 30 West University Drive

Arlington Heights, IL 60004

Standard Referenced

reference in code

number Title section number

ANSI/AMCA 210 - A SI/ASHRAE 51 -07 Laboratory Methods of Testing Fans for Aerodynamic

 Performance Rating

(M26-15)

ANSI/AMCA 230-15:

Laboratory Methods of Testing Air Circulating Fans for Rating and Certification

(M7842)

AMCA/ANSI 550—~~08~~15(Rev. 09/18) Test Method for High Velocity Wind Driven Rain Resistant Louvers . . . . .401.5, 501.3.2

(M7976)

**ANSI**

American National Standards Institute 11 West 42nd Street

New York, NY 10036

Standard Referenced

reference in code

number Title section number

Z21.8—1994 (R2002) Installation of Domestic Gas Conversion Burners 919.1

ANSI Z21.56a/CSA 4.7 -2013 Gas Fired Pool Heaters

**FLORIDA BUILDING CODE — MECHANICAL, 6th EDITION (2017) 119**

**REFERENCED STANDARDS**

ASHRAE

**ASHRAE**

1791 Tullie Circle, NE Atlanta, GA 30329

Standard Referenced

reference in code

number Title section number

ASHRAE—~~2013~~ 2017 ASHRAE Fundamentals Handbook 603.2

15—~~2013~~ 2016 Safety Standard for Refrigeration Systems. . . . . . . . . . . . . . . . . . . . . . . . . 1101.6, 1105.8, 1108.1

34—~~2013~~ 2016 Designation and Safety Classification of Refrigerants. . . . . . . . . . . . . . . . . 202, 1102.2.1, 1103.1

62.1—~~2013~~ 2016 Ventilation for Acceptable Indoor Air Quality 403.3.1.1.2.3.2

170—~~2008~~ 2017 Ventilation of Health Care Facilities 407

180—2012 Standard Practice for Inspection and Maintenance of Commercial

Building HVAC Systems 102.3

ASHRAE-2016 HVAC Systems and Equipment Handbook

American Society of Mechanical Engineers Three Park Avenue

**ASME**

New York, NY 10016-5990

Standard Referenced

reference in code

number Title section number

B1.20.1—~~1983 (R2006)~~2013 Pipe Threads, General Purpose (Inch) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1203.3.5, 1303.3.3

B16.3—~~2011~~2016 Malleable Iron Threaded Fittings, Classes 150 & 300 . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

B16.5—~~2009~~2015 Pipe Flanges and Flanged Fittings NPS 1/2 through NPS 24 . . . . . . . . . . . . . . . . . . . Table 1202.5

B16.9—~~2007~~2012 Factory Made Wrought Steel Buttwelding Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

B16.11—~~2011~~2016 Forged Fittings, Socket-welding and Threaded . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

B16.15—~~2011~~2013 Cast ~~Bronze~~Alloy Threaded Fittings Classes 125 and 250 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . ... Table 1202.5

B16.18—2012 Cast Copper Alloy Solder Joint Pressure Fittings . . . . . . . . . . . . . . . . . . . 513.13.1, Table 1202.5 B16.22—~~(R2010)~~2013 Wrought Copper and Copper Alloy Solder Joint Pressure Fittings . . . . . . 513.13.1, Table 1202.5 B16.24—~~2011~~2016 Cast Copper Alloy Pipe Flanges and Flanged Fittings: Class 150, 300,

400, 600, 900, 1500 and 2500. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

B16.26—~~2011~~2016 Cast Copper Alloy Fittings for Flared Copper Tubes. . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

B16.28—1994 Wrought Steel Buttwelding Short Radius Elbows and Returns . . . . . . . . . . . . . . . . . Table 1202.5

B16.51—~~2011~~2013 Copper and Copper Alloy Press-Connect Pressure Fittings . . . . . . . . . . . . . . . . . . . . Table 1202.5

B31.5—~~2010~~2016 Refrigeration Piping and Heat Transfer Components 1107.1

B31.9—~~2011~~2014 Building Services Piping 1201.3

BPVC—~~2010/~~ ASME Boiler & Pressure Vessel Code–07 Edition . . . . . . . . . . . . 1009.2, 1003.1, 1004.1, 1011.1 ~~2011 addenda~~ 2015

CSD-1—~~2012~~ 2016 Controls and Safety Devices for Automatically Fired Boilers 1004.1

**ASSE**

American Society of Safety Engineers 1800 East Oakton Street

Des Plaines, IL 60018

Standard Referenced

reference in code

number Title section number

ANSI/ASSE Z359.1-~~2007~~2016 ~~Safety~~ Requirements for ~~Personal Fall Arrest Systems, Subsystems~~

~~and Components, Part of~~ the ANSI/ASSE Z359 Fall Protection Code 304.11

**ASSE**

American Society of Sanitary Engineering 901 Canterbury, Suite A

Westlake, OH 44145

Standard Referenced

reference in code

number Title section number

1017—2010 Performance Requirements for Temperature Actuated Mixing

Values for Hot Water Distribution Systems 1002.2.2

ASSE 1061-2015 Performance Requirements for Push Fit Fittings

(M7572)

**120 FLORIDA BUILDING CODE — MECHANICAL, 6th EDITION (2017)**

**REFERENCED STANDARDS**

ASTM International 100 Barr Harbor Drive

**ASTM**

West Conshohocken, PA 19428

Standard Referenced

reference in code

number Title section number

A53/A53M—12 Specification for Pipe, Steel, Black and Hot-dipped,

Zinc-coated Welded and Seamless. . . . . . . . . . . . . . Table 1202.4, Table 1202.5, Table 1302.3

A74-15 Specification for Cast Iron Soil Pipe and Fittings

A106/A106M—~~11~~14 Specification for Seamless Carbon Steel Pipe for

High-Temperature Service . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1302.3, Table 1202.5

Table 1202.4 Table 1302.3

A126—~~09~~04(2014) Specification for Gray Iron Castings for Valves, Flanges and Pipe Fittings . . . . . . . Table 1202.5

A234/A234M—~~11a~~15 Standard Specification for Piping Fittings of Wrought Carbon Steel

and Alloy Steel for Moderate and High Temperature Service. . . . . . . . . . . . . . . . Table 1202.5 A254—~~97 (2007)~~12 Specification for Copper Brazed Steel Tubing. . . . . . . . . . . . . . . . . . . Table 1202.4, Table 1302.3 A395/A395M-99~~(2009)~~(2014) Standard Specification for Ferritic Ductile Iron Pressure-Retaining

Castings for Use at Elevated Temperatures . . . . . . . . . . . . . . . . . . . Table 1202.5, Table 1302.3

A420/A420M—~~10A~~14 Specification for Piping Fittings of Wrought Carbon Steel

and Alloy Steel for Low-Temperature Service . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

A536—84~~(2009)(~~2014) Standard Specification for Ductile Iron Castings. . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5 A539—99 Specification for Electric-resistance-welded Coiled Steel Tubing

for Gas and Fuel Oil Lines . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1302.3

B32—08(2014) Specification for Solder Metal 1203.3.3

B42—10 Specification for Seamless Copper Pipe, Standard Sizes. . . . . . 513.13.1, 1107.5.2, Table 1302.3 Table 1202.4, Table 1302.3

B43—09 Specification for Seamless Red Brass Pipe, Standard Sizes . . . 513.13.1, 1107.5.2, Table 1302.3 Table 1202.4, Table 1302.3

B68/B68M—11 Specification for Seamless Copper Tube, Bright Annealed 513.13.1

B75/B75M—11 Specification for Seamless Copper Tube . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1302.3

B88—09 Specification for Seamless Copper Water Tube. . . . . . . . . . . . . . . . . . . . . . . . 513.13.1, 1107.5.3, Table 1202.4, Table 1302.3

B135—10 Specification for Seamless Brass Tube . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4, Table 1302.3

B251—10 Specification for General Requirements for Wrought Seamless

Copper and Copper-alloy Tube . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 513.13.1, Table 1202.4

B280—~~08~~13 Specification for Seamless Copper Tube for Air Conditioning

and Refrigeration Field Service . . . . . . . . . . . . . . . . . . . . . . . 513.13.1, 1107.5.3, Table 1302.3

B302—12 Specification for Threadless Copper Pipe, Standard Sizes . . . . . . . . . Table 1202.4, Table 1302.3

B584-14 Standard Specification for Copper Alloy Sand Castings for General Applications

B813—10 Specification for Liquid and Paste Fluxes for Soldering of

Copper and Copper Alloy Tube 1203.3.3

C315—07(2011) Specification for Clay Flue Liners and Chimney Pots. . . . . . . . . . . . . . . 801.16.1, Table 803.10.4 C411—11 Test Method for Hot-surface Performance of High-temperature Thermal Insulation 604.3

D56—05(2010) Test Method for Flash Point by Tag Closed Cup Tester 202

D93—~~12~~15 Test Method for Flash Point of Pensky-Martens Closed Cup Tester 202

D1527—99(2005) Specification for Acrylonitrile-Butadiene-Styrene (ABS) Plastic Pipe,

Schedules 40 and 80 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

D1693—~~13~~15 Test Method for Environmental Stress-Cracking of Ethylene Plastics . . . . . . . . . . . Table 1202.4

D1785—~~12~~15 Specification for Poly (Vinyl Chloride)(PVC) Plastic Pipe,

Schedules 40, 80 and 120 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4, Table 1210.4

D2235—04(2011) Specifications for Solvent Cement for Acrylonitrile-Butadiene-

Styrene (ABS) Plastic Pipe and Fittings. 1203.3.4

D2241—~~09~~15 Specification for Poly (Vinyl Chloride)(PVC)

Pressure-rated Pipe (SDR-Series) . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4, Table 1210.4

D2282—99(2005) Specification for Acrylonitrile-Butadiene-Styrene (ABS)

Plastic Pipe (SDR-PR) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

D2412—11 Test Method for Determination of External Loading Characteristics

of Plastic Pipe by Parallel-plate Loading 603.8.3

D2464—~~13~~15 Standard Specification for Threaded Poly(Vinyl Chloride) (PVC)

Plastic Pipe Fittings, Schedule 80 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.5

D2466—~~06~~15 Specification for Poly (Vinyl Chloride)(PVC)

Plastic Pipe Fittings, Schedule 40 . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5, Table 1210.5

D2467—~~06~~15 Specification for Poly (Vinyl Chloride)(PVC)

Plastic Pipe Fittings, Schedule 80 . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5, Table 1210.5

D2513-2014E1 Specification for Polyethylene (PE) Gas Pressure Pipe, Tubing, and Fittings

D2564—12 Specification for Solvent Cements for Poly (Vinyl Chloride) (PVC)

Plastic Piping Systems 1203.3.4

D2657—07 Standard Practice for Heat Fusion Joining of Polyolefin Pipe and Fittings. . . . . . . . Table 1210.5

D2661—01 Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40 Plastic Drain,

Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 515.2A

D2665—01 Poly (Vinyl Chloride) (PVC) Plastic Drain, Waste, and Vent Pipe and Fittings . . . . Table 515.2A

D2672-14 Specification for Joints for IPS PVC Pipe Using Solvent Cement

**FLORIDA BUILDING CODE — MECHANICAL, 7th EDITION (2020) 121**

**REFERENCED STANDARDS**

**ASTM—continued**

D2683—~~2010E1~~14 Specification for Socket-type Polyethylene Fittings for Outside

Diameter-controlled Polyethylene Pipe and Tubing. . . . . . . . . . . . . . . Table 1210.5, 1210.6.6.1

D2737—12A Standard Specification for Polyethylene (PE) Plastic Tubing . . . . . . . . . . . . . . . . . . Table 1210.4

D2837-2013E1 Test Method for Obtaining Hydrostatic Design Basis for Thermoplastic Pipe Materials or Pressure Design Basis for Thermoplastic Pipe Products

D2846/D2846M—~~09BE1~~14 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Hot and Cold Water Distribution Systems . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.4,

Table 1202.4, 1203.3.4

D2949—97 3.25-in. Outside Diameter Poly (Vinyl Chloride) (PVC) Plastic Drain,

Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 515.2A, 515.2B

D2996—~~01(2007)e01~~15 Specification for Filament-wound Fiberglass

(Glass Fiber Reinforced Thermosetting Resin) Pipe . . . . . . . . . . . . . . . . . . . . . . . Table 1302.3

D3034-14a Specification for Type PSM Poly (Vinyl Chloride) (PVC) Sewer Pipe and Fittings

D3035—~~2012E1~~ 15 Specification for Polyethylene (PE) Plastic Pipe (DR-PR)

Based on Controlled Outside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.4

D3261—12E1 Specification for Butt Heat Fusion Polyethylene (PE) Plastic Fittings

for Polyethylene (PE) Plastic Pipe and Tubing . . . . . . . . . . . . . . . . . . Table 1210.5, 1210.6.6.1 D3278—1996(2011) Test Methods for Flash Point of Liquids by Small Scale Closed-cup Apparatus 202

D3309—96a(2002) Specification for Polybutylene (PB) Plastic Hot and

Cold Water Distribution Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4, 1203.10.1

D3311—94 Drain, Waste, and Vent (DWV) Plastic Pipe Fittings Patterns. . . . . . . . . . . . . . . . . . Table 515.2B

D3350-14 Specification for Polyethylene Plastics Pipe and Fittings Materials

E84—~~2013A~~ 15B Standard Test Method for Surface Burning Characteristics of Building Materials

(As modified by Public Comment 7)

 . . . . . . 202, 510.9, 602.2, 602.2.1, 602.2.1.6, 602.2.1.6.1, 602.2.1.6.2,

602.2.1.6.3, 602.2.1.7, 604.3, 1204.1

E119—~~2012a~~2016 Test Method for Fire Tests of Building Construction

and Materials . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 607.5.2, 607.5.5, 607.6.1, 607.2.1

E136—~~2012~~16 Test Method for Behavior of Materials in a Vertical

Tube Furnace at 750 Degrees C 202

E814—2013A Standard Test Method for Fire Tests of Through-penetration Fire Stops (As modified by Committee)

 . . . . . . . . . . 506.3.11.2, 506.3.11.3

E1509—12 Specification for Room Heaters, Pellet Fuel-burning Type 904.1

E2231—~~09~~15 Standard Practice For Specimen Preparation and Mounting of Pipe and

Duct Insulation Materials to Assess Surface Burning Characteristics . . . . . . . . . . 604.3, 1204.1 E2336—~~04(2013)~~2016 Standard Test Methods for Fire Resistive Grease Duct Enclosure Systems . . . . . 506.3.6, 506.3.11.2 F409—02 Thermoplastic Accessible and Replaceable Plastic Tube and Tubular Fittings . . . . . Table 515.2B

F437—~~09~~15 Specification for Threaded Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.5

F438—~~09~~15 Specification for Socket Type Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 40. . . . . . . . . . . . . . . . . . . .Table 1202.5, Table 1210.5

F439—~~12~~13 Specification for Socket Type Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 80. . . . . . . . . . . . . . . . . . . .Table 1202.5, Table 1210.5

F441/F441M—~~13~~15 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Pipe, Schedules 40 and 80. . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1202.4, Table 1210.4

F442/F442M—13E1 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Pipe (SDR-PR) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1202.4, Table 1210.4

F493—~~10~~14 Specification for Solvent Cements for Chlorinated Poly

(Vinyl Chloride) (CPVC) Plastic Pipe and Fittings 1203.3.4

F628—01 Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40 Plastic Drain,

Waste, and Vent Pipe with Cellular Core. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 515.2A

F714—13 Standard Specification for Polyethylene (PE) Plastic Pipe

(SDR-PR) based on Outside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.4

F876—~~13~~15A Specification for Cross-linked Polyethylene (PEX) Tubing . . . . . . . .Table 1202.4, Table 1210.4

F877—2011A Specification for Cross-linked Polyethylene (PEX)

~~Plastic~~ Hot- and Cold- Water Distribution Systems . . . . . . . . . . . . . Table 1202.4, Table 1202.5,

Table 1210.4

F891—00 Coextruded Poly (Vinyl Chloride) (PVC) Plastic

Pipe with Cellular Core . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 515.2A, Table 515.2B

F1055—13 Specification for Electrofusion Type Polyethylene Fittings for Outside Diameter Controlled Polyethylene and

Cross-linked Polyethylene Pipe and Tubing. . . . . . . . . . . . . . . . . . . . . Table 1210.5, 1210.6.6.2

F1281—11 Specification for Cross-linked Polyethylene/Aluminum/Crosslinked

Polyethylene (PEX-AL-PEX) Pressure Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

F1282—10 Standard Specification for Polyethylene/Aluminum/

Polyethylene (PE-AL-PE) Composite Pressure Pipe . . . . . . . . . . . Table 1202.4. Table 1210.4,

Table 1210.5

F1476—07(2013) Specification for Performance of Gasketed Mechanical

Couplings for Use in Piping Applications . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5, 1203.3.7

F1548—01(2006) Standard Specification for the Performance of Fittings for Use with

Gasketed Mechanical Couplings Used in Piping Applications . . . . . . . . . . . . . . . Table 1202.5

**122 FLORIDA BUILDING CODE — MECHANICAL, 6th EDITION (2017)**

**REFERENCED STANDARDS**

**ASTM—continued**

F1807—~~13~~15 Standard Specification for Metal Insert Fittings Utilizing a Copper Crimp Ring for SDR 9 Cross-linked Polyethylene (PEX) Tubing and SDR9

Polethylene of Raised Temperature (PE-RT) Tubing . . . . . . . . . . . Table 1202.5, Table 1210.5

F1924—12 Standard Specification for Plastic Mechanical Fittings for Use on Outside

Diameter Controlled Polyethylene Gas Distribution Pipe and Tubing 1210.6.6.3

F1960—12 Specification for Cold-Expansion Fittings with PEX Reinforcing Rings

for Use with Cross-linked Polyethylene (PEX) Tubing. . . . . . . . . . . . . . . . . . . . . Table 1202.5

F1974—09(2015) Standard Specification for Metal Insert Fittings for Polyethylene/ Aluminum/Polyethylene and Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene Composite Pressure Pipe. . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

F2080—12 Specification for Cold-Expansion Fittings with Metal Compression-

Sleeves for Cross-linked Polyethylene (PEX) Pipe . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

F2098—08 Standard Specification for Stainless Steel Clamps for SDR9 Cross-linked

Polyethylene (PEX) Tubing to Metal and Plastic Insert Fittings . . . . . . . . . . . . . . Table 1202.5

F2159—~~11~~14 Standard Specification for Plastic Insert Fittings Utilizing a Copper Crimp Ring for SDR 9 Cross-linked Polyethylene (PEX) Tubing and SDR9

Polyethylene of Raised Temperature (PE-RT) Tubing . . . . . . . . . . Table 1210.5, Table 1202.5

 F2306/F2306M-14E1 Specification for 12" to 60" 300 to 1500 mm annular Corrugated Profile-Wall Polyethylene (PE) Pipe and Fittings for Gravity-Flow Storm Sewer and Subsurface Drainage Applications

F2389—~~10~~15 Specification for Pressure-rated Polypropylene Piping Systems . . . . . . . Table 1210.4, 1203.15.1, 1210.6.7.1, Table 1210.5,

Table 1202.4, Table 1202.5

F2434—~~09~~14 Standard Specification for Metal Insert Fittings Utilizing a Copper Crimp ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9 Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene (PEX-AL-PEX) Tubing . . . . . . . . . . . . . . . . . . . . . . . Table 1210.5

F2623—~~08~~14 Standard Specification for Polyethylene of Raised

Temperature (PE-RT) SDR 9 Tubing1 . . . . . . . . . . . . . . . . . . . . . . Table 1202.4, Table 1210.4

F2735—09 Standard Specification for Plastic Insert Fittings for SDR 9 Cross-linked Polyethylene (PEX) and Polyethylene of Raised

Temperature (PE-RT) Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5

F2769—~~10~~14 Polyethylene of Raised Temperature (PE-RT) Plastic Hot- and

Cold-water Tubing and Distribution Systems . . . . . . . . . . . . . . . . . Table 1210.5, Table 1202.4

F2806—10(2015) Standard Specification for Acrylonitrile-Butadiene-Styrene

(ABS) Plastic Pipe (Metric SDR-PR) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

**AWS**

American Welding Society 8669 NW 36 Street, #130

Doral, FL 33166

Standard Referenced

reference in code

number Title section number

A5.8M/A5.8—2011 Specifications for Filler Metals for Brazing and Braze Welding. . . . . . . . . . . . 1203.3.1, 1303.3.1

**AWWA**

American Water Work Association 6666 West Quincy Avenue Denver, CO 80235

Standard Referenced

reference in code

number Title section number

C901—~~08~~16 Polyethylene (PE) Pressure Pipe and

Tubing, ~~1~~~~/2~~ ¾ in. (~~13~~19mm) through 3 in. (76mm) for Water Service . . . . . . . . . . . . . . Table 1210.4 C110/A21.10—12 Standard for Ductile Iron & Gray Iron Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.5 C115/A21.15—11 Standard for Flanged Ductile-Iron Pipe with Ductile Iron or Grey-Iron

Threaded Flanges . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

C151/A21.51—09 Standard for Ductile-Iron Pipe, Centrifugally Cast for Water . . . . . . . . . . . . . . . . . . Table 1202.4 C153/A21.53—11 Standard for Ductile-Iron Compact Fittings for Water Service . . . . . . . . . . . . . . . . . Table 1202.5

**CRRC**

Standard Referenced

reference in code

number Title section number

B137.1-16 Polyethylene (PE) Pipe, Tubing and Fittings for Cold Water Pressure Services

B137.2-16 Polyvinylchloride PVC Injection- Moulded Gasketed Fittings for Pressure Applications

B137.3-16 Rigid Poly (Vinyl Chloride) (PVC) Pipe for Pressure Applications

B137.10M-16 Cross-linked Polyethylene/Aluminum/Cross-linked Polyethylene (PEX-AL-PEX) Composite Pressure-Pipe Systems

CSA B137.5- 16 Cross-Linked Polyethylene (PEX) Tubing Systems for Pressure Applications

CSA B137.6- 16 Chlorinated Polyvinylchloride CPVC Pipe, Tubing and Fittings for Hot and Cold Water Distribution Systems

CSA B137.9-16 Polyethylene/Aluminum/Polyethylene (PE-AL-PE) Composite Pressure- Pipe Systems

CSA C22.2 No. 218.1-13 Spas, hot tubs and associated equipment

CSA C22.2 No. 218.1-M89(R2011) Spas, Hot Tubs and Associated Equipment

(M104-14 AM)

CSA C22.2 No. 236-11 Cooling Equipment

(M104-15 AM)

CSA C22.2 No. 236-15 Heating and cooling equipment

CAN/CSA C448 Series-16 Design and installation of earth energy systems

**CSA**

CSA Group

8501 East Pleasant Valley Road Cleveland, OH 44131-5516

Standard Referenced

reference in code

number Title section number

B137.2—13 Polyvinylchloride (PVC) Injection-moulded Gasketed Fittings for

Pressure Applications. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.5

**FLORIDA BUILDING CODE — MECHANICAL, 6th EDITION (2017) 123**

**REFERENCED STANDARDS**

**CSA—continued**

B137.3—13 Rigid Poly (Vinyl Chloride) (PVC) Pipe for Pressure Applications . . . . . . . . . . . . . Table 1210.5

B137.6—~~13~~16 Chlorinated Polyvinylchloride (CPVC) Pipe, Tubing and Fittings for Hot- and

Cold-water Distribution Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1210.5

B137.9—~~13~~16 Polyethylene/Aluminum/Polyethylene (PE-AL-PE)

Composite Pressure-Pipe Systems . . . . . . . . . . . . . . Table 1210.4, Table 1210.5, Table 1202.4

B137.10—13 Cross-linked Polyethylene/Aluminum/Cross-linked Polyethylene

(PEX-AL-PEX) Composite Pressure-Pipe Systems. . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

CSA C448 Series—~~02~~ 16 Design and Installation of Earth Energy Systems—First Edition;

CAN/CSA 2002 ~~Update 2: October 2009; Consolidated Reprint 10/2009 .~~ . . . . . . . . . . . . . . . . . . . Table 1210.5

CSA B137.1—13 Polyethylene (PE) Pipe, Tubing and Fittings for Cold Water

Pressure Services . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1210.4, Table 1210.5

CSA B137.5—~~13~~16 Cross-linked Polyethylene (PEX) Tubing Systems for

Pressure Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 1210.4, Table 1210.5 CSA B137.11—13 Polypropylene (PP-R) Pipe and Fittings for Pressure Applications . . .Table 1210.4, Table 1210.5 ANSI CSA

America FC1—2012 Stationary Fuel Cell Power Systems 924.1

CAN/CSA B 181.1—99 ABS Drain, Waste, and Vent Pipe and Pipe Fittings . . . . . . . . . . . . . Tables 515.2A, 515.2B CAN/CSA B 181.3—99 Polyolefin Laboratory Drainage Systems with Revisions

through October 1990 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 515.2A

**DOL**

Department of Labor

Occupational Safety and Health Administration c/o Superintendent of Documents

US Government Printing Office Washington, DC 20402-9325

Standard Referenced

reference in code

number Title section number

29 CFR Part 1910.1000 ~~(2009)~~(2015) Air Contaminants 502.6

29 CFR Part 1910.1025 ~~(2009)~~(2015) Toxic and Hazardous Substances 502.19

**Florida Codes**

Florida Building Commission

c/o Florida Department of Business and Professional Regulation Building Codes and Standards 2601 Blair Stone Road

Tallahassee, Florida 32399

Standard Referenced

reference in code

number Title section number

FBC-B—Sixth Edition (2017) Florida Building Code, Building . . . . . . . . . . 201.3, 202, 301.15, 301.16, 301.17, 301.18, 302.1,

302.2, 304.8, 304.11, 306.5.1, 308.4.2.2, 308.4.2.4,

401.4, 401.5, 406.1, 501.3, 502.10, 504.2, 504.10, 505.3,

506.3.3, 506.3.11, 506.3.13.2, 506.4.2, 509.1, 510.5, 510.7, 510.8,

511.1.5, 513.1, 513.2, 513.3, 513.4.3, 513.5, 513.5.3, 513.6.2, 513.6.3, 513.10.5,

513.11, 513.12, 513.12.3, 516.1, 601.3, 602.2, 602.2.1.6.1, 602.2.1.6.2, 602.3,

602.4, 603.1, 603.7, 603.13, 603.18.2, 607.1.2, 607.2.1, 607.3.3, 607.5.1, 607.5.2,

607.5.3, 607.5.4, 607.5.5, 607.5.5.1, 607.5.6, 607.6, 607.6.2, 607.6.3, 701.2,

801.3, 801.16.1, 801.18.4, 902.1, 908.3, 908.4, 910.3, 924.1, 925.1, 926.1,

927.2, 928.1, 1004.6, 1105.1, 1206.4, 1210.8.2, 1305.2.1, 1402.4, 1402.4.1,

FBC-EC—Seventh Edition (2020) Florida Building Code, Energy Conservation . . . . . . . . . . . . . . . . . . . 301.2, 303.3, 312.1, 401.2,

514.1, 604.1, 1204.1, 1204.2

FBC-FG— Seventh Edition (2020) Florida Building Code, Fuel Gas . . . . . . . . . . . . . . . . . . . . . . 201.3, 301.6, 307.2.2, 701.1, 801.1,

901.1, 906.1, 926, 1101.5

FBC-P— Seventh Edition (2020) Florida Building Code, Plumbing. . . . . . . . . . . . 201.3, 301.11, 307.2.2, 512.2, 908.5, 928, 928.1,

1002.1, 1002.2,1002.3, 1005.2, 1006.6, 1008.2, 1009.3,

1101.4, 1201.1, 1206.2, 1206.3, 1210.8.1, 1401.2

FFPC— Seventh Edition (2020) Florida Fire Prevention Code . . . . . . 201.3, 310.1, 311.1, 502.4, 502.5, 502.7.2, 502.8.1, 502.9.1,

502.9.5, 502.9.8, 502.9.11, 502.10, 502.10.3, 502.16.2, 509.1,

510.2.1, 510.2.2, 510.5, 511.1.1, 513.1, 513.2, 513.6.3,

513.12, 513.15, 513.16, 513.17, 513.18, 513.19, 606.2.1, 606.4.1, 908.7,

924, 926, 1101.9, 1105.3, 1105.9, 1106.6, 1301.1, 1301.2, 1301.5

Florida Statutes Ch. 554 Boiler Safety Act 1001.1

**124 FLORIDA BUILDING CODE — MECHANICAL, 6th EDITION (2017)**

**REFERENCED STANDARDS**

Federal Specifications\*

General Services Administration 7th & D Streets

Specification Section, Room 6039 Washington, DC 20407

Standard Referenced

reference in code

number Title section number

WW-P-325B (1976) Pipe, Bends, Traps, Caps and Plugs; Lead (for Industrial Pressure

and Soil and Waste Applications) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1202.4

\*Standards are available from the Supt. of Documents, U.S. Government Printing Office, Washington, DC 20402-9325

**IIAR**

International Institute of Ammonia Refrigeration 1110 North Glebe Road

Arlington, VA 22201

Standard Referenced

reference in code

number Title section number

11AR 2—2014 ~~Standard for~~ Safe Design of Closed-circuit Ammonia Refrigeration Systems . . . . . . . 1101.6, 1105.6.3

**MSS**

Manufacturers Standardization Society of the Valve & Fittings Industry, Inc. 127 Park Street, N.E.

Vienna, VA 22180

Standard Referenced

reference in code

number Title section number

SP 58—2009 Pipe Hangers and Supports—Materials Design and Manufacture,

Selection, Application and Installation 305.4

**NAIMA**

North American Insulation Manufacturers Association 44 Canal Center Plaza, Suite 310

Alexandria, VA 22314

Standard Referenced

reference in code

number Title section number

AH116—09 Fibrous Glass Duct Construction Standards. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 603.5, 603.9

**NBBI**

National Board of Boiler and Pressure Vessel Inspectors 1055 Crupper Avenue

Columbus, OH 43229-1183

Standard Referenced

reference in code

number Title section number

NBIC—2011 National Board Inspection Code, Part 3 1003.3

**FLORIDA BUILDING CODE — MECHANICAL, 7th EDITION (2020) 125**

**REFERENCED STANDARDS**

**NFPA**

National Fire Protection Association 1 Batterymarch Park

Quincy, MA 02169-7471

Standard Referenced

reference in code

number Title section number

NFPA 2-2016 *Hydrogen Technologies Code*

(F274-16)

30A—~~15~~18 Code for Motor Fuel-dispensing Facilities and Repair Garages 304.6

31—~~11~~15 Standard for the Installation of Oil-burning Equipment. . . . . . . . . . . . . . 701.1, 801.2.1, 801.18.1, 801.18.2, 920.2, 922.1, 1308.1

37—~~15~~18 Standard for the Installation and Use of Stationary

Combustion Engines and Gas Turbines . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 915.1, 915.2

58—14 Liquefied Petroleum Gas Code 502.9.10

69—14 Standard on Explosion Prevention Systems 510.9.3

70—14 National Electrical Code. . . . . . . . . . . . . . . . . . . . . . . . . 301.7, 306.3.1, 306.4.1, 511.1.1, 513.11,

513.12.2, 602.2.1.1, 927.2, 1104.2.2, 1106.3, 1106.4

72—~~13~~16 National Fire Alarm and Signaling Code 606.3

82—14 Standard on Incinerators and Waste and Linen Handling Systems and Equipment 601.1

85—15 Boiler and Combustion Systems Hazards Code 1004.1

90A—15 Standard for the Installation of Air-Conditioning and Ventilating Systems 606.2.1

91—15 Standard for Exhaust Systems for Air Conveying of Vapors, Gases,

Mists, and Noncombustible Particulate Solids . . . . . . . . . . . . . . . . . . . . . . . . 502.9.5.1, 502.17

92—15 Standard for Smoke Control Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 513.7, 513.8

96—~~14~~17 Standard for Ventilation Control and Fire Protection of Commercial

Cooking Operations 507.1

211—~~13~~16 Standard for Chimneys, Fireplaces, Vents and Solid Fuel-burning Appliances 806.1

262—15 Standard Method of Test for Flame Travel and Smoke of Wires

and Cables for Use in Air-handling Spaces 602.2.1.1

274-18 Standard Test Method to Evaluate Fire Performance Characteristics of Pipe Insulation

286—15 Standard Methods of Fire Tests for Evaluating Contribution

of Wall and Ceiling Interior Finish to Room Fire Growth 602.2.1.6.2

704—~~12~~17 Standard System for Identification of the Hazards of

Materials for Emergency Response . . . . . . . . . . . . . . . . . . . . . . . . 502.8.4, Table 1103.1, 510.1

853—15 Standard on Installation of Stationary Fuel Power Plants 924.1

**NSF**

NSF International

789 Dixboro Road, P. O. Box 130140 Ann Arbor, MI 48113-0140

Standard Referenced

reference in code

number Title section number

NSF 14—~~2011~~2015 Plastic Piping System Components and Related Materials 301.4

NSF 358-1—~~2011~~2014 Polyethylene Pipe and Fittings for Water Based Ground Source

“Geothermal” Heat Pump Systems. . . . . . . . . . . . . . . . . . . . . . . . . .Table 1210.4, Table 1210.5

**SMACNA**

Sheet Metal & Air-Conditioning Contractors National Assoc., Inc. 4201 Lafayette Center Drive

Chantilly, VA 20151-1209

Standard Referenced

reference in code

number Title section number

SMACNA/ANSI—~~2005~~2016 HVAC Duct Construction Standards-Metal and

Flexible ~~3~~~~rd~~4th Edition (ANSI)2016 . . . . . . . . . . . . . . . . . . . . . . . . . 603.4, Table 603.4, 603.9, 603.10

SMACNA—10 Fibrous Glass Duct Construction Standards . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 603.5, 603.9

SMACNA Phenolic Duct Construction Standard 1st edition 2015

(M7388)

**126 FLORIDA BUILDING CODE — MECHANICAL, 7th EDITION (2020)**

**REFERENCED STANDARDS**

**UL**

UL LLC

333 Pfingsten Road

Northbrook, IL 60062-2096

Standard Referenced

reference in code

number

 Title section number

17—2008 Vent or Chimney Connector Dampers for Oil-fired Appliances—

with Revisions through ~~January 2010~~September 2013 803.6

103—2010 Factory-built Chimneys, Residential Type and Building Heating Appliance—

with Revisions through July 2012 805.2

127—2011 Factory-built Fireplaces-with revisions through May 2015 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 903.1, 903.3, 903.4

174—04 Household Electric Storage Tank Water Heaters—with Revisions

through ~~September 2012~~April 2015 1002.1

180—2012 Liquid-level Indicating Gauges for Oil Burner Fuels and Other Combustible Liquids 1306.4

181—05 Factory-made Air Ducts and Air Connectors—

with Revisions through October 2008 . . . . . . . . . . . . . . . . . . . . . . . . . . . 512.2, 603.5, 603.6.1,

603.6.2, 603.9, 604.13

181A—2013 Closure Systems for Use with Rigid Air Ducts and Air Connectors 603.9

181B—2013 Closure Systems for Use with Flexible Air Ducts and Air Connectors 603.9

197—10 Commercial Electric Cooking Appliances—with Revisions through ~~June 2011~~ September 2014 917.1

207—2009 Refrigerant-containing Components and Accessories, Nonelectrical-with revisions through June 2014 1101.2

263—2011 Standard for Fire Test of Building Construction and

Materials. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 607.5.2, 607.5.5, 607.6.1, 607.6.2.1

268—2009 Smoke Detectors for Fire Alarm Systems 606.1

268A—2008 Smoke Detectors for Duct Application—with Revisions through ~~September 2009~~October 2014 606.1

343—2008 Pumps for Oil-Burning Appliances—with Revisions through June 2013 1302.7

378—06 Draft Equipment—with Revisions through ~~January 2010~~ June 12, 2014 . . . . . . . . . . . . . . . . . . . . 804.3, 804.3.8

391—2010 Solid-fuel and Combination-fuel Central and Supplementary Furnaces—

with Revisions through ~~March 2010~~ June 2014 918.1

412—2011 Refrigeration Unit Coolers—with Revisions through ~~August 2012~~September 2013 1101.2

471—2010 Commercial Refrigerators and Freezers—with Revisions through December 2012 1101.2

499—05 Electric Heating Appliances—with Revisions through ~~February 2013~~ November 2014. . . . . . . . . . . . 912.1, 923.1

UL 507-2014: Standard for Electric Fans

(M7842)

508—99 Industrial Control Equipment—with Revisions through ~~March 2013~~October 2013 307.2.3

536—97 Flexible Metallic Hose—with Revisions through ~~June 2003~~December 2014 1302.8

555—06 Fire Dampers—with Revisions through May 2012 607.3.1

555C—06 Ceiling Dampers—with Revisions through ~~May 2010~~December 2014 607.3.1

555S—99 Smoke Dampers—with Revisions through May 2012 607.3.1

586—2009 High-Efficiency, Particulate, Air Filter Units-with revisions through September 2014 605.2

641—2010 Type L Low-temperature Venting Systems—with Revisions through ~~May 2013~~June 2013 802.1

705—2004 Standard for Power Ventilators—with Revisions through ~~March 2012~~December 2013 504.5

710—2012 Exhaust Hoods for Commercial Cooking Equipment –with revisions through November 2013

 507.1

710B—2011 Recirculating Systems with revisions through August 2014 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 507.1, 507.2

723—2008 Standard for Test for Surface Burning Characteristics of

Building Materials . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 510.9, 602.2, 602.2.1, 602.2.1.6,

602.2.1.6.2, 602.2.1.6.3, 602.2.1.7, 604.3, 1204.1

726—95 Oil-fired Boiler Assemblies—with Revisions through ~~April 2011~~October 2013 . . . . . . . . . . . . . . 916.1, 1004.1

727—06 Oil-fired Central Furnace—with Revisions through ~~April 2010~~October 2013 918.1

729—03 Oil-fired Floor Furnaces—with Revisions through ~~August 2012~~October 2013 910.1

730—03 Oil-fired Wall Furnaces—~~with~~ Revisions through August 2012 909.1

731—95 Oil-fired Unit Heaters—with Revisions through ~~August 2012~~October 2013 920.1

732—95 Oil-fired Storage Tank Water Heaters—with Revisions through ~~April 2010~~October 2013

 1002.1

737—2011 Fireplace Stoves-with revisions through August 2015 905.1

762—2010 Outline of Investigation for Power Ventilators for Restaurant Exhaust Appliances with revisions through October 2013 506.5.1

791—06 Residential Incinerators—with Revisions through ~~April 2010~~November 2014 907.1

834—04 Heating, Water Supply and Power Boilers Electric—with Revisions

through ~~January 2013~~December 2013 1004.1

842—07 Valves for Flammable Fluids—with Revisions through ~~October 2012~~May 2015 1307.1

858—05 Household Electric Ranges—with Revisions through ~~April 2012~~ June 2015 917.1

867—2011 Electrostatic Air Cleaners—with Revisions through ~~February 2013~~August 2013 605.2

875—09 Electric Dry Bath Heater—with Revisions through ~~November 2011~~December 2013 914.2

896—93 Oil-burning Stoves—with Revisions through ~~August 2012~~November 2013. . . . . . . . . . . . . . . . . . . . . 917.1, 922.1

900—04 Air Filter Units—with Revisions through ~~February 2012~~April 2015 605.2

907—94 Fireplace Accessories—with Revisions through ~~April 2010~~June 2014 902.2

923—2013 Microwave Cooking Appliances-with revisions through June 2015 917.1

959—2010 Medium Heat Appliance Factory-built Chimneys-with revisions through June 2014 805.5

1046—2010 Grease Filters for Exhaust Ducts—with Revisions through January 2012 507.2.8

**FLORIDA BUILDING CODE — MECHANICAL, 7th EDITION (2020) 127**

**REFERENCED STANDARDS**

**UL—continued**

1240—2012 Electric Commercial Clothes—Drying Equipment—

with Revisions through October 2012 913.1

1261—01 Electric Water Heaters for Pools and Tubs—with Revisions through July 2012. 916.1

1453—04 Electric Booster and Commercial Storage Tank Water Heaters—

with Revisions through July 2011 1002.1

1479—03 Fire Tests of Through-penetration Firestops—with Revisions through ~~October 2012~~ June 2015. . . . . . . . . . . . . . . . . . 506.3.11.2, 506.3.11.3

1482—2011 Solid-fuel Type Room Heaters-with revisions through August 2015 905.1

UL 1563-2009 Standard for Electric Spas, Hot Tubs and Associated Equipment-with revisions through July 2012

(M104-15 AM)

1618—09 Wall Protectors, Floor Protectors and Hearth Extensions—

with Revisions through ~~May 2013~~ October 2015. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 308.4.1, 903.2, 905.3

1777—2007 Chimney Liners—with Revisions through ~~July 2009~~October 2015 . . . . . . . . . . . . . . . . . . . . 801.16.1, 801.18.4

1812—2013 Standard for Ducted Heat Recovery Ventilators-with revisions through April 2014 514.1

1815—2012 Standard for Nonducted Heat Recovery –with revisions through April 2014 514.1

1820—04 Fire Test of Pneumatic Tubing for Flame and Smoke Characteristics—

with Revisions through May 2013 602.2.1.3

1887—04 Fire Tests of Plastic Sprinkler Pipe for Visible Flame and

Smoke Characteristics—with Revisions through May 2013 602.2.1.2

1978—2010 Grease Ducts-with revisions through September 2013. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 506.3.2, 506.3.6

1995—2011 Heating and Cooling Equipment -with revisions through July 2015. . . . . . . . . . . . . . . . . . . . . . . 908.1, 911.1, 918.1, 918.2, 1101.2

1996—2009 Electric Duct Heaters—with Revisions through ~~November 2011~~June 2014 911.1

2024—2011 Standard for Safety Optical-Fiber and Communications Cable Raceway—

with Revisions through ~~April 2011~~August 2015 602.2.1.1

2043—2008 Fire Test for Heat and Visible Smoke Release for Discrete Products

and their Accessories Installed in Air-handling Spaces –with revisions through October 2013 602.2.1.4.2

2158—97 Electric Clothes Dryers—with Revisions through March 2009 913.1

2158A—2010 Outline of Investigation for Clothes Dryer Transition Duct 504.8.3

2162—01 Outline of Investigation for Commercial Wood-fired Baking Ovens-Refractory Type 917.1

2200—2012 Stationery Engine Generator Assemblies—with Revisions through ~~June 2013~~July 2015 915.1

2221—2010 Tests of Fire Resistive Grease Duct Enclosure Assemblies 506.3.11.3

2518—05 Air Dispersion System Materials 603.17

2523—09 Solid Fuel-fired Hydronic Heating Appliances—

with Revisions through February 2013. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1002.1, 1004.1

UL 2846-14, Fire Test of Plastic Water Distribution Plumbing Pipe for Visible Flame and Smoke Characteristics

(M7386)

**128**