Florida Building Code, Plumbing

**CHAPTER 15**

**REFERENCED STANDARDS**

FBCP

**CHAPTER 15**

**REFERENCED STANDARDS**

This chapter lists the standards that are referenced in various sections of this document. The standards are listed herein by the promulgating agency of the standard, the standard identification, the effective date and title, and the section or sections of this document that reference the standard. The application of the referenced standards shall be as specified in Section 102.4 of the *Florida Building Code, Building*.

Air-Conditioning, Heating, & Refrigeration Institute 4100 North Fairfax Drive, Suite 200

**AHRI**

Arlington, VA 22203

Standard Referenced

reference in code

number Title section number

1010—02 Self-contained, Mechanically Refrigerated Drinking-Water Coolers 410.1

American National Standards Institute 25 West 43rd Street, Fourth Floor New York, NY 10036

**ANSI**

Standard Referenced

reference in code

number Title section number

A118.10—99 Specifications for Load Bearing, Bonded, Waterproof Membranes for Thin Set

Ceramic Tile and Dimension Stone Installation . . . . . . . . . . . . . . . . . . . . . . . . . 417.5.2.5, 417.5.2.6

Z4.3—95 Minimum Requirements for Nonsewered Waste-disposal Systems 311.1

Z21.22—99 (R2003) Relief Valves for Hot Water Supply Systems with Addenda Z21.22a—

2000 (R2003) and Z21.22b—2001 (R2003) . . . . . . . . . . . . . . . . . . . . . . . . . . 504.2, 504.4, 504.4.1

CSA B45.5—11/

IAPMO Z124—11 Plastic Plumbing Fixtures . . . . . . . . . . . . . . . . . 407.1, 415.1, 416.1, 416.2, 417.1, 418.1, 419.1, 420.1

IAPMO Z1157---14 Ball Valves

(P123-15)

ANSI/NGWA-01-14 Water Well Construction Standard

(P98-15 Part I)

American Petroleum Institute 1220 L Street NW Washington, DC 20005-4070

**API**

Standard Referenced

reference in code

number Title section number

12D—2008 Specification for Field Welded Tanks for Storage of Production Liquids,

effective April 1, 2009 1302.7.2

12F—2008 Specification for Shop Welded Tanks for Storage of Production Liquids,

effective April 1 2009 1302.7.2

**ASHRAE**

ASHRAE, Inc.

1791 Tullie Circle NE Atlanta, GA 30329-2305

Standard Referenced

reference in code

number Title section number

ASHRAE 18-2008 (RA 2013) Methods of Testing for Rating Drinking-Water Coolers with Self Contained Mechanical Refrigeration

(P58-15)

American Society of Mechanical Engineers Three Park Avenue

**ASME**

New York, NY 10016-5990

Standard Referenced

reference in code

number Title section number

A112.1.2—~~2004~~ 2012 Air Gaps in Plumbing Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . .406.1, 409.2, Table 608.1, 608.13.1

A112.1.3—2000 (R2011) (R2015) Air Gap Fittings for Use with Plumbing Fixtures,

Appliances and Appurtenances . . . . . . . . . . . . . . . . . . . 406.1, 409.2, Table 608.1, 608.13.1, 1102.6

**FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017) 109**

**REFERENCED STANDARDS**

**ASME—continued**

A112.3.1—2007 (R2012) Stainless Steel Drainage Systems for Sanitary, DWV, Storm and

Vacuum Applications Above and Below Ground . . . . . . . . . . . . . .412.1, Table 702.1, Table 702.2,

Table 702.3, Table 702.4, Table 1102.4,

Table 1102.5, 1102.6, Table 1102.7

ASME A112.3.4—2013/

CSA B45.9—2013 Macerating Toilet Systems and Related Components 712.4.1

A112.4.1—2009 Water Heater Relief Valve Drain Tubes 504.6

ASMEA112.4.2—~~2009~~2015/CSA B45.16-15 Water Closet Personal Hygiene Devices ….424.9

A112.4.3—1999 (R2010) Plastic Fittings for Connecting Water Closets to the Sanitary Drainage System 405.4

A112.4.14—2004 ~~(R2010)~~ 2016 Manually Operated, Quarter-Turn Shutoff Valves for Use in Plumbing Systems . . . . . . . . Table 605.7 A112.14.6—2010 FOG (Fats, Oils and Greases) Disposal Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . .1003.3.4, 1003.3.6

A112.6.1M—1997 ~~(R2008)~~ (R2012) Floor-affixed Supports for Off-the-floor Plumbing Fixtures for Public Use 405.4.3

A112.6.2—2000 ~~(R2010)~~ 2016 Framing-affixed Supports for Off-the-floor Water Closets with Concealed Tanks 405.4.3

A112.6.3—~~2001 (R2007)~~ 2016 Floor and Trench Drains 412.1

A112.6.4—2003 ~~(R2008)~~ (R2012) Roof, Deck, and Balcony Drains 1102.6

A112.6.7—~~2010~~ (R2015) ~~Enameled and Epoxy-coated Cast-iron and PVC Plastic~~ Sanitary Floor Sinks 427.1

A112.6.9—2005 ~~(R2010)~~2015 Siphonic Roof Drains 1107.1

A112.14.1—2003 (R2012) Backwater Valves 715.2

A112.14.3—~~2000~~ 2016 Grease Interceptors 1003.3.4

A112.14.4—2001

~~(Reaffirmed 2007)~~ (R2012) Grease Removal Devices 1003.3.4

A112.14.6-2010 (R2015) FOG (Fats, Oils, and Greases) Disposal Systems

A112.18.1—201~~12~~7/

CSA B125.1—201 ~~2~~7 Plumbing Supply Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 424.1, 424.2, 424.3, 424.4,

424.6, 424.8, 605.7, 607.4, 608.2

ASME A112.18.2—~~2011~~/2015

CSA B125.2—~~2011~~2015 Plumbing Waste Fittings 424.1.2

A112.18.3M—2002

~~(Reaffirmed 2008)~~R2012 Performance Requirements for Backflow Protection Devices

and Systems in Plumbing Fixture Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .424.2, 424.6

A112.18.6/

CSA B125.6—2009 (R2014) Flexible Water Connectors 605.6

A112.18.9—2011 Protectors/Insulators for Exposed Waste and Supplies on Accessible Fixtures 404.3

A112.19.1/—2013

CSA B45.2—2013 Enameled Cast Iron and Enameled Steel Plumbing Fixtures . . . . . . . 407.1, 410.1, 415.1, 416.1, 418.1 A112.19.2—2013/

CSA B45.1—13 Ceramic Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 401.2, 405.9, 407.1, 408.1, 410.1,

415.1, 416.1, 417.1, 418.1, 419.1, 420.1

A112.19.3—2008/

CSA B45.4—08(R2013) Stainless Steel Plumbing Fixtures. . . . . . . . . . . . . . . . . . . . . . .405.9, 407.1, 415.1, 416.1, 418.1, 420.1

A112.19.5/—~~2011~~2017

CSA B45.15—~~2011~~2017 Flush Valves and Spuds for Water-closets, Urinals, and Tanks 425.4

A112.19.7M—201~~2~~7/

CSA B45.10—201~~2~~7 Hydromassage Bathtub Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .421.1, 421.4

A112.19.12—~~2006~~ 2014 Wall Mounted and Pedestal Mounted, Adjustable, Elevating, Tilting and

Pivoting Lavatory, Sink and Shampoo Bowl Carrier Systems and Drain Waste Systems . . . . .416.4, 418.3

A112.19.14-~~2006(R2011)~~ 2013 Six-Liter Water Closets Equipped with a Dual Flushing Device 420.1

A112.19.15—~~2005~~2012 Bathtub/Whirlpool Bathtubs with Pressure Sealed Doors . . . . . . . . . . . . . . . . . . . . . . . . . .407.4, 421.6 A112.19.19—2006 (R2011) Vitreous China Nonwater Urinals 419.1

A112.21.3-1985(R2007) Hydrants for Utility and Maintenance Use . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.6 A112.36.2M—1991

~~(R2008)~~(R2012) Cleanouts 708.1.10.2

ASSE 1016/ ASME A112.1016/

CSA B125.16-2011 Performance Requirements for Individual Thermostatic, Pressure Balancing

and Combination Control Valves for Individual Fixture Fittings. . . . . . . . . . . . . 424.3, 424.4, 607.4

B1.20.1—~~1983(R2006)~~2013 Pipe Threads, General Purpose (inch) . . . . . . . . . . . . . . . . . . . . . . . . . . . 605.10.3, 605.11.3, 605.13.4,

605.15.3, 605.18.1, 605.22.4,

705.2.3, 705.3.3, 705.6.4, 705.19.1, 705.11.3

B 16.3—~~2011~~2016 Malleable Iron Threaded Fittings Classes 150 and 300 . . . . . . . . . . . . . . . . .Table 702.4, Table 1102.7 B 16.4—~~2011~~2016 Gray Iron Threaded Fittings Classes 125 and 250 . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7

B 16.9—~~2007~~2012 Factory-made Wrought Steel Buttwelding Fittings . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.11—~~2011~~2016 Forged Fittings, Socket-welding and Threaded . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.12—2009(R2014) Cast-iron Threaded Drainage Fittings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 702.4, Table 1102.7

B 16.15—~~2011~~2013 Cast ~~Bronze~~Alloy Threaded Fittings Classes 125 and 250 . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7

B 16.18—2012 Cast Copper Alloy Solder Joint Pressure Fittings. . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.22—~~2001(R2010)~~2013 Wrought Copper and Copper Alloy Solder Joint

Pressure Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7

**110 FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)**

**REFERENCED STANDARDS**

**ASME—continued**

B 16.23—~~2011~~2016 Cast Copper Alloy Solder Joint Drainage Fittings DWV . . . . . . . . . . . . . . . Table 702.4, Table 1102.7 B 16.26—~~2011~~2016 Cast Copper Alloy Fittings for Flared Copper Tubes . . . . . . . Table 605.5, Table 702.4, Table 1102.7 B 16.28—1994 Wrought Steel Buttwelding Short Radius Elbows and Returns. . . . . . . . . . . . . . . . . . . . . . Table 605.5,

Table 702.4, Table 1102.7

B 16.29—2012 Wrought Copper and Wrought Copper Alloy Solder

Joint Drainage Fittings (DWV). . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.4, Table 1102.7

B16.34—~~2009~~2015 Valves Flanged, Threaded and Welding End. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

B16.51—~~2011~~2013 Copper and Copper Alloy Press-Connect Pressure Fittings . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

 B31.5 – 2016 Refrigeration Piping and Heat Transfer Components

American Society of Plumbing Engineers 8614 Catalpa Avenue, Suite 1007

**ASPE**

Chicago, IL 60656-1116

Standard Referenced

reference in code

number Title section number

45—2013 Siphonic Roof Drainage Systems 1107.1

American Society of Sanitary Engineering 901 Canterbury Road, Suite A

**ASSE**

Westlake, OH 44145

Standard Referenced

reference in code

number Title section number

1001—~~08~~2016 Performance Requirements for Atmospheric Type Vacuum Breakers . . . . . . . . . . .425.2, Table 608.1, 608.13.6, 608.16.4.1

1002—08 Performance Requirements for Antisiphon Fill Valves (Ballcocks) for Gravity Water Closet Flush Tanks . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .425.3.1, Table 608.1

ASSE 1002-2015/ASME A112 1002-2015/CSA B125. 12-15 Antisiphon Fill Valves

1003—09 Performance Requirements for Water Pressure Reducing Valves 604.8

ASSE1004—~~08~~2016 Performance Requirements for Backflow Prevention Requirements

for Commercial Dishwashing Machines 409.1

1005—99 Performance Requirements for Water Heater Drain Valves 501.3

1008—06 Performance Requirements for Plumbing Aspects of Food Waste Disposer Units 413.1

1010—04 Performance Requirements for Water Hammer Arresters 604.9

1011—~~04~~2016 Performance Requirements for Hose Connection Vacuum Breakers . . . . . . . . . .Table 608.1, 608.13.6

1012—09 Performance Requirements for Backflow Preventers

with Intermediate Atmospheric Vent. . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.3, 608.16.2

1013—~~09~~ 2017 Performance Requirements for Reduced Pressure Principle Backflow Preventers and Reduced Pressure Principle Fire

Protection Backflow Preventers. . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.2, 608.16.2

1015—~~09~~2017 Performance Requirements for Double Check Backflow Prevention Assemblies and Double Check Fire

Protection Backflow Prevention Assemblies. . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.7

ASSE 1016/ ASME A112.1016/

CSA B125.16—2011 Performance Requirements for Individual Thermostatic, Pressure Balancing

and Combination Control Valves for Individual Fixture Fittings . . . . . . . . . . . . .424.3, 424.4, 607.4

1017—2010 Performance Requirements for Temperature Actuated Mixing

Valves for Hot Water Distribution Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 501.2, 613.1

1018—~~2010~~2017 Performance Requirements for Trap Seal Primer Valves; Potable Water Supplied 1002.4.1.2

1019—~~2010~~2016 Performance Requirements for Vacuum Breaker Wall Hydrants,

Freeze Resistant, Automatic Draining Type . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6, 608.13.10

1020—04 Performance Requirements for Pressure Vacuum Breaker Assembly. . . . . . . . . .Table 608.1, 608.13.5

1022—~~03~~2016 Performance Requirements for Backflow Preventer

for Beverage Dispensing Equipment . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.16.1, 608.16.10

1024—~~04~~2016 Performance Requirements for Dual Check Valve Type Backflow Preventers

(for Residential Supply Service or Individual Outlets) . . . . . . . . . . .605.3.1, Table 608.1, 608.13.10

1035—08 Performance Requirements for Laboratory Faucet Backflow Preventers . . . . . . .Table 608.1, 608.13.6

ASSE1037—90 2015/ASME A112 1037-2015/CSA B125.37-15

 ~~Performance Requirements for~~ Pressurized Flushing Devices

for Plumbing Fixtures 425.2

1044—2010 Performance Requirements for Trap Seal Primer Devices

Drainage Types and Electronic Design Types 1002.4.1.3

**FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017) 111**

**REFERENCED STANDARDS**

**ASSE—continued**

1047—~~2009~~2017 Performance Requirements for Reduced Pressure Detector

Fire Protection Backflow Prevention Assemblies . . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.2

1048—~~2009~~2017 Performance Requirements for Double Check Detector

Fire Protection Backflow Prevention Assemblies . . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.7

1049—2009 Performance Requirements for Individual and Branch Type

Air Admittance Valves for Chemical Waste Systems . . . . . . . . . . . . . . . . . . . . . . . . . . .901.3, 918.8

1050—2009 Performance Requirements for Stack Air Admittance Valves

for Sanitary Drainage Systems 918.1

1051—2009 Performance Requirements for Individual and Branch Type Air Admittance

Valves for Sanitary Drainage Systems-fixture and Branch Devices 918.1

1052—~~04~~2016 Performance Requirements for Hose Connection Backflow Preventers . . . . . . . Table 608.1, 608.13.6 1055—~~2009~~2016 Performance Requirements for Chemical Dispensing Systems 608.13.9

1056—~~2010~~2013 Performance Requirements for Spill Resistant Vacuum Breaker. . . . . . . . . . . . . . . . . . . . .Table 608.1,

608.13.5, 608.13.8

1060—~~2006~~2016 Performance Requirements for Outdoor Enclosures for Fluid

Conveying Components 608.14.1

1061—~~2010~~ 20112015 Performance Requirements for ~~Removable and Nonremovable~~ Push Fit Fittings . . . . . . . . Table 605.5

(P119-15)

1062—~~2006~~2016 Performance Requirements for Temperature Actuated, Flow Reduction

Valves to Individual Supply Fittings 424.7

1066—~~2009~~2017 Performance Requirements for Individual Pressure Balancing In-line

Valves for Individual Fixture Fittings 604.11

1069—05 Performance Requirements for Automatic Temperature Control Mixing Valves 424.

ASSE 1070—~~04~~ 2015/ASME A112 1070 2015/ CSA B125.70-15

 ~~Performance Requirements for~~ Water-temperature Limiting Devices . . . . . . . . . . . . . . . . 408.3, 416.5, 423.3, 424.5, 607.1.2

2060-2016 Performance Requirements for Outdoor Enclosures for Fluid Conveying Components

1071 --- 2012 Performance Requirements for Temperature Actuated Mixing Valves for Plumbed Emergency Equipment

(P63-15)

1072—07 Performance Requirements for Barrier Type Floor Drain Tap

Seal Protection Devices 1002.4.14

1079—2005 Performance Requirements for Dielectric Pipe Unions . . . . . . . . . . . . . . . . . . . . . . .605.24.1, 605.24.3 5013—~~2009~~2015 Performance Requirements for Testing Reduced Pressure Principle

Backflow Prevention Assembly (RPA) and Reduced Pressure

Fire Protection Backflow Preventers (RFP) 312.10.2

5015—~~2009~~2015 Performance Requirements for Testing Double Check Valve Backflow Prevention Assemblies (DC) and Double Check Fire Protection

Backflow Prevention Assemblies (DCF) 312.10.2

5020—~~2009~~2015 Performance Requirements for Testing Pressure Vacuum Breaker

Assemblies (PVBA) 312.10.2

5047—~~98~~2015 Performance Requirements for Testing Reduced Pressure Detector

Fire Protection Backflow Prevention Assemblies (RPDA) 312.10.2

5048—~~2009~~2015 Performance Requirements for Testing Double Check Valve Detector

Assembly (DCDA) 312.10.2

5052—98 Performance Requirements for Testing Hose Connection Backflow Preventers 312.10.2

5056—~~98~~2015 Performance Requirements for Testing Spill Resistant Vacuum Breaker (SRVB) 312.10.2

ASTM International 100 Barr Harbor Drive

**ASTM**

West Conshohocken, PA 19428-2959

Standard Referenced

reference in code

number Title section number

A53/A53M—12 Specification for Pipe, Steel, Black and Hot-dipped, Zinc-coated

Welded and Seamless . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1

A74—~~13A~~15 Specification for Cast-iron Soil Pipe and Fittings . . . . . . . . . . .Table 702.1, Table 702.2, Table 702.3, Table 702.4, 708.2, 708.7, Table 1102.4,

Table 1102.5, Table 1102.7

A312/A312M—~~13a~~15A Specification for Seamless, Welded, And Heavily Cold

Worked Austenitic Stainless Steel Pipes . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.23.2

A733—~~2003(2009)e1~~15 Specification for Welded and Seamless Carbon Steel and Austenitic

Stainless Steel Pipe Nipples . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.8

A778—~~01(2009)e1~~/A778M-15 Specification for Welded Unannealed Austenitic Stainless

Steel Tubular Products. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

A888—~~13A~~15 Specification for Hubless Cast-iron Soil Pipe and Fittings for Sanitary

and Storm Drain, Waste, and Vent Piping Application . . . . . . . . . . . . . . . . . . . . . . . . . .Table 702.1,

Table 702.2, Table 702.3, Table 702.4, 708.7,

Table 1102.4, Table 1102.5, Table 1102.7

**112 FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)**

**REFERENCED STANDARDS**

**ASTM—continued**

B32—08(2014) Specification for Solder Metal . . . . . . . . . . . . . . . . . . . . . . . . . . . 605.13.3, 605.14.6, 705.6.3, 705.17.3

B42—~~10~~2015A Specification for Seamless Copper Pipe, Standard Sizes. . . . . . Table 605.3, Table 605.4, Table 702.1

B43—~~09~~15 Specification for Seamless Red Brass Pipe, Standard Sizes . . . Table 605.3, Table 605.4, Table 702.1

B75/B75M—11 Specification for Seamless Copper Tube . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1, Table 702.2, Table 702.3, Table 1102.4

B88—~~09~~14 Specification for Seamless Copper Water Tube . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1, Table 702.2, Table 702.3, Table 1102.4

B152/B152M—13 Specification for Copper Sheet, Strip Plate and Rolled Bar . . . . . . . . .402.3, 417.5.2.4, 425.3.3, 902.2 B251—10 Specification for General Requirements for Wrought Seamless

Copper and Copper-alloy Tube . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 702.1,

Table 702.2, Table 702.3, Table 1102.4

B302—12 Specification for Threadless Copper Pipe, Standard Sizes . . . . Table 605.3, Table 605.4, Table 702.1

B306—~~09~~13 Specification for Copper Drainage Tube (DWV) . . . . . . . . . . Table 702.1, Table 702.2, Table 1102.4

B447—12a Specification for Welded Copper Tube . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4 B687—99(2011) Specification for Brass, Copper and Chromium-plated Pipe Nipples . . . . . . . . . . . . . . . . . .Table 605.8 B813—10 Specification for Liquid and Paste Fluxes for Soldering of

Copper and Copper Alloy Tube . . . . . . . . . . . . . . . . . . . . . . . . . 605.13.3, 605.14.6, 705.6.3, 705.7.3

B828—02(2010) Practice for Making Capillary Joints by Soldering of

Copper and Copper Alloy Tube and Fittings . . . . . . . . . . . . . . 605.13.3, 605.14.6, 705.6.3, 705.17.3

C4—04~~(2009)~~(14) Specification for Clay Drain Tile and Perforated Clay Drain Tile . . . . . . . Table 702.3, Table 1102.4,

Table 1102.5

C14—~~11~~15a Specification for Nonreinforced Concrete Sewer, Storm Drain and Culvert Pipe . . . . . . . Table 702.3, Table 1102.4

C76—~~13a~~15a Specification for Reinforced Concrete Culvert, Storm

Drain and Sewer Pipe. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 1102.4

C296/C296M-00(2015) Specification for Asbestos-Cement Pressure Pipe

C425—04~~(2009)~~(2013) Specification for Compression Joints for Vitrified Clay Pipe and Fittings . . . . . . . . . . . 705.12, 705.16 C443—12 Specification for Joints for Concrete Pipe and Manholes, Using Rubber Gaskets . . . . . . 705.5, 705.16

C564—~~12~~14 Specification for Rubber Gaskets for Cast-iron Soil Pipe and Fittings . . . . . . .705.4.2, 705.4.3, 705.16

C700—13 Specification for Vitrified Clay Pipe, Extra Strength, Standard

Strength, and Perforated. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 702.4,

Table 1102.4, Table 1102.5

C508-00/C508M-00(2015) Specification for Asbestos-Cement Underdrain Pipe

C1053—00(2010) Specification for Borosilicate Glass Pipe and Fittings for

Drain, Waste, and Vent (DWV) Applications . . . . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.4

C1173—10~~e1~~(2014) Specification for Flexible Transition Couplings for

Underground Piping System . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .705.2.1, 705.5, 705.11.1, 705.12,

705.13.2, 705.16

C1277—~~12~~15 Specification for Shielded Coupling Joining Hubless Cast-iron Soil Pipe and Fittings 705.4.3

C1440—08(2013) Specification for Thermoplastic Elastomeric (TPE) Gasket Materials for Drain,

Waste, and Vent (DWV), Sewer, Sanitary and Storm Plumbing Systems 705.16

C1460—~~08~~2012 Specification for Shielded Transition Couplings for Use with Dissimilar DWV

Pipe and Fittings Above Ground 705.16

C1461—08(2013) Specification for Mechanical Couplings Using Thermoplastic Elastomeric (TPE) Gaskets for Joining Drain, Waste and Vent (DWV) Sewer, Sanitary and

Storm Plumbing Systems for Above and Below Ground Use 705.19

C1540—~~11~~15 Specification for Heavy Duty Shielded Couplings Joining Hubless

Cast-iron Soil Pipe and Fittings 705.4.3

C1563—2008(2013 Standard Test Method for Gaskets for Use in Connection with Hub

and Spigot Cast Iron Soil Pipe and Fittings for Sanitary Drain, Waste,

Vent and Storm Piping Applications 705.4.2

D1253—~~08~~14 Standard Test Method For Residual Chlorine in Water. . . . . . . . . . . . . . . . . . . . . . . . .1301.2.1, 1303.9 D1527—99(2005) Specification for Acrylonitrile-Butadiene-Styrene (ABS) Plastic Pipe,

Schedules 40 and 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3

D1785—~~12~~15 Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe,

Schedules 40, 80 and 120. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3

D1869-15 Specification for Rubber Rings for Fiber-Reinforced Cement Pipe

D2235—04(2011) Specification for Solvent Cement for Acrylonitrile-Butadiene-

Styrene (ABS) Plastic Pipe and Fittings . . . . . . . . . . . . . . . . . . . 605.10.2, 705.2.2, 705.2.2, 705.7.2

D2239—12a Specification for Polyethylene (PE) Plastic Pipe (SIDR-PR)

Based on Controlled Inside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3

D2241—~~09~~15 Specification for Poly (Vinyl Chloride) (PVC) Pressure-rated Pipe (SDR-Series). . . . . . . .Table 605.3 D2282—99(2005) Specification for Acrylonitrile-Butadiene-Styrene (ABS) Plastic Pipe (SDR-PR) . . . . . . . .Table 605.3 D2464—~~06~~15 Specification for Threaded Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings,

Schedule 80 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

D2466—~~06~~15 Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 40. . . . . . . .Table 605.5 D2467—~~06~~15 Specification for Poly (Vinyl Chloride) (PVC) Plastic Pipe Fittings, Schedule 80. . . . . . . .Table 605.5

**FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017) 113**

**REFERENCED STANDARDS**

**ASTM—continued**

D2468—96a Specification for Acrylonitrile-Butadiene-Styrene (ABS)

Plastic Pipe Fittings, Schedule 40 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

D2564—12 Specification for Solvent Cements for Poly (Vinyl Chloride) (PVC)

Plastic Piping Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.22.3, 705.11.2, 705.14.2

D2609—~~02(2008)~~15 Specification for Plastic Insert Fittings for Polyethylene (PE) Plastic Pipe . . . . . . . . . . . . . Table 605.5 D2657—07 Practice for Heat Fusion-joining of Polyolefin Pipe and Fitting Waste,

and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.19.2, 705.13.1

D2661—~~11~~14 Specification for Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40

Plastic Drain, Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, 705.2.2,

705.7.2, Table 1102.4, Table 1102.7

D2665—~~12~~14 Specification for Poly (Vinyl Chloride) (PVC) Plastic Drain,

Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . .Table 702.1, Table 702.2, Table 702.3,

Table 702.4, Table 1102.4, Table 1102.7

 D2672—~~96a(2009)~~14 Specification for Joints for IPS PVC Pipe Using Solvent Cement. . . . . . . . . . . . . . . . . . . . Table 605.3 D2683—~~10e1~~14 Standard Specification for Socket-type Polyethylene fittings for

Outside Diameter-controlled Polyethylene Pipe and Tubing . . . . . . . . . . . . . . . . .Table 605.5, 717.5

D2683—14 Specification for Socket- Type Polyethylene Fittings for Outside Diameter-Controlled

 Polyethylene Pipe and Tubing

D2729—11 Specification for Poly (Vinyl Chloride) (PVC) Sewer Pipe and Fittings . . . . Table 1102.5, Table 1403.2 D2737—2012a Specification for Polyethylene (PE) Plastic Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3 D2751—05 Specification for Acrylonitrile-Butadiene-Styrene (ABS)

Sewer Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 702.4,

Table 1102.4, Table 1102.7

D2846/D2846M—~~09be1~~14 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Hot and Cold Water Distribution Systems . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.15.2, 605.16.2

D2855—96(2010) Standard Practice for Making Solvent-cemented Joints with

Poly (Vinyl Chloride) (PVC) Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . .605.22.3, 705.11.2

D2949—10 Specification for 3.25-in Outside Diameter Poly (Vinyl Chloride) (PVC)

Plastic Drain, Waste, and Vent Pipe and Fittings . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, Table 1102.7

D3034—~~08~~14a Specification for Type PSM Poly (Vinyl Chloride) (PVC)

Sewer Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 702.4,

Table 1102.4, Table 1102.5, Table 1102.7

D3035—~~2012e1~~15 Standard Specification for Polyethylene (PE) Plastic Pipe (DR-PR) Based on

Controlled Outside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3

D3138-04(2011) Standard Specification for Solvent Cements for Transition Joints Between Acrylonitrile-Butadiene-Styrene (ABS) and Poly(Vinyl Chloride) (PVC) Non-Pressure Piping Component.

(P184-15 Part I)

D3139—98(2011) Specification for Joints for Plastic Pressure Pipes Using Flexible

Elastomeric Seals . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.10.1, 605.22.1

D3212—07(2013) Specification for Joints for Drain and Sewer Plastic Pipes Using

Flexible Elastomeric Seals . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .705.2.1, 705.11.1, 705.13.2

D3261—12E1 Specification for Butt Heat Fusion Polyethylene (PE) Plastic fittings

for Polyethylene (PE) Plastic Pipe and Tubing. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

D3311—11 Specification for Drain, Waste and Vent (DWV) Plastic Fittings Patterns . . . . . . . . . . . . Table 1102.7 D4068—~~09~~15 Specification for Chlorinated Polyethlene (CPE) Sheeting for

Concealed Water-containment Membrane 417.5.2.2

D4551—12 Specification for Poly (Vinyl Chloride) (PVC) Plastic Flexible

Concealed Water-containment Membrane 417.5.2.1

E2635—08 Standard Practice for Water Conservation in Buildings Through

In-Situ Water Reclamation 1304.3

E2727—10E1 Standard Practice for the Assessment of Rainwater Quality 1302.8.1

F405—05 Specification for Corrugated Polyethylene (PE) Pipe and Fittings . . . . . . .Table 1102.5, Table 1403.2

F409—12 Specification for Thermoplastic Accessible and Replaceable

Plastic Tube and Tubular Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 424.1.2, Table 1102.7

F437—~~09~~15 Specification for Threaded Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

F438—~~09~~15 Specification for Socket-type Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 40. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

F439—~~12~~13 Standard Specification for Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe Fittings, Schedule 80. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5

F441/F441M—~~13~~15 Specification for Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe, Schedules 40 and 80. . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

F442/F442M—13E1 Specification for Chlorinated Poly (Vinyl Chloride) (CPVC)

Plastic Pipe (SDR-PR) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

F477—~~10~~14 Specification for Elastomeric Seals (Gaskets) for Joining Plastic Pipe . . . . . . . . . . . . . . 605.24,705.16

F493—~~10~~14 Specification for Solvent Cements for Chlorinated Poly (Vinyl Chloride)

(CPVC) Plastic Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .605.15.2, 605.16.2

**114 FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)**

**REFERENCED STANDARDS**

**ASTM—continued**

F628—~~08~~12E1 Specification for Acrylonitrile-Butadiene-Styrene (ABS) Schedule 40 Plastic

Drain, Waste, and Vent Pipe with a Cellular Core . . . . . . . . Table 702.1, Table 702.2, Table 702.3,

Table 702.4, 705.2.2, Table 1102.4, Table 1102.7

F656—~~10~~15 Specification for Primers for Use in Solvent Cement Joints of

Poly (Vinyl Chloride) (PVC) Plastic Pipe and Fittings . . . . . . . . . . . . . 605.22.3, 705.11.2, 705.14.2

F667 ---12 "Standard Specification for 3 through 24 in. Corrugated Polyethylene Pipe and Fittings"

(P237-15)/(P241-15)

F714—2013 Specification for Polyethylene (PE) Plastic Pipe (SDR-PR)

Based on Outside Diameter . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, 717.4

F876—~~2013~~15A Specification for Cross-linked Polyethylene (PEX) Tubing . . . . . . . . . . . . . . Table 605.3, Table 605.4 F877—2011a Specification for Cross-linked Polyethylene (PEX) ~~Plastic~~

Hot - and Cold-Water Distribution Systems. . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

F891—10 Specification for Coextruded Poly (Vinyl Chloride)

(PVC) Plastic Pipe with a Cellular Core . . . . . . . . . . . . . . . . Table 702.1 Table 702.2, Table 702.3,

Table 1102.4, Table 1102.5, Table 1102.7

F1055—13 Standard Specification for Electrofusion Type Polyethylene Fittings for Outside Diameter Controlled Polyethylene and

Crosslinked Polyethylene Pipe and Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1281—11 Specification for Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene (PEX-AL-PEX) Pressure Pipe . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.21.1

F1282—10 Specification for Polyethylene/Aluminum/Polyethylene

(PE-AL-PE) Composite Pressure Pipe. . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4,

Table 605.5, 605.21.1

F1412—09 Specification for Polyolefin Pipe and Fittings for

Corrosive Waste Drainage . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.4, 705.14.1, 901.3

F1476—07(2013) Standard Specification for Performance of Gasketed

Mechanical Couplings for Use in Piping Applications . . . . . . . . . . . . . . . . . . Table 605.5, 605.14.3,

605.18.3, 605.22.2, 605.23.3

F1488—~~09e1~~14 Specification for Coextruded Composite Pipe . . . . . . . . . . . . . . Table 702.1, Table 702.2, Table 702.3,

Table 1403.2

F1504 – 2014 Standard Specification for Folded Poly(Vinyl Chloride) (PVC) Pipe for Existing Sewer and Conduit Rehabilitation

(P205-15 Part II AM)

F1548—01~~(2006)(~~2012) Standard Specification for the Performance of Fittings for Use with

Gasketed Mechanical Couplings Used in Piping Applications . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1673—10 Polyvinylidene Fluoride (PVDF) Corrosive Waste Drainage Systems . . . . . Table 702.1, Table 702.2, Table 702.3, Table 702.4, 705.15.1

F1807—~~13~~15 Specification for Metal Insert Fittings Utilizing a Copper Crimp

Ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9

Polyethylene of Raised Temperature (PE-RT) Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1866—~~07~~13 Specification for Poly (Vinyl Chloride) (PVC) Plastic Schedule 40

Drainage and DWV Fabricated Fittings. . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.4, Table 1102.7

F1871 – 2011 Standard Specification for Folded/Formed Poly (Vinyl Chloride) Pipe Type A for Existing Sewer and Conduit Rehabilitation

(P205-15 Part II AM)

F1960—~~12~~15 Specification for Cold Expansion Fittings with PEX Reinforcing

Rings for use with Cross-linked Polyethylene (PEX) Tubing . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F1970—12E1 Special Engineered Fittings, Appurtenances or Valves for use in Poly

(Vinyl Chloride) (PVC) or Chlorinated Poly (Vinyl Chloride) (CPVC) Systems. . . . . . .Table 605.7

F1974—09(2015) Specification for Metal Insert Fittings for Polyethylene/Aluminum/ Polyethylene and Cross-linked Polyethylene/Aluminum/Cross-linked

Polyethylene Composite Pressure Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5, 605.21.1

F1986—01(2011) Specification for Multilayer Pipe, Type 2, Compression Fittings and

Compression Joints for Hot and Cold Drinking Water Systems . . . . . . . . . . . . . . . . . . . Table 605.3,

Table 605.4, Table 605.5

F2080—~~12~~15 Specifications for Cold-expansion Fittings with Metal Compression-

sleeves for Cross-linked Polyethylene (PEX) Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F2098—08 ~~Standard~~ specification for Stainless Steel Clamps for Securing SDR9

Cross-linked Polyethylene (PEX) Tubing to Metal Insert and Plastic Insert Fittings . . . . . . . . .Table 605.5

F2159—~~11~~14 Specification for Plastic Insert Fittings Utilizing a Copper Crimp Ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and

SDR9 Polyethylene of Raised Temperature (PE-RT) Tubing . . . . . . . . . . . . . . . . . . . . . .Table 605.5

F2262—09 Specification for Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene Tubing OD Controlled SDR9 . . . . . . . . . . . . . . Table 605.3, Table 605.4

F2306/F2306M—~~13~~14E1 12'' to 60'' Annular Corrugated Profile-wall Polyethylene (PE)

Pipe and Fittings for Gravity Flow Storm Sewer and Subsurface

Drainage Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1102.4, Table 1102.7

F2389—~~10~~15 Specification for Pressure-rated Polypropylene (PP) Piping Systems . . . . . . Table 605.3, Table 605.4, Table 605.5, Table 605.7, 605.20.1

F2434—~~09~~14 Standard Specification for Plastic Insert Fittings Utilizing a Copper Crimp Ring for SDR9 Cross-linked Polyethylene (PEX) Tubing and SDR9 Cross-linked Polyethylene/Aluminum/

Cross-linked Polyethylene (PEX AL-PEX) Tubing . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

**FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017) 115**

**REFERENCED STANDARDS**

**ASTM—continued**

F2648/F2648M-13 Standard Specification for 2 to 60 inch [50 to 1500 mm] Annular Corrugated Profile Wall Polyethylene (PE) Pipe and Fittings for Land Drainage Applications

(P238-15)

F2735—09 Standard Specification for Plastic Insert Fittings for SDR9 Cross-linked

Polyethylene (PEX) and Polyethylene of Raised Temperature (PE-RT) Tubing. . . . . . . Table 605.5

F2736-13e1 Standard Specification for 6 to 30 in (152 to 762 mm) Polypropylene (PP) Corrugated Single Wall Pipe And Double Wall Pipe

(P171-15)

F2764/F2764M-11ae2 Standard Specification for 30 to 60 in (750 to 1500 mm) Polypropylene (PP) Triple Wall Pipe and Fittings for Non-Pressure Sanitary Sewer Applications

(P171-15)

F2769—~~10~~14 Polyethylene or Raised Temperature (PE-RT) Plastic Hot and

Cold Water Tubing and Distribution Systems . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

F2831—~~11~~12 Standard Practice for Internal Non Structural Epoxy Barrier Coating

Material Used in Rehabilitation of Metallic Pressurized Piping Systems 601.5

F2855—11 Specification Poly (Vinyl Chloride)/Aluminum/Poly (Vinyl Chloride)

(CPVC/AL/CPVC) Composite Pressure Tubing . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

F2881-11 "Standard Specification for 12 to 60 in. [300 to 1500 mm] Polypropylene (PP) Dual Wall Pipe and Fittings for Non-Pressure Storm Sewer Applications"

(P239-15)

American Welding Society 8669 NW 36 Street, #130

**AWS**

Doral, FL 33166

Standard Referenced

reference in code

number Title section number

A5.8M/A5.8—2011 Specifications for Filler Metals for Brazing and Braze Welding . . . . . . . . . . . . . . . 605.11.1, 605.13.1,

605.14.1, 705.3.1, 705.6.1, 705.7.1

American Water Works Association 6666 West Quincy Avenue

**AWWA**

Denver, CO 80235

Standard Referenced

reference in code

number Title section number

C104/A21.4-~~08~~13 Cement-mortar Lining for Ductile-iron Pipe and Fittings ~~for Water~~ . . . . . . . . . . . . . . . . . .605.3, 605.5 C110/A21.10—12 Ductile-iron and Gray-iron Fittings . . . . . . . . . . . . . . . . . . . . . Table 605.5, Table 702.4, Table 1102.7 C111/A21.11-12 Rubber-gasket Joints for Ductile-iron Pressure Pipe and Fittings 605.12

C115/A21.15—11 Flanged Ductile-iron Pipe with Ductile-iron or Gray-iron

Threaded Flanges . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

C151/A21.51—09 Ductile-iron Pipe, Centrifugally Cast for Water. . . . . . . . . . . . . . . . . . . . . . . .Table 605.3, Table 605.4

C153—00/A21.53—11 Ductile-iron Compact Fittings for Water Service. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.5 C500—09 Standard for Metal-Seated Gate Valves for Water Supply Service . . . . . . . . . . . . . . . . . . . Table 605.7

C504—10 Standard for Rubber-Seated Butterfly Valves . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.7

C507—~~11~~15 ~~Standard for~~ Ball Valves, 6 In. Through 60 In(150mm Through 1500mm)

 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.7

C510—07 Double Check Valve Backflow Prevention Assembly . . . . . . . . . . . . . . . . . . . . . Table 608.1, 608.13.7

C511—07 Reduced-pressure Principle Backflow Prevention Assembly. . . . . . . . Table 608.1, 608.13.2, 608.16.2

C651—~~05~~14 Disinfecting Water Mains 610.1

C652—11 Disinfection of Water-storage Facilities 610.1

C901—~~08~~16 Polyethylene (PE) Pressure Pipe and Tubing ~~1~~~~/2~~3/4 inch (~~13~~19 mm)

Through 3 inch (76 mm) for Water Service . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3

C904—~~08~~16 Cross-linked Polyethylene (PEX) Pressure ~~Pipe~~ Tubing 1/2 inch (~~12~~13 mm)

Through 3 inch (76 mm) for Water Service . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3

D100—~~05~~11 ~~Standard for~~ Welded Carbon Steel Tanks for Water Storage 1302.7.2

D115—~~06~~16 ~~Standard for~~ Tendon Prestressed-Concrete ~~Water~~ Tanks 1302.7.2

D120—09 Standard for Thermosetting Fiberglass-Reinforced Plastic Tanks 1302.7.2

**CISPI**

Cast Iron Soil Pipe Institute

5959 Shallowford Road, Suite 419

Chattanooga, TN 37421

Standard Referenced

reference in code

number Title section number

301—~~04a~~12 Specification for Hubless Cast-iron Soil Pipe and Fittings for Sanitary

and Storm Drain, Waste and Vent Piping Applications . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, 708.7,

Table 1102.4, Table 1102.5, Table 1102.7

310—~~04~~12 Specification for Coupling for Use in Connection with Hubless Cast-iron Soil Pipe and Fittings for Sanitary and Storm Drain,

Waste and Vent Piping Applications 705.4.3

**116 FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)**

**REFERENCED STANDARDS**

**CSA**

CSA Group

8501 East Pleasant Valley Cleveland, OH 44131-5516

Standard Referenced

reference in code

number Title section number

A257.1M—20~~09~~14 Non-reinforced Circular Concrete Culvert, Storm Drain, Sewer Pipe and Fittings . . . . . . . . Table 702.3, Table 1102.4

A257.2M—20~~09~~14 Reinforced Circular Concrete Culvert, Storm Drain,

Sewer Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 1102.4

A257.3M—2009 Joints for Circular Concrete Sewer and Culvert Pipe, Manhole

Sections and Fittings Using Rubber Gaskets . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 705.5, 705.16

ASME A112.18.1—~~20122017~~/

CSA B125.1—~~2012~~17 Plumbing Supply Fittings. . . . . . . . . . . . .424.1, 424.2, 424.3, 424.4, 424.6, 424.8, 605.7, 607.4, 608.2

ASME A112.18.2—~~2011~~2015/

CSA B125.2—~~2011~~2015 Plumbing Waste Fittings 424.1.2

ASME A112.19.2—2013/

B45.1—2013 Ceramic Plumbing Fixtures . . . . . . . . . . . . . . . .401.2, 405.9, 407.1, 408.1, 410.1, 415.1, 416.1, 417.1,

418.1, 419.1, 420.1

ASME A112.19.1—2013/

CSA B45.2—2013 Enameled Cast-iron and Enameled Steel Plumbing Fixtures . . . . . . .407.1, 410.1, 415.1, 416.1, 418.1

ASME A112.19.3—2008/

CSA B45.4—08(R2013) Stainless-steel Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . 405.9, 407.1, 415.1, 416.1, 418.1, 420.1

ASME A112.19.5—~~2011~~2017/

CSA B45.15—~~2011~~17 Flush Valves and Spuds for Water Closets, Urinals and Tanks 425.4

ASME A112.19.7—~~2012~~2017/

CSA B45.10—~~2012~~17 Hydromassage Bathtub Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 421.1, 421.4 CSA B45.5—~~11~~ 17/

IAPMO Z124-20~~11~~17 Plastic Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . .407.1, 415.1, 416.1, 416.2, 417.1, 419.1, 420.1

ASME A112.3.4—2013/

CSA B45.9—2013 Macerating Systems and Related Components 712.4.1

ASSE 1016/ ASME A112.1016/

CSA B125.16—2011 Performance Requirements for Individual Thermostatic, Pressure Balancing

and Combination Control Valves for Individual Fixture Fittings . . . . . . . . . . . . .424.3, 424.4, 607.4

B64.1.1—~~11~~16 Vacuum Breakers, Atmospheric Type (AVB). . . . . . . . . . . . .425.2, Table 608.1, 608.13.6, 608.16.4.1 B64.1.2—~~11~~16 Pressure Vacuum Breakers, (PVB) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.5

B64.1.3—~~11~~16 Spill Resistant Pressure Vacuum Breakers (SRPVB) 608.13.8

CSA B64.2—~~11~~16 Vacuum Breakers, Hose Connection Type (HCVB) . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6 B64.2.1—~~11~~16 Vacuum Breakers, Hose Connection (HCVB) with Manual Draining Feature. . . . .Table 608.1, 608.13.6 CSA B64.2.1.1—~~11~~16 Hose Connection Dual Check Vacuum Breakers, (HCDVB) . . . . . . . . . . . . . . . .Table 608.1, 608.13.6 CSA B64.2.2—~~11~~16 Vacuum Breakers, Hose Connection Type (HCVB) with

Automatic Draining Feature. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6

CSA B64.3—~~11~~16 Backflow Preventers, Dual Check Valve Type with

Atmospheric Port (DCAP) . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.3, 608.16.2

CSAB64.4—~~11~~16 Backflow Preventers, Reduced Pressure Principle Type (RP). . . . . . . .Table 608.1, 608.13.2, 608.16.2 CSAB64.4.1—~~11~~16 Reduced Pressure Principle for Fire Sprinklers (RPF) . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.2

CSAB64.5—~~11~~16 Double Check Backflow Preventers (DCVA) . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.7 CSA B64.5.1—~~11~~16 Double Check Valve Backflow Preventer for Fire Systems (DCVAF). . . . . . . . . Table 608.1 608.13.7 B64.6—~~11~~16 Dual Check Backflow PreventersValve (DuC) . . . . . . . . . . . . . . . . . . .605.3.1, Table 608.1, 608.13.10

CSA B64.7—~~11~~16 Laboratory Faucet Vacuum Breakers (LFVB). . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 608.1, 608.13.6 B64.10—11 Manual for the Selection and Installation of Backflow Prevention Devices 312.10.2

B64.10.1—11 Maintenance and Field Testing of Backflow Preventers 312.10.2

B79—08(R2013) Commercial and Residential Drains, and Cleanouts 412.1

B125.3—2012 Plumbing Fittings. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 408.3, 416.5, 423.3, 424.4, 424.5,

425.2, 425.3.1, Table 605.7, Table 608.1

B137.1—~~13~~16 Polyethylene (PE) Pipe, Tubing and Fittings for Cold Water

Pressure Services . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.5

B137.2—~~13~~16 Polyvinylchloride PVC Injection-moulded Gasketed

Fittings for Pressure Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.5

B137.3—~~13~~16 Rigid Poly (Vinyl Chloride) (PVC) Pipe for Pressure

Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3 Table 605.5, 605.22.3,

705.11.2, 705.14.2

CSA B137.5—~~13~~16 Cross-linked Polyethylene (PEX) Tubing Systems for

Pressure Applications. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

CSA B137.6—~~13~~16 CPVC Pipe, Tubing and Fittings for Hot and

Cold Water Distribution Systems . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

B137.9—13 Polyethylene/Aluminum/

Polyethylene Composite Pressure Pipe Systems . . . . . . . . . . . . . Table 605.3, Table 605.5, 605.21.1

**FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017) 117**

**REFERENCED STANDARDS**

**CSA—continued**

B137.10—~~13~~16 Cross-linked Polyethylene/Aluminum/Polyethylene

Composite Pressure Pipe Systems . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5, 605.21.1

B137.11—~~13~~16 Polypropylene (PP-R) Pipe and Fittings for

Pressure Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 605.3, Table 605.4, Table 605.5

B137.18--13 Polyethylene of raised temperature resistance (PE-RT) tubing systems for pressure applications.

(P112-15)/(P120-15)

B181.1—~~11~~15 Acrylonitrile-butadiene-styrene ABS Drain,

Waste and Vent Pipe and Pipe Fittings. . . . . . . Table 702.1, Table 702.2, Table 702.3, Table 702.4,

705.2.2, 715.2, Table 1102.4, Table 1102.7

B181.0-11 Definitions, general requirements, and methods of testing for thermoplastic non-pressure piping

(P171-15)

B 181.2—~~11~~15 Polyvinylchloride PVC and chlorinated polyvinylchloride

(CPVC) Drain, Waste, and Vent Pipe and Pipe Fittings. . . . . . . . . . . . . . . .Table 702.1 Table 702.2,

705.11.2, 705.14.2, 715.2

B 181.3—~~11~~15 Polyolefin and Polyvinylidene Fluoride (PVDF) Laboratory

Drainage Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.1, Table 702.2,

Table 702.3, Table 702.4, 705.14.1

B182.1—11 Plastic Drain and Sewer Pipe and Pipe Fittings . . . . . .705.11.2, 705.14.2, Table 1102.4, Table 1102.5 B182.2—11 PSM Type Polyvinylchloride PVC Sewer

Pipe and Fittings . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 702.3, Table 1102.4, Table 1102.5

B182.4—~~11~~15 Profile Polyvinylchloride PVC Sewer Pipe and Fittings . . . . Table 702.3, Table 1102.4, Table 1102.5 B182.6—~~11~~15 Profile Polyethylene (PE) Sewer Pipe and Fittings for Leak-proof

Sewer Applications . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . Table 1102.5

B182.8—~~11~~15 Profile Polyethylene (PE) Storm Sewer and Drainage Pipe and Fittings . . . . . . . . . . . . . . Table 1102.5

B182.13-11 Profile polypropylene (PP) sewer pipe and fittings for leak-proof sewer applications

(P171-15)

B356—10 Water Pressure Reducing Valves for Domestic Water Systems 604.8

B481.1—12 Testing and Rating of Grease interceptors Using Lard 1003.3.4

B481.3—12 Sizing, Selection, Location and Installation of Grease Interceptors 1003.3.4

B602—~~10~~15 Mechanical Couplings for Drain, Waste and Vent Pipe and

Sewer Pipe . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 705.2.1, 705.4.3, 705.5, 705.11.1,

705.12, 705.13.2, 705.16

Florida Building Commission

**Florida Codes**

c/o Florida Department of Business and Professional Regulation Building Codes and Standards 2601 Blair Stone Road

Tallahassee, Florida 32399

|  |  |  |
| --- | --- | --- |
| Standard reference number | Title | Referencedin code section number |
| Florida Administrative Code Ch. 62-610 | Florida Administrative Code-Reuse of Reclaimed Water |  |

and Land Application 602.4

Ch. 64E-6 Florida Administrative Code-Standards for Onsite Sewage

and Disposal Systems . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .202, 701.2, 1003.3.4, 1003.5

FBC-A—Seventh Edition (2020) Florida Building Code, Accessibility. . . . . . . . . . . . . . . . . . . . . . . . . .403.4, 403.1.2, 403.3.1, 404.1

FBC-B— Seventh Edition (2020) Florida Building Code, Building . . . . . . . . . . . . . . . . . . . . 101.1, 201.3, 307.1, 307.2, 307.3, 308.2,

309.1, 309.2, 310.1, 310.3, 315.1, 316.1.6,

317.1, 403.1, Table 403.1, 403.6, 407.3,

417.6, 502.4, 606.5.2, 614.4, 919.1, 1106.5,

1301.9.4, 1302.7.2, 1303.6, 1401.4, 1402

FBC-EC— Seventh Edition (2020) Florida Building Code, Energy Conservation . . . . . . . . . . . . . . . . . . . . . . . . . .313.1, 607.2.1, 607.5

FBC-FG— Seventh Edition (2020) Florida Building Code, Fuel Gas . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .201.3, 502.1

FBC-M— Seventh Edition (2020) Florida Building Code, Mechanical. . . . . . . . . . . . 201.3, 307.6, 310.1, 422.9, 502.1, 612.1, 1202.1 FFPC— Seventh Edition (2020) Florida Fire Prevention Code. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .201.3, 1201.1

Florida Statutes

Ch. 373 Florida Statute, Water Resources 602.3

Ch. 381 Florida Statute, Food Products 317.1

Ch. 471 Florida Statute, Engineering 202

Ch. 481 Florida Statute, Architecture, Interior Design, and Landscape-Architecture 202

Ch. 500 Florida Statute, Lodging and Food Service Establishments 317.1

Ch. 509 Florida Statute, Public Lodging and Food Service Establishments. . . . . . . . . . . . . . . 317.1, 403.1.3

Ch. 553.86 Florida Statutes, Public Restrooms 403.1.3

**118 FLORIDA BUILDING CODE — PLUMBING, 6th EDITION (2017)**

**REFERENCED STANDARDS**

IAPMO Group

**IAPMO**

4755 E. Philadelphia

Ontario, CA 91761

Standard Referenced

reference in code

number Title section number

Z1001-~~2007~~2014 Prefabricated Gravity Grease Interceptors 1003.3.6

CSA B45.5—11/

IAPMO Z124-2011 Plastic Plumbing Fixtures . . . . . . . . . . . . . . . . . . . . . . .407.1, 415.1, 416.1, 416.2, 417.1, 419.1, 420.1

International Safety Equipment Association 1901 N. Moore Street, Suite 808

**ISEA**

Arlington, VA 22209

Standard Referenced

reference in code

number Title section number

ANSI/ISEA Z358.1—~~2009~~2014 Emergency Eyewash and Shower Equipment 411.1

**MSS**

Manufacturers Standardization Society Of the Valve and Fittings Industry, Inc. 127 Park St. NE

Vienna, VA 22180-4602

Standard Referenced

reference in code

number Title section number

SP-42—2013 Corrosion Resistant Gate, Globe, Angle and Check Valves with Flanged and Butt Weld Ends (Classes 150, 300 & 600)

SP-67—2011 Butterfly Valves . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

SP-70—~~2011~~2013 Gray Iron Gate Valves, Flanged and Threaded Ends. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

SP-71—~~2011~~2013 Gray Iron Swing Check Valves, Flanged and Threaded Ends. . . . . . . . . . . . . . . . . . . . . . . .Table 605.7 SP-72—2010a Ball Valves with Flanged or Butt-Welding Ends for General Service . . . . . . . . . . . . . . . . .Table 605.7 SP-78—~~2011~~2013 Cast Iron Plug Valves, Flanged and Threaded Ends . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7

SP-80—~~2008~~2013 Bronze Gate, Globe, Angle and Check Valves . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .Table 605.7 SP-110—2010a Ball Valves, Threaded, Socket Weld~~ed~~ing, Solder Joint, Grooved and Flared Ends . . . . . . . . .Table 605.7

SP-122-2012 Plastic Industrial Ball Valves

(P124-14 Part I)

SP-139-2014 Copper Alloy Gate, Globe, Angle, and Check Valves for Low Pressure/Low Temperature Plumbing Applications

(P124-14 Part I)

National Fire Protection Association 1 Batterymarch Park

**NFPA**

Quincy, MA 02169-7471

Standard Referenced

reference in code

number Title section number

51—~~13~~18 Design and Installation of Oxygen-fuel Gas Systems

for Welding, Cutting and Allied Processes 1203.1

55—13 Compressed Gases and Cryogenic Fluids Code 1203.1

70—14 National Electric Code . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 502.1, 504.3, 1113.1.3

99—~~15~~18 Health Care Facilities Code 1202.1

**NSF**

NSF International 789 Dixboro Road Ann Arbor, MI 48105

Standard Referenced

reference in code

number Title section number

3—~~2010~~12 Commercial Warewashing Equipment 409.1

14—~~2011~~2015 Plastic Piping System Components and Related Materials 303.3

18—2012 Manual Food and Beverage Dispensing Equipment 426.1

42—~~2011~~2015 Drinking Water Treatment Units-Aesthetic Effects 611.1

50—~~2012~~2015 Equipment for Swimming Pools, Spas, Hot Tubs and other Recreational Facilities 1302.8.1

NSF 184-2014 Residential Dishwashers

(P56-15)

**FLORIDA BUILDING CODE — PLUMBING, 7th EDITION (2020) 119**

**REFERENCED STANDARDS**

**NSF—continued**

53—~~2011a~~15 Drinking Water Treatment Units—Health Effects 611.1

58—~~2012~~2015 Reverse Osmosis Drinking Water Treatment Systems. . . . . . . . . . . . . . . . . . . . . . . . . . . . .611.2, 611.3

61—~~2012~~2015 Drinking Water System Components—Health Effects . . . . . . . . . . . . . . . . 410.1, 424.1, 605.3, 605.4, 605.5, 605.7

350—~~2011~~2014 Onsite Residential and Commercial Water Reuse Treatment Systems 1302.6.1

359—2011 Valves for Crosslinked Polyethylene (PEX) Water Distribution Tubing Systems. . . . . . . . Table 605.7

372—~~2010~~2011 Drinking Water Systems Components—Lead Content 605.2.1

Plumbing and Drainage Institute 800 Turnpike Street, Suite 300 North Andover, MA 01845

**PDI**

Standard Referenced

reference in code

number Title section number

PDI G101 (2012) Testing and Rating Procedure for Grease Interceptors with

Appendix of Sizing and Installation Data 1003.3.4

PDI G102 (2009) Testing and Certification for Grease Interceptors with Fog Sensing and Alarm Devices 1003.3.4

**PSAI**

Standard Referenced

reference in code

number Title section number

Z4.3- 15 Minimum Requirements for Nonsewered Waste-Disposal Systems

**SRCC**

Solar Rating & Certification Corporation

 400 High Point Drive, Suite 400

Cocoa, FL 32926

Standard Referenced

reference in code

number Title section number

SRCC 300—2013 Minimum Standard for Solar Thermal Water Heating Systems, January 3, 2013, Solar Rating and Certification Corporation.

(P89-15)

UL LLC

**UL**

333 Pfingsten Road

Northbrook, IL 60062-2096

Standard Referenced

reference in code

number Title section number

58—1996 Steel Underground Tanks for Flammable and Combustible Liquids—

with revisions through July 27, 1998 1302.7.2

142—2006 Steel Aboveground Tanks for Flammable and Combustible Liquids—

with revisions through ~~February 12, 2010~~August 2014 1302.7.2

399—2008 Drinking-Water Coolers—with revisions through ~~January 14, 2011~~October 2013 410.1

430—2009 Waste Disposers—with revisions through ~~March 23, 2011~~September 2015 413.1

508—99 Industrial Control Equipment—with revisions through ~~March 2013~~October 2013 314.2.3

1316—1994 Glass-Fiber Reinforced Plastic Underground Storage Tanks for Petroleum Products, Alcohols and Alcohol Gasoline Mixtures—

with revisions through May 12, 2006 1302.7.2

1746—2007 External Corrosion Protection Systems for Steel Underground Storage Tanks-with revisions through December 2014 1302.7.2

1795—2009 Hydromassage Bathtubs including revisions through ~~August 23, 2011~~January 2015 421.1

Water Quality Association 4151 Naperville Road

**WQA**

Lisle, IL 60532-3696

Standard Referenced

reference in code

number Title section number

S-200 Household and Commercial Water Filters (In-Line) 611.1

S-300 Point-of-Use Low Pressure Reverse Osmosis Drinking Water Systems 611.2

**120**