2017 National Electrical Code – Residential – Accommodate Florida Specific Need

Electrical TAC 

#	Change No.	Section	Change Summary b/t 2014 NEC and 2017 NEC	Change Summary b/t 2014 NEC- and 2017 NEC	Staff Comments	
1	   FR15	110.26(A)
[E3405.2]	Adds an informational note to reference NFPA 70E, Adds a third exception to 110.26(A)(3) to correlate with battery systems in 480.9(D), and adds a new less than 1000-watt requirement for “Separation of High-Voltage Equipment” to correlate with similar provisions	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 

x

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
2	FR1501	310.10(H)(5)
[E3406.6]	Provides clarity and changes “bonding” to “grounding” from inadvertent change in 2014 NEC	Same as change between 2014 NEC and 2017 NEC tween 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
3	FR1502	310.15(A)(2)
[E3701.3]	Editorial change to add clarity to the section	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

X

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
4	FR1820	330.15
[E3802.3]	 The text provides exposed installation of Type MC consistent with other wiring methods 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
5	FR1828	338.10(B)(4)
[E3705.4.5]	Revision to add language for Type SE cable with ungrounded conductor sizes 10 AWG and smaller	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
6	FR2405	314.15
[E3905.11]	Revision for clarifying the size of drainage openings in damp or wet locations	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
7	FR2406	314.16(A) and (B)
[E3905.12.1]	Revision for wiring enclosure boxes where barriers are provided and spaces are resultant	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
8	FR2407	314.17(B)
[E3905.3.1]	Revision to add language for non-metallic-sheathed cable or multiconductor Type UF cable and installation properties	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
9	FR2408	314.19
[E3905.5]	Editorial change to provide clarity for boxes and flush devices	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
10	FR2417	404.9(B)
[E4001.11.1]	Revision to provide for grounding of metal faceplates to prevent energizing	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
11	FR2418	404.14(F)
[E4001.14]	Revision to add provision for control devices	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
12	FR330	210.11(C)(3)
[E3703.4],[E3703.5]	Revision to add 20-ampere branch circuit to garage outlet	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
13	FR337	215.2(A)(1) Exception No.2
[E30701.2 ]	Editorial change to relocate the exception 1 and 2 to be located more effectively	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
14	FR3371	625.40
[E3702.13]	Revision relocating an existing requirement from 210.17	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
15	FR35
	110.11 Informational Note
[E3404.5]	Adds Informational Note 4 which refers readers to other codes related to flood provisions	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 x

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
16	FR357	210.17 (Formerly 210.18)
[E3702.2]	Relocation of 210.18	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
17	FR357	210.18 (Formerly 210.3)
[E3702.2]	Relocation of 210.3 to 210.18	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
18	FR37	110.9
[E3404.2]	Editorial to remove “sufficient”	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
19	FR39	110.5
E3406.2	Change to add “aluminum”	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

X

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
20	FR40	110.14(D)
[E3705.4.2]	Adds (D) for requirements of using a calibrated torque tool to ensure required toque values	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
21	FR41	110.14
[E3406.8]	Editorial: Removes informational Note for this section due to language added in 110.14(D)	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 

x

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
22	FR4811	422.30
[E4101.5]	Revision to add language for simultaneous disconnect	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Floridax Specific Need:
YES (Select Criteria)                                   NO: 

x

x

 

x

a.  b.  c.      d.  e.  f. 

Vote 10  y- 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
23	FR4812	422.31(A)
[Table E4101.5]	Revision to add language where circuit breaker is within sight from appliance or lockable	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
24	FR4822	424.19
[E4101.5]	Revision to disconnecting means with multiple disconnecting requirements	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
25	FR4833	424.44(E )
[E3902.13]	Editorial to delete heating cables language for watts per linear foot	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
26	FR4872	424.3(A)
[E3702.10]	The revision enables future branch circuit sizes up to 30 amps that may be permitted in 210.3.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
27	FR4876	422.16(B)(1)
[E4101.3]	Revises to clarify definition by adding “on or above the ground”	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

xx

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
28	FR601	300.3(B)(1)
[E3406.7], [E3803.8]	Revises to add clarity on “neutral and ungrounded conductors” within the exception	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

xx

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
29	FR602	300.3(B)(4) Exception
[E3801]	Revises addition of Panelboard to the title of the subsubsection	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
30	FR607	300.5(F)
[E3803.5 ]	Revised to provide protection for raceway, cable and conductor directly buried installations.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
31	FR608	300.5(G)
[E3803.6]	Revised to provide needed consistency and correlation with other requirements in the code.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
32	FR609	300.5(J)
[E3803.9]	Revised to insert “Cables and conductors” to clarify that the directly buried cables and conductors may be formed into “S” loops.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

X

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
33	FR611	300.12
[E3904.2]	Revised to remove “Metal or nonmetallic” since the use of the terms, “metal” and “nonmetallic” cover all raceways anyway.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
34	FR619	725.1
[E4301.1]	Revised to change “appliance” to “utilization equipment” to more closely match the definitions in Article 100.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
35	FR630	725.179(A)
[E4303.2]	Revised to remove “being,”  “also,” and changes the NFPA 262 standard year to 2015.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
36	FR630	725.179(B)-(F) and (H)
[E4303.2]	(B)  Revised to remove “being” for clarification purposes.
(F) Includes  (C) and (E) in specifications of Circuit Integrity Cables and Includes (C), (E), and (F) (1) in specifications of Electrical Circuit Protective System.
(H) Revised to make Editorial Changes.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
37	Global SR916	225.61 (B)	Revised to update references to current editions in several places.	Same as change between 2014 NEC and 2017 NEC	Standard Update	
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

VVote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
38	SCR22	110.21(A)
[E3404.11]	Adds reconditioned equipment exception language for industrial occupancies and labeled “Reconditioned”	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
39	FR43	110.21(B)
[E3404.12]	Removes the ambiguous language “and/or” to natural code language	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
40	SCR54	404.2(C )
[E4001.15]	Revises switching requirements on where the grounded circuit conductors can be installed, adds an exception to address limitations on neutral currents, adds new requirement for switching devices to meet 404.22 and gives the new effective date for these new requirements.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10y – 0 n 

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
41	SR1217	250.86
[E3908.1]	Revises the section to add the phrase “metal components” to each subdivision to correct a transcription error and isolated sections of metal conduit that meet the requirements of this section are considered to be metal components.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10y – 0 n 

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
42	SR14	110.26(E)(2)Exception
[E3405.5]	Adds Exception to (b): Structural overhangs or roof extensions shall be permitted in this zone. Removed vague language “suitable”	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
43	SR16	110.27(A)
[E3404.9]	Removes Item (3)
	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
44	SR17	110.28
[E3404.4]	Reference current SDO in Informational Note 2	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
45	SR1802	320.30(A)
[E3803.11]	Revises this section to remove Type 2S and Types 21S and chooses to add “labeled” to the cable ties segment for clarity and usability.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
46	SR1807	330.30(A)
[E3802.6]	Revises this section to remove Type 2S and Types 21S and adds "listed, labeled and identified for securement and support" to provide information to the AHJ regarding the suitability of equipment they encounter.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
47	SR2401	312.8
[E3907.1]	Revised to allow the wiring space within enclosures and overcurrent devices to be permitted for other wiring and equipment subject to the limitations for specific equipment as provided in (A) or (B).	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
48	SR2402	312.5(C )
[E3907.8]	Revised to make an editorial changes.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
49	SR2404	314.20
[E3906.5]	Revised to make an editorial changes.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
50	SR2405	314.23(B)(1)
[E3906.8.2.1 ]	Revised to make an editorial changes.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
51	SR2701	240.24(A)
[E3705.7]	Revised to make an editorial changes.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
52	SR306	210.7	Revised to make an editorial changes.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
53	SR307	210.52(A)(2)
[E3901.2]	Revised to include similar work surfaces as a part of a wall space	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

VOTE 10 Y – 0 N

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
54	SR307	210.52(A)(4)
[E3901.2]	Revised to include similar work surfaces	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

X

 

a.  b.  c.      d.  e.  f. 

VOTE 10 Y – 0 N

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
55	SR308	219.52(B)(1) Exception No.2
[E3901.3]	Revised to allow the exception to be applied to any specific appliance.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

X

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

X

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
56	SR309	210.52(C )
[E3901.4]	Revised in include work surfaces.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
57	SR309	210.52(C )(1)
[E3901.4.1]	Revised to include work surfaces.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
58	SR309	210.52(C )(3)
[E3901.4.3]	Revised to disallow a receptacle in a wall countertop from being permitted to serve as the receptacle for a peninsular countertop space where the spaces are contiguous and the receptacle being located within 6 ft. of the outside edge.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
59	SR309	210.52(C )(5)
[E3901.4.5]	Revised to include work surfaces.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
60	SR310	210.52(D)
[E3901.6]	Revised to allow for receptacle outlet assemblies listed for use in countertops to be allowed to be installed in the countertop.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
61	SR316	210.8(A)(7)
[E3902.7], [E3902.5]	Revised to require sinks where receptacles are installed within 6ft from the top inside edge of the bowl of the sink to have a ground fault circuit interrupter.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
62	SR317	210.8(E)
[E3902.4]	GFCI protection for crawl space lighting outlets has been relocated from 210.70(C)	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
63	SR325	210.70(A)(2)
[E3903.3]	Revised to allow lighting outlets to be controlled by dimmer switches if they provided the full range of dimming control at each location.	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
64	SR326	210.52(G)(1)
[ E3901.9]	 The language related to outlets outside of the garage has been deleted from this section to correlate with changes made to 210.11(C)(4). 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
65	SR4804	422.16(B)(2)
[E4101.3]	Revision to delete “or its equivalent” to avoid confusion	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10y – 0 n
Based on 28 and 68

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
66	SR4805	422.16(B)(4)
[E4101.3]	Revision to delete “or its equivalent” to avoid confusion	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote – 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
67	SR4806	422.18
[E4101.6]	Editorial revisions for clarity	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
68	SR5101	406.9(A)
[E4002.8]	Revision to make change to standard reference in Informational note 	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
69	SR5102	406.9(B)(1)
[E4002.9]	Revision for box hoods in wet locations of 15 and 20 amperes to be labeled extra duty.  Editorial revisions also included in SR	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y - 0 

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
70	SR5106	406.5(E )
[E4002.7], [E4002.6], [E4002.15], [E4002.16]	Revision to reword to clarify to only apply to horizontally mounted receptacle assemblies	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
71	SR5106	406.5(F)
[E4002.7]	Revision to reword to clarify to only apply to horizontally mounted receptacle assemblies	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n
based on action in 73

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
72	SR5106	406.5(G)
[E4002.7]	Revision to reword to clarify to only apply to horizontally mounted receptacle assemblies	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n
Based on action in 73 and 74

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
73	SR5110	410.136(B) Informational Note
[E4004.7]	 Updated ASTM standard to most recent edition. 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
74	SR603	300.11
	 ANSI/ASTM E119 has been changed from 2014 to 2015 	

	Same as change between 2014 NEC and 2017 NEC	Standard Update	
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
75	SR612	725.133
[E4303.2]
	Revises due to “ addition of 725.144 requires modification of 725.133” 	

	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
76	SR615	725.179
[E4303.2]	Revises to add information of limited power cables to the code	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
77	SR905	230.7
[E3601.4]	Editorial	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions     	

	

	

	

	
78	SR910	230.42(A)
[E3602.2.1]	Editorial	Same as change between 2014 NEC and 2017 NEC		
RCCIWG – Comment

Impactful (Explain) 

	TAC Action

x

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

x

 

a.  b.  c.      d.  e.  f. 

Vote 10 y – 0 n

Others (Explain):	Commission Action

Accommodate Florida Specific Need:
YES (Select Criteria)                                   NO: 

 

a.  b.  c.      d.  e.  f. 

Others (Explain):		
TAC	
Commission	

    No Action Needed	

	

	

 Overlapping provisions