2018 International Energy Conservation Code – Commercial – Swimming Pool NO ACTION

Swimming Pool TAC

IECC-Energy 
Commercial
Code Change No.	IECC-Energy
Commercial – 
Section 	Change Summary b/t 2015 IECC and 2018 IECC. 	Change Summary b/t 2017 FECC and 2018 IECC. 	Staff comments	
					
CE177-16, Part I	C404.9.3	Modifies text of Section C404.9.3 “Covers”. Proposal revises the exception from 70% to 75%. Add in parameters for "operating season". Allow the use of other on-site renewable energy systems.

Cost Impact: Will increase the cost of construction. For this exception, since the requirement has been increased from 70% to 75%, the estimated increase in cost for this option would be approximately 7 percent.
	This change is not similar to that of the FEC-C. The FEC-C provides for Florida specific changes to this section	Overlapping provision to be considered during step 2 of the code change process  

     TAC Action

     Accommodate Florida Specific Need:
     YES (Select Criteria)                                                     NO: 

 

     a.  b.  c.      d.  e.  f. 

     Others (Explain):	Commission Action

Accommodate Florida Specific Need:

YES (Select Criteria)                                                               NO: 

 

a.  b.  c.      d.  e.  f. 
Others (Explain):	
    	
TAC	
Cmsn.	

       No Action Needed 	

	

	

X

  Overlapping provisions     	

x

x