Page 1 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Approved as Modified

TAC Recommendation

Total Mods for  Fire in  Approved as Modified

TAC:

Fire

1

SubCode:

Building

Ü

10-Means of Egress

Mod #

8224

Proponent

Lynn Miller

1010.1.7

Section

10

Chapter

Approved as Modified

Brings back door threshold requirements in the 5th Edition of the FBC (2014) that were inadvertently left out of the 6th Edition (2017) version.

Summary

AS

AM

NAR

I

W

Commission Action

Approved as Submitted

TAC Recommendation

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

SubCode:

Building

Ü

2-Definitions

Mod #

7518

Proponent

Ann Russo5

202

Section

2

Chapter

Approved as Submitted

The Code contains requirements regarding children&#39;s play structures. However, no definition exists and there have been discussions that there is some ambiguity about what is meant by the term, thus a definition should be included under Chapter 2.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7519

Proponent

Ann Russo5

202

Section

2

Chapter

Approved as Submitted

Currently the definition for sleeping unit could be interpreted to be just a bedroom. When these bedrooms are combined into suites, they should be considered as one sleeping unit, so this definitions better identifies the variations.

Summary

AS

AM

NAR

I

W

Commission Action

Page 2 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7524

Proponent

Ann Russo5

202

Section

2

Chapter

Approved as Submitted

Private garages can also be used by the owners of the building, so a definition will provide proper use and context.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7526

Proponent

Ann Russo5

202

Section

2

Chapter

Approved as Submitted

To identify that &quot;soft-contained play equipment structures&quot; are those that contain pliable materials and where the user is enclosed.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7689

Proponent

George Wiggins (BOAF)

202

Section

2

Chapter

Approved as Submitted

Changes Definition of &quot;Change of Occupancy&quot; by clarification of meaning and in a bulleted text for clarity.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7769

Proponent

Ann Russo5

202

Section

2

Chapter

Approved as Submitted

Defining open air assembly

Summary

AS

AM

NAR

I

W

Commission Action

Page 3 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7770

Proponent

Ann Russo5

202

Section

2

Chapter

Approved as Submitted

Defining open air assembly by eliminating conflict with other definition

Summary

AS

AM

NAR

I

W

Commission Action

3-Use and Occupancy Classification

Mod #

7133

Proponent

Steve Thomas

302.1

Section

3

Chapter

Approved as Submitted

This change provides language outlining that occupied roofs shall be classified as an occupancy. The code cannot be used without knowing the occupancy of a space. Therefore, this change is a clarification to the current code requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7372

Proponent

Bryan Holland

307.1.1

Section

3

Chapter

Approved as Submitted

This proposed modification adds stationary fuel cell power systems, capacitor energy storage systems, and modifies stationary storage battery systems in the list of items that exempt hazardous classification of the occupancy.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7473

Proponent

Richard Schauland

307

Section

3

Chapter

Approved as Submitted

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Summary

AS

AM

NAR

I

W

Commission Action

Page 4 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7474

Proponent

Richard Schauland

311

Section

3

Chapter

Approved as Submitted

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7557

Proponent

Ann Russo5

310.4

Section

3

Chapter

Approved as Submitted

Provides clarification on uses for R-2 and R-3 based on size (number of occupants).

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7559

Proponent

Ann Russo5

310.5

Section

3

Chapter

Approved as Submitted

This proposal further refines the added language by inserting &quot;owner occupied&quot; which is a qualifier already in the Code; by clarifying that the lodging use is of a &quot;transient&quot; nature consistent with other Group R-3 use language.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7560

Proponent

Ann Russo5

310.5.2

Section

3

Chapter

Approved as Submitted

This proposal further refines the added language by inserting &quot;owner occupied&quot; which is a qualifier already in the Code; by clarifying that the lodging use is of a &quot;transient&quot; nature consistent with other Group R-3 use language.

Summary

AS

AM

NAR

I

W

Commission Action

Page 5 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7561

Proponent

Ann Russo5

311.1.1

Section

3

Chapter

Approved as Submitted

The subject of storage rooms has been discussed since the first edition of the Code. The original code considered storage rooms as incidental uses. This will better define that space&#39;s usage.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7564

Proponent

Ann Russo5

312.1

Section

3

Chapter

Approved as Submitted

This addition identifies the placement of communication equipment structures less than 1,500 sq ft gross into Group U.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8173

Proponent

Joseph Belcher for Bison

302.1

Section

3

Chapter

Approved as Submitted

Adds provisions for occupied roofs.

Summary

AS

AM

NAR

I

W

Commission Action

4-Special Detailed Requirements Based on Use and Occupancy

Mod #

7368

Proponent

Bryan Holland

405.8

Section

4

Chapter

Approved as Submitted

This proposed modification changes fire pumps for underground buildings to an emergency power load from a standby power load.

Summary

AS

AM

NAR

I

W

Commission Action

Page 6 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7390

Proponent

Ann Russo2

412.6.3

Section

4

Chapter

Approved as Submitted

Aligns the aircraft paint hangar spray equipment cleaning and storage provisions with the fundamental system of classifying hazardous areas in accordance with Section 307.1 and result in more consistent application of Florida Fire Prevention Code and Florida Building Code provisions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7511

Proponent

Tim Earl

406.8.3

Section

4

Chapter

Approved as Submitted

This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7546

Proponent

Tim Earl

424.2

Section

4

Chapter

Approved as Submitted

This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7562

Proponent

Ann Russo1

401.1

Section

4

Chapter

Approved as Submitted

The purpose of this code change is to simply formalize these terms and explain their relationship. This will assist code practitioners in properly establishing applicable code requirements and improve uniformity and continuity in the identification of appropriate provisions.

Summary

AS

AM

NAR

I

W

Commission Action

Page 7 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7565

Proponent

Ann Russo5

402.8.6.1

Section

4

Chapter

Approved as Submitted

The purpose of this proposal is to point the user to all of the code requirements for exit passageways.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7826

Proponent

Paul Coats

406.7.2

Section

4

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7992

Proponent

Paul Coats

414.2.4

Section

4

Chapter

Approved as Submitted

Adds Type IV construction in requirements for fire resistance of floors serving control areas.

Summary

AS

AM

NAR

I

W

Commission Action

6-Types of Construction

Mod #

7522

Proponent

Paul Coats

602.4

Section

6

Chapter

Approved as Submitted

This proposed modification takes the details for heavy timber construction out of Chapter 6 and consolidates them in Chapter 23.

Summary

AS

AM

NAR

I

W

Commission Action

Page 8 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8121

Proponent

Ann Russo5

604

Section

6

Chapter

Approved as Submitted

his proposal is intended to require fuel lines supplying a generator set inside a building to be separated with fire-resistance-rated construction from areas of the building other than in the room in which the generator is located.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8265

Proponent

Paul Coats

601

Section

6

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8267

Proponent

Paul Coats

603

Section

6

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

7-Fire and Smoke Protection Features

Mod #

7495

Proponent

Ann Russo3

705.2

Section

7

Chapter

Approved as Submitted

Restores language from the previous editions (2012 IBC) and eliminates an anomaly that was in the earlier editions.

Summary

AS

AM

NAR

I

W

Commission Action

Page 9 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7496

Proponent

Paul Coats

721.1

Section

7

Chapter

Approved as Submitted

Corrects an assembly description error in Table 721.1(3)

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7497

Proponent

Ann Russo3

716.1

Section

7

Chapter

Approved as Submitted

Cleans up the language to ensure NFPA 80 is the referenced document throughout the section and correlates to changes made in the base code

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7569

Proponent

Ann Russo3

705.8.5

Section

7

Chapter

Approved as Submitted

Revises table 708.5 “Vertical section of openings” to allow temperature rise limitations to not apply to vertical separations as this is a different fire exposure condition than the flame barriers that project beyond the exterior wall.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7596

Proponent

Ann Russo3

714.2

Section

7

Chapter

Approved as Submitted

This modification is meant to remove redundant wording, cover all listed penetration fire-stop penetration systems, and require installation in accordance with the manufacturer&#39;s instructions.

Summary

AS

AM

NAR

I

W

Commission Action

Page 10 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7609

Proponent

Ann Russo3

715.1

Section

7

Chapter

Approved as Submitted

This modification adds an exception for fire-resistant joints. This exception clarifies that  a fire-resistant joint at the intersection of exterior curtain wall assemblies and roof slabs or roof decks are not required.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7623

Proponent

Ann Russo3

716.1

Section

7

Chapter

Approved as Submitted

This modification revises sections 716.1, 716.5, and 716.6 by removing redundant wording and clarifying the requirements of NFPA 80 for opening protectives within this code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7624

Proponent

Ann Russo3

716.3

Section

7

Chapter

Approved as Submitted

Revises table 716.3 “Marking Fire-Rated Glazing Assemblies,” and revises section 2409.1 “Glass walkways” to maintain consistency in the code when dealing with fire-rated glazing products, by adding the testing and marking requirements for glass installed as part of a floor/ceiling assembly.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7671

Proponent

Ann Russo3

716.5

Section

7

Chapter

Approved as Submitted

Addition of footnote &quot;f&quot; to table 716.5 to provide an appropriate reference to the additional permitted markings for fire rated glazing door vision panels found in section 716.3.1 &amp; Table 716.3.

Summary

AS

AM

NAR

I

W

Commission Action

Page 11 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7682

Proponent

Jon Roberts

714

Section

7

Chapter

Approved as Submitted

Revises language in section 714.3.1.1 and section 714.1.1

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7684

Proponent

Jon Roberts

716

Section

7

Chapter

Approved as Submitted

Adds UL10B and UL10C as additional testing standards that can be used as alternatives to the current NFPA 252 requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7702

Proponent

Jon Roberts

717

Section

7

Chapter

Approved as Submitted

This intent of this proposal is simply to bring consistency in terminology within Section 717, which referenced &quot;approved&quot; dampers instead of &quot;listed&quot; dampers.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7887

Proponent

Joseph Hetzel

716.5.9.4

Section

7

Chapter

Approved as Submitted

Clarify vertical sliding fire doors from rolling steel fire doors.

Summary

AS

AM

NAR

I

W

Commission Action

Page 12 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7890

Proponent

Joseph Hetzel

716.5.2

Section

7

Chapter

Approved as Submitted

Revision to a list of assemblies, to have rolling steel fire doors represented.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7891

Proponent

Joseph Hetzel

716.5.9.1

Section

7

Chapter

Approved as Submitted

Clarification involving side-hinged swinging fire doors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7919

Proponent

Amanda Hickman

717.3.3.1

Section

7

Chapter

Approved as Submitted

This modification revises terminology used in section 717.3.3.1

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7928

Proponent

Amanda Hickman

717.4

Section

7

Chapter

Approved as Submitted

This modification revises section 717.4

Summary

AS

AM

NAR

I

W

Commission Action

Page 13 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8133

Proponent

John Woestman

709.5

Section

7

Chapter

Approved as Submitted

1.	Update text of references to IBC 1010.1.4.3. Special purpose horizontal sliding, accordion, or folding doors as the name of this section and these products were revised for the 2017 FBC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8140

Proponent

Richard Logan

709.5

Section

7

Chapter

Approved as Submitted

Add a sentence to the end of 709.5 Exception number 1 that reads as follows: Factory applied or field applied protective plates are not required to be labeled.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8187

Proponent

Richard Logan

712.1.10.1

Section

7

Chapter

Approved as Submitted

strike out the words &quot;open and enclosed&quot; in the middle of the sentence and the word &quot;respectively&quot; at the end of the sentence. The current language in the code is redundant and confusing.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8196

Proponent

Richard Logan

713.8

Section

7

Chapter

Approved as Submitted

Membrane penetrations should be permitted on the outside of the shaft enclosure. This modification would add language at the end of the section to that effect.

Summary

AS

AM

NAR

I

W

Commission Action

Page 14 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8226

Proponent

John Woestman

716.5.9.3

Section

7

Chapter

Approved as Submitted

The FBC is silent regarding delayed action closers. This proposal includes a definition and requirements for where delayed action closers may be installed.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8269

Proponent

Paul Coats

705.2.3

Section

7

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8304

Proponent

Richard Logan

713.13

Section

7

Chapter

Approved as Submitted

The code section as published is in error. Chapter 5 of NFPA 82 includes requirements for incinerators however Ch 6 includes requirement for waste and linen chutes.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8306

Proponent

Richard Logan

713.13.1

Section

7

Chapter

Approved as Submitted

Insert wording that permits a recycling chute to be located in the same shaft with a waste chute. Hazard associated with a recycling chute is not any different than that of a waste chute.

Summary

AS

AM

NAR

I

W

Commission Action

Page 15 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8308

Proponent

Richard Logan

716.5.8.1.2.1

Section

7

Chapter

Approved as Submitted

Modify this section to limit the area of the glazing to be 100 square inches in lieu of limiting any dimension to be 10 inches.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8324

Proponent

Richard Logan

716.5.9.1

Section

7

Chapter

Approved as Submitted

Modify the section to clarify that single fire doors shall be side-hinged swinging also.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8331

Proponent

Richard Logan

716.5.9.3

Section

7

Chapter

Approved as Submitted

Delete items which are addressed in the items specific to smoke barriers, shaft enclosures, fire &amp; smoke barriers. Items are reworded &amp; renumbered to be correct. Fire barriers were added to the list for doors that protect openings in exit enclosures, vertical shafts, incidental uses, etc.

Summary

AS

AM

NAR

I

W

Commission Action

8-Interior Finishes

Mod #

7507

Proponent

Paul Coats

803.3

Section

8

Chapter

Approved as Submitted

Removes heavy timber in interior exit elements from the exception to interior finish requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Page 16 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7547

Proponent

Tim Earl

804

Section

8

Chapter

Approved as Submitted

This change adds ASTM E648 as an option to NFPA 253, since they are equivalent tests.  This is the same thing we do for Steiner Tunnel testing, where the code (throughout) requires testing to ASTM E84 or UL 723.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8270

Proponent

Paul Coats

803.3

Section

8

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

9-Fire Protection Systems

Mod #

7373

Proponent

Bryan Holland

907.2

Section

9

Chapter

Approved as Submitted

This proposed modification adds a mandate for an automatic smoke detection system at battery rooms and for capacitor energy storage systems with a pointer to the FFPC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7376

Proponent

Bryan Holland

907.2.1

Section

9

Chapter

Approved as Submitted

This proposed modification adds more criteria for when a manual fire alarm system is required in a Group A occupancy.

Summary

AS

AM

NAR

I

W

Commission Action

Page 17 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7379

Proponent

Bryan Holland

907.5.2.3

Section

9

Chapter

Approved as Submitted

This proposed modification is a mostly editorial revision of the visible alarm requirements in I-1, R-1 and R-2 occupancy types.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8059

Proponent

George Wiggins (BOAF)

901.6.1

Section

9

Chapter

Approved as Submitted

This proposal corrects an exception made in a previous code edition to prevent having a conflict between this section and Section 903.4 in order to be consistent.

Summary

AS

AM

NAR

I

W

Commission Action

10-Means of Egress

Mod #

7213

Proponent

Scott McAdam

1015.8

Section

10

Chapter

Approved as Submitted

FBC, Building 1015.8 window fall protection 36 inch sill height change to 24 inches to match FBC, Residential R312.2. the safety issue should be the same and not related to occupancy, i.e. multi family or single family.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7333

Proponent

Ann Russo3

1006.3

Section

10

Chapter

Approved as Submitted

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Summary

AS

AM

NAR

I

W

Commission Action

Page 18 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7334

Proponent

Ann Russo3

1026.4

Section

10

Chapter

Approved as Submitted

The proposed language clarifies requirement for when the actual occupant load is less than the capacity of the exit. This reflects actual conditions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7354

Proponent

Ann Russo1

1010.3

Section

10

Chapter

Approved as Submitted

Manufacturers of turnstile devices have expanded into the security access control market and currently have products that have physical barrier leaves that restrict access into and out of buildings.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7360

Proponent

Bryan Holland

1013.6.3

Section

10

Chapter

Approved as Submitted

This proposed modification simply moves a rule in the exception up to the main charging paragraph of the Section.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7471

Proponent

Ann Russo1

1004.3

Section

10

Chapter

Approved as Submitted

Add verbiage to the current language of the code in order to help the Fire Marshal verify the posting of appropriate occupancy, occupant load and &quot;intended configuration&quot; of the assembly rooms or spaces.

Summary

AS

AM

NAR

I

W

Commission Action

Page 19 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7472

Proponent

Ann Russo1

1004.5

Section

10

Chapter

Approved as Submitted

Occupied roof will also need to meet the means of egress requirements.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7512

Proponent

Ann Russo1

1006.2.1

Section

10

Chapter

Approved as Submitted

This modification is to improve the consistency in the determination and application of fundamental FBC means of egress provisions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7563

Proponent

Ann Russo1

1006.2.2

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to regulate exit and exit access doors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7573

Proponent

Ann Russo1

1004.1.2

Section

10

Chapter

Approved as Submitted

Code change proposal is to revise the current maximum floor area allowance per occupant in Table 1004.1.2 for business occupancies from 100 ft2/occupant (gross) to 150 ft2/occupant (gross) for determining the means of egress requirements in business areas.

Summary

AS

AM

NAR

I

W

Commission Action

Page 20 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7650

Proponent

Ann Russo1

1006.3

Section

10

Chapter

Approved as Submitted

Expanding the provisions for the required egress from stories or occupied roofs.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7670

Proponent

Ann Russo1

1008.2.2

Section

10

Chapter

Approved as Submitted

Provides specific means of egress illumination requirements for Group I-2 and adding a code section of exit discharge illumination.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7672

Proponent

Ann Russo1

1006.2.2.4

Section

10

Chapter

Approved as Submitted

The proposal will correlate the provisions for day care facilities to the proper occupancy Group I-4.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7701

Proponent

Ann Russo5

1019.3

Section

10

Chapter

Approved as Submitted

Correct possible misinterpretation of definition on egress stairway and access ramp

Summary

AS

AM

NAR

I

W

Commission Action

Page 21 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7720

Proponent

Ann Russo5

1020.4

Section

10

Chapter

Approved as Submitted

Remove reference to dead end corridor egress and update R-4 exit allowances for single exit

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7722

Proponent

Ann Russo5

1023.3.1

Section

10

Chapter

Approved as Submitted

Clarify pressurization in exit stairways

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7723

Proponent

Ann Russo5

1023.5

Section

10

Chapter

Approved as Submitted

Improves penetration protection for security wiring applications

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7724

Proponent

Ann Russo5

1024.6

Section

10

Chapter

Approved as Submitted

Improves definition of systems under reference

Summary

AS

AM

NAR

I

W

Commission Action

Page 22 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7725

Proponent

Ann Russo5

1023.11

Section

10

Chapter

Approved as Submitted

Improved coordination between sections on requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7750

Proponent

John Woestman

1010.1.1

Section

10

Chapter

Approved as Submitted

This proposal combines approved revisions to the 2018 IBC by proposals E47-15 and E49-15. which were approved “As Modified”. The intent of a large portion of this change is consistent use of the terminology (e.g., minimum clear opening width/height) throughout this section.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7753

Proponent

Ann Russo5

1023.1

Section

10

Chapter

Approved as Submitted

Better coordination and references to standpipe requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7754

Proponent

Ann Russo5

1024.8

Section

10

Chapter

Approved as Submitted

Better coordination and references to standpipe requirements

Summary

AS

AM

NAR

I

W

Commission Action

Page 23 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7755

Proponent

Ann Russo5

1026.5

Section

10

Chapter

Approved as Submitted

Better coordination and references to standpipe requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7759

Proponent

Ann Russo5

1025.2.5

Section

10

Chapter

Approved as Submitted

Include exception to marking

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7761

Proponent

Ann Russo5

1026.4.1

Section

10

Chapter

Approved as Submitted

Clarifies capacity requirement for horizontal egress refuge areas

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7762

Proponent

John Woestman

1010.1.4.1.2

Section

10

Chapter

Approved as Submitted

The requirements for revolving doors were revised / updated for the 2015 IBC, including a definition of “breakout” and the use of that term which took the place of the term “collapsing”. I missed this revision during the code development cycle for the 2015 IBC. Hence this proposal.

Summary

AS

AM

NAR

I

W

Commission Action

Page 24 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7763

Proponent

John Woestman

1010.1.4.2

Section

10

Chapter

Approved as Submitted

The Builders Hardware Manufacturers Association (BHMA), an ANSI accredited SDO, received ANSI approval of A156.38-2014 Low Energy Power Operated Sliding and Folding Doors, with mandatory performance and safety requirements for low energy power operated sliding and folding doors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7765

Proponent

Ann Russo5

1027.5

Section

10

Chapter

Approved as Submitted

Addresses egress stair requirements for Group R-3 requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7766

Proponent

Ann Russo5

1027.6

Section

10

Chapter

Approved as Submitted

Addresses egress stair requirements for Group R-3 requirements

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7768

Proponent

Ann Russo5

1028.4.1

Section

10

Chapter

Approved as Submitted

The proposal deletes an outdated and unused code requirement for egress courts.

Summary

AS

AM

NAR

I

W

Commission Action

Page 25 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7771

Proponent

Ann Russo5

1005.3.1

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7772

Proponent

Ann Russo5

1005.3.2

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7773

Proponent

Ann Russo5

1009.3

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7774

Proponent

Ann Russo5

1019.3

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Page 26 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7775

Proponent

Ann Russo5

1029.6

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7776

Proponent

Ann Russo5

1029.6.3

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7777

Proponent

Ann Russo5

1029.7

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7778

Proponent

Ann Russo5

1029.8

Section

10

Chapter

Approved as Submitted

Coordinates section with application to open air assemblies

Summary

AS

AM

NAR

I

W

Commission Action

Page 27 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7790

Proponent

Ann Russo5

1029.8.1

Section

10

Chapter

Approved as Submitted

Coordinate definition for open-air assembly related section

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7791

Proponent

Ann Russo5

1029.9.5

Section

10

Chapter

Approved as Submitted

Coordinate definition for open-air assembly related section

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7793

Proponent

Ann Russo5

1029.12.2.1

Section

10

Chapter

Approved as Submitted

Coordinate definition for open-air assembly related section

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7794

Proponent

Ann Russo5

1029.12.2.2

Section

10

Chapter

Approved as Submitted

Coordinate definition for open-air assembly related section

Summary

AS

AM

NAR

I

W

Commission Action

Page 28 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7828

Proponent

Lawrence Cohan

1010.1.9.5.1

Section

10

Chapter

Approved as Submitted

Delete without substitution.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7837

Proponent

Miguel Botello

1023.4

Section

10

Chapter

Approved as Submitted

Revises section 1023.4 “Openings” to replace “necessary” with the word “require” for consistency within the code.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7848

Proponent

Lawrence Cohan

1010.1.9.7

Section

10

Chapter

Approved as Submitted

Clarify areas and number of occupants in Group E occupancies that would allow the use of delayed egress locking systems.

Allow Group I-1 and I-4 occupancies to have up to 2 delayed egress locking systems in the egress path.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7853

Proponent

Lawrence Cohan

1010.1.9.8

Section

10

Chapter

Approved as Submitted

Clarify and improve the consistency of the language in this code section.

Summary

AS

AM

NAR

I

W

Commission Action

Page 29 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7866

Proponent

Miguel Botello

1026.4

Section

10

Chapter

Approved as Submitted

Revise section 1026.4 &quot;Refuge Area&quot; to clarify the requirements for when the actual occupant load is less than the capacity of the exit.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7868

Proponent

Miguel Botello

1029.9.1

Section

10

Chapter

Approved as Submitted

Revise section 1029.9.1 &quot;Minimum aisle width&quot; coordination cleanup for minimum aisle width.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7889

Proponent

Lawrence Cohan

1010.1.9.10

Section

10

Chapter

Approved as Submitted

Permit the use of locked doors for I-1 Occupancies within correction facilities.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7897

Proponent

Lawrence Cohan

1011.11

Section

10

Chapter

Approved as Submitted

clarify that handrails are required on &quot;flights of stairways&quot;, not &quot;stairways&quot;.   The definition of &quot;stairways&quot; includes landings.

Summary

AS

AM

NAR

I

W

Commission Action

Page 30 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7902

Proponent

Lawrence Cohan

1014.1

Section

10

Chapter

Approved as Submitted

clarifies railing requirements for &quot;flights of stairways&quot;, verses &quot;stairways&quot;.  By definition, &quot;stairways&quot; include landings.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7909

Proponent

Lawrence Cohan

1011.16

Section

10

Chapter

Approved as Submitted

clarifies the construction requirements for permanent ladders.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7961

Proponent

Ann Russo5

1029.9.1

Section

10

Chapter

Approved as Submitted

The intent of this proposal is consistency in language and consistency in exceptions to other sections.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7962

Proponent

Ann Russo5

1029.14.3

Section

10

Chapter

Approved as Submitted

New definitions to deal with vomitories specific needs

Summary

AS

AM

NAR

I

W

Commission Action

Page 31 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7963

Proponent

Ann Russo5

1029.14.1

Section

10

Chapter

Approved as Submitted

New definitions to deal with vomitories specific needs

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7964

Proponent

Ann Russo5

1029.14.2

Section

10

Chapter

Approved as Submitted

New definitions to deal with vomitories specific needs

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7965

Proponent

Ann Russo5

1029.10.1

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7966

Proponent

Ann Russo5

1029.10.2

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.

Summary

AS

AM

NAR

I

W

Commission Action

Page 32 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7968

Proponent

Ann Russo5

1029.10.2.1

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7969

Proponent

Ann Russo5

1029.10.2.2

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7971

Proponent

Ann Russo5

1029.10.3

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to provide minor revisions to clarify the language relating to the transitions between stepped aisle and stairways.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7973

Proponent

Lawrence Cohan

1013.2

Section

10

Chapter

Approved as Submitted

allow more flexibility in the height of low-level exit signs

Summary

AS

AM

NAR

I

W

Commission Action

Page 33 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7977

Proponent

Lawrence Cohan

1013.4

Section

10

Chapter

Approved as Submitted

clarify code language to require tactile signage only for doors in areas of refuge that lead to the stairway (not to elevator lobbies).

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7986

Proponent

Lawrence Cohan

1015.3

Section

10

Chapter

Approved as Submitted

eliminate height of rail requirement to be taken from top of seat in Group R-3 not more than 3 story occupancies and individual dwellings in Group R-2 not more than 3 stories above grade.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8005

Proponent

Lawrence Cohan

202

Section

10

Chapter

Approved as Submitted

modifies definition of &quot;common path&quot;

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8006

Proponent

Lawrence Cohan

1017.3

Section

10

Chapter

Approved as Submitted

modifies definition of &quot;common path&quot;

Summary

AS

AM

NAR

I

W

Commission Action

Page 34 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8046

Proponent

Ann Russo4

1015.3

Section

10

Chapter

Approved as Submitted

In Group F occupancies the tip of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if, the exit access stairways serve three stories or less, and such stairs are not open to the public, and the top of the guard also serves as handrail.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8101

Proponent

Lawrence Cohan

1010.1.9.11

Section

10

Chapter

Approved as Submitted

Allow the 5th and 6th floors of non-high rise buildings to use locking hardware on stairway means of egress doors - the same as currently allowed on floors 1 thru 4.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8109

Proponent

Lawrence Cohan

1010.1.10

Section

10

Chapter

Approved as Submitted

limits panic hardware to swinging doors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8132

Proponent

Ann Russo4

1010.1.9.7

Section

10

Chapter

Approved as Submitted

Permit the use of delayed egress system on door(s) other than the main entrance/exit door(s) from a courtroom.

Summary

AS

AM

NAR

I

W

Commission Action

Page 35 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8134

Proponent

John Woestman

1010.1.4.4

Section

10

Chapter

Approved as Submitted

Propose requirements for locking of doors to classrooms, offices, and other occupied rooms in Group E and Group B educational occupancies.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8136

Proponent

John Woestman

1010.1.9.3

Section

10

Chapter

Approved as Submitted

Add a section to FBC in the special locking arrangements area to address “monitored egress”. Monitored egress is where a device such as a card reader, keypad, iris scan, finger scan, etc., is used to monitor who is egressing.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8202

Proponent

Ann Russo4

1023.4

Section

10

Chapter

Approved as Submitted

Replaces non-mandatory language with mandatory language &quot;required&quot; instead of necessary

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8206

Proponent

Ann Russo4

1023.11

Section

10

Chapter

Approved as Submitted

Adds Section 412.3.2 to smoke proof enclosures in correlation with air traffic control towers.

Summary

AS

AM

NAR

I

W

Commission Action

Page 36 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8219

Proponent

John Woestman

1010.1.10

Section

10

Chapter

Approved as Submitted

FBC proposal incorporating revisions approved for the 2018 IBC by proposals E77-15 and E78-15.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8309

Proponent

Ann Russo2

1010.1.1

Section

10

Chapter

Approved as Submitted

The intent of a large portion of this change is consistent use of the terminology (e.g., minimum clear opening width/height) throughout this section. There is also the intent of putting the modifier first within the specific requirements (Group I-2, ambulatory care) and the exceptions.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8313

Proponent

Ann Russo2

1010.1.9.3

Section

10

Chapter

Approved as Submitted

The intent of this proposal is to allow doors to roofs not intended to be occupied to be locked. In an effort to prevent locking out an authorized person who goes to the roof from inside the building, this proposal includes a requirement for the door to not automatically lock behind this person.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8314

Proponent

Ann Russo2

1010.1.9.5.1

Section

10

Chapter

Approved as Submitted

Eliminates an inconsistent requirement.

Summary

AS

AM

NAR

I

W

Commission Action

Page 37 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8315

Proponent

Ann Russo2

1010.1.9.7

Section

10

Chapter

Approved as Submitted

This proposal is in response to several requests to address the needs of small educational occupancies to help prevent wandering / elopement, especially for the very young, and for special needs students.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8317

Proponent

Ann Russo2

1010.1.9.7

Section

10

Chapter

Approved as Submitted

Provides a design option that would allow two delayed egress locking systems in the means of egress.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8318

Proponent

Ann Russo2

1010.1.9.8

Section

10

Chapter

Approved as Submitted

Update to improve clarity and consistency in the language. The language is proposed to eliminate redundancy in this section.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8323

Proponent

Ann Russo2

1010.1.9.10

Section

10

Chapter

Approved as Submitted

Eliminates the list of Groups in the section due to inconsistencies with how correctional facilities are defined in the code.

Summary

AS

AM

NAR

I

W

Commission Action

Page 38 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8333

Proponent

Ann Russo2

1011.10

Section

10

Chapter

Approved as Submitted

Modifies tread measurement for spiral stairs, as the method is outdated.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8337

Proponent

Ann Russo2

1011.11

Section

10

Chapter

Approved as Submitted

Clarifies that handrails, other than extensions, are not required at the periphery of stair landings.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8339

Proponent

Ann Russo2

1011.16

Section

10

Chapter

Approved as Submitted

Clarifies currently existing ladder construction requirements.

Summary

AS

AM

NAR

I

W

Commission Action

12-Interior Environment

Mod #

7531

Proponent

Ann Russo1

1208.2

Section

12

Chapter

Approved as Submitted

Clarification and coordination of current requirements.

Summary

AS

AM

NAR

I

W

Commission Action

14-Exterior Walls

Page 39 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7242

Proponent

Andy Williams

1407

Section

14

Chapter

Approved as Submitted

Eliminate Alternate Conditions allowable for Metal Composite Materials (MCM)

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8271

Proponent

Paul Coats

1406.3

Section

14

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

24-Glass and Glazing

Mod #

8201

Proponent

Lynn Miller

2406.4.5

Section

24

Chapter

Approved as Submitted

This modification clarifies that the sacrificial outboard panes of laminated, insulated glass windows are not required to be safety glazed if they are not exposed to potential hazards.

Summary

AS

AM

NAR

I

W

Commission Action

26-Plastic

Mod #

7847

Proponent

Marcelo Hirschler

2603.4

Section

26

Chapter

Approved as Submitted

This proposal adds a suitable thermal barrier material.

Summary

AS

AM

NAR

I

W

Commission Action

Page 40 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8236

Proponent

John Woestman

2612

Section

26

Chapter

Approved as Submitted

This proposal is intended to be clarifications and simplification of the requirements for plastic composites identified in this section of the FBC.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8251

Proponent

John Woestman

2603.7

Section

26

Chapter

Approved as Submitted

This proposal is intended to revise the requirements for foam plastic in plenums. There is a companion proposal for the Florida Mechanical Code. This code change is intended to not revise technical requirements, but clarifies the code&#39;s intent for the use of foam plastic in plenums.

Summary

AS

AM

NAR

I

W

Commission Action

31-Special Construction

Mod #

7534

Proponent

Michael Fox

3104.5.2.2

Section

31

Chapter

Approved as Submitted

Clarifies type of glass required for pedestrian walkways

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8275

Proponent

Paul Coats

3105.3

Section

31

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

33-Safeguards During Construction

Page 41 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7607

Proponent

Ann Russo5

3306.2

Section

33

Chapter

Approved as Submitted

The code provisions are based upon an assumption where the building or structure is completely contained within the construction site with no access by the general public. There are some perceptions that this code provision only applies to &quot;the public right of way&quot;.

Summary

AS

AM

NAR

I

W

Commission Action

35-Referenced Standards

Mod #

7548

Proponent

Tim Earl

35

Section

35

Chapter

Approved as Submitted

This change adds ASTM E648 as a referenced standard, as a companion to 3 proposals which add it as an option to NFPA 253, since they are equivalent tests and many labs produce reports labeled ASTM E648 instead of NFPA 253.

Summary

AS

AM

NAR

I

W

Commission Action

2704-Fire Districts

Mod #

8276

Proponent

Paul Coats

102.2.8

Section

2704

Chapter

Approved as Submitted

This is a correlation change with other modifications that reorganize the heavy timber provisions. It does not change requirements but improves terminology to distinguish between the use of the terms &quot;heavy timber&quot; and &quot;Type IV construction.&quot;

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Existing Building

Ü

4-Prescriptive Compliance Method

Mod #

8049

Proponent

Joseph Belcher for FHBA

406.2

Section

4

Chapter

Approved as Submitted

Coordinates replacement window provisions of the FBC-EB

Summary

AS

AM

NAR

I

W

Commission Action

Page 42 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8235

Proponent

Ann Russo4

401.2.4

Section

4

Chapter

Approved as Submitted

It add a new section 401.2.4 that allows alteration projects using the prescriptive method to use sprinkler systems as alternatives to other forms of protection as allowed in the Building Code and as allowed in the FEBC for the work area method.

Summary

AS

AM

NAR

I

W

Commission Action

8-Alterations - Level 2

Mod #

7359

Proponent

Kimberly Gilliam

805.3

Section

8

Chapter

Approved as Submitted

The intent of the proposal is coordination and an update to new terminology.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8048

Proponent

Kimberly Gilliam

804.2.4

Section

8

Chapter

Approved as Submitted

The intent of this code change is to address that the municipal water supply must be available at the floor level where the work area is located without the installation of a fire pump. Move to new section 904.1.4, bring into Level 3 alterations.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8297

Proponent

Harold Barrineau

804.4.1.7

Section

8

Chapter

Approved as Submitted

804.4.1.7 Group R-4.

Summary

AS

AM

NAR

I

W

Commission Action

10-Change of Occupancy

Page 43 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8369

Proponent

Kimberly Gilliam

1012.4

Section

10

Chapter

Approved as Submitted

Clarification so that the table is consistent with the identification of different levels of hazards for the residents in a Group R-4.

Summary

AS

AM

NAR

I

W

Commission Action

14-Performance Compliance Methods

Mod #

8376

Proponent

Kimberly Gilliam

1401.6

Section

14

Chapter

Approved as Submitted

This proposal adds &quot;other codes&quot; because other codes besides the

FBC, Existing Building are referenced in Chapter 14.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8379

Proponent

Kimberly Gilliam

1401.6.6

Section

14

Chapter

Approved as Submitted

This proposal clarifies the issue as to the proper application of this section by providing a footnote to VO and modifies the text in 1401.6.6 to ensure

that the maximum value of 2 applies to VO.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

8382

Proponent

Kimberly Gilliam

1401.6.8

Section

14

Chapter

Approved as Submitted

This proposal clarifies questions regarding the application of Table 1401.6.8.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

3-Building Planning

Page 44 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7335

Proponent

Bryan Holland

302.4.2

Section

3

Chapter

Approved as Submitted

This proposed modification adds a 4th exception for membrane penetrations made by luminaires.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7337

Proponent

Bryan Holland

314.2.2

Section

3

Chapter

Approved as Submitted

This proposed modification simply removes redundant language in the exceptions to smoke alarm installation requirements in existing buildings.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7345

Proponent

Bryan Holland

324

Section

3

Chapter

Approved as Submitted

This proposed modification updates the requirements for solar energy systems.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7539

Proponent

Scott McAdam

302.1

Section

3

Chapter

Approved as Submitted

Current language could be misinterpreted to allow the placement of structures accessory to other dwelling units adjacent to another unit without regard to fire separation distances. Clarify wording.

Summary

AS

AM

NAR

I

W

Commission Action

Page 45 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7540

Proponent

Scott McAdam

302.10.1

Section

3

Chapter

Approved as Submitted

Clarification and language cleanup Section 302.10 intended to apply to all insulating materials the sentence as is causes confusion because it refers to two types of insulation materials

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7685

Proponent

Scott McAdam

310.3

Section

3

Chapter

Approved as Submitted

Bulkhead enclosures change wording to area wells, clarification for size, depth, access, drainage and door opening.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7687

Proponent

Scott McAdam

311.7.1

Section

3

Chapter

Approved as Submitted

Handrail design and projection clarification

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7706

Proponent

Scott McAdam

311.7.3

Section

3

Chapter

Approved as Submitted

change in stairway height

Summary

AS

AM

NAR

I

W

Commission Action

Page 46 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7734

Proponent

Scott McAdam

311.7.8

Section

3

Chapter

Approved as Submitted

The deleted phrase &quot;continuous run of treads&quot; predates the code definition of the term &quot;flight&quot;, and is redundant. Flight is defined as: A continuous run of rectangular treads or winders or combination thereof from one landing to another.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7735

Proponent

Scott McAdam

312.1.1

Section

3

Chapter

Approved as Submitted

clarification on location of guards

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7813

Proponent

Joseph Belcher for FHBA

308.4.2

Section

3

Chapter

Approved as Submitted

Simplifies requirements related to glazing adjacent to doors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7814

Proponent

Joseph Belcher for FHBA

308.4.7

Section

3

Chapter

Approved as Submitted

Expand and simplify Figure 308.4.7

Summary

AS

AM

NAR

I

W

Commission Action

Page 47 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

7816

Proponent

Joseph Belcher for FHBA

311.7.11

Section

3

Chapter

Approved as Submitted

Allows alternating tread devices in areas with low occupancy,

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7817

Proponent

Joseph Belcher for FHBA

316.5.4

Section

3

Chapter

Approved as Submitted

Use of fiber-cement panel, soffit, or backer board as a thermal barrier.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7957

Proponent

Joseph Belcher for FHBA

302.1

Section

3

Chapter

Approved as Submitted

Adds alternate materials for protecting the underside of projections.

Summary

AS

AM

NAR

I

W

Commission Action

7-Wall Covering

Mod #

7711

Proponent

Ann Russo1

703.14.3

Section

7

Chapter

Approved as Submitted

Add flame spread index provision for polypropylene siding.

Summary

AS

AM

NAR

I

W

Commission Action

10-Chimneys and Fireplaces

Page 48 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

190

Mod #

8042

Proponent

Ann Russo8

1005.8

Section

10

Chapter

Approved as Submitted

ADDS A CODE SECTION TO REQUIRE INSULATION SHIELDS FOR FACTORY-BUILT CHIMNEYS AS IS NOW REQUIRED IN THE CODE FOR VENTS.

Summary

AS

AM

NAR

I

W

Commission Action

3317-Reserved

Mod #

7942

Proponent

Brad Schiffer

101.1

Section

3317

Chapter

Approved as Submitted

Provides regulations for this additional type of housing if adopted by local ordinance.

Summary

AS

AM

NAR

I

W

Commission Action

3319-Strawbale Construction

Mod #

7456

Proponent

Richard Schauland

107.1.1

Section

3319

Chapter

Approved as Submitted

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7457

Proponent

Richard Schauland

107.1.2

Section

3319

Chapter

Approved as Submitted

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

Summary

AS

AM

NAR

I

W

Commission Action

No Affirmative Recommendation

TAC Recommendation

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

7

SubCode:

Building

Ü

Page 49 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

7

2-Definitions

Mod #

7850

Proponent

Marcelo Hirschler

202

Section

2

Chapter

No Affirmative Recommendation

Adds definition for SOFT CONTAINED PLAY EQUIPMENT STRUCTURE, a term that is used for regulation.

Summary

AS

AM

NAR

I

W

Commission Action

4-Special Detailed Requirements Based on Use and Occupancy

Mod #

7618

Proponent

Marcelo Hirschler

424.1

Section

4

Chapter

No Affirmative Recommendation

Clarifies that both height and area limitations apply

Summary

AS

AM

NAR

I

W

Commission Action

7-Fire and Smoke Protection Features

Mod #

7611

Proponent

Marcelo Hirschler

720.1

Section

7

Chapter

No Affirmative Recommendation

This is clarification and cleanup. Section 720.1 is intended to apply to all insulating materials but the sentence causes confusion as is.

Summary

AS

AM

NAR

I

W

Commission Action

8-Interior Finishes

Mod #

7620

Proponent

Marcelo Hirschler

803

Section

8

Chapter

No Affirmative Recommendation

This modifies section 803 to make it more logical and adds two new products.

Summary

AS

AM

NAR

I

W

Commission Action

35-Referenced Standards

Page 50 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

7

Mod #

7938

Proponent

Amanda Hickman

1

Section

35

Chapter

No Affirmative Recommendation

This modification updates the reference standards NFPA 80 and NFPA 105 to the most current editions.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Existing Building

Ü

8-Alterations - Level 2

Mod #

8050

Proponent

Joseph Belcher for FHBA

805.3

Section

8

Chapter

No Affirmative Recommendation

Brings FBC-EB in line with FBC-B for where single exit buildings are permitted. The FBC-EB was becoming more stringent than for new construction due to changes in the FBC-B.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

3-Building Planning

Mod #

7122

Proponent

Derek Wiechmann PG CBO

310.1.1

Section

3

Chapter

No Affirmative Recommendation

Under

R310.1.1 Operational constraints ........

Exceptions:

1. A casement window utilizing a cranking mechanism that does not delay the window to open to the minimum opening area per R310.2.1 can be utilized as an emergency escape and rescue opening.

Summary

AS

AM

NAR

I

W

Commission Action

Withdrawn

TAC Recommendation

Total Mods for  Fire in  Withdrawn

TAC:

Fire

7

SubCode:

Building

Ü

3-Use and Occupancy Classification

Page 51 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Withdrawn

TAC:

Fire

7

Mod #

7556

Proponent

Ann Russo5

302.1

Section

3

Chapter

Withdrawn

As roof areas are being used for other activities and functions, addresses these uses and related issues

Summary

AS

AM

NAR

I

W

Commission Action

6-Types of Construction

Mod #

7553

Proponent

Paul Coats

2304.11

Section

6

Chapter

Withdrawn

This proposed modification takes the details for heavy timber construction out of Chapter 6 and consolidates them in Chapter 23.

Summary

AS

AM

NAR

I

W

Commission Action

SubCode:

Residential

Ü

3-Building Planning

Mod #

7475

Proponent

John Hall

324

Section

3

Chapter

Withdrawn

The modification provides for roof access pathways and location and spacing dimensions for rooftop mounted solar PV systems. First responder safety is paramount. This provides safe access and egress during fire fighting operations.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7660

Proponent

Scott McAdam

308.4.2

Section

3

Chapter

Withdrawn

clarification of R308.4.2 glazing adjacent to a door, addresses glazing not in plane with the door

Summary

AS

AM

NAR

I

W

Commission Action

Page 52 of 52

5/31/2019

Fire

TECHNICAL ADVISORY COMMITTEE

WITHOUT COMMENTS

SECOND COMMENT PERIOD

Total Mods for this report:  205

Total Mods for  Fire in  Withdrawn

TAC:

Fire

7

Mod #

7811

Proponent

Joseph Belcher for FHBA

302.4.2

Section

3

Chapter

Withdrawn

Adds provisions for listed methods of penetrating a ceiling membrane with luminaries.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7812

Proponent

Joseph Belcher for FHBA

308.4.2

Section

3

Chapter

Withdrawn

Changes &quot;perpendicular&quot; to &quot;not in&quot; when referring to glazing adjacent to doors.

Summary

AS

AM

NAR

I

W

Commission Action

Mod #

7815

Proponent

Joseph Belcher for FHBA

311.7.3

Section

3

Chapter

Withdrawn

Increases allowable vertical rise of stairs to 151 inches.

Summary

AS

AM

NAR

I

W

Commission Action

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

F

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria