Page 1 of 5

6/4/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  13

Approved as Modified

TAC Recommendation

Total Mods for  Electrical in  Approved as Modified

TAC:

Electrical

1

SubCode:

Building

Ü

4-Special Detailed Requirements Based on Use and Occupancy

Section

449.3.15

Bryan Holland

7209

Chapter

Mod #

Comment

This proposed modification revises the requirements for lightning and surge protection for added clarity and effective enforcement.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Modified

W

Approved as Submitted

TAC Recommendation

Total Mods for  Electrical in  Approved as Submitted

TAC:

Electrical

3

SubCode:

Building

Ü

4-Special Detailed Requirements Based on Use and Occupancy

Section

453.17.7

Bryan Holland

7218

Chapter

Mod #

Comment

This proposed modification revises the section to match the language for lightning and surge protection for hospitals (449.3.15), nursing homes (450.3.19), and as proposed for assisted living facilities (464.4.7).

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

Section

450.3.19

Bryan Holland

7255

Chapter

Mod #

Comment

This proposed modification revises the requirements for lightning and surge protection for added clarity and effective enforcement.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

31-Special Construction

Page 2 of 5

6/4/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  13

Total Mods for  Electrical in  Approved as Submitted

TAC:

Electrical

3

Section

3111

Bryan Holland

7365

Chapter

Mod #

Comment

This proposed modification updates requirement for solar energy systems in the FBC-B.

31

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

No Affirmative Recommendation

TAC Recommendation

Total Mods for  Electrical in  No Affirmative Recommendation

TAC:

Electrical

9

SubCode:

Building

Ü

4-Special Detailed Requirements Based on Use and Occupancy

Section

464.4.7

Bryan Holland

7211

Chapter

Mod #

Comment

This proposed modification adds requirements for lightning and surge protection in ALFs identical to the current and proposed requirements for nursing homes.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

412.6.7

Bryan Holland

7370

Chapter

Mod #

Comment

This proposed modification adds electrical classification criteria to the rules for aircraft paint hangers.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

9-Fire Protection Systems

Page 3 of 5

6/4/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  13

Total Mods for  Electrical in  No Affirmative Recommendation

TAC:

Electrical

9

Section

917

Bryan Holland

7385

Chapter

Mod #

Comment

This proposed modification adds a new Section on &quot;Mass Notification Systems&quot; to the code.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

27-Electrical

Section

2703

Bryan Holland

7208

Chapter

Mod #

Comment

This proposed modification will add mandatory surge protection requirements to buildings under the scope of the FBC-B.

27

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

SubCode:

Energy Conservation

Ü

4-[CE] - Commercial Energy Efficiency

Section

405.6.3

Bryan Holland

7205

Chapter

Mod #

Comment

This proposed modification revises the voltage drop requirement to include &quot;customer-owned service conductors&quot; in addition to feeder conductors and branch circuit conductors.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

405.6.1

Bryan Holland

7206

Chapter

Mod #

Comment

This proposed modification revises the section to clarify that compliance with Section 8 Power of the ASHRAE Standard 90.1 is required by Section 405.6.1

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 4 of 5

6/4/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  13

Total Mods for  Electrical in  No Affirmative Recommendation

TAC:

Electrical

9

SubCode:

Residential

Ü

3-Building Planning

Section

328

Bryan Holland

7207

Chapter

Mod #

Comment

This proposed modification will add mandatory surge protection requirements to buildings under the scope of the FBC-R.

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

37-Branch Circuit and Feeder Requirements

Section

3702.13

John Hall

7215

Chapter

Mod #

Comment

The modification provides for infrastructure to accomodate future electric vehicle charging equipment in one- and two-family dwellings and townhouses with garages.

37

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

39-Power and Lighting Distribution

Section

3902.16

STEVE ROOD

8149

Chapter

Mod #

Comment

This proposal recommends deletion of kitchens and laundry areas from the list of locations within dwelling units where AFCI protection is required.

39

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Search Criteria

Page 5 of 5

6/4/2019

Electrical

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  13

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

E

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived: