Page 1 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Approved as Modified

TAC Recommendation

Total Mods for  Fire in  Approved as Modified

TAC:

Fire

1

SubCode:

Building

Ü

35-Referenced Standards

Section

35

Robby Dawson

8180

Chapter

Mod #

Comment

The utilization of up to date referenced standards is a recognized component of complete system of building and fire safety. These updated references allow for the utilization of newer technologies and safety equipment to protect lives and property.

35

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Modified

W

Approved as Submitted

TAC Recommendation

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

6

SubCode:

Building

Ü

10-Means of Egress

Section

1016.2.1

Brad Schiffer

7792

Chapter

Mod #

Comment

This clarifies that if an elevators hoistway is protected by a method other than an enclosed elevator lobby by adding a lobby required to allow a fire service access elevator to have a second entrance does not require travel without going through the lobby

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

Section

1010.1.9.9

Lawrence Cohan

8097

Chapter

Mod #

Comment

Allow electrically locked egress doors in occupancies that have a lower risk than those currently allowed.   Also clarifies all types of electrical locking systems such as panic hardware, fire exit hardware, or door knobs or levers.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

Page 2 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

6

Section

1010.1.9.9

Ann Russo2

8319

Chapter

Mod #

Comment

Permits and requires the door hardware to be device which causes the electrical lock to unlock immediately, allowing egress.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

31-Special Construction

Section

3111

Bryan Holland

7365

Chapter

Mod #

Comment

This proposed modification updates requirement for solar energy systems in the FBC-B.

31

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

SubCode:

Residential

Ü

3-Building Planning

Section

302.2

Joseph Belcher for FHBA

7810

Chapter

Mod #

Comment

Adds calculated fire resistance section of FBC-R for two-family dwelling separation

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

2712-Reference Standards

Page 3 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  Approved as Submitted

TAC:

Fire

6

Section

46

Robby Dawson

8204

Chapter

Mod #

Comment

This proposal updates the NFPA referenced standards to the most recently published documents.

46

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Approved as Submitted

W

No Affirmative Recommendation

TAC Recommendation

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

SubCode:

Building

Ü

2-Definitions

Section

202

Ann Russo5

7521

Chapter

Mod #

Comment

Inserts definition for Opening Protective as this term is used extensively in the code, including the title of Section 716, but is not always understood by code users. This definition provides clarity.

2

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

3-Use and Occupancy Classification

Section

301

Ann Russo1

7464

Chapter

Mod #

Comment

The purpose of this code change is to simply formalize these terms and explain their relationship. This will assist code practitioners in properly establishing applicable code requirements and improve uniformity and continuity in the identification of appropriate provisions.

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 4 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

302.1

Ann Russo5

7552

Chapter

Mod #

Comment

As roof areas are being used for other activities and functions, addresses these uses and related issues

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

4-Special Detailed Requirements Based on Use and Occupancy

Section

412.6.7

Bryan Holland

7370

Chapter

Mod #

Comment

This proposed modification adds electrical classification criteria to the rules for aircraft paint hangers.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

414

Richard Schauland

7476

Chapter

Mod #

Comment

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

5-General Building Heights and Areas

Section

503.1.4

Steve Thomas

7134

Chapter

Mod #

Comment

This change provides language outlining how the height and area requirements of the code are applied to an occupied roof. It sets limits on the location of an occupied roof and clarifies the requirements.

5

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 5 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

509.5

Ann Russo5

7506

Chapter

Mod #

Comment

The provisions for electrical rooms found in the National Electrical Code (NEC) can be an unwelcome surprise if not found early in the design process. Construction aspects to the NEC requirements should be located in the Code to eliminate this issue.

5

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

503.1

Ann Russo5

7555

Chapter

Mod #

Comment

As roof areas are being used for other activities and functions, addresses these uses and related issues

5

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

6-Types of Construction

Section

601

Bonnie Manley

7459

Chapter

Mod #

Comment

Clarifies application of Table 601 Footnote b.

6

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

7-Fire and Smoke Protection Features

Section

707.5

Michael Phegley

7247

Chapter

Mod #

Comment

To make the Fire Prevention Code and Building Code consistent with each other.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 6 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

704.2

Paul Coats

7516

Chapter

Mod #

Comment

Clarifies that the fire resistance of light frame columns in fire resistance rated walls can be accomplished with the membrane protection of the fire resistance rated walls, with conditions.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

713.13.3

Ann Russo3

7590

Chapter

Mod #

Comment

Revises section 713.13.3 “Chute access rooms” to ensure the intent of the code that the room and door provide a minimum level of protection to the

shaft enclosing the chute and the chute access doors.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

706.1

Ann Russo3

7601

Chapter

Mod #

Comment

This modification clarifies the requirements of party walls located on lot lines between adjacent buildings and provides exceptions as to when firewalls are not required.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

715.3

Jon Roberts

7683

Chapter

Mod #

Comment

Changes exception for horizontal separation distance for wall joint testing requirements according to minimum separation distance.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 7 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

717.3.1

Jon Roberts

7692

Chapter

Mod #

Comment

This proposal relocates the reference to testing of ceiling radiation dampers.  It moves the requirement found elsewhere in the code to 717.3.1 which deals with damper testing.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

717

Jon Roberts

7700

Chapter

Mod #

Comment

The proposal removes the term &quot;fire-protection rating&quot;  and changes it to &quot;rating&quot; because fire dampers carry an hourly &quot;rating&quot;, not a &quot;fire-protection rating&quot;.  It also removes unnecessary language.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

714

Jon Roberts

7871

Chapter

Mod #

Comment

This code change adds an additional exception to the membrane penetration compliance section and aligns with a proposal related to section 302.4.2 of the residential building code.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

708.4

Richard Logan

8087

Chapter

Mod #

Comment

The proposed addition of exception #7 to Section 708.4 will make provisions of this section consistent with the exceptions in Section 718.3 and 718.4

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 8 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

716.6.2

Richard Logan

8336

Chapter

Mod #

Comment

Revise the section to indicate that the fire-resistance rating of exterior walls with a fire separation distance of greater than 10 feet, not 5 feet, shall be rated for exposure to fire from the inside only. This distance was increased from 5 feet to 10 feet with the 2009 edition of the IBC.

7

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

9-Fire Protection Systems

Section

907.1.2

Bryan Holland

7374

Chapter

Mod #

Comment

This proposed modification revises the requirements for fire alarm shop drawings.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

907.2.13.3

Bryan Holland

7377

Chapter

Mod #

Comment

This proposed modification adds multiple-channel voice evacuation requirements for certain high-rise buildings.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

907.5.2.2.4

Bryan Holland

7378

Chapter

Mod #

Comment

This proposed modification consolidates &quot;emergency voice/alarm communication captions&quot; requirements into this Section.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 9 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

915

Bryan Holland

7383

Chapter

Mod #

Comment

This proposed modification deletes all the CO alarm requirements in Section 908.8 and adds all the current CO alarm requirements of the 2018 IBC into an expanded Section 915.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

917

Bryan Holland

7385

Chapter

Mod #

Comment

This proposed modification adds a new Section on &quot;Mass Notification Systems&quot; to the code.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

903

Jon Roberts

7859

Chapter

Mod #

Comment

Provides clarification for the section related to stories without openings.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

904

Jon Roberts

7861

Chapter

Mod #

Comment

This removes the language pertaining to portable fire extinguishers from section 904 which is related to Alternative Automatic Fire-Extinguishing Systems and relocates that language to section 906 which pertains to portable extinguishers.

9

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

10-Means of Egress

Page 10 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1006.2.1

Ann Russo1

7517

Chapter

Mod #

Comment

This modification is to improve the consistency in the determination and application of fundamental FBC means of egress provisions.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1003

Ann Russo1

7527

Chapter

Mod #

Comment

Clarification and coordination of current requirements.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1006.3.2

Ann Russo1

7667

Chapter

Mod #

Comment

Corrects a conflict between the provisions in Section 1006.3.2 Item 4 and Table 1006.3.2(2)

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1017.2

Ann Russo1

7673

Chapter

Mod #

Comment

The proposal will correlate the provisions for day care facilities under occupancy Group I-4.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 11 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1004

Ann Russo1

7679

Chapter

Mod #

Comment

Change to clarify application of the occupant load when facilities include both gross and net areas.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1006.2.1

Kimberly Gilliam

7718

Chapter

Mod #

Comment

The proposal moves the exception for Group R-2, R-3 and R-4 into the table, where it is easier to find. In addition, this improves flexibility for Group R-2, R-3 and R-4 units in a mixed use building.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1025.1

Ann Russo5

7756

Chapter

Mod #

Comment

Update reference and delete from I-2 occupancy as not needed

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1025.1

Ann Russo5

7757

Chapter

Mod #

Comment

Delete Group I-4 from requirements

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 12 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1025.1

Ann Russo5

7758

Chapter

Mod #

Comment

Delete Group I-3 from requirements

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1026.4

Ann Russo5

7760

Chapter

Mod #

Comment

Updates standard for capacity of refuge area

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1025.5

Miguel Botello

7864

Chapter

Mod #

Comment

Add the exception that minimum width of 1 inch (25 mm) shall not apply to markings listed in accordance with UL 1994.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1028.4.1

Miguel Botello

7867

Chapter

Mod #

Comment

Revise section 1028.4.1 &quot;Width or capacity&quot; to delete an outdated and unused code requirement for egress courts.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 13 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1026.4.1

Miguel Botello

7869

Chapter

Mod #

Comment

Revises 1026.4 &quot;Capacity&quot; to clarify the capacity requirements for horizontal exit refuge  areas for defends in place occupancies.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1015.6

Lawrence Cohan

8001

Chapter

Mod #

Comment

clarify language in the code by deleting conflicting language regarding installation of permanent fall arrest/restraint anchorage connector devices.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1015.7

Lawrence Cohan

8003

Chapter

Mod #

Comment

clarify language in the code by deleting conflicting language regarding installation of permanent fall arrest/restraint anchorage connector devices.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1019.3

Lawrence Cohan

8009

Chapter

Mod #

Comment

clarifies when exit access stairways and ramps must be enclosed.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 14 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1020.2

Lawrence Cohan

8012

Chapter

Mod #

Comment

Coordinate table 1020.2 with defined term for ambulatory care facilities.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1020.4

Lawrence Cohan

8015

Chapter

Mod #

Comment

Remove Single Exit, R-4 occupancies from the dead-end exceptions.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1023.1

Lawrence Cohan

8018

Chapter

Mod #

Comment

Remove the separation requirement between and interior exit stairway or ramp and an exit passageway extension when they are both pressurized in accordance with Section 909.20.5

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1023.5

Lawrence Cohan

8023

Chapter

Mod #

Comment

allow security system equipment to penetrate into or through interior exit stairs and ramps.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 15 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1015.3

Ann Russo4

8047

Chapter

Mod #

Comment

In Group F occupancies the tip of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if, the exit access stairways serve three stories or less, and such stairs are not open to the public, and the top of the guard also serves as handrail.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1015.8

Ann Russo4

8123

Chapter

Mod #

Comment

In Group F occupancies the top of the guard can be 34&quot; to 38&quot; and eliminates the 42&quot; guard if the exit access stairways serve three stories or less and such stairs are not open to the public, and the top of the guard also serves as a handrail

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1010.1.9.3

John Woestman

8138

Chapter

Mod #

Comment

The intent of this proposal is to allow doors to roofs not intended to be occupied to be locked preventing access into the building from the roof, especially for security reasons

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1010.1.9.7

John Woestman

8203

Chapter

Mod #

Comment

One proposal which incorporates proposed revisions to this section re: delayed egress locking systems approved for the 2018 IBC in proposals E66-15, E68-15, &amp; E69-15.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 16 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1010.1.9.8

John Woestman

8208

Chapter

Mod #

Comment

This proposal combines approved revisions to the 2018 IBC by proposals E70-15 and E71-15.

Both E70-15 and E71-15 were approved “As Submitted” by the ICC Means of Egress Code Committee, and received final approval via the consent agenda during the Public Comment Hearing.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1010.1.9.9

John Woestman

8215

Chapter

Mod #

Comment

Proposal for the 2020 FBC which incorporates revisions to the 2018 IBC from proposal E72-15.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1010.1.1

Ann Russo2

8311

Chapter

Mod #

Comment

The proposed revisions are intended to improve clarity and consistency of the language of these sections of the code, and appear to be essentially editorial.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1010.1.9.11

Ann Russo2

8328

Chapter

Mod #

Comment

Allows for stair doors on the fifth and sixth stories to be locked from the non-egress side, consistent with doors on all other floors.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 17 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1010.1.10

Ann Russo2

8330

Chapter

Mod #

Comment

Clarifies text clarifying that panic and fire exit hardware is required for pivoted or side-hinged swinging doors, but not all door types.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1011.6

Ann Russo2

8332

Chapter

Mod #

Comment

Establishes a minimum length of a stair landing.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1013.2

Ann Russo2

8342

Chapter

Mod #

Comment

Slightly increases the allowable height of an exit sign, coordinating this section with the Life Safety Code.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1013.4

Ann Russo2

8343

Chapter

Mod #

Comment

Meant to coordinate with recent revisions to accessibility requirements.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 18 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1015.3

Ann Russo2

8345

Chapter

Mod #

Comment

Meant to coordinate provisions of the FBC, Building and the FBC, Residential

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1015.6

Ann Russo2

8347

Chapter

Mod #

Comment

Modifies requirements for fall arrest anchorage for steep roofs.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

1017.3

Ann Russo2

8349

Chapter

Mod #

Comment

Meant to provide clarification of current path of egress travel requirements.

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

14-Exterior Walls

Section

1406.3

John Woestman

8233

Chapter

Mod #

Comment

This proposal, in 1406.3, seeks to allow plastic composites meeting the specified criteria to be used in the same applications where untreated wood may be used in balcony construction. Similar in 2612.5.

14

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

SubCode:

Existing Building

Ü

4-Prescriptive Compliance Method

Page 19 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

402.6

Ann Russo1

7291

Chapter

Mod #

Comment

FBC Section 908.8 requires Carbon Monoxide Alarms in Additions, this will place the proper reference in the FEBC.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

402.6

Bryan Holland

7355

Chapter

Mod #

Comment

This proposed modification adds CO alarm requirement to the prescriptive compliance method on the FBC-Existing Building.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

403.13

Bryan Holland

7357

Chapter

Mod #

Comment

This proposed modification adds CO alarm requirement to the prescriptive compliance method on the FBC-Existing Building.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

402.6

Ann Russo11

7617

Chapter

Mod #

Comment

FBC Section 908.8 requires Carbon monoxide alarms in Additions, this will place the proper reference in the FEBC

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 20 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

406.2

Harold Barrineau

8043

Chapter

Mod #

Comment

406.2 Replacement window opening control devices.

406.3 Replacement window emergency escape and rescue openings.

702.4 Window opening control devices on replacement windows.

702.5 Replacement window emergency escape and rescue openings.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

401.2

Ann Russo4

8231

Chapter

Mod #

Comment

Removes provisions from Sections 401.2,401.2.2,401.2.3,602.1 &amp; 602.2 that wer already moved to Chapter 3 last cycle

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

401.2.1

Ann Russo4

8232

Chapter

Mod #

Comment

Deletes the &quot;Existing [Building] Materials&quot; and &quot;New and Replacement Materials&quot; sections from Chapters 4 and 6 because they are already inserted in chapter 3.

4

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

8-Alterations - Level 2

Section

804.4.4

Bryan Holland

7358

Chapter

Mod #

Comment

This proposed modification adds CO alarm requirement to the &quot;Level 2 Alteration&quot; requirements of the FBC-Existing Building.

8

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 21 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

805.3

Harold Barrineau

8307

Chapter

Mod #

Comment

805.3 Number of exits.

8

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

805.3.1.1

Harold Barrineau

8310

Chapter

Mod #

Comment

805.3.1.1 Single-exit buildings.

8

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

804.4.1.7

Kimberly Gilliam

8358

Chapter

Mod #

Comment

This proposal is a clarification with the addition of the term “manual.” Section 907.2.10.1 of the FBC, Building only requires a manual fire alarm system. Smoke alarms are dealt with separately in Section 804.4.3.

8

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

805.3.1.1

Kimberly Gilliam

8359

Chapter

Mod #

Comment

The terminology is old and many in the list are addressed by new construction.

8

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

14-Performance Compliance Methods

Page 22 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

1401.6

Richard Schauland

7450

Chapter

Mod #

Comment

Please refer to the attached file. The documentation for this proposal exceeds the 300 character limit.

14

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

SubCode:

Residential

Ü

2-Definitions

Section

202

Bryan Holland

7361

Chapter

Mod #

Comment

This proposed modification revises the current definition of Carbon Monoxide Alarm and adds a definition for Carbon Monoxide Detector.

2

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

3-Building Planning

Section

314.4

Bryan Holland

7336

Chapter

Mod #

Comment

This proposed modification deletes an obsolete and unnecessary exception for smoke alarm interconnection requirements.

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

315

Bryan Holland

7339

Chapter

Mod #

Comment

This proposed modification completely replaces the current R315 in the FBC-R related to carbon monoxide alarm requirements with R315 of the 2018 IRC.

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Page 23 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  No Affirmative Recommendation

TAC:

Fire

82

Section

310.1

Scott McAdam

7662

Chapter

Mod #

Comment

Adds an exception for sprinkled building

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

311.7.5.3

Scott McAdam

7688

Chapter

Mod #

Comment

clarification of nosing

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

316

Jon Roberts

7862

Chapter

Mod #

Comment

This code change is an editorial change intended to help understand the code section by adding separation into the sentence structure.

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Section

302.4.2

Jon Roberts

7870

Chapter

Mod #

Comment

This code change adds an additional exception to the membrane penetration compliance section and aligns with a proposal related to section 714.4.2 of the building code.

3

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

No Affirmative Recommendation

W

Withdrawn

TAC Recommendation

Total Mods for  Fire in  Withdrawn

TAC:

Fire

1

Page 24 of 24

6/4/2019

Fire

TECHNICAL ADVISORY COMMITTEE

SECOND COMMENT PERIOD

WITH COMMENTS

Total Mods for this report:  90

Total Mods for  Fire in  Withdrawn

TAC:

Fire

1

SubCode:

Existing Building

Ü

10-Change of Occupancy

Section

1012.4

Harold Barrineau

8312

Chapter

Mod #

Comment

TABLE 1012.4 (1012.4) MEANS OF EGRESS HAZARD CATEGORIES

TABLE 1012.5 (1012.5) HEIGHTS AND AREAS HAZARD CATEGORIES

10

Proponent

1. Support comment. Comment sufficiently

addresses the TAC's concern(s).

2. Do Not Support comment.

Comment does not address the TAC's

concern(s).

3. No comment is needed.

4. Straw Poll.

Commission Action

Summary

AS

AM

NAR

I

Withdrawn

W

Modification #:

Code Change Cycle:

Chapter & Topic:

Date Submitted From:

TAC:

Proponent Last Name:

Affects HVHZ:

Sub Code:

Code Version:

Commission Action:

Text of Modification:

Section:

Related Modifications:

TAC Recommendation:

Modification Status:

Date Submitted To:

Proponent First Name:

2020

ALL

2020 Triennial Original Modification 11/02/2018 - 12/15/2018

ALL

ALL

F

ALL

ALL

ALL

ALL

ALL

ALL

ALL

ALL

Verified

ALL

ALL

No

Archived:

Search Criteria